## Oxygen OPA
Measurement Name : | 20221025_SDR1_641_27 |  | Generated On : | 25/10/2022, 13:04:33 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 25/10/2022, 12:43:36 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 25/10/2022, 13:04:20 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.51 | 46.46 | 46.47 | 46.5 | 46.54 | 46.49 | 46.48 | 46.44 | 46.64 | 46.57 | 46.63 | 46.54 | 46.56 | 46.5 | 46.59 | 46.58 | 46.44 | 46.73 | 46.52 | 47.02 | 46.63 | 46.66 | 46.54 | 46.46
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
25.10.22 12:43:38 | 0.03 | 72.63 | 73.98 | 100.15 | 47.77 | 102.82 | 82.13 | 59.79 | 83.88 | 76.39 | 68 | 77.39 | 60.97 | 71.94 | 99.26 | 73.9 | 74.2 | 51.45 | 61.92 | 88.98 | 86.58 | 63.25 | 59.81 | 74.04 | 47.73 | 27 | 965 | 36 | 25.64
25.10.22 12:43:53 | 0.28 | 72.22 | 73.58 | 100 | 47.39 | 102.52 | 81.85 | 59.27 | 83.61 | 76.25 | 67.6 | 77.11 | 60.84 | 71.54 | 99.26 | 73.49 | 73.93 | 50.82 | 61.52 | 88.55 | 85.98 | 62.58 | 59.55 | 73.63 | 46.99 | 27 | 965 | 36 | 25.65
25.10.22 12:44:09 | 0.55 | 71.68 | 73.44 | 99.85 | 46.9 | 102.37 | 81.71 | 58.62 | 83.05 | 75.98 | 67.33 | 76.56 | 60.58 | 71.27 | 99.12 | 73.08 | 73.79 | 50.45 | 61.11 | 88.13 | 85.54 | 62.05 | 59.29 | 73.22 | 46.25 | 27 | 965 | 36 | 25.69
25.10.22 12:44:24 | 0.8 | 71.68 | 73.44 | 100.15 | 46.9 | 102.67 | 81.85 | 58.62 | 83.05 | 75.84 | 67.2 | 76.7 | 60.45 | 71.27 | 99.26 | 73.22 | 73.79 | 50.45 | 60.85 | 88.27 | 85.54 | 61.66 | 59.29 | 73.36 | 45.88 | 27 | 965 | 36 | 25.72
25.10.22 12:44:39 | 1.05 | 71.41 | 73.44 | 99.85 | 46.4 | 102.52 | 81.71 | 58.24 | 83.05 | 75.84 | 66.8 | 76.28 | 60.32 | 71.27 | 99.26 | 72.95 | 73.79 | 50.08 | 60.58 | 87.98 | 85.24 | 60.86 | 59.02 | 73.09 | 45.39 | 27 | 965 | 36 | 25.74
25.10.22 12:44:54 | 1.3 | 70.88 | 73.31 | 100 | 46.15 | 102.52 | 81.71 | 58.24 | 82.91 | 75.84 | 66.8 | 76 | 60.58 | 71 | 99.26 | 72.81 | 73.66 | 50.08 | 60.45 | 87.84 | 85.24 | 60.34 | 59.02 | 73.09 | 45.14 | 27 | 965 | 36 | 25.76
25.10.22 12:45:09 | 1.55 | 70.74 | 73.17 | 100 | 45.78 | 102.67 | 81.71 | 58.11 | 82.63 | 75.56 | 66.67 | 75.86 | 60.19 | 70.73 | 99.26 | 72.67 | 73.66 | 49.83 | 60.18 | 87.7 | 84.79 | 59.81 | 58.89 | 72.95 | 44.9 | 27 | 965 | 36 | 25.79
25.10.22 12:45:24 | 1.8 | 70.47 | 72.9 | 100.15 | 45.66 | 102.52 | 81.57 | 57.85 | 82.5 | 75.56 | 66.53 | 75.59 | 59.8 | 70.73 | 99.12 | 72.54 | 73.66 | 49.58 | 59.91 | 87.56 | 84.79 | 59.68 | 58.89 | 72.82 | 44.53 | 27 | 965 | 36 | 25.8
25.10.22 12:45:39 | 2.05 | 70.47 | 72.63 | 100 | 45.28 | 102.52 | 81.3 | 57.73 | 82.36 | 75.42 | 66.13 | 75.17 | 59.15 | 70.46 | 99.26 | 72.4 | 73.38 | 49.33 | 59.51 | 86.99 | 84.35 | 59.28 | 58.76 | 72.68 | 44.04 | 27 | 965 | 36 | 25.83
25.10.22 12:45:54 | 2.3 | 70.21 | 72.63 | 100.15 | 45.28 | 102.82 | 81.44 | 57.73 | 82.36 | 75.56 | 66 | 75.17 | 59.02 | 70.32 | 99.12 | 72.27 | 73.66 | 48.96 | 59.25 | 86.99 | 84.2 | 59.15 | 58.76 | 72.54 | 43.92 | 27 | 965 | 36 | 25.86
25.10.22 12:46:09 | 2.55 | 69.94 | 72.1 | 100.15 | 44.91 | 102.67 | 81.3 | 57.47 | 82.22 | 75.28 | 65.73 | 74.9 | 58.63 | 70.05 | 99.12 | 72.27 | 73.52 | 48.83 | 58.98 | 86.71 | 83.9 | 59.02 | 58.5 | 72.54 | 43.43 | 27 | 965 | 36 | 25.9
25.10.22 12:46:24 | 2.8 | 69.94 | 72.1 | 100.29 | 44.79 | 103.12 | 81.3 | 57.21 | 82.08 | 75.42 | 65.47 | 74.62 | 57.98 | 69.78 | 99.26 | 71.99 | 73.66 | 48.83 | 58.58 | 86.57 | 83.6 | 58.89 | 58.5 | 72.27 | 43.06 | 27 | 965 | 36 | 25.9
25.10.22 12:46:39 | 3.05 | 69.67 | 71.83 | 100.15 | 44.42 | 102.97 | 81.16 | 56.83 | 81.81 | 75.01 | 65.47 | 74.35 | 57.59 | 69.51 | 99.26 | 71.72 | 73.52 | 48.46 | 58.32 | 86.43 | 83.31 | 58.24 | 58.37 | 72.14 | 42.82 | 27 | 965 | 36 | 25.91
25.10.22 12:46:54 | 3.3 | 69.4 | 71.56 | 100.29 | 44.3 | 102.97 | 81.3 | 56.44 | 81.67 | 75.01 | 65.2 | 74.35 | 57.07 | 69.38 | 99.26 | 71.31 | 73.38 | 48.34 | 58.32 | 86.14 | 83.01 | 58.1 | 58.23 | 72.14 | 42.21 | 27 | 965 | 36 | 25.94
25.10.22 12:47:09 | 3.55 | 69 | 71.16 | 100.29 | 43.81 | 103.12 | 81.3 | 56.06 | 81.67 | 74.87 | 64.94 | 74.07 | 57.2 | 69.11 | 99.41 | 71.18 | 73.38 | 48.34 | 58.19 | 86 | 82.42 | 57.97 | 58.1 | 72 | 41.84 | 27 | 965 | 36 | 25.97
25.10.22 12:47:24 | 3.8 | 68.87 | 70.89 | 100.44 | 43.56 | 102.97 | 81.02 | 55.93 | 81.53 | 74.73 | 64.67 | 73.93 | 57.2 | 68.84 | 99.41 | 70.91 | 73.25 | 48.21 | 57.92 | 85.72 | 81.83 | 57.45 | 57.97 | 71.87 | 41.36 | 27 | 965 | 36 | 25.97
25.10.22 12:47:39 | 4.05 | 68.73 | 70.62 | 100.44 | 43.19 | 103.27 | 81.16 | 55.55 | 81.25 | 74.59 | 64.27 | 73.66 | 57.07 | 68.57 | 99.41 | 70.64 | 73.25 | 48.09 | 57.66 | 85.58 | 80.95 | 57.06 | 57.97 | 71.6 | 40.75 | 27 | 965 | 36 | 26
25.10.22 12:47:54 | 4.3 | 68.33 | 70.09 | 100.29 | 42.82 | 103.12 | 81.02 | 55.17 | 81.12 | 74.32 | 64.14 | 73.38 | 56.95 | 68.44 | 99.41 | 70.64 | 73.11 | 47.59 | 57.52 | 85.44 | 80.36 | 56.41 | 57.97 | 71.46 | 40.39 | 27 | 965 | 36 | 26.01
25.10.22 12:48:09 | 4.55 | 68.33 | 69.96 | 100.44 | 42.33 | 103.27 | 81.02 | 55.04 | 81.12 | 74.46 | 64.01 | 73.25 | 56.69 | 68.17 | 99.41 | 70.5 | 73.25 | 46.85 | 57.26 | 85.3 | 79.19 | 56.28 | 57.97 | 71.46 | 40.02 | 27 | 965 | 36 | 26.01
25.10.22 12:48:24 | 4.8 | 68.07 | 69.29 | 100.44 | 41.97 | 103.27 | 80.88 | 54.53 | 80.98 | 74.46 | 63.74 | 72.97 | 56.56 | 68.04 | 99.26 | 70.5 | 72.97 | 46.48 | 57 | 84.88 | 78.17 | 56.02 | 57.71 | 71.33 | 39.66 | 27 | 965 | 36 | 26.04
25.10.22 12:48:39 | 5.05 | 67.4 | 68.5 | 100 | 41.36 | 102.97 | 80.6 | 53.9 | 80.29 | 73.91 | 63.21 | 72.29 | 55.79 | 67.5 | 99.12 | 70.23 | 72.84 | 45.87 | 56.47 | 84.45 | 76.71 | 55.37 | 57.18 | 70.92 | 38.82 | 27 | 965 | 36 | 26.05
25.10.22 12:48:54 | 5.3 | 67.54 | 68.23 | 100.29 | 41.23 | 103.27 | 80.88 | 53.65 | 80.43 | 74.04 | 63.35 | 72.29 | 55.66 | 67.37 | 99.41 | 70.09 | 72.97 | 45.87 | 56.47 | 84.45 | 75.98 | 55.5 | 57.45 | 70.92 | 38.82 | 27 | 965 | 36 | 26.08
25.10.22 12:49:09 | 5.55 | 67.27 | 67.97 | 100.59 | 40.99 | 103.27 | 80.74 | 53.01 | 80.43 | 74.18 | 63.08 | 72.15 | 54.89 | 67.23 | 99.41 | 70.09 | 73.11 | 45.75 | 56.21 | 84.31 | 74.97 | 55.37 | 57.45 | 71.06 | 38.22 | 27 | 965 | 36 | 26.08
25.10.22 12:49:24 | 5.8 | 66.87 | 67.57 | 100.44 | 40.38 | 103.27 | 80.6 | 52.38 | 80.15 | 73.91 | 62.82 | 72.01 | 54.12 | 66.97 | 99.56 | 70.09 | 72.84 | 45.62 | 55.94 | 84.17 | 74.25 | 55.11 | 57.32 | 70.79 | 37.86 | 27 | 965 | 36 | 26.1
25.10.22 12:49:39 | 6.05 | 66.61 | 67.31 | 100.44 | 39.9 | 103.27 | 80.47 | 51.75 | 79.88 | 73.77 | 62.69 | 71.47 | 53.36 | 66.57 | 99.26 | 69.82 | 72.84 | 45.38 | 55.55 | 84.17 | 73.24 | 54.85 | 57.18 | 70.52 | 37.62 | 27 | 965 | 36 | 26.11
25.10.22 12:49:54 | 6.3 | 66.08 | 67.04 | 100.44 | 39.65 | 103.27 | 80.33 | 51.37 | 79.88 | 73.77 | 62.42 | 71.47 | 52.59 | 66.17 | 99.41 | 69.82 | 72.84 | 45.38 | 55.15 | 84.03 | 72.24 | 54.46 | 57.18 | 70.52 | 37.02 | 27 | 965 | 36 | 26.13
25.10.22 12:50:09 | 6.55 | 65.81 | 66.91 | 100.44 | 39.29 | 103.42 | 80.33 | 51.37 | 79.74 | 73.77 | 62.16 | 71.06 | 51.83 | 65.77 | 99.41 | 69.69 | 72.84 | 45.26 | 54.89 | 83.89 | 71.67 | 54.07 | 57.05 | 70.38 | 37.02 | 27 | 965 | 36 | 26.14
25.10.22 12:50:24 | 6.8 | 65.55 | 66.78 | 100.29 | 38.81 | 103.27 | 80.33 | 51.12 | 79.47 | 73.63 | 62.16 | 70.92 | 51.07 | 65.5 | 99.12 | 69.69 | 72.84 | 44.64 | 54.76 | 83.75 | 70.81 | 53.56 | 56.79 | 69.84 | 36.78 | 27 | 965 | 36 | 26.15
25.10.22 12:50:39 | 7.05 | 65.42 | 66.65 | 100.59 | 38.68 | 103.42 | 80.05 | 51 | 79.47 | 73.77 | 62.03 | 70.65 | 50.69 | 65.24 | 99.41 | 69.55 | 72.7 | 44.64 | 54.37 | 83.75 | 70.1 | 53.56 | 56.92 | 69.98 | 36.54 | 27 | 965 | 36 | 26.16
25.10.22 12:50:54 | 7.3 | 65.02 | 66.51 | 100.59 | 38.08 | 103.42 | 80.05 | 50.75 | 79.19 | 73.63 | 61.77 | 70.38 | 50.06 | 64.84 | 99.41 | 69.42 | 72.84 | 44.52 | 54.11 | 83.61 | 69.67 | 53.04 | 56.79 | 69.98 | 36.42 | 27 | 965 | 36 | 26.18
25.10.22 12:51:09 | 7.55 | 64.76 | 66.25 | 100.59 | 37.72 | 103.42 | 80.05 | 50.5 | 79.06 | 73.49 | 61.5 | 70.1 | 49.56 | 64.04 | 99.41 | 69.01 | 72.7 | 44.28 | 53.84 | 83.33 | 68.96 | 52.53 | 56.66 | 69.71 | 35.94 | 27 | 965 | 36 | 26.19
25.10.22 12:51:24 | 7.8 | 64.49 | 66.38 | 100.59 | 37.24 | 103.57 | 79.91 | 50.37 | 78.92 | 73.35 | 61.37 | 69.7 | 49.3 | 63.91 | 99.26 | 68.88 | 72.57 | 43.91 | 53.58 | 83.05 | 68.39 | 52.01 | 56.4 | 69.44 | 35.7 | 27 | 965 | 36 | 26.21
25.10.22 12:51:39 | 8.05 | 64.1 | 66.25 | 100.59 | 37 | 103.42 | 79.91 | 50.24 | 78.92 | 73.35 | 61.37 | 69.56 | 49.18 | 63.78 | 99.41 | 68.88 | 72.57 | 43.67 | 53.58 | 83.19 | 67.97 | 51.76 | 56.53 | 69.17 | 35.47 | 27 | 965 | 36 | 26.22
25.10.22 12:51:54 | 8.3 | 64.1 | 66.12 | 100.59 | 36.52 | 103.42 | 79.78 | 49.99 | 78.78 | 73.22 | 60.98 | 69.29 | 49.05 | 63.25 | 99.41 | 68.61 | 72.29 | 43.3 | 53.32 | 83.05 | 67.4 | 51.37 | 56.27 | 69.04 | 35.11 | 27 | 965 | 36 | 26.24
25.10.22 12:52:09 | 8.55 | 63.97 | 65.99 | 100.88 | 36.16 | 103.57 | 79.78 | 49.74 | 78.65 | 73.22 | 60.85 | 69.15 | 48.93 | 63.12 | 99.56 | 68.34 | 72.43 | 43.42 | 53.06 | 82.77 | 67.12 | 50.99 | 56.27 | 68.91 | 34.75 | 27 | 965 | 36 | 26.25
25.10.22 12:52:24 | 8.8 | 63.7 | 65.99 | 100.73 | 35.68 | 103.72 | 79.78 | 49.62 | 78.65 | 73.22 | 60.58 | 69.02 | 48.93 | 62.99 | 99.71 | 68.21 | 72.57 | 43.3 | 53.06 | 82.63 | 66.56 | 50.73 | 56.27 | 68.77 | 34.63 | 27 | 965 | 36 | 26.25
25.10.22 12:52:39 | 9.05 | 63.31 | 65.72 | 100.59 | 34.84 | 103.57 | 79.5 | 49.24 | 78.37 | 72.81 | 60.32 | 68.61 | 48.93 | 62.59 | 99.41 | 67.94 | 72.29 | 42.93 | 52.54 | 82.49 | 66.41 | 50.35 | 55.88 | 68.5 | 34.16 | 27 | 965 | 36 | 26.26
25.10.22 12:52:54 | 9.3 | 63.05 | 65.33 | 100.59 | 34.6 | 103.57 | 79.36 | 48.99 | 78.24 | 72.67 | 60.32 | 68.21 | 48.8 | 62.33 | 99.41 | 67.8 | 72.16 | 42.45 | 52.54 | 82.49 | 66.13 | 50.22 | 55.75 | 68.37 | 33.8 | 27 | 965 | 36 | 26.29
25.10.22 12:53:09 | 9.55 | 62.79 | 65.33 | 100.73 | 34.24 | 103.57 | 79.36 | 48.62 | 78.1 | 72.67 | 60.06 | 68.07 | 48.68 | 62.33 | 99.56 | 67.67 | 72.16 | 41.96 | 52.02 | 82.21 | 65.71 | 50.1 | 55.88 | 68.37 | 33.57 | 27 | 965 | 36 | 26.29
25.10.22 12:53:24 | 9.8 | 62.53 | 65.07 | 100.59 | 33.77 | 103.72 | 79.36 | 48.5 | 77.96 | 72.67 | 59.67 | 67.67 | 48.55 | 61.94 | 99.41 | 67.53 | 71.89 | 41.48 | 51.5 | 82.07 | 65.57 | 49.59 | 55.75 | 68.1 | 33.21 | 27 | 965 | 36 | 26.3
25.10.22 12:53:39 | 10.05 | 62.26 | 64.94 | 100.59 | 33.29 | 103.72 | 79.09 | 48 | 77.83 | 72.39 | 59.28 | 67.4 | 48.05 | 61.54 | 99.41 | 67.13 | 71.89 | 41.24 | 50.98 | 81.66 | 65.29 | 49.08 | 55.62 | 67.7 | 32.74 | 27 | 965 | 36 | 26.32
25.10.22 12:53:54 | 10.3 | 62.13 | 64.81 | 100.73 | 32.81 | 103.72 | 79.09 | 48 | 77.55 | 72.39 | 59.15 | 67.26 | 48.05 | 61.54 | 99.56 | 67.13 | 71.89 | 40.99 | 50.46 | 81.8 | 65.15 | 48.82 | 55.36 | 67.57 | 32.39 | 27 | 965 | 36 | 26.33
25.10.22 12:54:09 | 10.55 | 61.87 | 64.54 | 100.73 | 32.46 | 103.72 | 78.81 | 47.75 | 77.69 | 72.26 | 58.89 | 66.99 | 48.05 | 61.15 | 99.41 | 67 | 71.75 | 40.87 | 50.33 | 81.52 | 64.87 | 48.57 | 55.23 | 67.3 | 32.03 | 27 | 965 | 36 | 26.35
25.10.22 12:54:24 | 10.8 | 61.74 | 64.54 | 100.73 | 32.1 | 103.87 | 78.81 | 47.5 | 77.42 | 72.39 | 58.76 | 66.73 | 47.92 | 60.89 | 99.41 | 66.86 | 71.75 | 40.75 | 50.08 | 81.52 | 64.59 | 48.19 | 55.36 | 67.17 | 31.8 | 27 | 965 | 36 | 26.38
25.10.22 12:54:39 | 11.05 | 61.35 | 64.28 | 100.73 | 31.28 | 103.72 | 78.67 | 47.13 | 77.15 | 72.12 | 58.24 | 66.59 | 47.42 | 60.63 | 99.41 | 66.6 | 71.48 | 40.63 | 49.82 | 81.24 | 64.45 | 47.68 | 54.97 | 66.77 | 31.45 | 27 | 965 | 36 | 26.39
25.10.22 12:54:54 | 11.3 | 61.22 | 64.15 | 100.88 | 30.8 | 103.72 | 78.67 | 46.88 | 77.15 | 72.12 | 58.11 | 66.32 | 46.92 | 60.63 | 99.41 | 66.46 | 71.48 | 40.63 | 49.95 | 81.24 | 64.17 | 47.55 | 54.97 | 66.64 | 31.09 | 27 | 965 | 36 | 26.38
25.10.22 12:55:09 | 11.55 | 60.83 | 64.02 | 100.73 | 30.45 | 103.87 | 78.4 | 46.63 | 76.6 | 71.85 | 57.98 | 66.05 | 46.67 | 60.23 | 99.26 | 66.2 | 71.48 | 40.39 | 49.56 | 80.96 | 64.03 | 47.18 | 54.84 | 66.37 | 30.74 | 27 | 965 | 36 | 26.4
25.10.22 12:55:24 | 11.8 | 60.57 | 63.76 | 100.73 | 30.22 | 103.87 | 78.26 | 46.26 | 76.6 | 71.98 | 57.85 | 65.65 | 46.3 | 59.84 | 99.41 | 66.06 | 71.34 | 40.27 | 49.3 | 80.96 | 63.89 | 46.8 | 54.45 | 66.1 | 30.39 | 27 | 965 | 36 | 26.41
25.10.22 12:55:40 | 12.07 | 60.31 | 63.5 | 100.73 | 29.86 | 103.87 | 78.4 | 46.14 | 76.33 | 71.85 | 57.33 | 65.52 | 46.3 | 59.58 | 99.56 | 65.93 | 71.34 | 40.03 | 49.17 | 80.96 | 63.89 | 46.42 | 54.45 | 65.84 | 30.16 | 27 | 965 | 36 | 26.43
25.10.22 12:55:55 | 12.32 | 60.18 | 63.5 | 100.88 | 29.51 | 103.87 | 78.4 | 46.02 | 76.19 | 71.85 | 57.2 | 65.25 | 45.93 | 59.32 | 99.56 | 65.66 | 71.34 | 40.03 | 49.04 | 80.82 | 63.75 | 46.04 | 54.32 | 65.57 | 29.81 | 27 | 965 | 36 | 26.44
25.10.22 12:56:10 | 12.57 | 59.66 | 63.24 | 100.73 | 29.16 | 103.87 | 77.99 | 45.65 | 75.92 | 71.57 | 56.68 | 64.98 | 45.68 | 58.93 | 99.41 | 65.26 | 70.94 | 39.67 | 48.66 | 80.41 | 63.47 | 45.41 | 53.93 | 65.18 | 29.45 | 27 | 965 | 36 | 26.44
25.10.22 12:56:24 | 12.8 | 59.53 | 63.11 | 101.03 | 28.92 | 104.17 | 78.12 | 45.65 | 75.92 | 71.85 | 56.68 | 64.85 | 45.3 | 58.93 | 99.56 | 65.26 | 71.07 | 39.79 | 48.4 | 80.55 | 63.75 | 45.16 | 53.93 | 64.65 | 29.45 | 27 | 965 | 36 | 26.46
25.10.22 12:56:39 | 13.05 | 59.14 | 62.85 | 100.73 | 28.57 | 104.02 | 77.85 | 45.4 | 75.52 | 71.44 | 56.16 | 64.45 | 44.93 | 58.41 | 99.26 | 64.86 | 70.8 | 39.43 | 47.89 | 80.41 | 63.33 | 44.78 | 53.67 | 64.25 | 28.99 | 27 | 965 | 36 | 26.47
25.10.22 12:56:55 | 13.32 | 58.88 | 62.59 | 100.88 | 28.11 | 103.87 | 77.71 | 45.4 | 75.52 | 71.44 | 56.04 | 64.18 | 44.44 | 58.15 | 99.56 | 64.86 | 70.8 | 39.43 | 47.76 | 80.27 | 63.33 | 44.66 | 53.67 | 63.99 | 28.64 | 27 | 965 | 36 | 26.49
25.10.22 12:57:10 | 13.57 | 58.5 | 62.72 | 100.73 | 27.76 | 104.02 | 77.58 | 45.03 | 75.38 | 71.3 | 55.65 | 63.78 | 43.94 | 58.02 | 99.26 | 64.6 | 70.67 | 39.31 | 47.5 | 80.13 | 63.33 | 44.41 | 53.28 | 63.86 | 28.52 | 27 | 965 | 36 | 26.49
25.10.22 12:57:25 | 13.82 | 58.37 | 62.33 | 100.73 | 27.41 | 103.87 | 77.58 | 44.78 | 74.98 | 71.16 | 55.26 | 63.51 | 43.45 | 57.63 | 99.26 | 64.33 | 70.67 | 38.94 | 47.12 | 79.85 | 62.91 | 44.16 | 53.15 | 63.33 | 28.06 | 27 | 965 | 36 | 26.51
25.10.22 12:57:40 | 14.07 | 58.11 | 62.33 | 100.88 | 26.94 | 104.02 | 77.3 | 44.78 | 74.84 | 71.16 | 55.13 | 63.25 | 43.08 | 57.37 | 99.41 | 64.2 | 70.4 | 38.94 | 46.86 | 79.71 | 62.91 | 43.78 | 53.15 | 63.33 | 27.94 | 27 | 965 | 36 | 26.51
25.10.22 12:57:55 | 14.32 | 57.85 | 62.07 | 100.73 | 26.71 | 104.02 | 77.3 | 44.54 | 74.84 | 71.03 | 54.62 | 62.98 | 42.95 | 56.86 | 99.56 | 64.06 | 70.53 | 38.82 | 46.61 | 79.71 | 62.77 | 43.41 | 52.89 | 63.2 | 27.59 | 27 | 965 | 36 | 26.51
25.10.22 12:58:10 | 14.57 | 57.59 | 61.68 | 100.88 | 26.36 | 104.02 | 77.03 | 44.29 | 74.44 | 70.62 | 54.36 | 62.72 | 42.95 | 56.47 | 99.56 | 63.93 | 70.4 | 38.46 | 46.22 | 79.44 | 62.63 | 43.28 | 52.63 | 62.93 | 27.36 | 27 | 965 | 36 | 26.53
25.10.22 12:58:25 | 14.82 | 57.34 | 61.68 | 101.03 | 26.13 | 104.32 | 77.17 | 43.92 | 74.3 | 70.75 | 53.98 | 62.32 | 42.83 | 56.21 | 99.41 | 63.53 | 70.26 | 37.99 | 45.97 | 79.44 | 62.49 | 42.91 | 52.76 | 62.67 | 27.13 | 27 | 965 | 36 | 26.54
25.10.22 12:58:40 | 15.07 | 57.08 | 61.42 | 100.73 | 25.78 | 104.17 | 76.89 | 43.68 | 74.03 | 70.62 | 53.98 | 62.05 | 42.46 | 56.08 | 99.41 | 63.27 | 70.12 | 37.51 | 45.46 | 79.16 | 62.22 | 42.53 | 52.38 | 62.54 | 26.78 | 27 | 965 | 36 | 26.54
25.10.22 12:58:54 | 15.3 | 56.82 | 61.29 | 100.88 | 25.55 | 104.32 | 76.76 | 43.55 | 74.03 | 70.48 | 53.47 | 61.79 | 42.34 | 55.7 | 99.56 | 62.87 | 69.99 | 37.27 | 45.08 | 79.02 | 62.22 | 42.29 | 52.12 | 62.41 | 26.43 | 27 | 965 | 36 | 26.54
25.10.22 12:59:09 | 15.55 | 56.69 | 61.03 | 100.88 | 25.2 | 104.32 | 76.62 | 43.19 | 73.76 | 70.35 | 53.47 | 61.39 | 42.09 | 55.44 | 99.56 | 62.87 | 69.99 | 37.03 | 44.95 | 78.88 | 61.66 | 41.91 | 52.12 | 62.28 | 26.2 | 27 | 965 | 36 | 26.57
25.10.22 12:59:25 | 15.82 | 56.44 | 60.9 | 101.03 | 25.08 | 104.32 | 76.48 | 43.31 | 73.63 | 70.35 | 53.08 | 61.26 | 41.72 | 55.18 | 99.56 | 62.61 | 69.72 | 36.79 | 44.95 | 78.75 | 61.66 | 41.66 | 51.99 | 62.02 | 25.86 | 27 | 965 | 36 | 26.58
25.10.22 12:59:40 | 16.07 | 56.05 | 60.64 | 100.88 | 24.62 | 104.17 | 76.62 | 43.19 | 73.49 | 70.21 | 52.83 | 61.13 | 41.36 | 54.8 | 99.56 | 62.48 | 69.72 | 36.67 | 44.44 | 78.33 | 61.24 | 41.17 | 51.86 | 62.02 | 25.63 | 27 | 965 | 36 | 26.58
25.10.22 12:59:55 | 16.32 | 55.92 | 60.51 | 101.03 | 24.39 | 104.47 | 76.35 | 43.06 | 73.23 | 70.07 | 52.7 | 60.73 | 41.11 | 54.8 | 99.71 | 62.21 | 69.72 | 36.55 | 44.19 | 78.33 | 60.83 | 40.92 | 51.6 | 61.88 | 25.4 | 27 | 965 | 36 | 26.58
25.10.22 13:00:10 | 16.57 | 55.67 | 60.25 | 101.18 | 24.27 | 104.47 | 76.21 | 42.94 | 72.96 | 70.07 | 52.32 | 60.6 | 40.87 | 54.41 | 99.41 | 62.08 | 69.58 | 36.19 | 43.81 | 78.33 | 60.14 | 40.67 | 51.6 | 61.49 | 25.05 | 27 | 965 | 36 | 26.6
25.10.22 13:00:25 | 16.82 | 55.29 | 59.87 | 101.03 | 23.81 | 104.32 | 75.94 | 42.82 | 72.69 | 69.8 | 51.93 | 60.2 | 40.38 | 54.03 | 99.56 | 61.55 | 69.45 | 35.96 | 43.3 | 78.2 | 59.72 | 40.18 | 51.22 | 60.97 | 24.71 | 27 | 965 | 36 | 26.61
25.10.22 13:00:40 | 17.07 | 55.03 | 59.87 | 100.88 | 23.7 | 104.32 | 75.94 | 42.7 | 72.29 | 69.67 | 51.68 | 59.68 | 40.25 | 53.51 | 99.56 | 61.29 | 69.31 | 35.72 | 42.92 | 78.06 | 59.03 | 39.93 | 51.09 | 60.58 | 24.25 | 27 | 965 | 36 | 26.61
25.10.22 13:00:55 | 17.32 | 54.65 | 59.74 | 101.03 | 23.35 | 104.32 | 75.66 | 42.45 | 72.15 | 69.53 | 51.55 | 59.28 | 39.77 | 52.75 | 99.26 | 61.03 | 68.91 | 35.48 | 42.8 | 77.78 | 58.34 | 39.56 | 50.83 | 60.32 | 23.9 | 27 | 965 | 36 | 26.61
25.10.22 13:01:10 | 17.57 | 54.52 | 59.48 | 101.03 | 23.01 | 104.47 | 75.66 | 42.21 | 72.02 | 69.39 | 51.42 | 59.02 | 39.52 | 52.11 | 99.41 | 60.9 | 69.05 | 35.36 | 42.55 | 77.92 | 58.21 | 39.31 | 50.83 | 60.19 | 23.67 | 27 | 965 | 36 | 26.64
25.10.22 13:01:25 | 17.82 | 54.01 | 59.22 | 100.73 | 22.66 | 104.02 | 75.26 | 41.97 | 71.62 | 69.26 | 51.04 | 58.63 | 38.91 | 51.22 | 99.41 | 60.76 | 68.78 | 35.24 | 42.55 | 77.65 | 57.52 | 38.94 | 50.32 | 60.06 | 23.44 | 27 | 965 | 36 | 26.65
25.10.22 13:01:40 | 18.07 | 53.63 | 59.22 | 100.88 | 22.43 | 104.32 | 75.26 | 41.72 | 71.62 | 69.12 | 50.92 | 58.37 | 38.55 | 50.59 | 99.41 | 60.5 | 68.64 | 35.01 | 42.29 | 77.51 | 57.52 | 38.94 | 50.32 | 59.93 | 23.1 | 27 | 965 | 36 | 26.64
25.10.22 13:01:55 | 18.32 | 53.37 | 59.1 | 100.88 | 22.09 | 104.47 | 75.12 | 41.6 | 71.48 | 68.85 | 50.66 | 58.24 | 38.18 | 50.08 | 99.56 | 60.37 | 68.51 | 34.89 | 42.04 | 77.65 | 57.11 | 38.57 | 50.06 | 59.67 | 22.87 | 27 | 965 | 36 | 26.65
25.10.22 13:02:10 | 18.57 | 53.12 | 59.1 | 100.88 | 21.75 | 104.32 | 74.99 | 41.23 | 71.22 | 68.44 | 50.16 | 57.97 | 37.46 | 49.96 | 99.41 | 60.24 | 68.37 | 34.65 | 41.79 | 77.37 | 56.84 | 38.08 | 49.94 | 59.54 | 22.53 | 27 | 965 | 36 | 26.65
25.10.22 13:02:25 | 18.82 | 52.74 | 58.71 | 100.88 | 21.63 | 104.32 | 74.71 | 40.87 | 70.82 | 68.31 | 50.16 | 57.58 | 36.97 | 49.7 | 99.26 | 59.98 | 68.24 | 34.18 | 41.66 | 77.1 | 56.7 | 37.96 | 49.68 | 59.28 | 22.3 | 27 | 965 | 36 | 26.68
25.10.22 13:02:40 | 19.07 | 52.36 | 58.71 | 100.73 | 21.4 | 104.17 | 74.58 | 40.63 | 70.68 | 67.9 | 50.03 | 57.45 | 36.61 | 49.7 | 99.26 | 59.72 | 68.1 | 33.47 | 41.54 | 76.55 | 56.29 | 37.84 | 49.68 | 59.15 | 22.3 | 27 | 965 | 36 | 26.68
25.10.22 13:02:55 | 19.32 | 52.11 | 58.71 | 101.03 | 21.18 | 104.32 | 74.58 | 40.51 | 70.42 | 67.9 | 49.9 | 57.19 | 36.61 | 49.58 | 99.56 | 59.59 | 68.1 | 33.35 | 41.41 | 76.27 | 56.43 | 37.96 | 49.42 | 59.02 | 22.07 | 27 | 965 | 36 | 26.69
25.10.22 13:03:10 | 19.57 | 51.73 | 58.32 | 100.88 | 20.95 | 104.32 | 74.31 | 40.02 | 70.15 | 67.77 | 49.65 | 56.93 | 36.37 | 49.45 | 99.41 | 59.45 | 67.84 | 32.76 | 41.04 | 76.14 | 56.15 | 37.47 | 49.17 | 58.76 | 21.73 | 27 | 965 | 36 | 26.71
25.10.22 13:03:25 | 19.82 | 51.48 | 58.07 | 100.88 | 20.72 | 104.32 | 74.31 | 39.78 | 70.02 | 67.5 | 49.4 | 56.67 | 36.25 | 49.32 | 99.26 | 59.32 | 67.7 | 32.06 | 41.04 | 75.86 | 56.02 | 37.59 | 49.17 | 58.76 | 21.85 | 27 | 965 | 36 | 26.72
25.10.22 13:03:40 | 20.07 | 51.1 | 57.94 | 101.03 | 20.49 | 104.47 | 73.9 | 39.42 | 69.62 | 67.36 | 49.02 | 56.54 | 36.01 | 49.07 | 99.41 | 59.06 | 67.7 | 31.71 | 40.78 | 75.86 | 56.02 | 37.35 | 48.91 | 58.5 | 21.73 | 27 | 965 | 36 | 26.72
25.10.22 13:03:55 | 20.32 | 50.59 | 57.81 | 100.88 | 20.15 | 104.32 | 73.76 | 39.05 | 69.09 | 67.09 | 48.64 | 56.15 | 35.65 | 48.69 | 99.41 | 58.93 | 67.43 | 31.47 | 40.53 | 75.73 | 55.74 | 37.1 | 48.66 | 58.24 | 21.28 | 27 | 965 | 36 | 26.72
25.10.22 13:04:10 | 20.57 | 50.34 | 57.68 | 101.03 | 20.04 | 104.62 | 73.76 | 38.93 | 69.35 | 67.09 | 48.51 | 56.02 | 35.65 | 48.44 | 99.41 | 58.93 | 67.57 | 31.35 | 40.53 | 75.73 | 55.47 | 37.23 | 48.53 | 58.24 | 21.28 | 27 | 965 | 36 | 26.72

## Oxygen Orginal
Measurement Name : | 20221025_SDR1_641_27 |  | Generated On : | 25/10/2022, 13:04:33 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 25/10/2022, 12:43:36 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 25/10/2022, 13:04:20 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
25.10.22 12:43:38 | 0.03 | 79.21 | 81.27 | 109.86 | 52.17 | 111.64 | 89.83 | 65.49 | 92.42 | 81.72 | 73.51 | 82.91 | 66.2 | 77.88 | 108.41 | 79.65 | 80.09 | 56.69 | 65.35 | 96.9 | 87.41 | 67.76 | 63.79 | 80.39 | 52.44 | 27 | 965 | 36 | 25.64
25.10.22 12:43:53 | 0.28 | 78.76 | 80.83 | 109.7 | 51.76 | 111.31 | 89.53 | 64.92 | 92.12 | 81.57 | 73.07 | 82.61 | 66.05 | 77.44 | 108.41 | 79.21 | 79.8 | 56 | 64.92 | 96.43 | 86.8 | 67.05 | 63.51 | 79.94 | 51.62 | 27 | 965 | 36 | 25.65
25.10.22 12:44:09 | 0.55 | 78.18 | 80.68 | 109.54 | 51.22 | 111.15 | 89.38 | 64.22 | 91.51 | 81.27 | 72.78 | 82.02 | 65.77 | 77.15 | 108.25 | 78.76 | 79.65 | 55.59 | 64.5 | 95.97 | 86.35 | 66.48 | 63.23 | 79.5 | 50.81 | 27 | 965 | 36 | 25.69
25.10.22 12:44:24 | 0.8 | 78.18 | 80.68 | 109.86 | 51.22 | 111.47 | 89.53 | 64.22 | 91.51 | 81.13 | 72.64 | 82.17 | 65.63 | 77.15 | 108.41 | 78.91 | 79.65 | 55.59 | 64.22 | 96.12 | 86.35 | 66.05 | 63.23 | 79.65 | 50.4 | 27 | 965 | 36 | 25.72
25.10.22 12:44:39 | 1.05 | 77.88 | 80.68 | 109.54 | 50.68 | 111.31 | 89.38 | 63.79 | 91.51 | 81.13 | 72.2 | 81.72 | 65.49 | 77.15 | 108.41 | 78.62 | 79.65 | 55.17 | 63.93 | 95.81 | 86.05 | 65.2 | 62.95 | 79.35 | 49.86 | 27 | 965 | 36 | 25.74
25.10.22 12:44:54 | 1.3 | 77.3 | 80.53 | 109.7 | 50.4 | 111.31 | 89.38 | 63.79 | 91.35 | 81.13 | 72.2 | 81.42 | 65.77 | 76.86 | 108.41 | 78.47 | 79.5 | 55.17 | 63.79 | 95.66 | 86.05 | 64.64 | 62.95 | 79.35 | 49.59 | 27 | 965 | 36 | 25.76
25.10.22 12:45:09 | 1.55 | 77.15 | 80.39 | 109.7 | 50 | 111.47 | 89.38 | 63.65 | 91.05 | 80.83 | 72.06 | 81.27 | 65.35 | 76.56 | 108.41 | 78.32 | 79.5 | 54.9 | 63.51 | 95.5 | 85.6 | 64.08 | 62.81 | 79.21 | 49.32 | 27 | 965 | 36 | 25.79
25.10.22 12:45:24 | 1.8 | 76.86 | 80.09 | 109.86 | 49.86 | 111.31 | 89.22 | 63.37 | 90.9 | 80.83 | 71.92 | 80.98 | 64.92 | 76.56 | 108.25 | 78.18 | 79.5 | 54.63 | 63.23 | 95.35 | 85.6 | 63.93 | 62.81 | 79.06 | 48.92 | 27 | 965 | 36 | 25.8
25.10.22 12:45:39 | 2.05 | 76.86 | 79.8 | 109.7 | 49.46 | 111.31 | 88.92 | 63.23 | 90.74 | 80.68 | 71.48 | 80.53 | 64.22 | 76.27 | 108.41 | 78.03 | 79.21 | 54.35 | 62.81 | 94.73 | 85.15 | 63.51 | 62.67 | 78.91 | 48.38 | 27 | 965 | 36 | 25.83
25.10.22 12:45:54 | 2.3 | 76.56 | 79.8 | 109.86 | 49.46 | 111.64 | 89.07 | 63.23 | 90.74 | 80.83 | 71.34 | 80.53 | 64.08 | 76.12 | 108.25 | 77.88 | 79.5 | 53.94 | 62.53 | 94.73 | 85 | 63.37 | 62.67 | 78.76 | 48.25 | 27 | 965 | 36 | 25.86
25.10.22 12:46:09 | 2.55 | 76.27 | 79.21 | 109.86 | 49.05 | 111.47 | 88.92 | 62.95 | 90.59 | 80.53 | 71.05 | 80.24 | 63.65 | 75.83 | 108.25 | 77.88 | 79.35 | 53.8 | 62.25 | 94.42 | 84.7 | 63.23 | 62.39 | 78.76 | 47.71 | 27 | 965 | 36 | 25.9
25.10.22 12:46:24 | 2.8 | 76.27 | 79.21 | 110.02 | 48.92 | 111.96 | 88.92 | 62.67 | 90.44 | 80.68 | 70.76 | 79.94 | 62.95 | 75.54 | 108.41 | 77.59 | 79.5 | 53.8 | 61.83 | 94.27 | 84.4 | 63.09 | 62.39 | 78.47 | 47.31 | 27 | 965 | 36 | 25.9
25.10.22 12:46:39 | 3.05 | 75.98 | 78.91 | 109.86 | 48.52 | 111.8 | 88.77 | 62.25 | 90.14 | 80.24 | 70.76 | 79.65 | 62.53 | 75.25 | 108.41 | 77.3 | 79.35 | 53.39 | 61.55 | 94.11 | 84.1 | 62.39 | 62.25 | 78.32 | 47.04 | 27 | 965 | 36 | 25.91
25.10.22 12:46:54 | 3.3 | 75.69 | 78.62 | 110.02 | 48.38 | 111.8 | 88.92 | 61.83 | 89.98 | 80.24 | 70.48 | 79.65 | 61.97 | 75.1 | 108.41 | 76.86 | 79.21 | 53.26 | 61.55 | 93.81 | 83.8 | 62.25 | 62.11 | 78.32 | 46.37 | 27 | 965 | 36 | 25.94
25.10.22 12:47:09 | 3.55 | 75.25 | 78.18 | 110.02 | 47.84 | 111.96 | 88.92 | 61.41 | 89.98 | 80.09 | 70.19 | 79.35 | 62.11 | 74.81 | 108.57 | 76.71 | 79.21 | 53.26 | 61.41 | 93.65 | 83.21 | 62.11 | 61.97 | 78.18 | 45.97 | 27 | 965 | 36 | 25.97
25.10.22 12:47:24 | 3.8 | 75.1 | 77.88 | 110.18 | 47.57 | 111.8 | 88.62 | 61.27 | 89.83 | 79.94 | 69.9 | 79.21 | 62.11 | 74.52 | 108.57 | 76.42 | 79.06 | 53.12 | 61.13 | 93.35 | 82.61 | 61.55 | 61.83 | 78.03 | 45.43 | 27 | 965 | 36 | 25.97
25.10.22 12:47:39 | 4.05 | 74.96 | 77.59 | 110.18 | 47.17 | 112.12 | 88.77 | 60.85 | 89.53 | 79.8 | 69.47 | 78.91 | 61.97 | 74.23 | 108.57 | 76.12 | 79.06 | 52.99 | 60.85 | 93.19 | 81.72 | 61.13 | 61.83 | 77.73 | 44.77 | 27 | 965 | 36 | 26
25.10.22 12:47:54 | 4.3 | 74.52 | 77 | 110.02 | 46.77 | 111.96 | 88.62 | 60.43 | 89.38 | 79.5 | 69.33 | 78.62 | 61.83 | 74.09 | 108.57 | 76.12 | 78.91 | 52.44 | 60.71 | 93.04 | 81.13 | 60.43 | 61.83 | 77.59 | 44.37 | 27 | 965 | 36 | 26.01
25.10.22 12:48:09 | 4.55 | 74.52 | 76.86 | 110.18 | 46.24 | 112.12 | 88.62 | 60.29 | 89.38 | 79.65 | 69.19 | 78.47 | 61.55 | 73.8 | 108.57 | 75.98 | 79.06 | 51.62 | 60.43 | 92.88 | 79.94 | 60.29 | 61.83 | 77.59 | 43.97 | 27 | 965 | 36 | 26.01
25.10.22 12:48:24 | 4.8 | 74.23 | 76.12 | 110.18 | 45.83 | 112.12 | 88.47 | 59.73 | 89.22 | 79.65 | 68.9 | 78.18 | 61.41 | 73.65 | 108.41 | 75.98 | 78.76 | 51.22 | 60.15 | 92.42 | 78.91 | 60.01 | 61.55 | 77.44 | 43.57 | 27 | 965 | 36 | 26.04
25.10.22 12:48:39 | 5.05 | 73.51 | 75.25 | 109.7 | 45.17 | 111.8 | 88.16 | 59.04 | 88.47 | 79.06 | 68.33 | 77.44 | 60.57 | 73.07 | 108.25 | 75.69 | 78.62 | 50.54 | 59.6 | 91.97 | 77.44 | 59.32 | 60.99 | 77 | 42.65 | 27 | 965 | 36 | 26.05
25.10.22 12:48:54 | 5.3 | 73.65 | 74.96 | 110.02 | 45.03 | 112.12 | 88.47 | 58.76 | 88.62 | 79.21 | 68.47 | 77.44 | 60.43 | 72.93 | 108.57 | 75.54 | 78.76 | 50.54 | 59.6 | 91.97 | 76.71 | 59.46 | 61.27 | 77 | 42.65 | 27 | 965 | 36 | 26.08
25.10.22 12:49:09 | 5.55 | 73.36 | 74.67 | 110.34 | 44.77 | 112.12 | 88.31 | 58.07 | 88.62 | 79.35 | 68.19 | 77.3 | 59.6 | 72.78 | 108.57 | 75.54 | 78.91 | 50.4 | 59.32 | 91.81 | 75.69 | 59.32 | 61.27 | 77.15 | 41.99 | 27 | 965 | 36 | 26.08
25.10.22 12:49:24 | 5.8 | 72.93 | 74.23 | 110.18 | 44.1 | 112.12 | 88.16 | 57.38 | 88.31 | 79.06 | 67.9 | 77.15 | 58.76 | 72.49 | 108.73 | 75.54 | 78.62 | 50.27 | 59.04 | 91.66 | 74.96 | 59.04 | 61.13 | 76.86 | 41.59 | 27 | 965 | 36 | 26.1
25.10.22 12:49:39 | 6.05 | 72.64 | 73.94 | 110.18 | 43.57 | 112.12 | 88.01 | 56.69 | 88.01 | 78.91 | 67.76 | 76.56 | 57.93 | 72.06 | 108.41 | 75.25 | 78.62 | 50 | 58.62 | 91.66 | 73.94 | 58.76 | 60.99 | 76.56 | 41.33 | 27 | 965 | 36 | 26.11
25.10.22 12:49:54 | 6.3 | 72.06 | 73.65 | 110.18 | 43.31 | 112.12 | 87.86 | 56.27 | 88.01 | 78.91 | 67.47 | 76.56 | 57.1 | 71.63 | 108.57 | 75.25 | 78.62 | 50 | 58.21 | 91.51 | 72.93 | 58.35 | 60.99 | 76.56 | 40.67 | 27 | 965 | 36 | 26.13
25.10.22 12:50:09 | 6.55 | 71.77 | 73.51 | 110.18 | 42.91 | 112.29 | 87.86 | 56.27 | 87.86 | 78.91 | 67.19 | 76.12 | 56.27 | 71.2 | 108.57 | 75.1 | 78.62 | 49.86 | 57.93 | 91.35 | 72.35 | 57.93 | 60.85 | 76.42 | 40.67 | 27 | 965 | 36 | 26.14
25.10.22 12:50:24 | 6.8 | 71.48 | 73.36 | 110.02 | 42.38 | 112.12 | 87.86 | 56 | 87.56 | 78.76 | 67.19 | 75.98 | 55.45 | 70.91 | 108.25 | 75.1 | 78.62 | 49.19 | 57.79 | 91.2 | 71.48 | 57.38 | 60.57 | 75.83 | 40.41 | 27 | 965 | 36 | 26.15
25.10.22 12:50:39 | 7.05 | 71.34 | 73.22 | 110.34 | 42.25 | 112.29 | 87.56 | 55.86 | 87.56 | 78.91 | 67.05 | 75.69 | 55.04 | 70.62 | 108.57 | 74.96 | 78.47 | 49.19 | 57.38 | 91.2 | 70.76 | 57.38 | 60.71 | 75.98 | 40.14 | 27 | 965 | 36 | 26.16
25.10.22 12:50:54 | 7.3 | 70.91 | 73.07 | 110.34 | 41.59 | 112.29 | 87.56 | 55.59 | 87.26 | 78.76 | 66.76 | 75.4 | 54.35 | 70.19 | 108.57 | 74.81 | 78.62 | 49.05 | 57.1 | 91.05 | 70.33 | 56.83 | 60.57 | 75.98 | 40.01 | 27 | 965 | 36 | 26.18
25.10.22 12:51:09 | 7.55 | 70.62 | 72.78 | 110.34 | 41.19 | 112.29 | 87.56 | 55.31 | 87.11 | 78.62 | 66.48 | 75.1 | 53.8 | 69.33 | 108.57 | 74.38 | 78.47 | 48.78 | 56.83 | 90.74 | 69.62 | 56.27 | 60.43 | 75.69 | 39.49 | 27 | 965 | 36 | 26.19
25.10.22 12:51:24 | 7.8 | 70.33 | 72.93 | 110.34 | 40.67 | 112.45 | 87.41 | 55.17 | 86.95 | 78.47 | 66.34 | 74.67 | 53.53 | 69.19 | 108.41 | 74.23 | 78.32 | 48.38 | 56.55 | 90.44 | 69.04 | 55.72 | 60.15 | 75.4 | 39.23 | 27 | 965 | 36 | 26.21
25.10.22 12:51:39 | 8.05 | 69.9 | 72.78 | 110.34 | 40.41 | 112.29 | 87.41 | 55.04 | 86.95 | 78.47 | 66.34 | 74.52 | 53.39 | 69.04 | 108.57 | 74.23 | 78.32 | 48.11 | 56.55 | 90.59 | 68.62 | 55.45 | 60.29 | 75.1 | 38.96 | 27 | 965 | 36 | 26.22
25.10.22 12:51:54 | 8.3 | 69.9 | 72.64 | 110.34 | 39.88 | 112.29 | 87.26 | 54.76 | 86.8 | 78.32 | 65.91 | 74.23 | 53.26 | 68.47 | 108.57 | 73.94 | 78.03 | 47.71 | 56.27 | 90.44 | 68.04 | 55.04 | 60.01 | 74.96 | 38.57 | 27 | 965 | 36 | 26.24
25.10.22 12:52:09 | 8.55 | 69.76 | 72.49 | 110.67 | 39.49 | 112.45 | 87.26 | 54.49 | 86.65 | 78.32 | 65.77 | 74.09 | 53.12 | 68.33 | 108.73 | 73.65 | 78.18 | 47.84 | 56 | 90.14 | 67.76 | 54.63 | 60.01 | 74.81 | 38.18 | 27 | 965 | 36 | 26.25
25.10.22 12:52:24 | 8.8 | 69.47 | 72.49 | 110.51 | 38.96 | 112.61 | 87.26 | 54.35 | 86.65 | 78.32 | 65.49 | 73.94 | 53.12 | 68.19 | 108.89 | 73.51 | 78.32 | 47.71 | 56 | 89.98 | 67.19 | 54.35 | 60.01 | 74.67 | 38.05 | 27 | 965 | 36 | 26.25
25.10.22 12:52:39 | 9.05 | 69.04 | 72.2 | 110.34 | 38.05 | 112.45 | 86.95 | 53.94 | 86.35 | 77.88 | 65.2 | 73.51 | 53.12 | 67.76 | 108.57 | 73.22 | 78.03 | 47.31 | 55.45 | 89.83 | 67.05 | 53.94 | 59.6 | 74.38 | 37.53 | 27 | 965 | 36 | 26.26
25.10.22 12:52:54 | 9.3 | 68.76 | 71.77 | 110.34 | 37.79 | 112.45 | 86.8 | 53.67 | 86.2 | 77.73 | 65.2 | 73.07 | 52.99 | 67.47 | 108.57 | 73.07 | 77.88 | 46.77 | 55.45 | 89.83 | 66.76 | 53.8 | 59.46 | 74.23 | 37.14 | 27 | 965 | 36 | 26.29
25.10.22 12:53:09 | 9.55 | 68.47 | 71.77 | 110.51 | 37.4 | 112.45 | 86.8 | 53.26 | 86.05 | 77.73 | 64.92 | 72.93 | 52.85 | 67.47 | 108.73 | 72.93 | 77.88 | 46.24 | 54.9 | 89.53 | 66.34 | 53.67 | 59.6 | 74.23 | 36.88 | 27 | 965 | 36 | 26.29
25.10.22 12:53:24 | 9.8 | 68.19 | 71.48 | 110.34 | 36.88 | 112.61 | 86.8 | 53.12 | 85.9 | 77.73 | 64.5 | 72.49 | 52.71 | 67.05 | 108.57 | 72.78 | 77.59 | 45.7 | 54.35 | 89.38 | 66.2 | 53.12 | 59.46 | 73.94 | 36.49 | 27 | 965 | 36 | 26.3
25.10.22 12:53:39 | 10.05 | 67.9 | 71.34 | 110.34 | 36.36 | 112.61 | 86.5 | 52.58 | 85.75 | 77.44 | 64.08 | 72.2 | 52.17 | 66.62 | 108.57 | 72.35 | 77.59 | 45.43 | 53.8 | 88.92 | 65.91 | 52.58 | 59.32 | 73.51 | 35.97 | 27 | 965 | 36 | 26.32
25.10.22 12:53:54 | 10.3 | 67.76 | 71.2 | 110.51 | 35.84 | 112.61 | 86.5 | 52.58 | 85.45 | 77.44 | 63.93 | 72.06 | 52.17 | 66.62 | 108.73 | 72.35 | 77.59 | 45.17 | 53.26 | 89.07 | 65.77 | 52.3 | 59.04 | 73.36 | 35.58 | 27 | 965 | 36 | 26.33
25.10.22 12:54:09 | 10.55 | 67.47 | 70.91 | 110.51 | 35.45 | 112.61 | 86.2 | 52.3 | 85.6 | 77.3 | 63.65 | 71.77 | 52.17 | 66.2 | 108.57 | 72.2 | 77.44 | 45.03 | 53.12 | 88.77 | 65.49 | 52.03 | 58.9 | 73.07 | 35.19 | 27 | 965 | 36 | 26.35
25.10.22 12:54:24 | 10.8 | 67.33 | 70.91 | 110.51 | 35.06 | 112.77 | 86.2 | 52.03 | 85.3 | 77.44 | 63.51 | 71.48 | 52.03 | 65.91 | 108.57 | 72.06 | 77.44 | 44.9 | 52.85 | 88.77 | 65.2 | 51.62 | 59.04 | 72.93 | 34.93 | 27 | 965 | 36 | 26.38
25.10.22 12:54:39 | 11.05 | 66.91 | 70.62 | 110.51 | 34.16 | 112.61 | 86.05 | 51.62 | 85 | 77.15 | 62.95 | 71.34 | 51.49 | 65.63 | 108.57 | 71.77 | 77.15 | 44.77 | 52.58 | 88.47 | 65.06 | 51.08 | 58.62 | 72.49 | 34.55 | 27 | 965 | 36 | 26.39
25.10.22 12:54:54 | 11.3 | 66.76 | 70.48 | 110.67 | 33.64 | 112.61 | 86.05 | 51.35 | 85 | 77.15 | 62.81 | 71.05 | 50.95 | 65.63 | 108.57 | 71.63 | 77.15 | 44.77 | 52.71 | 88.47 | 64.78 | 50.95 | 58.62 | 72.35 | 34.16 | 27 | 965 | 36 | 26.38
25.10.22 12:55:09 | 11.55 | 66.34 | 70.33 | 110.51 | 33.26 | 112.77 | 85.75 | 51.08 | 84.4 | 76.86 | 62.67 | 70.76 | 50.68 | 65.2 | 108.41 | 71.34 | 77.15 | 44.5 | 52.3 | 88.16 | 64.64 | 50.54 | 58.48 | 72.06 | 33.77 | 27 | 965 | 36 | 26.4
25.10.22 12:55:24 | 11.8 | 66.05 | 70.05 | 110.51 | 33 | 112.77 | 85.6 | 50.68 | 84.4 | 77 | 62.53 | 70.33 | 50.27 | 64.78 | 108.57 | 71.2 | 77 | 44.37 | 52.03 | 88.16 | 64.5 | 50.13 | 58.07 | 71.77 | 33.39 | 27 | 965 | 36 | 26.41
25.10.22 12:55:40 | 12.07 | 65.77 | 69.76 | 110.51 | 32.62 | 112.77 | 85.75 | 50.54 | 84.1 | 76.86 | 61.97 | 70.19 | 50.27 | 64.5 | 108.73 | 71.05 | 77 | 44.1 | 51.9 | 88.16 | 64.5 | 49.73 | 58.07 | 71.48 | 33.13 | 27 | 965 | 36 | 26.43
25.10.22 12:55:55 | 12.32 | 65.63 | 69.76 | 110.67 | 32.23 | 112.77 | 85.75 | 50.4 | 83.95 | 76.86 | 61.83 | 69.9 | 49.86 | 64.22 | 108.73 | 70.76 | 77 | 44.1 | 51.76 | 88.01 | 64.36 | 49.32 | 57.93 | 71.2 | 32.74 | 27 | 965 | 36 | 26.44
25.10.22 12:56:10 | 12.57 | 65.06 | 69.47 | 110.51 | 31.85 | 112.77 | 85.3 | 50 | 83.65 | 76.56 | 61.27 | 69.62 | 49.59 | 63.79 | 108.57 | 70.33 | 76.56 | 43.71 | 51.35 | 87.56 | 64.08 | 48.65 | 57.52 | 70.76 | 32.36 | 27 | 965 | 36 | 26.44
25.10.22 12:56:24 | 12.8 | 64.92 | 69.33 | 110.83 | 31.59 | 113.1 | 85.45 | 50 | 83.65 | 76.86 | 61.27 | 69.47 | 49.19 | 63.79 | 108.73 | 70.33 | 76.71 | 43.84 | 51.08 | 87.71 | 64.36 | 48.38 | 57.52 | 70.19 | 32.36 | 27 | 965 | 36 | 26.46
25.10.22 12:56:39 | 13.05 | 64.5 | 69.04 | 110.51 | 31.21 | 112.93 | 85.15 | 49.73 | 83.21 | 76.42 | 60.71 | 69.04 | 48.78 | 63.23 | 108.41 | 69.9 | 76.42 | 43.44 | 50.54 | 87.56 | 63.93 | 47.98 | 57.24 | 69.76 | 31.85 | 27 | 965 | 36 | 26.47
25.10.22 12:56:55 | 13.32 | 64.22 | 68.76 | 110.67 | 30.7 | 112.77 | 85 | 49.73 | 83.21 | 76.42 | 60.57 | 68.76 | 48.25 | 62.95 | 108.73 | 69.9 | 76.42 | 43.44 | 50.4 | 87.41 | 63.93 | 47.84 | 57.24 | 69.47 | 31.46 | 27 | 965 | 36 | 26.49
25.10.22 12:57:10 | 13.57 | 63.79 | 68.9 | 110.51 | 30.31 | 112.93 | 84.85 | 49.32 | 83.06 | 76.27 | 60.15 | 68.33 | 47.71 | 62.81 | 108.41 | 69.62 | 76.27 | 43.31 | 50.13 | 87.26 | 63.93 | 47.57 | 56.83 | 69.33 | 31.33 | 27 | 965 | 36 | 26.49
25.10.22 12:57:25 | 13.82 | 63.65 | 68.47 | 110.51 | 29.93 | 112.77 | 84.85 | 49.05 | 82.61 | 76.12 | 59.73 | 68.04 | 47.17 | 62.39 | 108.41 | 69.33 | 76.27 | 42.91 | 49.73 | 86.95 | 63.51 | 47.31 | 56.69 | 68.76 | 30.82 | 27 | 965 | 36 | 26.51
25.10.22 12:57:40 | 14.07 | 63.37 | 68.47 | 110.67 | 29.42 | 112.93 | 84.55 | 49.05 | 82.46 | 76.12 | 59.6 | 67.76 | 46.77 | 62.11 | 108.57 | 69.19 | 75.98 | 42.91 | 49.46 | 86.8 | 63.51 | 46.9 | 56.69 | 68.76 | 30.7 | 27 | 965 | 36 | 26.51
25.10.22 12:57:55 | 14.32 | 63.09 | 68.19 | 110.51 | 29.17 | 112.93 | 84.55 | 48.78 | 82.46 | 75.98 | 59.04 | 67.47 | 46.64 | 61.55 | 108.73 | 69.04 | 76.12 | 42.78 | 49.19 | 86.8 | 63.37 | 46.5 | 56.41 | 68.62 | 30.31 | 27 | 965 | 36 | 26.51
25.10.22 12:58:10 | 14.57 | 62.81 | 67.76 | 110.67 | 28.79 | 112.93 | 84.25 | 48.52 | 82.02 | 75.54 | 58.76 | 67.19 | 46.64 | 61.13 | 108.73 | 68.9 | 75.98 | 42.38 | 48.78 | 86.5 | 63.23 | 46.37 | 56.14 | 68.33 | 30.06 | 27 | 965 | 36 | 26.53
25.10.22 12:58:25 | 14.82 | 62.53 | 67.76 | 110.83 | 28.53 | 113.26 | 84.4 | 48.11 | 81.87 | 75.69 | 58.35 | 66.76 | 46.5 | 60.85 | 108.57 | 68.47 | 75.83 | 41.85 | 48.52 | 86.5 | 63.09 | 45.97 | 56.27 | 68.04 | 29.8 | 27 | 965 | 36 | 26.54
25.10.22 12:58:40 | 15.07 | 62.25 | 67.47 | 110.51 | 28.15 | 113.1 | 84.1 | 47.84 | 81.57 | 75.54 | 58.35 | 66.48 | 46.1 | 60.71 | 108.57 | 68.19 | 75.69 | 41.33 | 47.98 | 86.2 | 62.81 | 45.57 | 55.86 | 67.9 | 29.42 | 27 | 965 | 36 | 26.54
25.10.22 12:58:54 | 15.3 | 61.97 | 67.33 | 110.67 | 27.9 | 113.26 | 83.95 | 47.71 | 81.57 | 75.4 | 57.79 | 66.2 | 45.97 | 60.29 | 108.73 | 67.76 | 75.54 | 41.06 | 47.57 | 86.05 | 62.81 | 45.3 | 55.59 | 67.76 | 29.04 | 27 | 965 | 36 | 26.54
25.10.22 12:59:09 | 15.55 | 61.83 | 67.05 | 110.67 | 27.52 | 113.26 | 83.8 | 47.31 | 81.27 | 75.25 | 57.79 | 65.77 | 45.7 | 60.01 | 108.73 | 67.76 | 75.54 | 40.8 | 47.44 | 85.9 | 62.25 | 44.9 | 55.59 | 67.62 | 28.79 | 27 | 965 | 36 | 26.57
25.10.22 12:59:25 | 15.82 | 61.55 | 66.91 | 110.83 | 27.39 | 113.26 | 83.65 | 47.44 | 81.13 | 75.25 | 57.38 | 65.63 | 45.3 | 59.73 | 108.73 | 67.47 | 75.25 | 40.54 | 47.44 | 85.75 | 62.25 | 44.64 | 55.45 | 67.33 | 28.41 | 27 | 965 | 36 | 26.58
25.10.22 12:59:40 | 16.07 | 61.13 | 66.62 | 110.67 | 26.89 | 113.1 | 83.8 | 47.31 | 80.98 | 75.1 | 57.1 | 65.49 | 44.9 | 59.32 | 108.73 | 67.33 | 75.25 | 40.41 | 46.9 | 85.3 | 61.83 | 44.1 | 55.31 | 67.33 | 28.15 | 27 | 965 | 36 | 26.58
25.10.22 12:59:55 | 16.32 | 60.99 | 66.48 | 110.83 | 26.64 | 113.42 | 83.51 | 47.17 | 80.68 | 74.96 | 56.96 | 65.06 | 44.64 | 59.32 | 108.89 | 67.05 | 75.25 | 40.27 | 46.64 | 85.3 | 61.41 | 43.84 | 55.04 | 67.19 | 27.9 | 27 | 965 | 36 | 26.58
25.10.22 13:00:10 | 16.57 | 60.71 | 66.2 | 110.99 | 26.51 | 113.42 | 83.36 | 47.04 | 80.39 | 74.96 | 56.55 | 64.92 | 44.37 | 58.9 | 108.57 | 66.91 | 75.1 | 39.88 | 46.24 | 85.3 | 60.71 | 43.57 | 55.04 | 66.76 | 27.52 | 27 | 965 | 36 | 26.6
25.10.22 13:00:25 | 16.82 | 60.29 | 65.77 | 110.83 | 26.01 | 113.26 | 83.06 | 46.9 | 80.09 | 74.67 | 56.14 | 64.5 | 43.84 | 58.48 | 108.73 | 66.34 | 74.96 | 39.62 | 45.7 | 85.15 | 60.29 | 43.04 | 54.63 | 66.2 | 27.14 | 27 | 965 | 36 | 26.61
25.10.22 13:00:40 | 17.07 | 60.01 | 65.77 | 110.67 | 25.88 | 113.26 | 83.06 | 46.77 | 79.65 | 74.52 | 55.86 | 63.93 | 43.71 | 57.93 | 108.73 | 66.05 | 74.81 | 39.36 | 45.3 | 85 | 59.6 | 42.78 | 54.49 | 65.77 | 26.64 | 27 | 965 | 36 | 26.61
25.10.22 13:00:55 | 17.32 | 59.6 | 65.63 | 110.83 | 25.51 | 113.26 | 82.76 | 46.5 | 79.5 | 74.38 | 55.72 | 63.51 | 43.18 | 57.1 | 108.41 | 65.77 | 74.38 | 39.09 | 45.17 | 84.7 | 58.9 | 42.38 | 54.22 | 65.49 | 26.26 | 27 | 965 | 36 | 26.61
25.10.22 13:01:10 | 17.57 | 59.46 | 65.35 | 110.83 | 25.13 | 113.42 | 82.76 | 46.24 | 79.35 | 74.23 | 55.59 | 63.23 | 42.91 | 56.41 | 108.57 | 65.63 | 74.52 | 38.96 | 44.9 | 84.85 | 58.76 | 42.12 | 54.22 | 65.35 | 26.01 | 27 | 965 | 36 | 26.64
25.10.22 13:01:25 | 17.82 | 58.9 | 65.06 | 110.51 | 24.75 | 112.93 | 82.31 | 45.97 | 78.91 | 74.09 | 55.17 | 62.81 | 42.25 | 55.45 | 108.57 | 65.49 | 74.23 | 38.83 | 44.9 | 84.55 | 58.07 | 41.72 | 53.67 | 65.2 | 25.76 | 27 | 965 | 36 | 26.65
25.10.22 13:01:40 | 18.07 | 58.48 | 65.06 | 110.67 | 24.5 | 113.26 | 82.31 | 45.7 | 78.91 | 73.94 | 55.04 | 62.53 | 41.85 | 54.76 | 108.57 | 65.2 | 74.09 | 38.57 | 44.64 | 84.4 | 58.07 | 41.72 | 53.67 | 65.06 | 25.38 | 27 | 965 | 36 | 26.64
25.10.22 13:01:55 | 18.32 | 58.21 | 64.92 | 110.67 | 24.13 | 113.42 | 82.17 | 45.57 | 78.76 | 73.65 | 54.76 | 62.39 | 41.46 | 54.22 | 108.73 | 65.06 | 73.94 | 38.44 | 44.37 | 84.55 | 57.65 | 41.33 | 53.39 | 64.78 | 25.13 | 27 | 965 | 36 | 26.65
25.10.22 13:02:10 | 18.57 | 57.93 | 64.92 | 110.67 | 23.75 | 113.26 | 82.02 | 45.17 | 78.47 | 73.22 | 54.22 | 62.11 | 40.67 | 54.08 | 108.57 | 64.92 | 73.8 | 38.18 | 44.1 | 84.25 | 57.38 | 40.8 | 53.26 | 64.64 | 24.75 | 27 | 965 | 36 | 26.65
25.10.22 13:02:25 | 18.82 | 57.52 | 64.5 | 110.67 | 23.63 | 113.26 | 81.72 | 44.77 | 78.03 | 73.07 | 54.22 | 61.69 | 40.14 | 53.8 | 108.41 | 64.64 | 73.65 | 37.66 | 43.97 | 83.95 | 57.24 | 40.67 | 52.99 | 64.36 | 24.5 | 27 | 965 | 36 | 26.68
25.10.22 13:02:40 | 19.07 | 57.1 | 64.5 | 110.51 | 23.38 | 113.1 | 81.57 | 44.5 | 77.88 | 72.64 | 54.08 | 61.55 | 39.75 | 53.8 | 108.41 | 64.36 | 73.51 | 36.88 | 43.84 | 83.36 | 56.83 | 40.54 | 52.99 | 64.22 | 24.5 | 27 | 965 | 36 | 26.68
25.10.22 13:02:55 | 19.32 | 56.83 | 64.5 | 110.83 | 23.13 | 113.26 | 81.57 | 44.37 | 77.59 | 72.64 | 53.94 | 61.27 | 39.75 | 53.67 | 108.73 | 64.22 | 73.51 | 36.75 | 43.71 | 83.06 | 56.96 | 40.67 | 52.71 | 64.08 | 24.25 | 27 | 965 | 36 | 26.69
25.10.22 13:03:10 | 19.57 | 56.41 | 64.08 | 110.67 | 22.88 | 113.26 | 81.27 | 43.84 | 77.3 | 72.49 | 53.67 | 60.99 | 39.49 | 53.53 | 108.57 | 64.08 | 73.22 | 36.1 | 43.31 | 82.91 | 56.69 | 40.14 | 52.44 | 63.79 | 23.88 | 27 | 965 | 36 | 26.71
25.10.22 13:03:25 | 19.82 | 56.14 | 63.79 | 110.67 | 22.63 | 113.26 | 81.27 | 43.57 | 77.15 | 72.2 | 53.39 | 60.71 | 39.36 | 53.39 | 108.41 | 63.93 | 73.07 | 35.32 | 43.31 | 82.61 | 56.55 | 40.27 | 52.44 | 63.79 | 24 | 27 | 965 | 36 | 26.72
25.10.22 13:03:40 | 20.07 | 55.72 | 63.65 | 110.83 | 22.38 | 113.42 | 80.83 | 43.18 | 76.71 | 72.06 | 52.99 | 60.57 | 39.09 | 53.12 | 108.57 | 63.65 | 73.07 | 34.93 | 43.04 | 82.61 | 56.55 | 40.01 | 52.17 | 63.51 | 23.88 | 27 | 965 | 36 | 26.72
25.10.22 13:03:55 | 20.32 | 55.17 | 63.51 | 110.67 | 22.01 | 113.26 | 80.68 | 42.78 | 76.12 | 71.77 | 52.58 | 60.15 | 38.7 | 52.71 | 108.57 | 63.51 | 72.78 | 34.68 | 42.78 | 82.46 | 56.27 | 39.75 | 51.9 | 63.23 | 23.38 | 27 | 965 | 36 | 26.72
25.10.22 13:04:10 | 20.57 | 54.9 | 63.37 | 110.83 | 21.88 | 113.59 | 80.68 | 42.65 | 76.42 | 71.77 | 52.44 | 60.01 | 38.7 | 52.44 | 108.57 | 63.51 | 72.93 | 34.55 | 42.78 | 82.46 | 56 | 39.88 | 51.76 | 63.23 | 23.38 | 27 | 965 | 36 | 26.72