## Oxygen OPA
Measurement Name : | 20221027_SDR641_WT_AMB |  | Generated On : | 27/10/2022, 17:52:23 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 27/10/2022, 17:21:12 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 27/10/2022, 17:52:01 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.46 | 46.32 | 46.41 | 46.38 | 46.48 | 46.34 | 46.41 | 46.32 | 46.52 | 46.42 | 46.46 | 46.38 | 46.48 | 46.3 | 46.48 | 46.42 | 46.34 | 46.47 | 46.36 | 46.86 | 46.51 | 46.51 | 46.39 | 46.24
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
27.10.22 17:21:14 | 0.03 | 90.89 | 85.45 | 93.22 | 94.52 | 77.33 | 96.83 | 96.37 | 90.88 | 93 | 98.11 | 88.76 | 93.95 | 92.88 | 91.74 | 92.88 | 96.23 | 90.02 | 98.68 | 98.26 | 106.64 | 90.7 | 87.86 | 97.68 | 94.59 | 27 | 965 | 36 | 25.79
27.10.22 17:21:29 | 0.28 | 90.61 | 85.45 | 93.22 | 94.66 | 77.6 | 97.12 | 96.37 | 90.6 | 92.85 | 98.54 | 88.48 | 93.95 | 92.74 | 91.88 | 93.02 | 96.23 | 89.6 | 98.83 | 98.26 | 106.64 | 90.56 | 87.71 | 97.39 | 94.74 | 27 | 965 | 36 | 25.82
27.10.22 17:21:44 | 0.53 | 90.61 | 85.59 | 93.22 | 94.81 | 77.46 | 97.12 | 96.52 | 90.04 | 93 | 98.4 | 88.48 | 94.23 | 92.88 | 91.88 | 92.74 | 96.51 | 89.6 | 98.83 | 98.41 | 106.64 | 90.13 | 87.71 | 97.39 | 95.16 | 27 | 965 | 36 | 25.85
27.10.22 17:21:59 | 0.78 | 90.47 | 85.31 | 93.5 | 95.09 | 77.33 | 97.55 | 96.66 | 90.04 | 93.14 | 98.54 | 88.62 | 94.23 | 92.88 | 92.02 | 93.02 | 96.66 | 89.88 | 99.12 | 98.84 | 106.95 | 89.99 | 87.71 | 97.82 | 95.02 | 27 | 965 | 36 | 25.86
27.10.22 17:22:14 | 1.03 | 90.04 | 85.18 | 93.07 | 94.81 | 76.92 | 97.26 | 96.66 | 89.76 | 92.71 | 98.54 | 88.06 | 94.23 | 92.74 | 91.88 | 92.88 | 96.66 | 89.46 | 98.83 | 98.55 | 106.64 | 89.13 | 87.29 | 97.53 | 95.02 | 27 | 965 | 36 | 25.89
27.10.22 17:22:29 | 1.28 | 89.61 | 84.76 | 93.07 | 94.81 | 76.78 | 97.12 | 96.37 | 89.06 | 92.42 | 98.54 | 87.78 | 93.95 | 92.59 | 91.6 | 92.74 | 96.51 | 89.32 | 98.97 | 98.7 | 106.79 | 88.85 | 86.58 | 97.25 | 94.74 | 27 | 965 | 36 | 25.9
27.10.22 17:22:44 | 1.53 | 89.33 | 84.9 | 93.07 | 95.09 | 76.78 | 97.4 | 96.37 | 89.06 | 92.56 | 98.54 | 87.63 | 94.23 | 92.59 | 91.6 | 92.59 | 96.66 | 89.18 | 99.12 | 98.84 | 107.11 | 88.71 | 86.44 | 97.39 | 94.88 | 27 | 965 | 36 | 25.91
27.10.22 17:22:59 | 1.78 | 89.05 | 84.9 | 92.93 | 94.81 | 76.51 | 97.4 | 96.66 | 88.5 | 92.71 | 98.83 | 87.49 | 94.23 | 92.45 | 91.6 | 92.59 | 96.51 | 88.9 | 98.97 | 98.84 | 106.95 | 88.71 | 86.58 | 97.53 | 95.02 | 27 | 965 | 36 | 25.93
27.10.22 17:23:14 | 2.03 | 88.62 | 84.63 | 92.79 | 94.81 | 76.1 | 97.4 | 96.37 | 88.08 | 92.28 | 98.69 | 87.21 | 94.09 | 92.16 | 91.46 | 92.16 | 96.8 | 88.2 | 98.97 | 98.7 | 106.79 | 87.71 | 86.02 | 97.39 | 95.02 | 27 | 965 | 36 | 25.94
27.10.22 17:23:29 | 2.28 | 88.48 | 84.63 | 92.79 | 94.95 | 76.23 | 97.4 | 96.37 | 87.67 | 92.42 | 98.69 | 86.93 | 94.09 | 91.88 | 91.32 | 92.02 | 96.8 | 88.06 | 98.97 | 98.84 | 107.11 | 87.57 | 86.16 | 97.53 | 95.16 | 27 | 965 | 36 | 25.97
27.10.22 17:23:44 | 2.53 | 88.2 | 84.49 | 92.5 | 94.95 | 75.83 | 97.26 | 96.37 | 87.67 | 92.42 | 98.69 | 86.79 | 94.23 | 91.88 | 91.04 | 91.88 | 96.8 | 87.92 | 98.68 | 99.13 | 106.95 | 87.43 | 86.02 | 97.39 | 94.88 | 27 | 965 | 36 | 25.97
27.10.22 17:23:59 | 2.78 | 87.78 | 84.35 | 92.36 | 94.81 | 75.83 | 97.4 | 96.37 | 87.11 | 92.28 | 98.69 | 86.37 | 94.09 | 91.73 | 90.76 | 91.73 | 96.51 | 87.5 | 98.68 | 99.13 | 106.95 | 86.86 | 85.88 | 97.25 | 94.88 | 27 | 965 | 36 | 25.99
27.10.22 17:24:14 | 3.03 | 87.78 | 84.21 | 92.5 | 94.81 | 75.83 | 97.55 | 96.52 | 87.11 | 92.28 | 98.83 | 86.37 | 94.23 | 91.73 | 90.76 | 91.45 | 96.95 | 87.64 | 98.68 | 98.99 | 107.26 | 86.72 | 85.73 | 97.53 | 94.74 | 27 | 965 | 36 | 26.01
27.10.22 17:24:29 | 3.28 | 87.21 | 83.94 | 92.22 | 94.81 | 75.42 | 97.4 | 96.23 | 86.97 | 92.13 | 98.54 | 86.09 | 93.81 | 91.45 | 90.2 | 91.45 | 96.51 | 87.23 | 98.54 | 98.99 | 107.26 | 86.3 | 85.17 | 97.1 | 94.74 | 27 | 965 | 36 | 26.01
27.10.22 17:24:44 | 3.53 | 87.21 | 83.94 | 92.22 | 94.52 | 75.55 | 97.26 | 96.23 | 86.56 | 92.13 | 98.69 | 85.67 | 93.95 | 91.45 | 90.2 | 91.45 | 96.8 | 87.23 | 98.39 | 99.13 | 107.26 | 86.16 | 85.17 | 96.96 | 94.74 | 27 | 965 | 36 | 26.03
27.10.22 17:24:59 | 3.78 | 86.79 | 83.94 | 92.08 | 94.81 | 75.15 | 97.55 | 96.37 | 86.56 | 91.99 | 98.83 | 85.53 | 93.81 | 91.3 | 90.06 | 91.16 | 96.95 | 86.81 | 98.39 | 99.13 | 107.11 | 86.02 | 84.75 | 97.1 | 94.88 | 27 | 965 | 36 | 26.04
27.10.22 17:25:14 | 4.03 | 86.51 | 83.8 | 91.93 | 94.66 | 75.01 | 97.26 | 96.37 | 85.73 | 91.99 | 98.69 | 85.39 | 93.81 | 91.02 | 89.78 | 91.16 | 96.95 | 86.67 | 98.1 | 99.27 | 107.42 | 85.73 | 84.47 | 96.96 | 94.88 | 27 | 965 | 36 | 26.04
27.10.22 17:25:29 | 4.28 | 86.23 | 83.8 | 91.93 | 94.81 | 74.87 | 97.55 | 96.37 | 85.73 | 91.84 | 98.83 | 85.11 | 93.81 | 90.88 | 89.36 | 90.88 | 96.95 | 86.53 | 98.1 | 99.27 | 107.26 | 85.88 | 84.33 | 97.1 | 95.02 | 27 | 965 | 36 | 26.07
27.10.22 17:25:44 | 4.53 | 85.81 | 83.53 | 91.65 | 94.81 | 74.74 | 97.4 | 96.23 | 85.31 | 91.41 | 98.69 | 84.83 | 93.66 | 90.31 | 89.22 | 90.45 | 96.8 | 86.25 | 97.66 | 99.27 | 107.11 | 85.45 | 83.77 | 96.81 | 94.88 | 27 | 965 | 36 | 26.08
27.10.22 17:25:59 | 4.78 | 85.53 | 83.53 | 91.51 | 94.95 | 74.74 | 97.55 | 96.23 | 85.04 | 91.27 | 98.83 | 84.41 | 93.81 | 90.16 | 89.22 | 90.45 | 97.09 | 86.39 | 97.81 | 99.42 | 107.57 | 85.31 | 83.63 | 97.1 | 94.88 | 27 | 965 | 36 | 26.07
27.10.22 17:26:14 | 5.03 | 85.25 | 83.25 | 91.37 | 94.66 | 74.6 | 97.4 | 96.23 | 84.9 | 90.84 | 98.4 | 83.99 | 93.66 | 90.16 | 88.8 | 90.31 | 96.95 | 85.98 | 97.37 | 99.27 | 107.57 | 85.17 | 83.35 | 96.81 | 94.74 | 27 | 965 | 36 | 26.1
27.10.22 17:26:29 | 5.28 | 84.97 | 82.98 | 91.22 | 94.66 | 74.2 | 97.26 | 95.94 | 84.49 | 90.7 | 98.4 | 83.29 | 93.66 | 90.31 | 88.39 | 90.02 | 96.8 | 85.7 | 97.37 | 99.13 | 107.57 | 84.61 | 82.93 | 96.67 | 94.59 | 27 | 965 | 36 | 26.11
27.10.22 17:26:44 | 5.53 | 84.69 | 82.98 | 91.08 | 94.81 | 74.06 | 97.4 | 96.08 | 84.49 | 90.7 | 98.83 | 82.88 | 93.09 | 90.02 | 88.25 | 89.74 | 97.09 | 85.7 | 97.22 | 99.42 | 107.57 | 84.33 | 82.93 | 96.81 | 95.02 | 27 | 965 | 36 | 26.1
27.10.22 17:26:59 | 5.78 | 84.13 | 82.57 | 90.8 | 94.66 | 74.06 | 97.12 | 95.94 | 84.08 | 90.41 | 98.54 | 82.74 | 92.53 | 89.88 | 87.83 | 89.31 | 97.09 | 85.28 | 96.93 | 99.27 | 107.26 | 83.91 | 82.37 | 96.52 | 94.45 | 27 | 965 | 36 | 26.11
27.10.22 17:27:14 | 6.03 | 83.99 | 82.3 | 90.8 | 94.66 | 73.52 | 97.12 | 95.8 | 83.53 | 90.27 | 98.4 | 82.32 | 92.24 | 89.88 | 87.55 | 89.31 | 96.95 | 85.28 | 96.5 | 99.13 | 107.73 | 83.63 | 82.23 | 96.67 | 94.45 | 27 | 965 | 36 | 26.14
27.10.22 17:27:29 | 6.28 | 83.71 | 82.16 | 90.51 | 94.38 | 73.39 | 97.26 | 95.94 | 83.39 | 90.27 | 98.4 | 82.32 | 92.1 | 89.74 | 87.14 | 89.17 | 97.09 | 85.42 | 96.35 | 99.42 | 107.26 | 83.35 | 81.95 | 96.38 | 94.45 | 27 | 965 | 36 | 26.14
27.10.22 17:27:44 | 6.53 | 83.57 | 82.3 | 90.51 | 94.52 | 73.25 | 97.4 | 95.8 | 82.84 | 90.12 | 98.25 | 82.32 | 91.96 | 89.59 | 87 | 89.17 | 97.24 | 85.01 | 96.21 | 99.42 | 107.57 | 83.49 | 82.23 | 96.38 | 94.31 | 27 | 965 | 36 | 26.14
27.10.22 17:27:59 | 6.78 | 83.02 | 82.16 | 90.23 | 94.38 | 72.85 | 97.26 | 95.94 | 82.71 | 90.12 | 98.54 | 82.18 | 91.82 | 89.45 | 86.58 | 88.88 | 97.09 | 85.01 | 95.92 | 99.27 | 107.73 | 83.63 | 82.37 | 96.24 | 94.45 | 27 | 965 | 36 | 26.15
27.10.22 17:28:14 | 7.03 | 83.02 | 82.16 | 90.09 | 94.52 | 72.58 | 97.4 | 95.94 | 82.43 | 89.98 | 98.54 | 81.91 | 91.96 | 89.45 | 86.31 | 88.6 | 97.38 | 85.01 | 95.48 | 99.56 | 107.57 | 83.35 | 82.37 | 96.38 | 94.59 | 27 | 965 | 36 | 26.18
27.10.22 17:28:29 | 7.28 | 82.46 | 81.75 | 89.67 | 94.23 | 72.17 | 97.12 | 95.8 | 82.02 | 89.84 | 98.4 | 81.49 | 91.67 | 88.74 | 86.03 | 88.46 | 97.09 | 84.46 | 95.19 | 99.13 | 107.73 | 83.21 | 82.09 | 96.09 | 94.17 | 27 | 965 | 36 | 26.16
27.10.22 17:28:44 | 7.53 | 82.18 | 81.75 | 89.67 | 94.52 | 72.17 | 97.12 | 95.65 | 81.48 | 89.69 | 98.11 | 81.08 | 91.53 | 88.74 | 85.62 | 88.03 | 97.09 | 84.32 | 94.9 | 99.27 | 107.73 | 82.93 | 81.68 | 95.81 | 94.03 | 27 | 965 | 36 | 26.18
27.10.22 17:28:59 | 7.78 | 81.77 | 81.61 | 89.67 | 94.23 | 71.91 | 97.26 | 95.65 | 81.2 | 89.55 | 98.4 | 81.22 | 91.53 | 88.46 | 85.48 | 88.03 | 97.09 | 84.59 | 94.47 | 99.27 | 107.73 | 82.65 | 81.95 | 96.09 | 94.17 | 27 | 965 | 36 | 26.19
27.10.22 17:29:14 | 8.03 | 81.49 | 81.2 | 89.1 | 94.09 | 71.5 | 97.12 | 95.51 | 80.8 | 89.41 | 98.4 | 80.8 | 91.25 | 88.18 | 84.93 | 87.61 | 97.09 | 84.04 | 94.18 | 99.42 | 107.57 | 82.37 | 81.68 | 95.81 | 94.03 | 27 | 965 | 36 | 26.19
27.10.22 17:29:29 | 8.28 | 81.35 | 81.2 | 88.82 | 94.09 | 71.37 | 96.83 | 95.65 | 80.8 | 89.27 | 98.11 | 80.8 | 91.11 | 88.18 | 84.66 | 87.33 | 97.24 | 83.63 | 94.04 | 99.42 | 107.73 | 81.81 | 81.54 | 95.81 | 94.03 | 27 | 965 | 36 | 26.22
27.10.22 17:29:44 | 8.53 | 81.08 | 81.07 | 88.4 | 93.95 | 70.97 | 97.12 | 95.51 | 80.12 | 88.98 | 98.25 | 80.66 | 91.25 | 87.89 | 84.11 | 87.19 | 96.95 | 83.49 | 93.46 | 99.42 | 108.04 | 81.26 | 81.54 | 95.66 | 94.03 | 27 | 965 | 36 | 26.22
27.10.22 17:29:59 | 8.78 | 80.53 | 80.93 | 88.26 | 93.81 | 71.1 | 96.97 | 95.37 | 79.98 | 88.84 | 97.96 | 80.53 | 90.97 | 87.75 | 83.7 | 86.62 | 97.24 | 83.63 | 92.74 | 99.42 | 107.89 | 80.98 | 81.54 | 95.95 | 93.89 | 27 | 965 | 36 | 26.22
27.10.22 17:30:14 | 9.03 | 80.66 | 81.07 | 88.12 | 94.09 | 70.97 | 97.12 | 95.51 | 79.58 | 88.55 | 98.11 | 80.53 | 91.25 | 87.61 | 83.56 | 86.76 | 97.38 | 83.63 | 92.6 | 99.56 | 108.04 | 80.84 | 81.4 | 96.09 | 93.89 | 27 | 965 | 36 | 26.22
27.10.22 17:30:29 | 9.28 | 80.11 | 80.39 | 87.7 | 93.81 | 70.7 | 96.97 | 95.37 | 79.44 | 88.41 | 97.96 | 80.39 | 90.83 | 87.19 | 83.01 | 86.34 | 97.09 | 83.08 | 92.03 | 99.42 | 107.73 | 80.43 | 81.12 | 95.66 | 93.47 | 27 | 965 | 36 | 26.26
27.10.22 17:30:44 | 9.53 | 79.84 | 80.53 | 87.56 | 93.95 | 70.56 | 96.97 | 95.22 | 79.04 | 88.13 | 97.82 | 80.25 | 90.83 | 86.9 | 82.6 | 86.34 | 97.09 | 82.94 | 91.6 | 99.42 | 107.73 | 79.87 | 80.7 | 95.66 | 93.33 | 27 | 965 | 36 | 26.25
27.10.22 17:30:59 | 9.78 | 79.56 | 80.39 | 87.28 | 93.95 | 70.03 | 97.12 | 95.08 | 78.77 | 87.84 | 98.11 | 80.25 | 90.54 | 86.76 | 82.33 | 85.92 | 97.24 | 82.94 | 91.46 | 99.27 | 107.89 | 79.73 | 80.7 | 95.66 | 93.47 | 27 | 965 | 36 | 26.26
27.10.22 17:31:14 | 10.03 | 79.43 | 80.12 | 87 | 93.66 | 70.16 | 96.97 | 95.08 | 78.77 | 87.84 | 97.96 | 80.11 | 90.4 | 86.48 | 81.79 | 85.92 | 97.09 | 82.67 | 91.03 | 99.56 | 108.2 | 79.73 | 80.7 | 95.52 | 93.33 | 27 | 965 | 36 | 26.26
27.10.22 17:31:29 | 10.28 | 79.01 | 79.98 | 86.86 | 93.81 | 70.16 | 96.97 | 95.08 | 78.5 | 87.56 | 97.96 | 80.11 | 90.54 | 86.2 | 81.65 | 85.64 | 96.95 | 82.81 | 90.6 | 99.42 | 108.04 | 79.87 | 80.43 | 95.37 | 93.33 | 27 | 965 | 36 | 26.28
27.10.22 17:31:44 | 10.53 | 78.6 | 79.58 | 86.58 | 93.66 | 69.63 | 96.83 | 94.93 | 78.23 | 87.42 | 97.96 | 79.7 | 90.26 | 85.92 | 81.11 | 84.94 | 97.09 | 82.4 | 90.32 | 99.13 | 108.04 | 79.32 | 80.15 | 95.23 | 93.19 | 27 | 965 | 36 | 26.28
27.10.22 17:31:59 | 10.78 | 78.19 | 79.17 | 86.3 | 93.24 | 69.5 | 96.54 | 94.79 | 77.82 | 87.13 | 97.82 | 79.43 | 89.84 | 85.5 | 80.7 | 84.8 | 97.09 | 82.4 | 89.89 | 99.56 | 108.2 | 78.91 | 80.01 | 95.09 | 93.05 | 27 | 965 | 36 | 26.29
27.10.22 17:32:14 | 11.03 | 78.19 | 79.04 | 86.16 | 93.38 | 69.5 | 96.68 | 94.93 | 77.82 | 87.13 | 97.82 | 79.15 | 89.7 | 85.22 | 80.43 | 84.66 | 97.09 | 82.4 | 89.46 | 99.42 | 108.2 | 79.04 | 80.01 | 95.23 | 92.77 | 27 | 965 | 36 | 26.29
27.10.22 17:32:29 | 11.28 | 77.64 | 78.5 | 85.74 | 93.38 | 69.23 | 96.25 | 94.93 | 77.55 | 86.99 | 97.82 | 78.88 | 89.28 | 84.52 | 79.89 | 84.1 | 96.95 | 82.26 | 89.32 | 99.27 | 108.04 | 78.49 | 79.73 | 94.94 | 92.77 | 27 | 965 | 36 | 26.32
27.10.22 17:32:44 | 11.53 | 77.51 | 78.5 | 85.32 | 93.24 | 68.83 | 96.25 | 94.79 | 77.42 | 86.85 | 97.82 | 78.88 | 89.42 | 84.24 | 79.89 | 83.68 | 97.09 | 82.4 | 89.18 | 99.42 | 108.36 | 78.36 | 79.46 | 94.8 | 92.77 | 27 | 965 | 36 | 26.32
27.10.22 17:32:59 | 11.78 | 76.96 | 78.09 | 85.18 | 93.24 | 69.1 | 96.25 | 94.79 | 77.42 | 86.71 | 97.67 | 78.6 | 89.42 | 84.1 | 79.35 | 83.12 | 97.09 | 81.99 | 88.75 | 99.42 | 108.36 | 77.94 | 79.32 | 94.8 | 92.77 | 27 | 965 | 36 | 26.33
27.10.22 17:33:14 | 12.03 | 76.96 | 77.42 | 85.04 | 93.09 | 68.7 | 96.25 | 94.65 | 76.75 | 86.57 | 97.53 | 78.47 | 89.14 | 83.82 | 79.08 | 82.84 | 96.95 | 81.58 | 88.47 | 99.56 | 108.04 | 77.53 | 79.04 | 94.66 | 92.77 | 27 | 965 | 36 | 26.33
27.10.22 17:33:29 | 12.28 | 76.69 | 77.28 | 84.9 | 93.38 | 68.7 | 95.97 | 94.5 | 76.88 | 86.29 | 97.67 | 78.05 | 89.14 | 83.82 | 78.94 | 82.56 | 97.09 | 81.71 | 88.47 | 99.42 | 108.51 | 77.53 | 78.77 | 94.8 | 92.77 | 27 | 965 | 36 | 26.32
27.10.22 17:33:44 | 12.53 | 76.28 | 77.02 | 84.35 | 93.09 | 68.43 | 95.97 | 94.5 | 76.48 | 86.14 | 97.67 | 77.92 | 88.85 | 83.54 | 78.54 | 82.15 | 97.09 | 81.71 | 88.05 | 99.42 | 108.51 | 76.98 | 78.49 | 94.51 | 92.35 | 27 | 965 | 36 | 26.33
27.10.22 17:34:00 | 12.8 | 76.15 | 76.61 | 84.21 | 92.95 | 68.3 | 95.83 | 94.5 | 76.21 | 86 | 97.67 | 77.51 | 88.43 | 83.4 | 78.13 | 81.87 | 96.95 | 81.44 | 87.9 | 99.27 | 108.36 | 76.57 | 78.22 | 94.66 | 92.21 | 27 | 965 | 36 | 26.35
27.10.22 17:34:15 | 13.05 | 75.6 | 76.61 | 83.79 | 92.81 | 68.03 | 95.54 | 94.07 | 75.94 | 85.58 | 97.24 | 77.1 | 88.29 | 83.12 | 77.73 | 82.15 | 96.95 | 81.17 | 87.62 | 99.13 | 108.51 | 76.3 | 77.81 | 94.51 | 92.07 | 27 | 965 | 36 | 26.36
27.10.22 17:34:30 | 13.3 | 75.47 | 76.35 | 83.79 | 92.95 | 67.9 | 95.25 | 94.22 | 75.54 | 85.16 | 97.53 | 77.1 | 88.15 | 82.56 | 77.33 | 81.45 | 96.95 | 81.03 | 87.34 | 99.13 | 108.51 | 75.62 | 77.81 | 94.37 | 92.21 | 27 | 965 | 36 | 26.36
27.10.22 17:34:45 | 13.55 | 75.2 | 75.81 | 83.65 | 92.67 | 67.64 | 95.4 | 94.07 | 75.41 | 85.02 | 97.38 | 76.83 | 88.01 | 82.43 | 77.33 | 81.32 | 96.95 | 80.89 | 87.48 | 99.13 | 108.51 | 75.34 | 77.67 | 94.09 | 91.93 | 27 | 965 | 36 | 26.36
27.10.22 17:35:00 | 13.8 | 75.06 | 75.68 | 83.38 | 92.81 | 67.64 | 95.25 | 94.22 | 75.01 | 84.88 | 97.24 | 76.55 | 87.73 | 82.43 | 76.93 | 80.76 | 97.09 | 80.62 | 87.06 | 99.27 | 108.2 | 74.93 | 77.26 | 93.8 | 91.79 | 27 | 965 | 36 | 26.36
27.10.22 17:35:15 | 14.05 | 74.79 | 75.41 | 83.1 | 92.81 | 67.37 | 95.4 | 94.36 | 74.34 | 84.31 | 97.53 | 76.15 | 87.87 | 82.15 | 76.66 | 80.49 | 97.09 | 80.76 | 86.92 | 99.13 | 108.36 | 74.93 | 77.12 | 93.66 | 91.79 | 27 | 965 | 36 | 26.38
27.10.22 17:35:30 | 14.3 | 74.25 | 75.14 | 82.83 | 92.53 | 67.24 | 94.97 | 94.22 | 74.08 | 84.17 | 97.24 | 75.74 | 87.59 | 81.73 | 76.26 | 80.21 | 96.8 | 80.49 | 86.78 | 99.13 | 108.51 | 74.39 | 76.85 | 93.51 | 91.51 | 27 | 965 | 36 | 26.39
27.10.22 17:35:45 | 14.55 | 74.25 | 74.74 | 82.69 | 92.53 | 67.11 | 94.97 | 93.93 | 73.68 | 84.03 | 97.53 | 75.47 | 87.59 | 81.32 | 76.13 | 80.07 | 96.95 | 80.08 | 86.64 | 98.99 | 108.67 | 74.12 | 76.85 | 93.51 | 91.51 | 27 | 965 | 36 | 26.4
27.10.22 17:36:00 | 14.8 | 73.85 | 74.61 | 82.41 | 92.53 | 66.84 | 94.83 | 94.07 | 73.28 | 83.61 | 97.24 | 75.2 | 87.45 | 81.04 | 75.59 | 79.8 | 96.8 | 79.81 | 86.64 | 98.84 | 108.36 | 74.12 | 76.71 | 93.37 | 91.51 | 27 | 965 | 36 | 26.39
27.10.22 17:36:15 | 15.05 | 73.58 | 74.48 | 82.14 | 92.24 | 66.71 | 94.68 | 94.07 | 73.41 | 83.33 | 97.53 | 75.06 | 87.17 | 81.04 | 75.19 | 79.66 | 96.95 | 79.67 | 86.35 | 98.84 | 108.51 | 73.98 | 76.3 | 93.23 | 91.51 | 27 | 965 | 36 | 26.4
27.10.22 17:36:30 | 15.3 | 73.17 | 74.34 | 81.86 | 92.1 | 66.18 | 94.68 | 93.93 | 72.88 | 83.05 | 97.09 | 74.79 | 86.9 | 80.76 | 74.93 | 79.52 | 96.95 | 79.67 | 86.07 | 98.55 | 108.36 | 73.58 | 76.02 | 93.09 | 91.23 | 27 | 965 | 36 | 26.4
27.10.22 17:36:45 | 15.55 | 72.9 | 73.94 | 81.58 | 91.96 | 66.31 | 94.54 | 93.5 | 72.49 | 82.77 | 96.95 | 74.52 | 86.76 | 80.21 | 74.66 | 79.11 | 96.8 | 79.54 | 85.65 | 98.41 | 108.36 | 73.3 | 75.75 | 92.66 | 91.09 | 27 | 965 | 36 | 26.41
27.10.22 17:37:00 | 15.8 | 72.63 | 73.55 | 81.31 | 91.96 | 66.18 | 94.11 | 93.64 | 72.22 | 82.91 | 96.95 | 74.39 | 86.76 | 80.07 | 74.26 | 78.97 | 96.66 | 79.4 | 85.65 | 98.26 | 108.51 | 72.9 | 75.75 | 92.52 | 90.81 | 27 | 965 | 36 | 26.43
27.10.22 17:37:15 | 16.05 | 72.36 | 73.28 | 80.9 | 91.82 | 65.92 | 94.11 | 93.79 | 71.83 | 82.49 | 96.95 | 74.11 | 86.76 | 79.8 | 73.86 | 78.7 | 96.66 | 79.13 | 85.51 | 98.41 | 108.51 | 72.49 | 75.34 | 92.38 | 90.81 | 27 | 965 | 36 | 26.43
27.10.22 17:37:30 | 16.3 | 72.1 | 72.75 | 80.62 | 91.82 | 65.79 | 93.69 | 93.64 | 71.69 | 82.49 | 96.8 | 73.85 | 86.34 | 79.66 | 73.6 | 78.42 | 96.8 | 79.13 | 85.37 | 98.41 | 108.51 | 72.36 | 75.34 | 92.52 | 90.39 | 27 | 965 | 36 | 26.43
27.10.22 17:37:45 | 16.55 | 71.96 | 72.62 | 80.49 | 91.82 | 65.79 | 93.69 | 93.79 | 71.56 | 82.35 | 96.8 | 73.85 | 86.2 | 79.38 | 73.33 | 78.42 | 96.8 | 78.59 | 85.23 | 98.26 | 108.83 | 72.22 | 75.21 | 92.38 | 90.53 | 27 | 965 | 36 | 26.44
27.10.22 17:38:00 | 16.8 | 71.56 | 72.09 | 80.08 | 91.53 | 65.39 | 93.4 | 93.5 | 71.04 | 81.94 | 96.8 | 73.44 | 86.06 | 78.97 | 73.2 | 78.01 | 96.8 | 78.59 | 84.95 | 98.26 | 108.98 | 71.55 | 74.93 | 92.09 | 90.39 | 27 | 965 | 36 | 26.44
27.10.22 17:38:15 | 17.05 | 71.29 | 71.83 | 80.08 | 91.82 | 65.39 | 93.26 | 93.79 | 70.77 | 82.07 | 96.66 | 73.31 | 86.06 | 78.97 | 72.94 | 78.15 | 96.66 | 78.59 | 84.67 | 98.12 | 108.83 | 71.41 | 75.07 | 92.09 | 90.12 | 27 | 965 | 36 | 26.47
27.10.22 17:38:30 | 17.3 | 71.03 | 71.3 | 79.8 | 91.53 | 65.13 | 93.12 | 93.5 | 70.9 | 81.66 | 96.66 | 73.04 | 85.64 | 78.56 | 72.41 | 78.15 | 96.8 | 78.32 | 84.39 | 98.12 | 108.98 | 70.88 | 74.93 | 91.67 | 90.12 | 27 | 965 | 36 | 26.47
27.10.22 17:38:45 | 17.55 | 70.62 | 71.04 | 79.26 | 91.39 | 64.6 | 93.12 | 93.22 | 70.51 | 81.24 | 96.66 | 72.9 | 85.23 | 78.42 | 72.01 | 77.74 | 96.51 | 78.05 | 83.97 | 97.97 | 108.83 | 70.61 | 74.39 | 91.67 | 89.7 | 27 | 965 | 36 | 26.49
27.10.22 17:39:00 | 17.8 | 70.22 | 70.77 | 79.12 | 91.11 | 64.73 | 92.55 | 93.22 | 70.77 | 81.24 | 96.37 | 72.63 | 85.23 | 78.28 | 71.62 | 77.6 | 96.37 | 77.91 | 83.97 | 97.69 | 108.83 | 70.07 | 74.12 | 91.38 | 89.42 | 27 | 965 | 36 | 26.5
27.10.22 17:39:15 | 18.05 | 70.09 | 70.51 | 78.98 | 91.25 | 64.47 | 92.55 | 93.22 | 70.77 | 80.96 | 96.66 | 72.63 | 85.23 | 77.87 | 71.49 | 77.6 | 96.23 | 77.78 | 83.42 | 97.83 | 108.83 | 69.8 | 74.12 | 91.38 | 89.42 | 27 | 965 | 36 | 26.5
27.10.22 17:39:30 | 18.3 | 69.82 | 70.38 | 78.85 | 91.25 | 64.21 | 92.55 | 93.22 | 70.64 | 80.68 | 96.51 | 72.36 | 85.23 | 77.74 | 71.22 | 77.46 | 96.37 | 77.64 | 83.42 | 97.97 | 108.98 | 69.14 | 73.98 | 91.24 | 89.15 | 27 | 965 | 36 | 26.5
27.10.22 17:39:45 | 18.55 | 69.56 | 70.12 | 78.44 | 91.11 | 64.08 | 92.27 | 93.22 | 70.51 | 80.27 | 96.37 | 72.23 | 85.09 | 77.33 | 70.83 | 77.19 | 96.37 | 77.51 | 83 | 97.69 | 108.98 | 68.87 | 73.98 | 91.24 | 88.59 | 27 | 965 | 36 | 26.51
27.10.22 17:40:00 | 18.8 | 69.29 | 69.72 | 78.3 | 90.97 | 63.82 | 92.27 | 93.22 | 70.38 | 80.27 | 96.37 | 71.96 | 84.67 | 76.92 | 70.44 | 76.78 | 96.37 | 77.1 | 82.86 | 97.54 | 108.98 | 68.6 | 73.98 | 91.1 | 88.45 | 27 | 965 | 36 | 26.51
27.10.22 17:40:15 | 19.05 | 69.03 | 69.2 | 78.03 | 90.97 | 63.82 | 92.13 | 93.07 | 70.38 | 80.13 | 96.23 | 71.83 | 84.39 | 76.78 | 70.04 | 76.92 | 96.51 | 77.24 | 82.58 | 97.69 | 108.98 | 68.2 | 73.85 | 91.1 | 87.9 | 27 | 965 | 36 | 26.51
27.10.22 17:40:30 | 19.3 | 68.76 | 69.2 | 78.03 | 91.11 | 63.55 | 91.99 | 93.07 | 69.85 | 79.58 | 96.23 | 71.69 | 84.26 | 76.37 | 70.04 | 76.78 | 96.37 | 77.1 | 82.44 | 97.4 | 109.14 | 67.67 | 73.58 | 90.67 | 87.9 | 27 | 965 | 36 | 26.54
27.10.22 17:40:45 | 19.55 | 68.5 | 68.68 | 77.49 | 90.97 | 63.29 | 91.71 | 92.93 | 69.72 | 79.16 | 96.23 | 71.56 | 84.26 | 75.83 | 69.52 | 76.64 | 96.23 | 76.84 | 82.17 | 97.4 | 108.67 | 67.14 | 73.3 | 90.67 | 87.9 | 27 | 965 | 36 | 26.54
27.10.22 17:41:00 | 19.8 | 68.1 | 68.55 | 77.21 | 90.83 | 63.16 | 91.57 | 92.93 | 69.07 | 78.88 | 96.23 | 71.29 | 83.98 | 75.55 | 69.39 | 76.37 | 96.08 | 76.57 | 82.03 | 97.25 | 108.98 | 66.87 | 73.17 | 90.67 | 87.63 | 27 | 965 | 36 | 26.54
27.10.22 17:41:15 | 20.05 | 67.83 | 68.02 | 76.94 | 90.68 | 62.9 | 91.14 | 92.5 | 68.81 | 78.47 | 96.23 | 71.03 | 83.7 | 75.28 | 68.87 | 75.96 | 95.94 | 76.43 | 81.75 | 97.11 | 108.51 | 66.34 | 73.17 | 90.39 | 87.49 | 27 | 965 | 36 | 26.54
27.10.22 17:41:30 | 20.3 | 67.7 | 67.76 | 76.67 | 90.68 | 62.51 | 91.28 | 92.5 | 68.55 | 78.2 | 96.08 | 70.89 | 83.7 | 74.87 | 68.61 | 75.69 | 95.94 | 76.43 | 81.61 | 97.25 | 109.14 | 65.81 | 72.9 | 90.25 | 87.49 | 27 | 965 | 36 | 26.54
27.10.22 17:41:45 | 20.55 | 67.17 | 67.37 | 76.27 | 90.54 | 62.25 | 91.14 | 92.65 | 68.29 | 77.78 | 95.79 | 70.62 | 83.43 | 74.33 | 68.09 | 75.15 | 95.79 | 75.9 | 81.33 | 96.97 | 108.98 | 65.42 | 72.76 | 90.25 | 87.21 | 27 | 965 | 36 | 26.55
27.10.22 17:42:00 | 20.8 | 66.91 | 67.11 | 76.13 | 90.54 | 62.25 | 91.14 | 92.36 | 67.89 | 77.78 | 96.08 | 70.36 | 83.15 | 73.93 | 67.83 | 75.01 | 95.79 | 75.76 | 81.06 | 96.82 | 108.98 | 64.89 | 72.9 | 90.11 | 87.07 | 27 | 965 | 36 | 26.57
27.10.22 17:42:15 | 21.05 | 66.78 | 67.11 | 75.86 | 90.4 | 61.73 | 90.86 | 92.5 | 67.63 | 77.37 | 95.94 | 70.36 | 83.29 | 73.79 | 67.83 | 74.6 | 95.94 | 75.36 | 81.33 | 96.82 | 109.14 | 64.63 | 72.76 | 89.97 | 86.94 | 27 | 965 | 36 | 26.58
27.10.22 17:42:30 | 21.3 | 66.38 | 66.85 | 75.59 | 90.26 | 61.86 | 90.72 | 92.5 | 67.63 | 76.96 | 96.08 | 70.22 | 83.15 | 73.52 | 67.31 | 74.6 | 95.79 | 75.49 | 80.92 | 96.82 | 108.98 | 63.97 | 72.49 | 89.97 | 86.94 | 27 | 965 | 36 | 26.58
27.10.22 17:42:45 | 21.55 | 66.25 | 66.59 | 75.32 | 90.12 | 61.73 | 90.58 | 92.36 | 67.24 | 76.68 | 95.94 | 70.09 | 83.01 | 73.12 | 66.92 | 74.47 | 95.65 | 75.23 | 80.64 | 96.68 | 109.14 | 63.7 | 72.36 | 89.83 | 86.94 | 27 | 965 | 36 | 26.58
27.10.22 17:43:00 | 21.8 | 65.99 | 66.08 | 74.78 | 90.12 | 61.47 | 90.72 | 92.22 | 67.24 | 76.27 | 95.79 | 69.69 | 82.88 | 72.98 | 66.4 | 74.47 | 95.65 | 75.09 | 80.37 | 96.68 | 109.14 | 63.18 | 72.36 | 89.69 | 86.8 | 27 | 965 | 36 | 26.6
27.10.22 17:43:15 | 22.05 | 65.86 | 65.82 | 74.65 | 90.12 | 61.34 | 90.58 | 92.22 | 66.59 | 76 | 95.79 | 69.56 | 82.6 | 72.85 | 66.27 | 73.93 | 95.65 | 74.96 | 80.37 | 96.53 | 109.3 | 63.05 | 72.22 | 89.69 | 86.66 | 27 | 965 | 36 | 26.6
27.10.22 17:43:30 | 22.3 | 65.59 | 65.04 | 74.38 | 89.84 | 61.21 | 90.02 | 92.36 | 65.95 | 75.73 | 96.08 | 69.43 | 82.6 | 72.98 | 66.27 | 73.93 | 95.65 | 74.56 | 79.95 | 96.53 | 109.14 | 62.39 | 72.22 | 89.55 | 86.66 | 27 | 965 | 36 | 26.61
27.10.22 17:43:45 | 22.55 | 65.2 | 64.53 | 74.25 | 89.84 | 60.95 | 89.88 | 92.08 | 65.82 | 75.59 | 95.65 | 69.16 | 82.33 | 72.31 | 65.76 | 73.39 | 95.65 | 74.43 | 79.95 | 96.53 | 109.46 | 62.13 | 71.95 | 89.55 | 86.25 | 27 | 965 | 36 | 26.61
27.10.22 17:44:00 | 22.8 | 65.07 | 64.4 | 74.11 | 89.98 | 60.95 | 89.88 | 92.5 | 65.56 | 75.32 | 95.94 | 69.16 | 82.6 | 72.17 | 65.63 | 73.12 | 95.79 | 74.69 | 79.95 | 96.39 | 109.61 | 62.13 | 72.09 | 89.69 | 86.25 | 27 | 965 | 36 | 26.61
27.10.22 17:44:15 | 23.05 | 64.41 | 63.75 | 73.44 | 89.28 | 60.43 | 89.04 | 91.93 | 65.04 | 74.64 | 95.5 | 68.76 | 82.19 | 71.5 | 65.11 | 72.71 | 95.36 | 73.63 | 79.4 | 96.1 | 109.14 | 61.74 | 71.55 | 89.26 | 85.84 | 27 | 965 | 36 | 26.63
27.10.22 17:44:30 | 23.3 | 64.28 | 63.5 | 73.17 | 89.56 | 60.3 | 89.04 | 91.93 | 64.91 | 74.5 | 95.65 | 68.76 | 82.19 | 71.37 | 64.98 | 72.17 | 95.36 | 73.76 | 79.4 | 96.1 | 109.3 | 61.48 | 71.82 | 89.26 | 85.84 | 27 | 965 | 36 | 26.64
27.10.22 17:44:45 | 23.55 | 63.89 | 63.11 | 72.91 | 89.28 | 60.04 | 88.9 | 91.79 | 64.66 | 74.36 | 95.5 | 68.36 | 81.5 | 71.1 | 64.6 | 72.17 | 95.36 | 73.49 | 79.13 | 95.96 | 109.3 | 60.96 | 71.41 | 89.12 | 85.84 | 27 | 965 | 36 | 26.64
27.10.22 17:45:00 | 23.8 | 63.76 | 62.99 | 72.64 | 89.28 | 59.91 | 88.76 | 91.79 | 64.27 | 74.09 | 95.22 | 68.36 | 81.64 | 70.83 | 64.34 | 72.17 | 95.36 | 73.36 | 78.85 | 96.25 | 109.3 | 60.96 | 71.01 | 88.84 | 85.7 | 27 | 965 | 36 | 26.65
27.10.22 17:45:15 | 24.05 | 63.37 | 62.99 | 72.64 | 89.14 | 59.53 | 88.62 | 91.79 | 64.14 | 73.96 | 95.65 | 68.23 | 81.5 | 70.7 | 64.08 | 71.64 | 95.36 | 73.1 | 78.85 | 96.1 | 109.3 | 60.31 | 70.88 | 88.98 | 85.7 | 27 | 965 | 36 | 26.64
27.10.22 17:45:30 | 24.3 | 63.37 | 62.73 | 72.1 | 89.28 | 59.4 | 88.62 | 91.65 | 64.01 | 73.82 | 95.36 | 67.97 | 81.37 | 70.56 | 63.57 | 71.77 | 95.36 | 72.96 | 78.58 | 95.96 | 109.61 | 60.31 | 70.61 | 88.7 | 85.43 | 27 | 965 | 36 | 26.65
27.10.22 17:45:45 | 24.55 | 62.98 | 62.47 | 71.84 | 89.28 | 59.14 | 88.2 | 91.65 | 63.75 | 73.41 | 95.5 | 67.57 | 81.09 | 70.3 | 63.31 | 71.37 | 95.22 | 72.56 | 78.44 | 95.82 | 109.46 | 59.79 | 70.47 | 88.56 | 85.43 | 27 | 965 | 36 | 26.66
27.10.22 17:46:00 | 24.8 | 62.85 | 62.47 | 71.84 | 89.28 | 59.27 | 88.34 | 91.51 | 63.37 | 73.55 | 95.22 | 67.7 | 81.09 | 70.16 | 63.19 | 71.37 | 95.22 | 72.7 | 78.17 | 95.67 | 109.77 | 59.27 | 70.47 | 88.56 | 85.57 | 27 | 965 | 36 | 26.66
27.10.22 17:46:15 | 25.05 | 62.46 | 61.96 | 71.3 | 88.99 | 58.88 | 88.06 | 91.65 | 63.24 | 73.14 | 95.22 | 67.31 | 80.96 | 69.76 | 62.68 | 71.23 | 95.07 | 72.43 | 77.9 | 95.67 | 109.61 | 58.5 | 70.21 | 88.28 | 85.16 | 27 | 965 | 36 | 26.68
27.10.22 17:46:30 | 25.3 | 62.07 | 61.58 | 70.91 | 88.85 | 58.5 | 87.78 | 91.37 | 62.86 | 72.6 | 95.22 | 67.04 | 80.68 | 69.63 | 62.17 | 70.97 | 94.79 | 72.03 | 77.76 | 95.53 | 109.3 | 57.85 | 69.94 | 88 | 84.88 | 27 | 965 | 36 | 26.68
27.10.22 17:46:45 | 25.55 | 62.07 | 61.45 | 71.17 | 88.99 | 58.62 | 87.64 | 91.51 | 62.99 | 72.74 | 95.36 | 66.91 | 80.55 | 69.76 | 62.17 | 70.97 | 94.93 | 71.77 | 77.76 | 95.67 | 109.3 | 57.85 | 70.21 | 88 | 85.02 | 27 | 965 | 36 | 26.68
27.10.22 17:47:00 | 25.8 | 61.68 | 61.07 | 70.51 | 88.71 | 58.5 | 87.5 | 91.37 | 62.47 | 72.74 | 95.22 | 66.51 | 80.41 | 69.5 | 61.91 | 71.1 | 94.64 | 71.64 | 77.35 | 95.39 | 109.46 | 57.34 | 69.67 | 87.58 | 84.75 | 27 | 965 | 36 | 26.68
27.10.22 17:47:15 | 26.05 | 61.29 | 60.56 | 70.24 | 88.43 | 57.98 | 87.64 | 91.22 | 62.22 | 72.19 | 95.07 | 66.25 | 80.27 | 69.1 | 61.27 | 70.43 | 94.5 | 71.24 | 76.94 | 95.25 | 109.46 | 56.95 | 69.67 | 87.44 | 84.34 | 27 | 965 | 36 | 26.69
27.10.22 17:47:30 | 26.3 | 61.03 | 60.69 | 70.24 | 88.29 | 57.98 | 87.36 | 91.22 | 62.22 | 71.92 | 95.07 | 66.25 | 80.14 | 68.96 | 61.27 | 70.3 | 94.35 | 71.24 | 77.08 | 95.1 | 109.3 | 56.82 | 69.67 | 87.16 | 84.47 | 27 | 965 | 36 | 26.71
27.10.22 17:47:45 | 26.55 | 60.77 | 60.31 | 69.84 | 88.29 | 57.73 | 87.36 | 91.08 | 62.09 | 71.92 | 94.93 | 65.99 | 79.86 | 68.7 | 61.02 | 69.9 | 94.64 | 70.98 | 77.08 | 95.39 | 109.3 | 56.05 | 69.54 | 86.88 | 84.06 | 27 | 965 | 36 | 26.71
27.10.22 17:48:00 | 26.8 | 60.64 | 60.05 | 69.58 | 88.29 | 57.34 | 87.23 | 91.22 | 61.83 | 71.65 | 94.93 | 65.99 | 79.59 | 68.7 | 60.77 | 69.63 | 94.64 | 70.85 | 76.94 | 95.39 | 109.77 | 55.92 | 69.27 | 86.32 | 83.93 | 27 | 965 | 36 | 26.72
27.10.22 17:48:15 | 27.05 | 60.51 | 59.93 | 69.58 | 88.29 | 57.47 | 86.95 | 91.08 | 61.58 | 71.52 | 95.07 | 65.99 | 79.18 | 68.56 | 60.39 | 69.5 | 94.5 | 70.58 | 76.67 | 95.1 | 109.61 | 55.29 | 69.14 | 85.91 | 84.06 | 27 | 965 | 36 | 26.72
27.10.22 17:48:30 | 27.3 | 59.87 | 59.67 | 69.32 | 88.01 | 57.08 | 86.67 | 90.8 | 61.32 | 71.25 | 94.93 | 65.59 | 79.32 | 68.17 | 60.01 | 69.36 | 94.5 | 70.45 | 76.39 | 95.1 | 109.93 | 55.16 | 69 | 85.49 | 83.38 | 27 | 965 | 36 | 26.72
27.10.22 17:48:45 | 27.55 | 59.74 | 59.29 | 68.92 | 87.73 | 56.83 | 86.81 | 90.8 | 61.07 | 70.85 | 94.79 | 65.2 | 79.05 | 68.03 | 59.63 | 69.1 | 94.5 | 70.06 | 76.39 | 94.82 | 109.61 | 54.52 | 68.73 | 85.35 | 83.38 | 27 | 965 | 36 | 26.74
27.10.22 17:49:00 | 27.8 | 59.48 | 59.29 | 68.79 | 87.59 | 56.57 | 86.67 | 90.94 | 60.81 | 70.85 | 94.64 | 64.94 | 78.77 | 68.17 | 59.37 | 68.7 | 94.21 | 69.93 | 76.12 | 95.25 | 109.61 | 54.14 | 68.33 | 85.07 | 83.25 | 27 | 965 | 36 | 26.75
27.10.22 17:49:15 | 28.05 | 59.22 | 59.04 | 68.52 | 87.31 | 56.44 | 86.39 | 90.8 | 60.56 | 70.58 | 94.64 | 64.94 | 78.64 | 67.64 | 58.87 | 68.56 | 94.07 | 69.79 | 76.12 | 94.96 | 109.93 | 53.5 | 68.33 | 84.93 | 82.84 | 27 | 965 | 36 | 26.76
27.10.22 17:49:30 | 28.3 | 58.97 | 58.79 | 68.39 | 87.31 | 56.32 | 86.25 | 90.94 | 60.18 | 70.71 | 94.79 | 64.54 | 78.5 | 67.64 | 58.24 | 68.3 | 93.92 | 69.66 | 76.26 | 95.1 | 109.77 | 53.25 | 68.2 | 84.66 | 82.98 | 27 | 965 | 36 | 26.76
27.10.22 17:49:45 | 28.55 | 58.71 | 58.79 | 68.26 | 87.45 | 56.19 | 86.11 | 90.8 | 60.05 | 70.44 | 94.5 | 64.28 | 78.37 | 67.5 | 58.24 | 67.9 | 93.92 | 69.66 | 75.85 | 94.96 | 109.93 | 53.12 | 68.07 | 84.66 | 82.57 | 27 | 965 | 36 | 26.76
27.10.22 17:50:00 | 28.8 | 58.45 | 58.28 | 67.87 | 87.31 | 55.55 | 85.84 | 90.51 | 59.67 | 70.04 | 94.35 | 63.89 | 78.1 | 67.37 | 57.61 | 67.77 | 94.07 | 69.4 | 75.58 | 94.82 | 109.93 | 52.23 | 68.07 | 84.66 | 82.16 | 27 | 965 | 36 | 26.76
27.10.22 17:50:15 | 29.05 | 58.2 | 57.9 | 67.34 | 87.31 | 55.3 | 85.56 | 90.37 | 59.67 | 70.04 | 94.5 | 63.5 | 77.55 | 66.97 | 57.11 | 67.37 | 93.5 | 68.88 | 75.31 | 94.53 | 109.61 | 51.6 | 68.2 | 84.24 | 82.03 | 27 | 965 | 36 | 26.76
27.10.22 17:50:30 | 29.3 | 57.94 | 57.78 | 67.34 | 86.9 | 55.04 | 85.84 | 90.51 | 59.67 | 69.91 | 94.35 | 63.5 | 77.55 | 66.84 | 57.11 | 67.24 | 93.92 | 69.14 | 75.31 | 94.82 | 110.09 | 51.48 | 67.8 | 84.1 | 82.03 | 27 | 965 | 36 | 26.78
27.10.22 17:50:45 | 29.55 | 57.81 | 57.52 | 67.08 | 86.76 | 54.79 | 85.56 | 90.37 | 59.54 | 69.64 | 94.35 | 63.24 | 77.42 | 66.71 | 56.73 | 67.11 | 93.64 | 68.61 | 74.9 | 94.67 | 109.93 | 50.84 | 67.54 | 83.96 | 81.76 | 27 | 965 | 36 | 26.79
27.10.22 17:51:00 | 29.8 | 57.3 | 57.02 | 66.95 | 86.9 | 54.53 | 85.42 | 90.37 | 59.04 | 69.5 | 94.21 | 62.85 | 77.15 | 66.45 | 56.23 | 66.58 | 93.5 | 68.61 | 74.63 | 94.25 | 109.93 | 50.22 | 67.4 | 83.83 | 81.35 | 27 | 965 | 36 | 26.79
27.10.22 17:51:15 | 30.05 | 57.17 | 56.9 | 66.68 | 86.62 | 54.41 | 85.15 | 90.37 | 58.79 | 69.37 | 94.07 | 62.59 | 77.15 | 66.31 | 56.36 | 66.31 | 93.5 | 68.22 | 74.77 | 94.39 | 109.93 | 49.96 | 67.27 | 83.83 | 80.95 | 27 | 965 | 36 | 26.79
27.10.22 17:51:30 | 30.3 | 57.04 | 56.77 | 66.42 | 86.34 | 54.28 | 85.15 | 90.37 | 58.53 | 69.1 | 93.92 | 62.2 | 76.88 | 66.18 | 56.23 | 66.18 | 93.5 | 68.22 | 74.77 | 94.39 | 110.09 | 49.34 | 66.74 | 83.69 | 81.22 | 27 | 965 | 36 | 26.79
27.10.22 17:51:45 | 30.55 | 56.79 | 56.65 | 66.16 | 86.34 | 54.03 | 85.01 | 90.23 | 58.15 | 68.97 | 93.92 | 61.81 | 76.47 | 65.79 | 55.86 | 65.79 | 93.35 | 67.83 | 74.63 | 94.39 | 109.77 | 48.84 | 66.74 | 83.41 | 80.81 | 27 | 965 | 36 | 26.79

## Oxygen Orginal
Measurement Name : | 20221017_SDR641_WT_AMB |  | Generated On : | 27/10/2022, 17:52:24 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 27/10/2022, 17:21:12 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 27/10/2022, 17:52:01 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
27.10.22 17:21:14 | 0.03 | 99.86 | 95.81 | 103.16 | 105.06 | 84.7 | 108.25 | 106.65 | 101.9 | 101.27 | 108.41 | 97.52 | 104.43 | 101.74 | 103.16 | 101.74 | 106.33 | 100.64 | 108.25 | 109.54 | 110.34 | 98.92 | 95.81 | 108.41 | 107.29 | 27 | 965 | 36 | 25.79
27.10.22 17:21:29 | 0.28 | 99.54 | 95.81 | 103.16 | 105.22 | 85 | 108.57 | 106.65 | 101.58 | 101.11 | 108.89 | 97.21 | 104.43 | 101.58 | 103.32 | 101.9 | 106.33 | 100.17 | 108.41 | 109.54 | 110.34 | 98.76 | 95.66 | 108.09 | 107.45 | 27 | 965 | 36 | 25.82
27.10.22 17:21:44 | 0.53 | 99.54 | 95.97 | 103.16 | 105.38 | 84.85 | 108.57 | 106.81 | 100.95 | 101.27 | 108.73 | 97.21 | 104.74 | 101.74 | 103.32 | 101.58 | 106.65 | 100.17 | 108.41 | 109.7 | 110.34 | 98.29 | 95.66 | 108.09 | 107.93 | 27 | 965 | 36 | 25.85
27.10.22 17:21:59 | 0.78 | 99.39 | 95.66 | 103.48 | 105.7 | 84.7 | 109.06 | 106.97 | 100.95 | 101.43 | 108.89 | 97.36 | 104.74 | 101.74 | 103.48 | 101.9 | 106.81 | 100.48 | 108.73 | 110.18 | 110.67 | 98.14 | 95.66 | 108.57 | 107.77 | 27 | 965 | 36 | 25.86
27.10.22 17:22:14 | 1.03 | 98.92 | 95.5 | 103 | 105.38 | 84.25 | 108.73 | 106.97 | 100.64 | 100.95 | 108.89 | 96.74 | 104.74 | 101.58 | 103.32 | 101.74 | 106.81 | 100.01 | 108.41 | 109.86 | 110.34 | 97.21 | 95.19 | 108.25 | 107.77 | 27 | 965 | 36 | 25.89
27.10.22 17:22:29 | 1.28 | 98.45 | 95.04 | 103 | 105.38 | 84.1 | 108.57 | 106.65 | 99.86 | 100.64 | 108.89 | 96.43 | 104.43 | 101.43 | 103 | 101.58 | 106.65 | 99.86 | 108.57 | 110.02 | 110.51 | 96.9 | 94.42 | 107.93 | 107.45 | 27 | 965 | 36 | 25.9
27.10.22 17:22:44 | 1.53 | 98.14 | 95.19 | 103 | 105.7 | 84.1 | 108.89 | 106.65 | 99.86 | 100.8 | 108.89 | 96.28 | 104.74 | 101.43 | 103 | 101.43 | 106.81 | 99.7 | 108.73 | 110.18 | 110.83 | 96.74 | 94.27 | 108.09 | 107.61 | 27 | 965 | 36 | 25.91
27.10.22 17:22:59 | 1.78 | 97.83 | 95.19 | 102.84 | 105.38 | 83.8 | 108.89 | 106.97 | 99.23 | 100.95 | 109.22 | 96.12 | 104.74 | 101.27 | 103 | 101.43 | 106.65 | 99.39 | 108.57 | 110.18 | 110.67 | 96.74 | 94.42 | 108.25 | 107.77 | 27 | 965 | 36 | 25.93
27.10.22 17:23:14 | 2.03 | 97.36 | 94.88 | 102.69 | 105.38 | 83.36 | 108.89 | 106.65 | 98.76 | 100.48 | 109.06 | 95.81 | 104.58 | 100.95 | 102.84 | 100.95 | 106.97 | 98.61 | 108.57 | 110.02 | 110.51 | 95.66 | 93.81 | 108.09 | 107.77 | 27 | 965 | 36 | 25.94
27.10.22 17:23:29 | 2.28 | 97.21 | 94.88 | 102.69 | 105.54 | 83.51 | 108.89 | 106.65 | 98.29 | 100.64 | 109.06 | 95.5 | 104.58 | 100.64 | 102.69 | 100.8 | 106.97 | 98.45 | 108.57 | 110.18 | 110.83 | 95.5 | 93.96 | 108.25 | 107.93 | 27 | 965 | 36 | 25.97
27.10.22 17:23:44 | 2.53 | 96.9 | 94.73 | 102.37 | 105.54 | 83.06 | 108.73 | 106.65 | 98.29 | 100.64 | 109.06 | 95.35 | 104.74 | 100.64 | 102.37 | 100.64 | 106.97 | 98.29 | 108.25 | 110.51 | 110.67 | 95.35 | 93.81 | 108.09 | 107.61 | 27 | 965 | 36 | 25.97
27.10.22 17:23:59 | 2.78 | 96.43 | 94.58 | 102.21 | 105.38 | 83.06 | 108.89 | 106.65 | 97.67 | 100.48 | 109.06 | 94.88 | 104.58 | 100.48 | 102.05 | 100.48 | 106.65 | 97.83 | 108.25 | 110.51 | 110.67 | 94.73 | 93.65 | 107.93 | 107.61 | 27 | 965 | 36 | 25.99
27.10.22 17:24:14 | 3.03 | 96.43 | 94.42 | 102.37 | 105.38 | 83.06 | 109.06 | 106.81 | 97.67 | 100.48 | 109.22 | 94.88 | 104.74 | 100.48 | 102.05 | 100.17 | 107.13 | 97.98 | 108.25 | 110.34 | 110.99 | 94.58 | 93.5 | 108.25 | 107.45 | 27 | 965 | 36 | 26.01
27.10.22 17:24:29 | 3.28 | 95.81 | 94.11 | 102.05 | 105.38 | 82.61 | 108.89 | 106.49 | 97.52 | 100.33 | 108.89 | 94.58 | 104.27 | 100.17 | 101.43 | 100.17 | 106.65 | 97.52 | 108.09 | 110.34 | 110.99 | 94.11 | 92.88 | 107.77 | 107.45 | 27 | 965 | 36 | 26.01
27.10.22 17:24:44 | 3.53 | 95.81 | 94.11 | 102.05 | 105.06 | 82.76 | 108.73 | 106.49 | 97.05 | 100.33 | 109.06 | 94.11 | 104.43 | 100.17 | 101.43 | 100.17 | 106.97 | 97.52 | 107.93 | 110.51 | 110.99 | 93.96 | 92.88 | 107.61 | 107.45 | 27 | 965 | 36 | 26.03
27.10.22 17:24:59 | 3.78 | 95.35 | 94.11 | 101.9 | 105.38 | 82.31 | 109.06 | 106.65 | 97.05 | 100.17 | 109.22 | 93.96 | 104.27 | 100.01 | 101.27 | 99.86 | 107.13 | 97.05 | 107.93 | 110.51 | 110.83 | 93.81 | 92.42 | 107.77 | 107.61 | 27 | 965 | 36 | 26.04
27.10.22 17:25:14 | 4.03 | 95.04 | 93.96 | 101.74 | 105.22 | 82.17 | 108.73 | 106.65 | 96.12 | 100.17 | 109.06 | 93.81 | 104.27 | 99.7 | 100.95 | 99.86 | 107.13 | 96.9 | 107.61 | 110.67 | 111.15 | 93.5 | 92.12 | 107.61 | 107.61 | 27 | 965 | 36 | 26.04
27.10.22 17:25:29 | 4.28 | 94.73 | 93.96 | 101.74 | 105.38 | 82.02 | 109.06 | 106.65 | 96.12 | 100.01 | 109.22 | 93.5 | 104.27 | 99.54 | 100.48 | 99.54 | 107.13 | 96.74 | 107.61 | 110.67 | 110.99 | 93.65 | 91.97 | 107.77 | 107.77 | 27 | 965 | 36 | 26.07
27.10.22 17:25:44 | 4.53 | 94.27 | 93.65 | 101.43 | 105.38 | 81.87 | 108.89 | 106.49 | 95.66 | 99.54 | 109.06 | 93.19 | 104.11 | 98.92 | 100.33 | 99.07 | 106.97 | 96.43 | 107.13 | 110.67 | 110.83 | 93.19 | 91.35 | 107.45 | 107.61 | 27 | 965 | 36 | 26.08
27.10.22 17:25:59 | 4.78 | 93.96 | 93.65 | 101.27 | 105.54 | 81.87 | 109.06 | 106.49 | 95.35 | 99.39 | 109.22 | 92.73 | 104.27 | 98.76 | 100.33 | 99.07 | 107.29 | 96.59 | 107.29 | 110.83 | 111.31 | 93.04 | 91.2 | 107.77 | 107.61 | 27 | 965 | 36 | 26.07
27.10.22 17:26:14 | 5.03 | 93.65 | 93.35 | 101.11 | 105.22 | 81.72 | 108.89 | 106.49 | 95.19 | 98.92 | 108.73 | 92.27 | 104.11 | 98.76 | 99.86 | 98.92 | 107.13 | 96.12 | 106.81 | 110.67 | 111.31 | 92.88 | 90.9 | 107.45 | 107.45 | 27 | 965 | 36 | 26.1
27.10.22 17:26:29 | 5.28 | 93.35 | 93.04 | 100.95 | 105.22 | 81.27 | 108.73 | 106.17 | 94.73 | 98.76 | 108.73 | 91.51 | 104.11 | 98.92 | 99.39 | 98.61 | 106.97 | 95.81 | 106.81 | 110.51 | 111.31 | 92.27 | 90.44 | 107.29 | 107.29 | 27 | 965 | 36 | 26.11
27.10.22 17:26:44 | 5.53 | 93.04 | 93.04 | 100.8 | 105.38 | 81.13 | 108.89 | 106.33 | 94.73 | 98.76 | 109.22 | 91.05 | 103.48 | 98.61 | 99.23 | 98.29 | 107.29 | 95.81 | 106.65 | 110.83 | 111.31 | 91.97 | 90.44 | 107.45 | 107.77 | 27 | 965 | 36 | 26.1
27.10.22 17:26:59 | 5.78 | 92.42 | 92.58 | 100.48 | 105.22 | 81.13 | 108.57 | 106.17 | 94.27 | 98.45 | 108.89 | 90.9 | 102.84 | 98.45 | 98.76 | 97.83 | 107.29 | 95.35 | 106.33 | 110.67 | 110.99 | 91.51 | 89.83 | 107.13 | 107.13 | 27 | 965 | 36 | 26.11
27.10.22 17:27:14 | 6.03 | 92.27 | 92.27 | 100.48 | 105.22 | 80.53 | 108.57 | 106.02 | 93.65 | 98.29 | 108.73 | 90.44 | 102.53 | 98.45 | 98.45 | 97.83 | 107.13 | 95.35 | 105.86 | 110.51 | 111.47 | 91.2 | 89.68 | 107.29 | 107.13 | 27 | 965 | 36 | 26.14
27.10.22 17:27:29 | 6.28 | 91.97 | 92.12 | 100.17 | 104.9 | 80.39 | 108.73 | 106.17 | 93.5 | 98.29 | 108.73 | 90.44 | 102.37 | 98.29 | 97.98 | 97.67 | 107.29 | 95.5 | 105.7 | 110.83 | 110.99 | 90.9 | 89.38 | 106.97 | 107.13 | 27 | 965 | 36 | 26.14
27.10.22 17:27:44 | 6.53 | 91.81 | 92.27 | 100.17 | 105.06 | 80.24 | 108.89 | 106.02 | 92.88 | 98.14 | 108.57 | 90.44 | 102.21 | 98.14 | 97.83 | 97.67 | 107.45 | 95.04 | 105.54 | 110.83 | 111.31 | 91.05 | 89.68 | 106.97 | 106.97 | 27 | 965 | 36 | 26.14
27.10.22 17:27:59 | 6.78 | 91.2 | 92.12 | 99.86 | 104.9 | 79.8 | 108.73 | 106.17 | 92.73 | 98.14 | 108.89 | 90.29 | 102.05 | 97.98 | 97.36 | 97.36 | 107.29 | 95.04 | 105.22 | 110.67 | 111.47 | 91.2 | 89.83 | 106.81 | 107.13 | 27 | 965 | 36 | 26.15
27.10.22 17:28:14 | 7.03 | 91.2 | 92.12 | 99.7 | 105.06 | 79.5 | 108.89 | 106.17 | 92.42 | 97.98 | 108.89 | 89.98 | 102.21 | 97.98 | 97.05 | 97.05 | 107.61 | 95.04 | 104.74 | 110.99 | 111.31 | 90.9 | 89.83 | 106.97 | 107.29 | 27 | 965 | 36 | 26.18
27.10.22 17:28:29 | 7.28 | 90.59 | 91.66 | 99.23 | 104.74 | 79.06 | 108.57 | 106.02 | 91.97 | 97.83 | 108.73 | 89.53 | 101.9 | 97.21 | 96.74 | 96.9 | 107.29 | 94.42 | 104.43 | 110.51 | 111.47 | 90.74 | 89.53 | 106.65 | 106.81 | 27 | 965 | 36 | 26.16
27.10.22 17:28:44 | 7.53 | 90.29 | 91.66 | 99.23 | 105.06 | 79.06 | 108.57 | 105.86 | 91.35 | 97.67 | 108.41 | 89.07 | 101.74 | 97.21 | 96.28 | 96.43 | 107.29 | 94.27 | 104.11 | 110.67 | 111.47 | 90.44 | 89.07 | 106.33 | 106.65 | 27 | 965 | 36 | 26.18
27.10.22 17:28:59 | 7.78 | 89.83 | 91.51 | 99.23 | 104.74 | 78.76 | 108.73 | 105.86 | 91.05 | 97.52 | 108.73 | 89.22 | 101.74 | 96.9 | 96.12 | 96.43 | 107.29 | 94.58 | 103.63 | 110.67 | 111.47 | 90.14 | 89.38 | 106.65 | 106.81 | 27 | 965 | 36 | 26.19
27.10.22 17:29:14 | 8.03 | 89.53 | 91.05 | 98.61 | 104.58 | 78.32 | 108.57 | 105.7 | 90.59 | 97.36 | 108.73 | 88.77 | 101.43 | 96.59 | 95.5 | 95.97 | 107.29 | 93.96 | 103.32 | 110.83 | 111.31 | 89.83 | 89.07 | 106.33 | 106.65 | 27 | 965 | 36 | 26.19
27.10.22 17:29:29 | 8.28 | 89.38 | 91.05 | 98.29 | 104.58 | 78.18 | 108.25 | 105.86 | 90.59 | 97.21 | 108.41 | 88.77 | 101.27 | 96.59 | 95.19 | 95.66 | 107.45 | 93.5 | 103.16 | 110.83 | 111.47 | 89.22 | 88.92 | 106.33 | 106.65 | 27 | 965 | 36 | 26.22
27.10.22 17:29:44 | 8.53 | 89.07 | 90.9 | 97.83 | 104.43 | 77.73 | 108.57 | 105.7 | 89.83 | 96.9 | 108.57 | 88.62 | 101.43 | 96.28 | 94.58 | 95.5 | 107.13 | 93.35 | 102.53 | 110.83 | 111.8 | 88.62 | 88.92 | 106.17 | 106.65 | 27 | 965 | 36 | 26.22
27.10.22 17:29:59 | 8.78 | 88.47 | 90.74 | 97.67 | 104.27 | 77.88 | 108.41 | 105.54 | 89.68 | 96.74 | 108.25 | 88.47 | 101.11 | 96.12 | 94.11 | 94.88 | 107.45 | 93.5 | 101.74 | 110.83 | 111.64 | 88.31 | 88.92 | 106.49 | 106.49 | 27 | 965 | 36 | 26.22
27.10.22 17:30:14 | 9.03 | 88.62 | 90.9 | 97.52 | 104.58 | 77.73 | 108.57 | 105.7 | 89.22 | 96.43 | 108.41 | 88.47 | 101.43 | 95.97 | 93.96 | 95.04 | 107.61 | 93.5 | 101.58 | 110.99 | 111.8 | 88.16 | 88.77 | 106.65 | 106.49 | 27 | 965 | 36 | 26.22
27.10.22 17:30:29 | 9.28 | 88.01 | 90.14 | 97.05 | 104.27 | 77.44 | 108.41 | 105.54 | 89.07 | 96.28 | 108.25 | 88.31 | 100.95 | 95.5 | 93.35 | 94.58 | 107.29 | 92.88 | 100.95 | 110.83 | 111.47 | 87.71 | 88.47 | 106.17 | 106.02 | 27 | 965 | 36 | 26.26
27.10.22 17:30:44 | 9.53 | 87.71 | 90.29 | 96.9 | 104.43 | 77.3 | 108.41 | 105.38 | 88.62 | 95.97 | 108.09 | 88.16 | 100.95 | 95.19 | 92.88 | 94.58 | 107.29 | 92.73 | 100.48 | 110.83 | 111.47 | 87.11 | 88.01 | 106.17 | 105.86 | 27 | 965 | 36 | 26.25
27.10.22 17:30:59 | 9.78 | 87.41 | 90.14 | 96.59 | 104.43 | 76.71 | 108.57 | 105.22 | 88.31 | 95.66 | 108.41 | 88.16 | 100.64 | 95.04 | 92.58 | 94.11 | 107.45 | 92.73 | 100.33 | 110.67 | 111.64 | 86.95 | 88.01 | 106.17 | 106.02 | 27 | 965 | 36 | 26.26
27.10.22 17:31:14 | 10.03 | 87.26 | 89.83 | 96.28 | 104.11 | 76.86 | 108.41 | 105.22 | 88.31 | 95.66 | 108.25 | 88.01 | 100.48 | 94.73 | 91.97 | 94.11 | 107.29 | 92.42 | 99.86 | 110.99 | 111.96 | 86.95 | 88.01 | 106.02 | 105.86 | 27 | 965 | 36 | 26.26
27.10.22 17:31:29 | 10.28 | 86.8 | 89.68 | 96.12 | 104.27 | 76.86 | 108.41 | 105.22 | 88.01 | 95.35 | 108.25 | 88.01 | 100.64 | 94.42 | 91.81 | 93.81 | 107.13 | 92.58 | 99.39 | 110.83 | 111.8 | 87.11 | 87.71 | 105.86 | 105.86 | 27 | 965 | 36 | 26.28
27.10.22 17:31:44 | 10.53 | 86.35 | 89.22 | 95.81 | 104.11 | 76.27 | 108.25 | 105.06 | 87.71 | 95.19 | 108.25 | 87.56 | 100.33 | 94.11 | 91.2 | 93.04 | 107.29 | 92.12 | 99.07 | 110.51 | 111.8 | 86.5 | 87.41 | 105.7 | 105.7 | 27 | 965 | 36 | 26.28
27.10.22 17:31:59 | 10.78 | 85.9 | 88.77 | 95.5 | 103.63 | 76.12 | 107.93 | 104.9 | 87.26 | 94.88 | 108.09 | 87.26 | 99.86 | 93.65 | 90.74 | 92.88 | 107.29 | 92.12 | 98.61 | 110.99 | 111.96 | 86.05 | 87.26 | 105.54 | 105.54 | 27 | 965 | 36 | 26.29
27.10.22 17:32:14 | 11.03 | 85.9 | 88.62 | 95.35 | 103.79 | 76.12 | 108.09 | 105.06 | 87.26 | 94.88 | 108.09 | 86.95 | 99.7 | 93.35 | 90.44 | 92.73 | 107.29 | 92.12 | 98.14 | 110.83 | 111.96 | 86.2 | 87.26 | 105.7 | 105.22 | 27 | 965 | 36 | 26.29
27.10.22 17:32:29 | 11.28 | 85.3 | 88.01 | 94.88 | 103.79 | 75.83 | 107.61 | 105.06 | 86.95 | 94.73 | 108.09 | 86.65 | 99.23 | 92.58 | 89.83 | 92.12 | 107.13 | 91.97 | 97.98 | 110.67 | 111.8 | 85.6 | 86.95 | 105.38 | 105.22 | 27 | 965 | 36 | 26.32
27.10.22 17:32:44 | 11.53 | 85.15 | 88.01 | 94.42 | 103.63 | 75.4 | 107.61 | 104.9 | 86.8 | 94.58 | 108.09 | 86.65 | 99.39 | 92.27 | 89.83 | 91.66 | 107.29 | 92.12 | 97.83 | 110.83 | 112.12 | 85.45 | 86.65 | 105.22 | 105.22 | 27 | 965 | 36 | 26.32
27.10.22 17:32:59 | 11.78 | 84.55 | 87.56 | 94.27 | 103.63 | 75.69 | 107.61 | 104.9 | 86.8 | 94.42 | 107.93 | 86.35 | 99.39 | 92.12 | 89.22 | 91.05 | 107.29 | 91.66 | 97.36 | 110.83 | 112.12 | 85 | 86.5 | 105.22 | 105.22 | 27 | 965 | 36 | 26.33
27.10.22 17:33:14 | 12.03 | 84.55 | 86.8 | 94.11 | 103.48 | 75.25 | 107.61 | 104.74 | 86.05 | 94.27 | 107.77 | 86.2 | 99.07 | 91.81 | 88.92 | 90.74 | 107.13 | 91.2 | 97.05 | 110.99 | 111.8 | 84.55 | 86.2 | 105.06 | 105.22 | 27 | 965 | 36 | 26.33
27.10.22 17:33:29 | 12.28 | 84.25 | 86.65 | 93.96 | 103.79 | 75.25 | 107.29 | 104.58 | 86.2 | 93.96 | 107.93 | 85.75 | 99.07 | 91.81 | 88.77 | 90.44 | 107.29 | 91.35 | 97.05 | 110.83 | 112.29 | 84.55 | 85.9 | 105.22 | 105.22 | 27 | 965 | 36 | 26.32
27.10.22 17:33:44 | 12.53 | 83.8 | 86.35 | 93.35 | 103.48 | 74.96 | 107.29 | 104.58 | 85.75 | 93.81 | 107.93 | 85.6 | 98.76 | 91.51 | 88.31 | 89.98 | 107.29 | 91.35 | 96.59 | 110.83 | 112.29 | 83.95 | 85.6 | 104.9 | 104.74 | 27 | 965 | 36 | 26.33
27.10.22 17:34:00 | 12.8 | 83.65 | 85.9 | 93.19 | 103.32 | 74.81 | 107.13 | 104.58 | 85.45 | 93.65 | 107.93 | 85.15 | 98.29 | 91.35 | 87.86 | 89.68 | 107.13 | 91.05 | 96.43 | 110.67 | 112.12 | 83.51 | 85.3 | 105.06 | 104.58 | 27 | 965 | 36 | 26.35
27.10.22 17:34:15 | 13.05 | 83.06 | 85.9 | 92.73 | 103.16 | 74.52 | 106.81 | 104.11 | 85.15 | 93.19 | 107.45 | 84.7 | 98.14 | 91.05 | 87.41 | 89.98 | 107.13 | 90.74 | 96.12 | 110.51 | 112.29 | 83.21 | 84.85 | 104.9 | 104.43 | 27 | 965 | 36 | 26.36
27.10.22 17:34:30 | 13.3 | 82.91 | 85.6 | 92.73 | 103.32 | 74.38 | 106.49 | 104.27 | 84.7 | 92.73 | 107.77 | 84.7 | 97.98 | 90.44 | 86.95 | 89.22 | 107.13 | 90.59 | 95.81 | 110.51 | 112.29 | 82.46 | 84.85 | 104.74 | 104.58 | 27 | 965 | 36 | 26.36
27.10.22 17:34:45 | 13.55 | 82.61 | 85 | 92.58 | 103 | 74.09 | 106.65 | 104.11 | 84.55 | 92.58 | 107.61 | 84.4 | 97.83 | 90.29 | 86.95 | 89.07 | 107.13 | 90.44 | 95.97 | 110.51 | 112.29 | 82.17 | 84.7 | 104.43 | 104.27 | 27 | 965 | 36 | 26.36
27.10.22 17:35:00 | 13.8 | 82.46 | 84.85 | 92.27 | 103.16 | 74.09 | 106.49 | 104.27 | 84.1 | 92.42 | 107.45 | 84.1 | 97.52 | 90.29 | 86.5 | 88.47 | 107.29 | 90.14 | 95.5 | 110.67 | 111.96 | 81.72 | 84.25 | 104.11 | 104.11 | 27 | 965 | 36 | 26.36
27.10.22 17:35:15 | 14.05 | 82.17 | 84.55 | 91.97 | 103.16 | 73.8 | 106.65 | 104.43 | 83.36 | 91.81 | 107.77 | 83.65 | 97.67 | 89.98 | 86.2 | 88.16 | 107.29 | 90.29 | 95.35 | 110.51 | 112.12 | 81.72 | 84.1 | 103.95 | 104.11 | 27 | 965 | 36 | 26.38
27.10.22 17:35:30 | 14.3 | 81.57 | 84.25 | 91.66 | 102.84 | 73.65 | 106.17 | 104.27 | 83.06 | 91.66 | 107.45 | 83.21 | 97.36 | 89.53 | 85.75 | 87.86 | 106.97 | 89.98 | 95.19 | 110.51 | 112.29 | 81.13 | 83.8 | 103.79 | 103.79 | 27 | 965 | 36 | 26.39
27.10.22 17:35:45 | 14.55 | 81.57 | 83.8 | 91.51 | 102.84 | 73.51 | 106.17 | 103.95 | 82.61 | 91.51 | 107.77 | 82.91 | 97.36 | 89.07 | 85.6 | 87.71 | 107.13 | 89.53 | 95.04 | 110.34 | 112.45 | 80.83 | 83.8 | 103.79 | 103.79 | 27 | 965 | 36 | 26.4
27.10.22 17:36:00 | 14.8 | 81.13 | 83.65 | 91.2 | 102.84 | 73.22 | 106.02 | 104.11 | 82.17 | 91.05 | 107.45 | 82.61 | 97.21 | 88.77 | 85 | 87.41 | 106.97 | 89.22 | 95.04 | 110.18 | 112.12 | 80.83 | 83.65 | 103.63 | 103.79 | 27 | 965 | 36 | 26.39
27.10.22 17:36:15 | 15.05 | 80.83 | 83.51 | 90.9 | 102.53 | 73.07 | 105.86 | 104.11 | 82.31 | 90.74 | 107.77 | 82.46 | 96.9 | 88.77 | 84.55 | 87.26 | 107.13 | 89.07 | 94.73 | 110.18 | 112.29 | 80.68 | 83.21 | 103.48 | 103.79 | 27 | 965 | 36 | 26.4
27.10.22 17:36:30 | 15.3 | 80.39 | 83.36 | 90.59 | 102.37 | 72.49 | 105.86 | 103.95 | 81.72 | 90.44 | 107.29 | 82.17 | 96.59 | 88.47 | 84.25 | 87.11 | 107.13 | 89.07 | 94.42 | 109.86 | 112.12 | 80.24 | 82.91 | 103.32 | 103.48 | 27 | 965 | 36 | 26.4
27.10.22 17:36:45 | 15.55 | 80.09 | 82.91 | 90.29 | 102.21 | 72.64 | 105.7 | 103.48 | 81.27 | 90.14 | 107.13 | 81.87 | 96.43 | 87.86 | 83.95 | 86.65 | 106.97 | 88.92 | 93.96 | 109.7 | 112.12 | 79.94 | 82.61 | 102.84 | 103.32 | 27 | 965 | 36 | 26.41
27.10.22 17:37:00 | 15.8 | 79.8 | 82.46 | 89.98 | 102.21 | 72.49 | 105.22 | 103.63 | 80.98 | 90.29 | 107.13 | 81.72 | 96.43 | 87.71 | 83.51 | 86.5 | 106.81 | 88.77 | 93.96 | 109.54 | 112.29 | 79.5 | 82.61 | 102.69 | 103 | 27 | 965 | 36 | 26.43
27.10.22 17:37:15 | 16.05 | 79.5 | 82.17 | 89.53 | 102.05 | 72.2 | 105.22 | 103.79 | 80.53 | 89.83 | 107.13 | 81.42 | 96.43 | 87.41 | 83.06 | 86.2 | 106.81 | 88.47 | 93.81 | 109.7 | 112.29 | 79.06 | 82.17 | 102.53 | 103 | 27 | 965 | 36 | 26.43
27.10.22 17:37:30 | 16.3 | 79.21 | 81.57 | 89.22 | 102.05 | 72.06 | 104.74 | 103.63 | 80.39 | 89.83 | 106.97 | 81.13 | 95.97 | 87.26 | 82.76 | 85.9 | 106.97 | 88.47 | 93.65 | 109.7 | 112.29 | 78.91 | 82.17 | 102.69 | 102.53 | 27 | 965 | 36 | 26.43
27.10.22 17:37:45 | 16.55 | 79.06 | 81.42 | 89.07 | 102.05 | 72.06 | 104.74 | 103.79 | 80.24 | 89.68 | 106.97 | 81.13 | 95.81 | 86.95 | 82.46 | 85.9 | 106.97 | 87.86 | 93.5 | 109.54 | 112.61 | 78.76 | 82.02 | 102.53 | 102.69 | 27 | 965 | 36 | 26.44
27.10.22 17:38:00 | 16.8 | 78.62 | 80.83 | 88.62 | 101.74 | 71.63 | 104.43 | 103.48 | 79.65 | 89.22 | 106.97 | 80.68 | 95.66 | 86.5 | 82.31 | 85.45 | 106.97 | 87.86 | 93.19 | 109.54 | 112.77 | 78.03 | 81.72 | 102.21 | 102.53 | 27 | 965 | 36 | 26.44
27.10.22 17:38:15 | 17.05 | 78.32 | 80.53 | 88.62 | 102.05 | 71.63 | 104.27 | 103.79 | 79.35 | 89.38 | 106.81 | 80.53 | 95.66 | 86.5 | 82.02 | 85.6 | 106.81 | 87.86 | 92.88 | 109.38 | 112.61 | 77.88 | 81.87 | 102.21 | 102.21 | 27 | 965 | 36 | 26.47
27.10.22 17:38:30 | 17.3 | 78.03 | 79.94 | 88.31 | 101.74 | 71.34 | 104.11 | 103.48 | 79.5 | 88.92 | 106.81 | 80.24 | 95.19 | 86.05 | 81.42 | 85.6 | 106.97 | 87.56 | 92.58 | 109.38 | 112.77 | 77.3 | 81.72 | 101.74 | 102.21 | 27 | 965 | 36 | 26.47
27.10.22 17:38:45 | 17.55 | 77.59 | 79.65 | 87.71 | 101.58 | 70.76 | 104.11 | 103.16 | 79.06 | 88.47 | 106.81 | 80.09 | 94.73 | 85.9 | 80.98 | 85.15 | 106.65 | 87.26 | 92.12 | 109.22 | 112.61 | 77 | 81.13 | 101.74 | 101.74 | 27 | 965 | 36 | 26.49
27.10.22 17:39:00 | 17.8 | 77.15 | 79.35 | 87.56 | 101.27 | 70.91 | 103.48 | 103.16 | 79.35 | 88.47 | 106.49 | 79.8 | 94.73 | 85.75 | 80.53 | 85 | 106.49 | 87.11 | 92.12 | 108.89 | 112.61 | 76.42 | 80.83 | 101.43 | 101.43 | 27 | 965 | 36 | 26.5
27.10.22 17:39:15 | 18.05 | 77 | 79.06 | 87.41 | 101.43 | 70.62 | 103.48 | 103.16 | 79.35 | 88.16 | 106.81 | 79.8 | 94.73 | 85.3 | 80.39 | 85 | 106.33 | 86.95 | 91.51 | 109.06 | 112.61 | 76.12 | 80.83 | 101.43 | 101.43 | 27 | 965 | 36 | 26.5
27.10.22 17:39:30 | 18.3 | 76.71 | 78.91 | 87.26 | 101.43 | 70.33 | 103.48 | 103.16 | 79.21 | 87.86 | 106.65 | 79.5 | 94.73 | 85.15 | 80.09 | 84.85 | 106.49 | 86.8 | 91.51 | 109.22 | 112.77 | 75.4 | 80.68 | 101.27 | 101.11 | 27 | 965 | 36 | 26.5
27.10.22 17:39:45 | 18.55 | 76.42 | 78.62 | 86.8 | 101.27 | 70.19 | 103.16 | 103.16 | 79.06 | 87.41 | 106.49 | 79.35 | 94.58 | 84.7 | 79.65 | 84.55 | 106.49 | 86.65 | 91.05 | 108.89 | 112.77 | 75.1 | 80.68 | 101.27 | 100.48 | 27 | 965 | 36 | 26.51
27.10.22 17:40:00 | 18.8 | 76.12 | 78.18 | 86.65 | 101.11 | 69.9 | 103.16 | 103.16 | 78.91 | 87.41 | 106.49 | 79.06 | 94.11 | 84.25 | 79.21 | 84.1 | 106.49 | 86.2 | 90.9 | 108.73 | 112.77 | 74.81 | 80.68 | 101.11 | 100.33 | 27 | 965 | 36 | 26.51
27.10.22 17:40:15 | 19.05 | 75.83 | 77.59 | 86.35 | 101.11 | 69.9 | 103 | 103 | 78.91 | 87.26 | 106.33 | 78.91 | 93.81 | 84.1 | 78.76 | 84.25 | 106.65 | 86.35 | 90.59 | 108.89 | 112.77 | 74.38 | 80.53 | 101.11 | 99.7 | 27 | 965 | 36 | 26.51
27.10.22 17:40:30 | 19.3 | 75.54 | 77.59 | 86.35 | 101.27 | 69.62 | 102.84 | 103 | 78.32 | 86.65 | 106.33 | 78.76 | 93.65 | 83.65 | 78.76 | 84.1 | 106.49 | 86.2 | 90.44 | 108.57 | 112.93 | 73.8 | 80.24 | 100.64 | 99.7 | 27 | 965 | 36 | 26.54
27.10.22 17:40:45 | 19.55 | 75.25 | 77 | 85.75 | 101.11 | 69.33 | 102.53 | 102.84 | 78.18 | 86.2 | 106.33 | 78.62 | 93.65 | 83.06 | 78.18 | 83.95 | 106.33 | 85.9 | 90.14 | 108.57 | 112.45 | 73.22 | 79.94 | 100.64 | 99.7 | 27 | 965 | 36 | 26.54
27.10.22 17:41:00 | 19.8 | 74.81 | 76.86 | 85.45 | 100.95 | 69.19 | 102.37 | 102.84 | 77.44 | 85.9 | 106.33 | 78.32 | 93.35 | 82.76 | 78.03 | 83.65 | 106.17 | 85.6 | 89.98 | 108.41 | 112.77 | 72.93 | 79.8 | 100.64 | 99.39 | 27 | 965 | 36 | 26.54
27.10.22 17:41:15 | 20.05 | 74.52 | 76.27 | 85.15 | 100.8 | 68.9 | 101.9 | 102.37 | 77.15 | 85.45 | 106.33 | 78.03 | 93.04 | 82.46 | 77.44 | 83.21 | 106.02 | 85.45 | 89.68 | 108.25 | 112.29 | 72.35 | 79.8 | 100.33 | 99.23 | 27 | 965 | 36 | 26.54
27.10.22 17:41:30 | 20.3 | 74.38 | 75.98 | 84.85 | 100.8 | 68.47 | 102.05 | 102.37 | 76.86 | 85.15 | 106.17 | 77.88 | 93.04 | 82.02 | 77.15 | 82.91 | 106.02 | 85.45 | 89.53 | 108.41 | 112.93 | 71.77 | 79.5 | 100.17 | 99.23 | 27 | 965 | 36 | 26.54
27.10.22 17:41:45 | 20.55 | 73.8 | 75.54 | 84.4 | 100.64 | 68.19 | 101.9 | 102.53 | 76.56 | 84.7 | 105.86 | 77.59 | 92.73 | 81.42 | 76.56 | 82.31 | 105.86 | 84.85 | 89.22 | 108.09 | 112.77 | 71.34 | 79.35 | 100.17 | 98.92 | 27 | 965 | 36 | 26.55
27.10.22 17:42:00 | 20.8 | 73.51 | 75.25 | 84.25 | 100.64 | 68.19 | 101.9 | 102.21 | 76.12 | 84.7 | 106.17 | 77.3 | 92.42 | 80.98 | 76.27 | 82.17 | 105.86 | 84.7 | 88.92 | 107.93 | 112.77 | 70.76 | 79.5 | 100.01 | 98.76 | 27 | 965 | 36 | 26.57
27.10.22 17:42:15 | 21.05 | 73.36 | 75.25 | 83.95 | 100.48 | 67.62 | 101.58 | 102.37 | 75.83 | 84.25 | 106.02 | 77.3 | 92.58 | 80.83 | 76.27 | 81.72 | 106.02 | 84.25 | 89.22 | 107.93 | 112.93 | 70.48 | 79.35 | 99.86 | 98.61 | 27 | 965 | 36 | 26.58
27.10.22 17:42:30 | 21.3 | 72.93 | 74.96 | 83.65 | 100.33 | 67.76 | 101.43 | 102.37 | 75.83 | 83.8 | 106.17 | 77.15 | 92.42 | 80.53 | 75.69 | 81.72 | 105.86 | 84.4 | 88.77 | 107.93 | 112.77 | 69.76 | 79.06 | 99.86 | 98.61 | 27 | 965 | 36 | 26.58
27.10.22 17:42:45 | 21.55 | 72.78 | 74.67 | 83.36 | 100.17 | 67.62 | 101.27 | 102.21 | 75.4 | 83.51 | 106.02 | 77 | 92.27 | 80.09 | 75.25 | 81.57 | 105.7 | 84.1 | 88.47 | 107.77 | 112.93 | 69.47 | 78.91 | 99.7 | 98.61 | 27 | 965 | 36 | 26.58
27.10.22 17:43:00 | 21.8 | 72.49 | 74.09 | 82.76 | 100.17 | 67.33 | 101.43 | 102.05 | 75.4 | 83.06 | 105.86 | 76.56 | 92.12 | 79.94 | 74.67 | 81.57 | 105.7 | 83.95 | 88.16 | 107.77 | 112.93 | 68.9 | 78.91 | 99.54 | 98.45 | 27 | 965 | 36 | 26.6
27.10.22 17:43:15 | 22.05 | 72.35 | 73.8 | 82.61 | 100.17 | 67.19 | 101.27 | 102.05 | 74.67 | 82.76 | 105.86 | 76.42 | 91.81 | 79.8 | 74.52 | 80.98 | 105.7 | 83.8 | 88.16 | 107.61 | 113.1 | 68.76 | 78.76 | 99.54 | 98.29 | 27 | 965 | 36 | 26.6
27.10.22 17:43:30 | 22.3 | 72.06 | 72.93 | 82.31 | 99.86 | 67.05 | 100.64 | 102.21 | 73.94 | 82.46 | 106.17 | 76.27 | 91.81 | 79.94 | 74.52 | 80.98 | 105.7 | 83.36 | 87.71 | 107.61 | 112.93 | 68.04 | 78.76 | 99.39 | 98.29 | 27 | 965 | 36 | 26.61
27.10.22 17:43:45 | 22.55 | 71.63 | 72.35 | 82.17 | 99.86 | 66.76 | 100.48 | 101.9 | 73.8 | 82.31 | 105.7 | 75.98 | 91.51 | 79.21 | 73.94 | 80.39 | 105.7 | 83.21 | 87.71 | 107.61 | 113.26 | 67.76 | 78.47 | 99.39 | 97.83 | 27 | 965 | 36 | 26.61
27.10.22 17:44:00 | 22.8 | 71.48 | 72.2 | 82.02 | 100.01 | 66.76 | 100.48 | 102.37 | 73.51 | 82.02 | 106.02 | 75.98 | 91.81 | 79.06 | 73.8 | 80.09 | 105.86 | 83.51 | 87.71 | 107.45 | 113.42 | 67.76 | 78.62 | 99.54 | 97.83 | 27 | 965 | 36 | 26.61
27.10.22 17:44:15 | 23.05 | 70.76 | 71.48 | 81.27 | 99.23 | 66.2 | 99.54 | 101.74 | 72.93 | 81.27 | 105.54 | 75.54 | 91.35 | 78.32 | 73.22 | 79.65 | 105.38 | 82.31 | 87.11 | 107.13 | 112.93 | 67.33 | 78.03 | 99.07 | 97.36 | 27 | 965 | 36 | 26.63
27.10.22 17:44:30 | 23.3 | 70.62 | 71.2 | 80.98 | 99.54 | 66.05 | 99.54 | 101.74 | 72.78 | 81.13 | 105.7 | 75.54 | 91.35 | 78.18 | 73.07 | 79.06 | 105.38 | 82.46 | 87.11 | 107.13 | 113.1 | 67.05 | 78.32 | 99.07 | 97.36 | 27 | 965 | 36 | 26.64
27.10.22 17:44:45 | 23.55 | 70.19 | 70.76 | 80.68 | 99.23 | 65.77 | 99.39 | 101.58 | 72.49 | 80.98 | 105.54 | 75.1 | 90.59 | 77.88 | 72.64 | 79.06 | 105.38 | 82.17 | 86.8 | 106.97 | 113.1 | 66.48 | 77.88 | 98.92 | 97.36 | 27 | 965 | 36 | 26.64
27.10.22 17:45:00 | 23.8 | 70.05 | 70.62 | 80.39 | 99.23 | 65.63 | 99.23 | 101.58 | 72.06 | 80.68 | 105.22 | 75.1 | 90.74 | 77.59 | 72.35 | 79.06 | 105.38 | 82.02 | 86.5 | 107.29 | 113.1 | 66.48 | 77.44 | 98.61 | 97.21 | 27 | 965 | 36 | 26.65
27.10.22 17:45:15 | 24.05 | 69.62 | 70.62 | 80.39 | 99.07 | 65.2 | 99.07 | 101.58 | 71.92 | 80.53 | 105.7 | 74.96 | 90.59 | 77.44 | 72.06 | 78.47 | 105.38 | 81.72 | 86.5 | 107.13 | 113.1 | 65.77 | 77.3 | 98.76 | 97.21 | 27 | 965 | 36 | 26.64
27.10.22 17:45:30 | 24.3 | 69.62 | 70.33 | 79.8 | 99.23 | 65.06 | 99.07 | 101.43 | 71.77 | 80.39 | 105.38 | 74.67 | 90.44 | 77.3 | 71.48 | 78.62 | 105.38 | 81.57 | 86.2 | 106.97 | 113.42 | 65.77 | 77 | 98.45 | 96.9 | 27 | 965 | 36 | 26.65
27.10.22 17:45:45 | 24.55 | 69.19 | 70.05 | 79.5 | 99.23 | 64.78 | 98.61 | 101.43 | 71.48 | 79.94 | 105.54 | 74.23 | 90.14 | 77 | 71.2 | 78.18 | 105.22 | 81.13 | 86.05 | 106.81 | 113.26 | 65.2 | 76.86 | 98.29 | 96.9 | 27 | 965 | 36 | 26.66
27.10.22 17:46:00 | 24.8 | 69.04 | 70.05 | 79.5 | 99.23 | 64.92 | 98.76 | 101.27 | 71.05 | 80.09 | 105.22 | 74.38 | 90.14 | 76.86 | 71.05 | 78.18 | 105.22 | 81.27 | 85.75 | 106.65 | 113.59 | 64.64 | 76.86 | 98.29 | 97.05 | 27 | 965 | 36 | 26.66
27.10.22 17:46:15 | 25.05 | 68.62 | 69.47 | 78.91 | 98.92 | 64.5 | 98.45 | 101.43 | 70.91 | 79.65 | 105.22 | 73.94 | 89.98 | 76.42 | 70.48 | 78.03 | 105.06 | 80.98 | 85.45 | 106.65 | 113.42 | 63.79 | 76.56 | 97.98 | 96.59 | 27 | 965 | 36 | 26.68
27.10.22 17:46:30 | 25.3 | 68.19 | 69.04 | 78.47 | 98.76 | 64.08 | 98.14 | 101.11 | 70.48 | 79.06 | 105.22 | 73.65 | 89.68 | 76.27 | 69.9 | 77.73 | 104.74 | 80.53 | 85.3 | 106.49 | 113.1 | 63.09 | 76.27 | 97.67 | 96.28 | 27 | 965 | 36 | 26.68
27.10.22 17:46:45 | 25.55 | 68.19 | 68.9 | 78.76 | 98.92 | 64.22 | 97.98 | 101.27 | 70.62 | 79.21 | 105.38 | 73.51 | 89.53 | 76.42 | 69.9 | 77.73 | 104.9 | 80.24 | 85.3 | 106.65 | 113.1 | 63.09 | 76.56 | 97.67 | 96.43 | 27 | 965 | 36 | 26.68
27.10.22 17:47:00 | 25.8 | 67.76 | 68.47 | 78.03 | 98.61 | 64.08 | 97.83 | 101.11 | 70.05 | 79.21 | 105.22 | 73.07 | 89.38 | 76.12 | 69.62 | 77.88 | 104.58 | 80.09 | 84.85 | 106.33 | 113.26 | 62.53 | 75.98 | 97.21 | 96.12 | 27 | 965 | 36 | 26.68
27.10.22 17:47:15 | 26.05 | 67.33 | 67.9 | 77.73 | 98.29 | 63.51 | 97.98 | 100.95 | 69.76 | 78.62 | 105.06 | 72.78 | 89.22 | 75.69 | 68.9 | 77.15 | 104.43 | 79.65 | 84.4 | 106.17 | 113.26 | 62.11 | 75.98 | 97.05 | 95.66 | 27 | 965 | 36 | 26.69
27.10.22 17:47:30 | 26.3 | 67.05 | 68.04 | 77.73 | 98.14 | 63.51 | 97.67 | 100.95 | 69.76 | 78.32 | 105.06 | 72.78 | 89.07 | 75.54 | 68.9 | 77 | 104.27 | 79.65 | 84.55 | 106.02 | 113.1 | 61.97 | 75.98 | 96.74 | 95.81 | 27 | 965 | 36 | 26.71
27.10.22 17:47:45 | 26.55 | 66.76 | 67.62 | 77.3 | 98.14 | 63.23 | 97.67 | 100.8 | 69.62 | 78.32 | 104.9 | 72.49 | 88.77 | 75.25 | 68.62 | 76.56 | 104.58 | 79.35 | 84.55 | 106.33 | 113.1 | 61.13 | 75.83 | 96.43 | 95.35 | 27 | 965 | 36 | 26.71
27.10.22 17:48:00 | 26.8 | 66.62 | 67.33 | 77 | 98.14 | 62.81 | 97.52 | 100.95 | 69.33 | 78.03 | 104.9 | 72.49 | 88.47 | 75.25 | 68.33 | 76.27 | 104.58 | 79.21 | 84.4 | 106.33 | 113.59 | 60.99 | 75.54 | 95.81 | 95.19 | 27 | 965 | 36 | 26.72
27.10.22 17:48:15 | 27.05 | 66.48 | 67.19 | 77 | 98.14 | 62.95 | 97.21 | 100.8 | 69.04 | 77.88 | 105.06 | 72.49 | 88.01 | 75.1 | 67.9 | 76.12 | 104.43 | 78.91 | 84.1 | 106.02 | 113.42 | 60.29 | 75.4 | 95.35 | 95.35 | 27 | 965 | 36 | 26.72
27.10.22 17:48:30 | 27.3 | 65.77 | 66.91 | 76.71 | 97.83 | 62.53 | 96.9 | 100.48 | 68.76 | 77.59 | 104.9 | 72.06 | 88.16 | 74.67 | 67.47 | 75.98 | 104.43 | 78.76 | 83.8 | 106.02 | 113.75 | 60.15 | 75.25 | 94.88 | 94.58 | 27 | 965 | 36 | 26.72
27.10.22 17:48:45 | 27.55 | 65.63 | 66.48 | 76.27 | 97.52 | 62.25 | 97.05 | 100.48 | 68.47 | 77.15 | 104.74 | 71.63 | 87.86 | 74.52 | 67.05 | 75.69 | 104.43 | 78.32 | 83.8 | 105.7 | 113.42 | 59.46 | 74.96 | 94.73 | 94.58 | 27 | 965 | 36 | 26.74
27.10.22 17:49:00 | 27.8 | 65.35 | 66.48 | 76.12 | 97.36 | 61.97 | 96.9 | 100.64 | 68.19 | 77.15 | 104.58 | 71.34 | 87.56 | 74.67 | 66.76 | 75.25 | 104.11 | 78.18 | 83.51 | 106.17 | 113.42 | 59.04 | 74.52 | 94.42 | 94.42 | 27 | 965 | 36 | 26.75
27.10.22 17:49:15 | 28.05 | 65.06 | 66.2 | 75.83 | 97.05 | 61.83 | 96.59 | 100.48 | 67.9 | 76.86 | 104.58 | 71.34 | 87.41 | 74.09 | 66.2 | 75.1 | 103.95 | 78.03 | 83.51 | 105.86 | 113.75 | 58.35 | 74.52 | 94.27 | 93.96 | 27 | 965 | 36 | 26.76
27.10.22 17:49:30 | 28.3 | 64.78 | 65.91 | 75.69 | 97.05 | 61.69 | 96.43 | 100.64 | 67.47 | 77 | 104.74 | 70.91 | 87.26 | 74.09 | 65.49 | 74.81 | 103.79 | 77.88 | 83.65 | 106.02 | 113.59 | 58.07 | 74.38 | 93.96 | 94.11 | 27 | 965 | 36 | 26.76
27.10.22 17:49:45 | 28.55 | 64.5 | 65.91 | 75.54 | 97.21 | 61.55 | 96.28 | 100.48 | 67.33 | 76.71 | 104.43 | 70.62 | 87.11 | 73.94 | 65.49 | 74.38 | 103.79 | 77.88 | 83.21 | 105.86 | 113.75 | 57.93 | 74.23 | 93.96 | 93.65 | 27 | 965 | 36 | 26.76
27.10.22 17:50:00 | 28.8 | 64.22 | 65.35 | 75.1 | 97.05 | 60.85 | 95.97 | 100.17 | 66.91 | 76.27 | 104.27 | 70.19 | 86.8 | 73.8 | 64.78 | 74.23 | 103.95 | 77.59 | 82.91 | 105.7 | 113.75 | 56.96 | 74.23 | 93.96 | 93.19 | 27 | 965 | 36 | 26.76
27.10.22 17:50:15 | 29.05 | 63.93 | 64.92 | 74.52 | 97.05 | 60.57 | 95.66 | 100.01 | 66.91 | 76.27 | 104.43 | 69.76 | 86.2 | 73.36 | 64.22 | 73.8 | 103.32 | 77 | 82.61 | 105.38 | 113.42 | 56.27 | 74.38 | 93.5 | 93.04 | 27 | 965 | 36 | 26.76
27.10.22 17:50:30 | 29.3 | 63.65 | 64.78 | 74.52 | 96.59 | 60.29 | 95.97 | 100.17 | 66.91 | 76.12 | 104.27 | 69.76 | 86.2 | 73.22 | 64.22 | 73.65 | 103.79 | 77.3 | 82.61 | 105.7 | 113.91 | 56.14 | 73.94 | 93.35 | 93.04 | 27 | 965 | 36 | 26.78
27.10.22 17:50:45 | 29.55 | 63.51 | 64.5 | 74.23 | 96.43 | 60.01 | 95.66 | 100.01 | 66.76 | 75.83 | 104.27 | 69.47 | 86.05 | 73.07 | 63.79 | 73.51 | 103.48 | 76.71 | 82.17 | 105.54 | 113.75 | 55.45 | 73.65 | 93.19 | 92.73 | 27 | 965 | 36 | 26.79
27.10.22 17:51:00 | 29.8 | 62.95 | 63.93 | 74.09 | 96.59 | 59.73 | 95.5 | 100.01 | 66.2 | 75.69 | 104.11 | 69.04 | 85.75 | 72.78 | 63.23 | 72.93 | 103.32 | 76.71 | 81.87 | 105.06 | 113.75 | 54.76 | 73.51 | 93.04 | 92.27 | 27 | 965 | 36 | 26.79
27.10.22 17:51:15 | 30.05 | 62.81 | 63.79 | 73.8 | 96.28 | 59.6 | 95.19 | 100.01 | 65.91 | 75.54 | 103.95 | 68.76 | 85.75 | 72.64 | 63.37 | 72.64 | 103.32 | 76.27 | 82.02 | 105.22 | 113.75 | 54.49 | 73.36 | 93.04 | 91.81 | 27 | 965 | 36 | 26.79
27.10.22 17:51:30 | 30.3 | 62.67 | 63.65 | 73.51 | 95.97 | 59.46 | 95.19 | 100.01 | 65.63 | 75.25 | 103.79 | 68.33 | 85.45 | 72.49 | 63.23 | 72.49 | 103.32 | 76.27 | 82.02 | 105.22 | 113.91 | 53.8 | 72.78 | 92.88 | 92.12 | 27 | 965 | 36 | 26.79
27.10.22 17:51:45 | 30.55 | 62.39 | 63.51 | 73.22 | 95.97 | 59.18 | 95.04 | 99.86 | 65.2 | 75.1 | 103.79 | 67.9 | 85 | 72.06 | 62.81 | 72.06 | 103.16 | 75.83 | 81.87 | 105.22 | 113.59 | 53.26 | 72.78 | 92.58 | 91.66 | 27 | 965 | 36 | 26.79