## Oxygen OPA
Measurement Name : | 20221027_SDR710_WT_AMB |  | Generated On : | 27/10/2022, 16:41:44 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 27/10/2022, 15:57:30 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 27/10/2022, 16:28:00 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 30 | °C
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.07 | 46.04 | 46.07 | 45.95 | 46.11 | 46.25 | 46.24 | 46.17 | 46.23 | 46.19 | 46.23 | 46.15 | 46.09 | 46.1 | 46.25 | 46.33 | 46.17 | 46.83 | 46.05 | 46.55 | 46 | 46.77 | 46.09 | 46.24
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
27.10.22 15:57:32 | 0.03 | 93.92 | 91.66 | 90.64 | 81.92 | 87.63 | 82.07 | 93.67 | 87.56 | 85.91 | 92.98 | 86.77 | 88.01 | 83.6 | 87.93 | 82.49 | 82.91 | 83.05 | 85.12 | 79.96 | 85.72 | 85.68 | 82.82 | 88.22 | 78.73 | 30 | 965 | 36 | 28.67
27.10.22 15:57:47 | 0.28 | 95.21 | 93.08 | 91.5 | 82.87 | 88.9 | 82.77 | 94.4 | 87.98 | 87.05 | 93.99 | 87.48 | 88.43 | 84.85 | 88.91 | 83.05 | 83.34 | 84.31 | 86.34 | 80.78 | 86.17 | 86.79 | 83.87 | 89.21 | 79.43 | 30 | 965 | 36 | 28.5
27.10.22 15:58:02 | 0.53 | 96.51 | 94.23 | 91.92 | 83.56 | 89.61 | 83.9 | 94.99 | 88.69 | 87.91 | 94.72 | 88.05 | 89.14 | 85.83 | 89.62 | 83.76 | 84.05 | 84.87 | 87.25 | 81.33 | 86.76 | 87.91 | 84.62 | 90.06 | 79.98 | 30 | 965 | 36 | 28.41
27.10.22 15:58:17 | 0.78 | 97.53 | 94.8 | 92.92 | 84.24 | 90.46 | 84.32 | 95.28 | 89.12 | 88.77 | 95.3 | 88.62 | 89.43 | 86.39 | 90.33 | 84.18 | 84.05 | 85.72 | 88.02 | 82.01 | 87.35 | 88.6 | 85.52 | 90.91 | 80.96 | 30 | 965 | 36 | 28.35
27.10.22 15:58:32 | 1.03 | 98.11 | 95.37 | 93.06 | 84.38 | 91.32 | 84.75 | 95.72 | 89.26 | 89.63 | 96.18 | 88.77 | 90.14 | 86.95 | 90.9 | 84.75 | 84.48 | 86.14 | 88.78 | 82.43 | 87.79 | 89.3 | 85.83 | 91.76 | 81.52 | 30 | 965 | 36 | 28.31
27.10.22 15:58:47 | 1.28 | 98.83 | 96.24 | 93.64 | 85.06 | 92.18 | 85.6 | 96.16 | 90.26 | 90.06 | 96.91 | 89.77 | 90.57 | 87.8 | 91.76 | 85.17 | 84.91 | 86.71 | 89.55 | 82.98 | 88.23 | 89.87 | 86.58 | 92.48 | 82.22 | 30 | 965 | 36 | 28.3
27.10.22 15:59:02 | 1.53 | 99.42 | 96.24 | 93.78 | 85.06 | 92.32 | 85.46 | 96.45 | 90.12 | 90.49 | 97.06 | 89.77 | 90.43 | 88.08 | 92.04 | 85.17 | 85.19 | 87.13 | 90.01 | 83.12 | 88.23 | 90.29 | 86.73 | 92.76 | 82.51 | 30 | 965 | 36 | 28.31
27.10.22 15:59:17 | 1.78 | 100 | 96.96 | 93.92 | 85.61 | 93.04 | 86.03 | 96.75 | 90.84 | 91.21 | 97.79 | 90.06 | 90.71 | 88.5 | 92.61 | 85.6 | 85.34 | 87.56 | 90.63 | 83.81 | 88.53 | 90.71 | 86.88 | 93.34 | 82.79 | 30 | 965 | 36 | 28.28
27.10.22 15:59:32 | 2.03 | 100.29 | 97.1 | 94.35 | 85.89 | 93.47 | 86.17 | 97.04 | 90.98 | 91.5 | 97.94 | 90.2 | 90.71 | 88.78 | 92.9 | 85.88 | 85.48 | 87.84 | 90.94 | 84.08 | 88.53 | 90.99 | 87.34 | 93.62 | 83.07 | 30 | 965 | 36 | 28.3
27.10.22 15:59:47 | 2.28 | 100.73 | 97.68 | 94.35 | 85.75 | 93.75 | 86.45 | 97.19 | 90.84 | 91.65 | 98.23 | 90.64 | 90.85 | 89.07 | 93.04 | 86.03 | 85.48 | 88.12 | 91.24 | 84.36 | 88.53 | 91.27 | 87.19 | 93.91 | 83.35 | 30 | 965 | 36 | 28.3
27.10.22 16:00:02 | 2.53 | 101.02 | 98.11 | 95.07 | 86.03 | 94.19 | 87.03 | 97.63 | 91.27 | 92.23 | 98.82 | 91.21 | 91.28 | 89.49 | 93.76 | 86.45 | 85.91 | 88.55 | 91.86 | 84.78 | 88.83 | 91.55 | 87.49 | 94.49 | 83.77 | 30 | 965 | 36 | 28.3
27.10.22 16:00:17 | 2.78 | 101.32 | 98.26 | 94.78 | 86.17 | 94.47 | 86.88 | 97.63 | 91.12 | 92.08 | 99.26 | 91.21 | 91.28 | 89.49 | 94.05 | 86.6 | 85.77 | 88.84 | 92.02 | 85.05 | 88.83 | 91.41 | 87.34 | 94.49 | 83.92 | 30 | 965 | 36 | 28.31
27.10.22 16:00:32 | 3.03 | 101.46 | 98.11 | 94.93 | 86.03 | 94.62 | 87.03 | 98.07 | 91.41 | 92.52 | 99.26 | 91.21 | 91.14 | 89.92 | 94.19 | 86.74 | 85.77 | 88.98 | 92.33 | 85.05 | 88.83 | 91.41 | 87.49 | 94.77 | 83.92 | 30 | 965 | 36 | 28.33
27.10.22 16:00:47 | 3.28 | 101.32 | 98.11 | 94.64 | 86.3 | 94.62 | 87.17 | 97.78 | 91.41 | 92.52 | 99.41 | 91.36 | 91.14 | 89.92 | 94.48 | 86.74 | 85.91 | 89.12 | 92.48 | 85.19 | 88.53 | 91.41 | 87.34 | 94.77 | 83.77 | 30 | 965 | 36 | 28.35
27.10.22 16:01:02 | 3.53 | 102.05 | 98.55 | 95.07 | 86.44 | 95.05 | 87.31 | 98.37 | 91.41 | 92.81 | 100 | 91.5 | 91.28 | 89.92 | 94.77 | 86.88 | 85.77 | 89.26 | 92.95 | 85.19 | 88.53 | 91.13 | 87.49 | 94.92 | 84.06 | 30 | 965 | 36 | 28.35
27.10.22 16:01:17 | 3.78 | 102.05 | 98.55 | 94.78 | 86.3 | 95.05 | 87.31 | 98.07 | 91.55 | 92.95 | 100.15 | 91.5 | 91.28 | 90.06 | 95.06 | 86.88 | 85.77 | 89.41 | 92.79 | 85.33 | 88.53 | 90.71 | 87.19 | 94.92 | 84.2 | 30 | 965 | 36 | 28.38
27.10.22 16:01:32 | 4.03 | 101.76 | 98.55 | 94.93 | 86.03 | 95.2 | 87.17 | 98.37 | 91.55 | 92.66 | 100.3 | 91.79 | 91.28 | 90.2 | 95.06 | 86.88 | 85.77 | 89.55 | 93.26 | 85.61 | 88.53 | 90.71 | 87.34 | 95.21 | 84.48 | 30 | 965 | 36 | 28.38
27.10.22 16:01:47 | 4.28 | 102.2 | 98.4 | 94.93 | 85.89 | 95.34 | 87.45 | 98.37 | 91.84 | 92.81 | 100.74 | 92.23 | 91.43 | 90.2 | 95.34 | 86.88 | 85.91 | 89.41 | 93.1 | 85.47 | 88.38 | 90.85 | 87.04 | 95.21 | 84.48 | 30 | 965 | 36 | 28.38
27.10.22 16:02:02 | 4.53 | 102.2 | 98.55 | 94.78 | 85.75 | 95.34 | 87.31 | 98.22 | 91.41 | 92.81 | 100.44 | 91.94 | 91.28 | 90.34 | 95.63 | 86.88 | 85.62 | 89.55 | 93.1 | 85.61 | 88.23 | 90.71 | 86.88 | 95.21 | 84.34 | 30 | 965 | 36 | 28.41
27.10.22 16:02:17 | 4.78 | 102.49 | 98.84 | 94.78 | 85.34 | 95.48 | 87.31 | 98.37 | 91.55 | 92.81 | 100.74 | 91.94 | 91.28 | 90.2 | 95.92 | 86.74 | 85.48 | 89.41 | 93.41 | 85.75 | 88.09 | 90.71 | 86.88 | 95.35 | 84.62 | 30 | 965 | 36 | 28.42
27.10.22 16:02:32 | 5.03 | 102.64 | 98.84 | 95.07 | 85.2 | 95.77 | 87.6 | 98.37 | 91.84 | 92.81 | 100.74 | 91.94 | 91.28 | 90.34 | 95.92 | 86.88 | 85.62 | 89.41 | 93.41 | 85.75 | 88.09 | 90.85 | 86.73 | 95.35 | 84.34 | 30 | 965 | 36 | 28.42
27.10.22 16:02:47 | 5.28 | 102.49 | 98.69 | 94.78 | 84.65 | 95.63 | 87.45 | 98.22 | 91.55 | 92.52 | 101.19 | 92.08 | 91.28 | 90.34 | 96.07 | 86.6 | 85.34 | 89.12 | 93.57 | 85.75 | 87.64 | 90.85 | 86.43 | 95.35 | 83.92 | 30 | 965 | 36 | 28.45
27.10.22 16:03:02 | 5.53 | 102.64 | 98.69 | 94.93 | 84.79 | 95.77 | 87.31 | 98.37 | 91.7 | 92.66 | 101.33 | 91.94 | 91 | 90.34 | 96.07 | 86.74 | 85.19 | 88.98 | 93.72 | 85.89 | 87.79 | 91.13 | 86.43 | 95.64 | 84.06 | 30 | 965 | 36 | 28.46
27.10.22 16:03:17 | 5.78 | 102.64 | 98.69 | 94.93 | 84.79 | 95.77 | 87.45 | 98.52 | 91.7 | 92.66 | 101.48 | 92.08 | 90.85 | 90.48 | 96.07 | 86.6 | 85.05 | 88.84 | 93.57 | 85.89 | 87.64 | 90.99 | 85.98 | 95.64 | 84.06 | 30 | 965 | 36 | 28.48
27.10.22 16:03:32 | 6.03 | 102.64 | 98.69 | 94.64 | 84.38 | 95.77 | 87.31 | 98.37 | 91.41 | 92.81 | 101.19 | 91.79 | 90.28 | 90.34 | 96.07 | 86.45 | 84.62 | 88.55 | 93.57 | 85.89 | 87.35 | 90.99 | 85.52 | 95.35 | 83.63 | 30 | 965 | 36 | 28.49
27.10.22 16:03:47 | 6.28 | 102.64 | 98.55 | 94.78 | 84.51 | 96.06 | 87.17 | 98.52 | 91.55 | 92.66 | 101.48 | 91.79 | 90.57 | 90.63 | 96.21 | 86.45 | 84.62 | 88.55 | 93.57 | 85.89 | 87.05 | 91.13 | 85.83 | 95.35 | 83.35 | 30 | 965 | 36 | 28.49
27.10.22 16:04:02 | 6.53 | 102.64 | 98.69 | 94.64 | 84.1 | 95.63 | 87.17 | 98.52 | 91.55 | 92.66 | 101.63 | 91.65 | 90.14 | 90.34 | 96.21 | 86.17 | 84.19 | 88.41 | 93.41 | 85.61 | 87.05 | 90.99 | 85.52 | 95.49 | 83.35 | 30 | 965 | 36 | 28.52
27.10.22 16:04:17 | 6.78 | 102.94 | 98.69 | 94.64 | 83.83 | 95.63 | 87.17 | 98.22 | 91.7 | 92.52 | 101.63 | 91.5 | 90 | 90.2 | 96.36 | 86.17 | 83.91 | 88.12 | 93.57 | 85.47 | 86.76 | 90.99 | 85.22 | 95.35 | 83.63 | 30 | 965 | 36 | 28.53
27.10.22 16:04:32 | 7.03 | 102.94 | 98.84 | 94.35 | 83.83 | 95.92 | 87.03 | 98.07 | 91.55 | 92.37 | 101.63 | 91.65 | 89.85 | 90.2 | 96.36 | 86.03 | 83.62 | 88.12 | 93.57 | 85.33 | 87.05 | 90.99 | 84.92 | 95.49 | 83.35 | 30 | 965 | 36 | 28.55
27.10.22 16:04:47 | 7.28 | 103.23 | 98.69 | 94.5 | 83.83 | 95.77 | 87.17 | 98.22 | 91.99 | 92.23 | 101.78 | 91.65 | 89.85 | 90.2 | 96.36 | 85.88 | 83.62 | 87.7 | 93.88 | 85.19 | 86.9 | 91.13 | 84.92 | 95.64 | 83.35 | 30 | 965 | 36 | 28.56
27.10.22 16:05:02 | 7.53 | 103.23 | 98.84 | 94.21 | 83.69 | 95.92 | 87.03 | 98.37 | 91.7 | 92.23 | 102.08 | 91.5 | 89.29 | 90.2 | 96.21 | 85.6 | 83.48 | 86.99 | 93.72 | 85.19 | 86.61 | 91.13 | 84.47 | 95.49 | 83.07 | 30 | 965 | 36 | 28.59
27.10.22 16:05:17 | 7.78 | 103.23 | 98.55 | 94.07 | 83.97 | 95.77 | 86.88 | 98.37 | 91.99 | 92.23 | 101.93 | 91.5 | 89.29 | 89.92 | 96.21 | 85.46 | 83.48 | 86.85 | 93.88 | 85.05 | 86.31 | 91.13 | 84.32 | 95.49 | 83.21 | 30 | 965 | 36 | 28.6
27.10.22 16:05:32 | 8.03 | 103.23 | 98.55 | 94.07 | 83.42 | 96.21 | 86.74 | 98.07 | 91.7 | 92.08 | 101.93 | 91.07 | 89.29 | 89.92 | 96.36 | 85.17 | 82.91 | 86.56 | 93.41 | 85.05 | 86.31 | 91.13 | 83.87 | 95.49 | 83.07 | 30 | 965 | 36 | 28.61
27.10.22 16:05:47 | 8.28 | 103.23 | 98.26 | 94.21 | 83.42 | 95.63 | 86.6 | 97.93 | 91.41 | 92.23 | 101.93 | 90.92 | 89 | 89.63 | 96.07 | 85.03 | 82.63 | 86.71 | 93.41 | 84.92 | 86.02 | 90.99 | 83.27 | 95.35 | 82.93 | 30 | 965 | 36 | 28.63
27.10.22 16:06:02 | 8.53 | 103.38 | 98.4 | 94.07 | 83.28 | 95.63 | 86.6 | 97.93 | 91.41 | 91.94 | 102.23 | 91.21 | 88.72 | 89.63 | 96.21 | 84.89 | 82.63 | 86.42 | 93.57 | 84.92 | 85.72 | 90.85 | 83.12 | 95.35 | 82.93 | 30 | 965 | 36 | 28.63
27.10.22 16:06:17 | 8.78 | 103.38 | 98.11 | 93.64 | 83.14 | 95.63 | 86.74 | 97.78 | 91.12 | 91.65 | 102.08 | 91.07 | 88.43 | 89.49 | 96.07 | 84.75 | 82.34 | 86.42 | 93.26 | 84.92 | 85.58 | 90.71 | 82.82 | 95.21 | 82.79 | 30 | 965 | 36 | 28.66
27.10.22 16:06:32 | 9.03 | 103.23 | 97.82 | 93.64 | 82.87 | 95.34 | 86.45 | 97.63 | 90.84 | 91.65 | 101.93 | 90.78 | 88.01 | 89.07 | 96.07 | 84.32 | 82.06 | 86 | 92.95 | 84.64 | 85.28 | 90.71 | 82.37 | 95.06 | 82.51 | 30 | 965 | 36 | 28.67
27.10.22 16:06:47 | 9.28 | 103.53 | 97.53 | 93.64 | 83.01 | 95.48 | 86.31 | 97.63 | 90.69 | 91.36 | 102.38 | 90.2 | 87.72 | 89.49 | 95.78 | 84.18 | 82.06 | 86.14 | 93.1 | 84.36 | 85.28 | 90.71 | 82.37 | 95.06 | 82.51 | 30 | 965 | 36 | 28.7
27.10.22 16:07:02 | 9.53 | 103.38 | 97.68 | 93.78 | 83.01 | 95.48 | 86.31 | 97.63 | 90.84 | 91.5 | 102.38 | 90.2 | 87.58 | 89.35 | 96.07 | 84.04 | 81.77 | 86 | 93.1 | 84.22 | 85.14 | 90.85 | 82.07 | 95.21 | 82.36 | 30 | 965 | 36 | 28.7
27.10.22 16:07:17 | 9.78 | 103.67 | 97.39 | 93.64 | 82.87 | 95.63 | 86.45 | 97.78 | 90.55 | 91.65 | 102.52 | 90.06 | 87.72 | 89.21 | 95.92 | 84.04 | 81.49 | 86 | 93.1 | 83.94 | 84.99 | 90.71 | 81.78 | 95.06 | 82.08 | 30 | 965 | 36 | 28.74
27.10.22 16:07:32 | 10.03 | 103.82 | 96.81 | 93.35 | 82.46 | 95.48 | 86.31 | 97.63 | 90.12 | 91.5 | 102.23 | 89.92 | 87.44 | 89.35 | 95.78 | 83.9 | 81.21 | 85.86 | 93.1 | 84.08 | 84.84 | 90.57 | 81.33 | 95.06 | 81.94 | 30 | 965 | 36 | 28.74
27.10.22 16:07:47 | 10.28 | 103.67 | 96.81 | 93.35 | 82.19 | 95.2 | 86.03 | 97.48 | 90.12 | 91.36 | 102.38 | 89.63 | 86.87 | 89.21 | 95.63 | 83.62 | 80.78 | 85.58 | 92.79 | 83.81 | 84.55 | 90.29 | 81.03 | 94.92 | 81.52 | 30 | 965 | 36 | 28.75
27.10.22 16:08:02 | 10.53 | 103.53 | 96.38 | 93.21 | 82.19 | 95.34 | 86.03 | 97.63 | 90.26 | 91.21 | 102.38 | 89.48 | 87.16 | 89.07 | 95.78 | 83.33 | 80.64 | 85.44 | 92.79 | 83.53 | 84.4 | 90.57 | 80.88 | 94.92 | 81.66 | 30 | 965 | 36 | 28.75
27.10.22 16:08:17 | 10.78 | 103.53 | 95.95 | 93.21 | 81.65 | 95.2 | 86.03 | 97.34 | 89.98 | 90.92 | 102.52 | 89.63 | 86.59 | 88.78 | 95.63 | 83.19 | 80.08 | 85.15 | 92.64 | 83.39 | 83.96 | 90.43 | 80.29 | 94.92 | 81.66 | 30 | 965 | 36 | 28.78
27.10.22 16:08:32 | 11.03 | 103.67 | 96.09 | 93.06 | 81.92 | 95.05 | 85.74 | 97.48 | 89.83 | 90.92 | 102.52 | 89.05 | 86.45 | 89.07 | 95.63 | 83.19 | 79.94 | 85.01 | 92.79 | 83.12 | 83.96 | 90.29 | 80.44 | 94.77 | 81.24 | 30 | 965 | 36 | 28.81
27.10.22 16:08:47 | 11.28 | 103.67 | 95.8 | 92.92 | 81.24 | 94.91 | 85.74 | 97.34 | 90.26 | 90.92 | 102.38 | 89.05 | 86.03 | 88.78 | 95.78 | 82.91 | 79.65 | 84.73 | 92.48 | 83.12 | 83.82 | 90.29 | 80.29 | 94.77 | 81.38 | 30 | 965 | 36 | 28.81
27.10.22 16:09:02 | 11.53 | 103.67 | 95.52 | 92.64 | 80.97 | 95.2 | 85.74 | 97.48 | 90.12 | 91.07 | 102.38 | 88.91 | 86.03 | 88.78 | 95.34 | 82.77 | 79.37 | 84.17 | 92.33 | 82.98 | 83.53 | 90.29 | 79.99 | 94.77 | 81.38 | 30 | 965 | 36 | 28.84
27.10.22 16:09:17 | 11.78 | 103.97 | 95.23 | 92.64 | 80.83 | 95.05 | 85.46 | 97.19 | 90.26 | 90.92 | 102.82 | 89.2 | 85.75 | 88.93 | 95.49 | 82.77 | 79.09 | 83.89 | 92.48 | 82.98 | 83.53 | 90.29 | 79.55 | 94.63 | 81.1 | 30 | 965 | 36 | 28.85
27.10.22 16:09:32 | 12.03 | 104.12 | 95.23 | 92.49 | 80.83 | 94.91 | 85.46 | 97.04 | 90.12 | 90.78 | 102.67 | 88.62 | 85.32 | 88.64 | 95.63 | 82.63 | 78.67 | 83.61 | 92.48 | 82.84 | 83.38 | 90.01 | 79.4 | 94.63 | 80.54 | 30 | 965 | 36 | 28.86
27.10.22 16:09:47 | 12.28 | 103.82 | 95.09 | 92.49 | 80.7 | 94.62 | 85.32 | 97.34 | 89.83 | 90.64 | 102.82 | 88.77 | 84.9 | 88.64 | 95.63 | 82.49 | 78.39 | 83.61 | 92.48 | 82.43 | 83.09 | 89.58 | 78.95 | 94.49 | 80.4 | 30 | 965 | 36 | 28.85
27.10.22 16:10:02 | 12.53 | 104.12 | 94.8 | 92.49 | 80.7 | 94.76 | 85.32 | 97.04 | 89.98 | 90.35 | 102.82 | 88.34 | 84.76 | 88.36 | 95.49 | 82.21 | 77.97 | 83.47 | 92.33 | 82.29 | 82.94 | 89.44 | 79.1 | 94.49 | 80.4 | 30 | 965 | 36 | 28.89
27.10.22 16:10:17 | 12.78 | 104.12 | 94.23 | 92.64 | 80.02 | 94.76 | 85.32 | 97.04 | 89.83 | 90.49 | 102.82 | 88.62 | 84.62 | 88.36 | 95.34 | 82.35 | 77.83 | 83.33 | 92.17 | 82.01 | 82.8 | 89.3 | 79.1 | 94.34 | 80.4 | 30 | 965 | 36 | 28.92
27.10.22 16:10:32 | 13.03 | 103.82 | 93.94 | 92.07 | 79.48 | 94.04 | 85.03 | 96.75 | 89.69 | 90.06 | 102.67 | 88.19 | 84.06 | 88.22 | 95.06 | 81.78 | 77.41 | 83.19 | 92.02 | 81.46 | 82.36 | 89.16 | 78.95 | 93.91 | 79.84 | 30 | 965 | 36 | 28.92
27.10.22 16:10:47 | 13.28 | 104.12 | 94.23 | 92.21 | 79.75 | 94.33 | 85.32 | 96.75 | 89.98 | 90.35 | 102.82 | 88.48 | 84.06 | 87.94 | 95.34 | 81.92 | 77.27 | 83.47 | 92.02 | 81.6 | 82.21 | 89.16 | 79.25 | 94.05 | 79.7 | 30 | 965 | 36 | 28.94
27.10.22 16:11:02 | 13.53 | 104.12 | 93.94 | 92.21 | 79.21 | 94.19 | 84.75 | 96.89 | 89.69 | 90.06 | 102.97 | 87.91 | 83.92 | 87.8 | 95.06 | 81.64 | 77.13 | 83.47 | 91.86 | 81.46 | 82.07 | 88.88 | 79.1 | 93.91 | 79.7 | 30 | 965 | 36 | 28.96
27.10.22 16:11:17 | 13.78 | 104.12 | 93.8 | 91.92 | 78.94 | 94.19 | 84.61 | 96.6 | 89.55 | 89.77 | 102.67 | 87.48 | 83.78 | 87.8 | 94.91 | 81.36 | 76.85 | 83.33 | 91.55 | 81.05 | 81.78 | 88.88 | 78.95 | 93.77 | 79.43 | 30 | 965 | 36 | 28.96
27.10.22 16:11:32 | 14.03 | 104.27 | 93.8 | 91.92 | 78.94 | 94.04 | 84.61 | 96.6 | 89.41 | 89.77 | 102.97 | 87.34 | 83.64 | 87.8 | 94.91 | 81.36 | 76.71 | 83.33 | 91.71 | 81.05 | 81.34 | 88.74 | 79.25 | 93.91 | 79.15 | 30 | 965 | 36 | 28.98
27.10.22 16:11:47 | 14.28 | 104.27 | 93.23 | 91.64 | 78.67 | 94.04 | 84.32 | 96.45 | 89.26 | 89.77 | 103.12 | 87.05 | 83.22 | 87.52 | 94.91 | 81.08 | 76.43 | 83.05 | 91.55 | 80.78 | 81.2 | 88.46 | 79.4 | 93.62 | 79.29 | 30 | 965 | 36 | 28.99
27.10.22 16:12:02 | 14.53 | 104.27 | 93.37 | 91.64 | 78.13 | 93.75 | 84.61 | 96.45 | 88.84 | 89.48 | 102.97 | 86.77 | 82.94 | 87.38 | 94.77 | 80.66 | 76.15 | 83.05 | 91.4 | 80.64 | 81.05 | 88.32 | 79.4 | 93.62 | 78.59 | 30 | 965 | 36 | 29.02
27.10.22 16:12:17 | 14.78 | 104.12 | 93.23 | 91.35 | 77.73 | 93.47 | 84.04 | 96.31 | 88.69 | 89.2 | 102.97 | 86.77 | 82.25 | 87.23 | 94.48 | 80.38 | 75.18 | 82.91 | 91.24 | 80.37 | 80.91 | 88.05 | 79.4 | 93.62 | 78.59 | 30 | 965 | 36 | 29.03
27.10.22 16:12:32 | 15.03 | 104.56 | 93.08 | 91.5 | 77.86 | 93.75 | 84.18 | 96.45 | 88.69 | 89.48 | 103.12 | 86.91 | 82.11 | 87.52 | 94.77 | 80.38 | 75.32 | 83.33 | 91.4 | 80.37 | 80.76 | 88.19 | 79.84 | 93.62 | 78.45 | 30 | 965 | 36 | 29.03
27.10.22 16:12:47 | 15.28 | 104.27 | 93.23 | 91.5 | 77.19 | 93.32 | 83.76 | 96.01 | 88.69 | 89.2 | 103.12 | 86.34 | 81.69 | 87.23 | 94.34 | 80.1 | 74.9 | 82.91 | 91.09 | 80.23 | 80.47 | 88.05 | 79.4 | 93.19 | 78.17 | 30 | 965 | 36 | 29.06
27.10.22 16:13:02 | 15.53 | 104.27 | 93.08 | 91.21 | 76.79 | 93.18 | 83.76 | 96.16 | 88.98 | 89.05 | 103.27 | 86.06 | 81.55 | 86.81 | 94.34 | 79.4 | 74.76 | 82.77 | 91.24 | 80.09 | 80.04 | 87.63 | 79.4 | 93.05 | 78.04 | 30 | 965 | 36 | 29.06
27.10.22 16:13:17 | 15.78 | 104.27 | 92.8 | 91.07 | 76.39 | 92.89 | 83.76 | 95.72 | 88.55 | 88.91 | 103.42 | 85.63 | 81.28 | 86.67 | 94.05 | 79.27 | 74.76 | 82.63 | 90.94 | 79.96 | 79.75 | 87.49 | 79.4 | 93.05 | 77.62 | 30 | 965 | 36 | 29.09
27.10.22 16:13:32 | 16.03 | 104.56 | 92.8 | 90.79 | 76.26 | 93.04 | 83.62 | 95.86 | 88.41 | 88.91 | 103.27 | 85.77 | 81 | 86.67 | 94.05 | 79.13 | 74.63 | 82.49 | 91.09 | 79.96 | 79.89 | 87.35 | 79.69 | 92.91 | 77.21 | 30 | 965 | 36 | 29.1
27.10.22 16:13:47 | 16.28 | 104.56 | 92.8 | 90.79 | 76.39 | 93.32 | 83.9 | 95.86 | 88.41 | 88.91 | 103.87 | 85.63 | 81 | 86.53 | 94.19 | 79.13 | 74.63 | 82.91 | 91.09 | 79.82 | 79.75 | 87.35 | 79.84 | 92.91 | 77.34 | 30 | 965 | 36 | 29.13
27.10.22 16:14:02 | 16.53 | 104.12 | 91.95 | 90.5 | 76.12 | 92.61 | 83.19 | 95.86 | 87.98 | 88.48 | 103.27 | 85.06 | 80.31 | 86.11 | 93.76 | 78.57 | 74.21 | 82.63 | 90.63 | 79.14 | 79.17 | 86.79 | 79.4 | 92.62 | 76.93 | 30 | 965 | 36 | 29.13
27.10.22 16:14:17 | 16.78 | 104.41 | 92.23 | 90.79 | 75.86 | 92.61 | 83.33 | 95.72 | 87.98 | 88.77 | 103.72 | 85.06 | 80.31 | 86.11 | 93.9 | 78.43 | 74.49 | 82.77 | 90.94 | 79.14 | 79.03 | 86.93 | 79.99 | 92.76 | 77.07 | 30 | 965 | 36 | 29.14
27.10.22 16:14:32 | 17.03 | 104.27 | 92.09 | 90.64 | 75.72 | 92.18 | 83.05 | 95.86 | 87.98 | 88.48 | 103.72 | 84.64 | 80.03 | 85.97 | 93.76 | 78.29 | 74.35 | 82.49 | 90.94 | 79 | 78.74 | 86.65 | 79.99 | 92.62 | 76.79 | 30 | 965 | 36 | 29.16
27.10.22 16:14:47 | 17.28 | 104.41 | 92.09 | 90.36 | 75.59 | 92.03 | 82.91 | 95.72 | 87.98 | 88.19 | 104.17 | 84.5 | 80.03 | 85.97 | 93.47 | 78.15 | 74.49 | 82.35 | 90.78 | 78.86 | 78.74 | 86.79 | 79.99 | 92.62 | 76.65 | 30 | 965 | 36 | 29.17
27.10.22 16:15:02 | 17.53 | 104.41 | 92.23 | 90.36 | 75.32 | 91.75 | 82.91 | 95.43 | 87.56 | 88.19 | 104.02 | 84.21 | 79.48 | 85.69 | 93.62 | 77.74 | 74.35 | 82.07 | 90.78 | 78.73 | 78.45 | 86.51 | 80.14 | 92.48 | 76.65 | 30 | 965 | 36 | 29.17
27.10.22 16:15:17 | 17.78 | 104.41 | 91.81 | 90.36 | 75.32 | 91.6 | 82.77 | 95.43 | 87.56 | 87.91 | 104.32 | 83.93 | 79.61 | 85.41 | 93.33 | 77.74 | 74.35 | 81.93 | 90.78 | 78.46 | 78.6 | 86.51 | 80.29 | 92.05 | 76.51 | 30 | 965 | 36 | 29.21
27.10.22 16:15:32 | 18.03 | 104.41 | 91.81 | 90.08 | 75.32 | 91.18 | 82.49 | 95.43 | 87.41 | 87.77 | 104.32 | 83.93 | 78.93 | 85.27 | 93.19 | 77.46 | 74.07 | 81.52 | 90.63 | 78.32 | 78.31 | 86.24 | 80.29 | 92.05 | 76.38 | 30 | 965 | 36 | 29.21
27.10.22 16:15:47 | 18.28 | 104.41 | 91.81 | 90.08 | 75.19 | 90.61 | 82.35 | 95.43 | 87.27 | 87.62 | 104.32 | 83.79 | 78.38 | 85.13 | 93.19 | 77.04 | 73.8 | 81.24 | 90.47 | 77.78 | 78.02 | 86.38 | 80.14 | 91.76 | 76.24 | 30 | 965 | 36 | 29.24
27.10.22 16:16:02 | 18.53 | 104.12 | 91.66 | 89.79 | 75.32 | 90.89 | 82.21 | 95.28 | 87.27 | 87.48 | 104.47 | 83.23 | 78.38 | 84.85 | 93.19 | 77.04 | 73.66 | 80.96 | 90.63 | 77.78 | 77.88 | 86.1 | 80.29 | 91.91 | 76.24 | 30 | 965 | 36 | 29.24
27.10.22 16:16:17 | 18.78 | 104.27 | 91.52 | 89.65 | 75.06 | 90.18 | 82.21 | 95.28 | 86.99 | 87.48 | 104.62 | 83.37 | 78.1 | 84.72 | 93.04 | 76.9 | 73.52 | 80.82 | 90.47 | 77.78 | 77.88 | 86.1 | 80.29 | 91.91 | 75.83 | 30 | 965 | 36 | 29.25
27.10.22 16:16:32 | 19.03 | 103.97 | 91.66 | 89.65 | 74.92 | 90.18 | 82.07 | 94.84 | 86.85 | 87.05 | 104.77 | 82.95 | 77.55 | 84.44 | 92.9 | 76.63 | 73.24 | 80.27 | 90.01 | 77.37 | 77.73 | 85.96 | 80.14 | 91.48 | 75.55 | 30 | 965 | 36 | 29.25
27.10.22 16:16:47 | 19.28 | 104.27 | 91.52 | 89.37 | 74.92 | 89.75 | 81.92 | 94.99 | 86.14 | 86.91 | 104.77 | 82.38 | 77.14 | 84.3 | 92.9 | 76.08 | 73.11 | 80.13 | 90.17 | 77.37 | 77.59 | 85.82 | 80.14 | 91.48 | 75.55 | 30 | 965 | 36 | 29.28
27.10.22 16:17:02 | 19.53 | 104.12 | 91.24 | 89.23 | 74.66 | 89.75 | 81.5 | 94.99 | 86.28 | 86.77 | 104.92 | 82.52 | 76.87 | 84.02 | 92.9 | 76.08 | 72.69 | 79.57 | 90.17 | 77.37 | 77.59 | 85.82 | 79.69 | 91.48 | 75.41 | 30 | 965 | 36 | 29.28
27.10.22 16:17:17 | 19.78 | 103.97 | 91.24 | 89.09 | 74.39 | 89.04 | 81.5 | 94.84 | 85.86 | 86.48 | 104.92 | 81.68 | 76.32 | 84.02 | 92.61 | 75.66 | 72.55 | 79.16 | 90.17 | 77.1 | 77.45 | 85.82 | 79.99 | 91.19 | 75.41 | 30 | 965 | 36 | 29.3
27.10.22 16:17:32 | 20.03 | 104.12 | 90.96 | 89.23 | 74.52 | 88.9 | 81.22 | 94.84 | 85.44 | 86.62 | 104.92 | 81.68 | 76.32 | 83.74 | 92.47 | 75.52 | 72.42 | 78.88 | 90.17 | 76.96 | 77.3 | 85.68 | 79.99 | 91.05 | 75.14 | 30 | 965 | 36 | 29.31
27.10.22 16:17:47 | 20.28 | 104.12 | 91.1 | 89.09 | 74.66 | 88.9 | 81.36 | 94.84 | 85.44 | 86.62 | 105.07 | 81.68 | 76.05 | 83.88 | 92.61 | 75.39 | 72.42 | 79.02 | 90.17 | 76.83 | 77.45 | 85.68 | 79.99 | 90.91 | 75 | 30 | 965 | 36 | 29.33
27.10.22 16:18:02 | 20.53 | 104.27 | 90.81 | 88.67 | 73.99 | 88.2 | 81.08 | 94.26 | 85.01 | 86.34 | 105.07 | 81.68 | 75.64 | 83.6 | 92.18 | 74.84 | 72 | 78.74 | 89.86 | 76.69 | 77.16 | 85.68 | 79.84 | 90.77 | 74.45 | 30 | 965 | 36 | 29.34
27.10.22 16:18:17 | 20.78 | 103.97 | 90.53 | 88.67 | 73.99 | 88.05 | 80.8 | 94.26 | 85.01 | 86.06 | 104.92 | 81.4 | 75.5 | 83.46 | 92.18 | 74.56 | 72 | 78.61 | 89.86 | 76.42 | 77.02 | 85.27 | 79.55 | 90.48 | 74.18 | 30 | 965 | 36 | 29.35
27.10.22 16:18:32 | 21.03 | 103.97 | 90.25 | 88.67 | 73.73 | 87.21 | 80.94 | 94.4 | 84.59 | 85.91 | 104.92 | 81.12 | 75.23 | 83.19 | 92.04 | 74.29 | 71.73 | 78.47 | 89.86 | 76.42 | 76.87 | 85.4 | 79.55 | 90.63 | 73.9 | 30 | 965 | 36 | 29.36
27.10.22 16:18:47 | 21.28 | 103.82 | 89.97 | 88.1 | 73.46 | 87.07 | 80.52 | 93.96 | 84.45 | 85.77 | 104.92 | 80.7 | 74.82 | 83.19 | 91.9 | 74.01 | 71.73 | 78.19 | 89.4 | 76.15 | 76.59 | 85.27 | 79.1 | 90.34 | 73.77 | 30 | 965 | 36 | 29.38
27.10.22 16:19:02 | 21.53 | 103.97 | 90.11 | 88.38 | 73.33 | 86.79 | 80.52 | 94.26 | 84.59 | 85.63 | 105.22 | 80.42 | 74.69 | 83.19 | 92.04 | 73.74 | 71.73 | 78.33 | 89.4 | 76.02 | 76.59 | 85.13 | 79.25 | 90.48 | 73.63 | 30 | 965 | 36 | 29.39
27.10.22 16:19:17 | 21.78 | 103.67 | 89.83 | 87.96 | 73.2 | 86.08 | 80.52 | 94.11 | 84.59 | 85.49 | 104.92 | 79.86 | 74.14 | 82.91 | 91.9 | 73.33 | 71.59 | 78.19 | 89.55 | 75.75 | 76.59 | 84.99 | 78.95 | 90.06 | 73.49 | 30 | 965 | 36 | 29.41
27.10.22 16:19:32 | 22.03 | 103.67 | 89.68 | 88.24 | 72.8 | 85.94 | 80.24 | 93.96 | 84.31 | 85.35 | 105.07 | 80 | 74.01 | 82.77 | 91.9 | 73.06 | 71.32 | 78.19 | 89.09 | 75.48 | 76.16 | 85.13 | 78.81 | 89.92 | 73.36 | 30 | 965 | 36 | 29.42
27.10.22 16:19:47 | 22.28 | 103.67 | 89.26 | 87.82 | 72.8 | 85.52 | 80.24 | 93.82 | 84.31 | 85.35 | 105.37 | 79.59 | 73.74 | 82.63 | 91.47 | 72.92 | 71.32 | 77.78 | 89.09 | 75.21 | 76.3 | 84.99 | 78.81 | 90.06 | 73.22 | 30 | 965 | 36 | 29.42
27.10.22 16:20:02 | 22.53 | 103.67 | 89.4 | 87.68 | 72.8 | 85.1 | 80.1 | 93.67 | 83.89 | 85.06 | 105.07 | 79.17 | 73.47 | 82.63 | 91.61 | 72.37 | 71.18 | 77.51 | 88.94 | 74.94 | 76.16 | 84.85 | 78.81 | 89.92 | 73.22 | 30 | 965 | 36 | 29.45
27.10.22 16:20:17 | 22.78 | 103.38 | 89.12 | 87.26 | 72.28 | 84.55 | 79.68 | 93.53 | 83.61 | 85.06 | 104.92 | 78.89 | 73.2 | 82.22 | 91.47 | 72.24 | 70.91 | 77.51 | 88.94 | 74.4 | 75.87 | 84.44 | 78.51 | 89.49 | 72.81 | 30 | 965 | 36 | 29.44
27.10.22 16:20:32 | 23.03 | 103.82 | 89.54 | 87.26 | 72.8 | 84.55 | 79.96 | 93.96 | 83.47 | 85.06 | 105.52 | 78.75 | 73.2 | 82.36 | 91.61 | 72.24 | 71.32 | 77.37 | 88.78 | 74.4 | 76.02 | 84.3 | 78.95 | 89.77 | 72.67 | 30 | 965 | 36 | 29.46
27.10.22 16:20:47 | 23.28 | 103.53 | 89.12 | 87.4 | 72.41 | 83.43 | 79.54 | 93.53 | 83.19 | 84.5 | 104.92 | 78.34 | 72.93 | 82.08 | 91.33 | 71.83 | 70.91 | 77.09 | 88.63 | 73.73 | 75.87 | 83.75 | 78.81 | 89.63 | 72.81 | 30 | 965 | 36 | 29.46
27.10.22 16:21:02 | 23.53 | 103.67 | 89.4 | 86.98 | 72.41 | 82.74 | 79.13 | 93.23 | 83.19 | 84.21 | 105.07 | 77.92 | 72.79 | 81.94 | 91.19 | 71.56 | 70.91 | 76.82 | 88.32 | 72.93 | 75.59 | 83.34 | 78.66 | 89.49 | 72.67 | 30 | 965 | 36 | 29.49
27.10.22 16:21:17 | 23.78 | 103.53 | 89.12 | 86.84 | 72.14 | 82.18 | 79.13 | 93.09 | 83.19 | 83.79 | 105.07 | 77.92 | 72.12 | 81.66 | 90.9 | 71.01 | 70.5 | 76.82 | 88.17 | 72.4 | 75.3 | 83.06 | 78.51 | 89.21 | 72.13 | 30 | 965 | 36 | 29.5
27.10.22 16:21:32 | 24.03 | 103.67 | 88.84 | 86.42 | 72.01 | 81.21 | 78.99 | 92.94 | 82.77 | 83.93 | 105.22 | 77.64 | 72.12 | 81.39 | 90.76 | 71.01 | 70.5 | 76.82 | 88.17 | 71.6 | 75.02 | 83.06 | 78.51 | 89.35 | 71.99 | 30 | 965 | 36 | 29.49
27.10.22 16:21:47 | 24.28 | 103.38 | 88.98 | 86.28 | 71.62 | 80.66 | 78.71 | 92.51 | 82.49 | 83.79 | 105.07 | 76.95 | 71.85 | 81.53 | 90.9 | 70.61 | 70.09 | 76.82 | 87.71 | 71.07 | 75.02 | 82.79 | 78.36 | 88.93 | 71.59 | 30 | 965 | 36 | 29.52
27.10.22 16:22:02 | 24.53 | 103.82 | 88.84 | 86.42 | 71.49 | 79.83 | 78.57 | 92.51 | 82.63 | 83.65 | 105.07 | 76.95 | 71.31 | 81.11 | 90.76 | 70.33 | 69.95 | 76.68 | 87.86 | 70.14 | 74.87 | 82.51 | 78.51 | 89.07 | 71.59 | 30 | 965 | 36 | 29.53
27.10.22 16:22:17 | 24.78 | 103.67 | 88.7 | 86.14 | 71.35 | 79.56 | 78.57 | 92.36 | 82.21 | 83.79 | 104.77 | 76.54 | 70.91 | 81.25 | 90.76 | 70.2 | 69.68 | 76.55 | 87.56 | 69.08 | 74.59 | 82.24 | 78.36 | 88.78 | 71.18 | 30 | 965 | 36 | 29.55
27.10.22 16:22:32 | 25.03 | 103.53 | 88.14 | 85.72 | 71.09 | 78.6 | 78.15 | 92.36 | 81.93 | 83.37 | 104.92 | 76.4 | 70.5 | 80.84 | 90.33 | 69.79 | 69.54 | 76.27 | 87.56 | 68.03 | 74.16 | 82.24 | 78.07 | 88.5 | 71.04 | 30 | 965 | 36 | 29.56
27.10.22 16:22:47 | 25.28 | 103.97 | 88.28 | 86 | 70.83 | 77.92 | 78.01 | 91.93 | 81.79 | 83.51 | 104.77 | 76.13 | 70.24 | 80.56 | 90.47 | 69.79 | 69.4 | 76.14 | 87.41 | 66.98 | 74.16 | 82.24 | 78.07 | 88.36 | 71.04 | 30 | 965 | 36 | 29.56
27.10.22 16:23:02 | 25.53 | 103.82 | 88 | 85.58 | 70.83 | 77.78 | 77.87 | 91.93 | 81.52 | 83.23 | 105.07 | 75.85 | 69.97 | 80.7 | 90.33 | 69.52 | 69.4 | 76.14 | 87.25 | 66.06 | 74.02 | 81.97 | 77.92 | 88.5 | 70.77 | 30 | 965 | 36 | 29.58
27.10.22 16:23:17 | 25.78 | 103.82 | 88 | 85.58 | 70.57 | 76.96 | 77.87 | 91.78 | 81.52 | 83.09 | 104.92 | 75.58 | 69.7 | 80.42 | 90.33 | 68.98 | 69.27 | 75.86 | 87.41 | 65.28 | 73.88 | 81.83 | 77.63 | 88.22 | 70.5 | 30 | 965 | 36 | 29.6
27.10.22 16:23:32 | 26.03 | 103.38 | 87.72 | 85.44 | 70.17 | 76.42 | 77.6 | 91.49 | 81.1 | 82.8 | 105.22 | 75.3 | 69.17 | 80.01 | 90.19 | 68.71 | 69.27 | 75.59 | 87.1 | 64.5 | 73.46 | 81.42 | 77.48 | 87.94 | 69.96 | 30 | 965 | 36 | 29.6
27.10.22 16:23:47 | 26.28 | 103.82 | 88 | 85.3 | 70.04 | 75.47 | 77.46 | 91.35 | 80.82 | 82.8 | 104.92 | 75.03 | 69.03 | 79.88 | 90.33 | 68.44 | 69.13 | 75.59 | 87.1 | 63.72 | 73.17 | 81.15 | 77.33 | 87.8 | 69.69 | 30 | 965 | 36 | 29.6
27.10.22 16:24:02 | 26.53 | 103.53 | 87.72 | 84.75 | 69.65 | 75.33 | 76.9 | 91.2 | 80.54 | 82.52 | 104.62 | 74.75 | 68.9 | 79.33 | 89.91 | 68.31 | 68.72 | 75.73 | 86.95 | 63.08 | 72.75 | 81.15 | 77.18 | 87.66 | 69.28 | 30 | 965 | 36 | 29.61
27.10.22 16:24:17 | 26.78 | 103.38 | 87.58 | 84.61 | 68.87 | 74.52 | 76.77 | 91.2 | 80.13 | 82.38 | 104.47 | 74.75 | 68.23 | 78.78 | 89.62 | 67.91 | 68.31 | 75.32 | 86.64 | 61.91 | 72.46 | 80.87 | 76.74 | 87.38 | 68.88 | 30 | 965 | 36 | 29.63
27.10.22 16:24:32 | 27.03 | 103.53 | 87.3 | 84.61 | 69 | 74.52 | 76.77 | 91.2 | 80.27 | 82.52 | 104.77 | 74.61 | 67.97 | 78.64 | 89.62 | 67.5 | 68.31 | 75.32 | 86.64 | 61.53 | 72.32 | 81.01 | 76.89 | 87.23 | 68.61 | 30 | 965 | 36 | 29.63
27.10.22 16:24:47 | 27.28 | 103.53 | 87.02 | 84.19 | 68.48 | 73.84 | 76.35 | 90.92 | 79.85 | 82.38 | 104.77 | 73.93 | 67.84 | 78.37 | 89.48 | 67.1 | 68.04 | 74.5 | 86.49 | 60.5 | 71.76 | 80.87 | 76.6 | 87.09 | 68.61 | 30 | 965 | 36 | 29.66
27.10.22 16:25:02 | 27.53 | 103.67 | 86.88 | 84.05 | 68.22 | 73.57 | 76.49 | 90.92 | 79.3 | 82.24 | 104.62 | 74.07 | 67.44 | 78.51 | 89.48 | 66.97 | 68.18 | 74.5 | 86.8 | 60.12 | 71.76 | 80.74 | 76.3 | 86.95 | 68.34 | 30 | 965 | 36 | 29.66
27.10.22 16:25:17 | 27.78 | 103.53 | 87.02 | 83.91 | 68.22 | 73.44 | 76.08 | 90.77 | 79.02 | 81.68 | 104.92 | 73.66 | 67.31 | 78.23 | 89.48 | 66.56 | 68.04 | 74.09 | 86.64 | 59.48 | 71.48 | 80.87 | 76.3 | 86.81 | 68.21 | 30 | 965 | 36 | 29.67
27.10.22 16:25:32 | 28.03 | 103.53 | 86.6 | 83.36 | 67.7 | 73.17 | 75.8 | 90.63 | 78.74 | 81.68 | 104.62 | 73.52 | 66.78 | 77.82 | 89.2 | 66.43 | 67.64 | 73.68 | 86.19 | 58.97 | 71.2 | 80.6 | 76.16 | 86.67 | 67.8 | 30 | 965 | 36 | 29.67
27.10.22 16:25:47 | 28.28 | 103.38 | 86.46 | 83.5 | 67.31 | 72.77 | 75.8 | 90.77 | 78.47 | 81.68 | 104.77 | 73.11 | 66.51 | 77.55 | 89.34 | 65.9 | 67.5 | 73.55 | 86.03 | 58.58 | 70.91 | 80.6 | 76.01 | 86.53 | 67.4 | 30 | 965 | 36 | 29.7
27.10.22 16:26:02 | 28.53 | 103.38 | 86.18 | 83.36 | 66.53 | 72.77 | 75.52 | 90.48 | 78.19 | 81.4 | 104.62 | 72.57 | 66.38 | 77.01 | 89.06 | 65.63 | 67.23 | 73.41 | 86.03 | 58.08 | 70.49 | 80.6 | 75.72 | 86.53 | 66.87 | 30 | 965 | 36 | 29.71
27.10.22 16:26:17 | 28.78 | 103.38 | 86.18 | 83.08 | 66.02 | 72.1 | 75.39 | 90.34 | 78.19 | 81.4 | 104.92 | 72.29 | 66.11 | 76.6 | 89.06 | 65.36 | 67.36 | 73.28 | 85.88 | 57.44 | 70.35 | 80.46 | 75.72 | 86.53 | 66.87 | 30 | 965 | 36 | 29.71
27.10.22 16:26:32 | 29.03 | 103.38 | 85.9 | 83.08 | 65.63 | 71.56 | 75.25 | 90.48 | 78.19 | 81.26 | 104.77 | 71.75 | 65.98 | 76.19 | 88.91 | 65.1 | 67.09 | 72.87 | 85.88 | 57.31 | 70.21 | 80.33 | 75.42 | 86.39 | 66.47 | 30 | 965 | 36 | 29.71
27.10.22 16:26:47 | 29.28 | 103.38 | 85.76 | 82.8 | 65.5 | 71.29 | 74.84 | 90.19 | 77.78 | 80.98 | 104.62 | 71.61 | 65.45 | 75.65 | 88.63 | 64.7 | 66.69 | 72.73 | 85.58 | 56.55 | 69.51 | 80.19 | 75.13 | 85.83 | 66.33 | 30 | 965 | 36 | 29.74
27.10.22 16:27:02 | 29.53 | 103.53 | 85.35 | 82.67 | 65.5 | 71.16 | 74.84 | 90.34 | 77.92 | 80.98 | 104.92 | 71.34 | 65.32 | 75.38 | 88.63 | 64.56 | 66.69 | 72.87 | 85.58 | 56.05 | 69.51 | 80.33 | 75.13 | 86.11 | 66.47 | 30 | 965 | 36 | 29.74
27.10.22 16:27:17 | 29.78 | 103.23 | 85.49 | 82.39 | 65.24 | 70.49 | 74.56 | 89.91 | 77.64 | 80.84 | 104.92 | 71.07 | 64.93 | 74.84 | 88.63 | 64.16 | 66.28 | 72.6 | 85.43 | 55.42 | 69.23 | 80.06 | 75.13 | 85.69 | 66.47 | 30 | 965 | 36 | 29.75
27.10.22 16:27:32 | 30.03 | 103.53 | 85.07 | 82.11 | 65.24 | 70.36 | 74.29 | 89.91 | 77.51 | 80.28 | 104.92 | 71.21 | 64.66 | 74.3 | 88.35 | 63.63 | 66.15 | 72.46 | 85.12 | 54.91 | 69.09 | 79.51 | 74.69 | 85.55 | 66.2 | 30 | 965 | 36 | 29.77
27.10.22 16:27:47 | 30.28 | 103.53 | 84.93 | 81.84 | 65.24 | 69.96 | 74.29 | 89.76 | 77.64 | 80.56 | 105.07 | 70.94 | 64.27 | 74.03 | 88.35 | 63.37 | 66.15 | 72.19 | 85.27 | 54.41 | 68.67 | 79.65 | 74.55 | 85.69 | 66.06 | 30 | 965 | 36 | 29.75

## Oxygen Orginal
Measurement Name : | 20221027_SDR710_WT_AMB |  | Generated On : | 27/10/2022, 16:41:45 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 27/10/2022, 15:57:30 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 27/10/2022, 16:28:00 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
27.10.22 15:57:32 | 0.03 | 100.95 | 98.96 | 97.43 | 89.6 | 93.64 | 85.9 | 98.19 | 92.74 | 90.19 | 98.19 | 91.09 | 93.49 | 89.6 | 94.09 | 86.34 | 85.75 | 87.97 | 81.51 | 86.19 | 85.75 | 93.04 | 80.06 | 94.55 | 82.53 | 30 | 965 | 36 | 28.67
27.10.22 15:57:47 | 0.28 | 102.34 | 100.49 | 98.35 | 90.64 | 95 | 86.64 | 98.96 | 93.19 | 91.39 | 99.26 | 91.84 | 93.94 | 90.94 | 95.15 | 86.93 | 86.19 | 89.3 | 82.68 | 87.08 | 86.19 | 94.25 | 81.08 | 95.61 | 83.26 | 30 | 965 | 36 | 28.5
27.10.22 15:58:02 | 0.53 | 103.74 | 101.72 | 98.8 | 91.39 | 95.76 | 87.82 | 99.57 | 93.94 | 92.29 | 100.03 | 92.44 | 94.7 | 91.99 | 95.91 | 87.67 | 86.93 | 89.9 | 83.55 | 87.67 | 86.78 | 95.45 | 81.8 | 96.52 | 83.84 | 30 | 965 | 36 | 28.41
27.10.22 15:58:17 | 0.78 | 104.83 | 102.34 | 99.88 | 92.14 | 96.67 | 88.26 | 99.88 | 94.4 | 93.19 | 100.65 | 93.04 | 95 | 92.59 | 96.67 | 88.11 | 86.93 | 90.79 | 84.28 | 88.41 | 87.37 | 96.21 | 82.68 | 97.43 | 84.87 | 30 | 965 | 36 | 28.35
27.10.22 15:58:32 | 1.03 | 105.45 | 102.96 | 100.03 | 92.29 | 97.58 | 88.71 | 100.34 | 94.55 | 94.09 | 101.57 | 93.19 | 95.76 | 93.19 | 97.28 | 88.71 | 87.37 | 91.24 | 85.02 | 88.86 | 87.82 | 96.97 | 82.97 | 98.35 | 85.46 | 30 | 965 | 36 | 28.31
27.10.22 15:58:47 | 1.28 | 106.23 | 103.89 | 100.65 | 93.04 | 98.5 | 89.6 | 100.8 | 95.61 | 94.55 | 102.34 | 94.25 | 96.21 | 94.09 | 98.19 | 89.15 | 87.82 | 91.84 | 85.75 | 89.45 | 88.26 | 97.58 | 83.7 | 99.11 | 86.19 | 30 | 965 | 36 | 28.3
27.10.22 15:59:02 | 1.53 | 106.86 | 103.89 | 100.8 | 93.04 | 98.65 | 89.45 | 101.11 | 95.45 | 95 | 102.5 | 94.25 | 96.06 | 94.4 | 98.5 | 89.15 | 88.11 | 92.29 | 86.19 | 89.6 | 88.26 | 98.04 | 83.84 | 99.42 | 86.49 | 30 | 965 | 36 | 28.31
27.10.22 15:59:17 | 1.78 | 107.49 | 104.67 | 100.95 | 93.64 | 99.42 | 90.05 | 101.42 | 96.21 | 95.76 | 103.27 | 94.55 | 96.37 | 94.85 | 99.11 | 89.6 | 88.26 | 92.74 | 86.78 | 90.34 | 88.56 | 98.5 | 83.99 | 100.03 | 86.78 | 30 | 965 | 36 | 28.28
27.10.22 15:59:32 | 2.03 | 107.8 | 104.83 | 101.42 | 93.94 | 99.88 | 90.19 | 101.72 | 96.37 | 96.06 | 103.43 | 94.7 | 96.37 | 95.15 | 99.42 | 89.9 | 88.41 | 93.04 | 87.08 | 90.64 | 88.56 | 98.8 | 84.43 | 100.34 | 87.08 | 30 | 965 | 36 | 28.3
27.10.22 15:59:47 | 2.28 | 108.27 | 105.45 | 101.42 | 93.79 | 100.18 | 90.49 | 101.88 | 96.21 | 96.21 | 103.74 | 95.15 | 96.52 | 95.45 | 99.57 | 90.05 | 88.41 | 93.34 | 87.37 | 90.94 | 88.56 | 99.11 | 84.28 | 100.65 | 87.37 | 30 | 965 | 36 | 28.3
27.10.22 16:00:02 | 2.53 | 108.59 | 105.92 | 102.19 | 94.09 | 100.65 | 91.09 | 102.34 | 96.67 | 96.82 | 104.36 | 95.76 | 96.97 | 95.91 | 100.34 | 90.49 | 88.86 | 93.79 | 87.97 | 91.39 | 88.86 | 99.42 | 84.58 | 101.26 | 87.82 | 30 | 965 | 36 | 28.3
27.10.22 16:00:17 | 2.78 | 108.9 | 106.08 | 101.88 | 94.25 | 100.95 | 90.94 | 102.34 | 96.52 | 96.67 | 104.83 | 95.76 | 96.97 | 95.91 | 100.65 | 90.64 | 88.71 | 94.09 | 88.11 | 91.69 | 88.86 | 99.26 | 84.43 | 101.26 | 87.97 | 30 | 965 | 36 | 28.31
27.10.22 16:00:32 | 3.03 | 109.06 | 105.92 | 102.03 | 94.09 | 101.11 | 91.09 | 102.81 | 96.82 | 97.13 | 104.83 | 95.76 | 96.82 | 96.37 | 100.8 | 90.79 | 88.71 | 94.25 | 88.41 | 91.69 | 88.86 | 99.26 | 84.58 | 101.57 | 87.97 | 30 | 965 | 36 | 28.33
27.10.22 16:00:47 | 3.28 | 108.9 | 105.92 | 101.72 | 94.4 | 101.11 | 91.24 | 102.5 | 96.82 | 97.13 | 104.98 | 95.91 | 96.82 | 96.37 | 101.11 | 90.79 | 88.86 | 94.4 | 88.56 | 91.84 | 88.56 | 99.26 | 84.43 | 101.57 | 87.82 | 30 | 965 | 36 | 28.35
27.10.22 16:01:02 | 3.53 | 109.69 | 106.39 | 102.19 | 94.55 | 101.57 | 91.39 | 103.12 | 96.82 | 97.43 | 105.61 | 96.06 | 96.97 | 96.37 | 101.42 | 90.94 | 88.71 | 94.55 | 89 | 91.84 | 88.56 | 98.96 | 84.58 | 101.72 | 88.11 | 30 | 965 | 36 | 28.35
27.10.22 16:01:17 | 3.78 | 109.69 | 106.39 | 101.88 | 94.4 | 101.57 | 91.39 | 102.81 | 96.97 | 97.58 | 105.76 | 96.06 | 96.97 | 96.52 | 101.72 | 90.94 | 88.71 | 94.7 | 88.86 | 91.99 | 88.56 | 98.5 | 84.28 | 101.72 | 88.26 | 30 | 965 | 36 | 28.38
27.10.22 16:01:32 | 4.03 | 109.38 | 106.39 | 102.03 | 94.09 | 101.72 | 91.24 | 103.12 | 96.97 | 97.28 | 105.92 | 96.37 | 96.97 | 96.67 | 101.72 | 90.94 | 88.71 | 94.85 | 89.3 | 92.29 | 88.56 | 98.5 | 84.43 | 102.03 | 88.56 | 30 | 965 | 36 | 28.38
27.10.22 16:01:47 | 4.28 | 109.85 | 106.23 | 102.03 | 93.94 | 101.88 | 91.54 | 103.12 | 97.28 | 97.43 | 106.39 | 96.82 | 97.13 | 96.67 | 102.03 | 90.94 | 88.86 | 94.7 | 89.15 | 92.14 | 88.41 | 98.65 | 84.14 | 102.03 | 88.56 | 30 | 965 | 36 | 28.38
27.10.22 16:02:02 | 4.53 | 109.85 | 106.39 | 101.88 | 93.79 | 101.88 | 91.39 | 102.96 | 96.82 | 97.43 | 106.08 | 96.52 | 96.97 | 96.82 | 102.34 | 90.94 | 88.56 | 94.85 | 89.15 | 92.29 | 88.26 | 98.5 | 83.99 | 102.03 | 88.41 | 30 | 965 | 36 | 28.41
27.10.22 16:02:17 | 4.78 | 110.17 | 106.7 | 101.88 | 93.34 | 102.03 | 91.39 | 103.12 | 96.97 | 97.43 | 106.39 | 96.52 | 96.97 | 96.67 | 102.65 | 90.79 | 88.41 | 94.7 | 89.45 | 92.44 | 88.11 | 98.5 | 83.99 | 102.19 | 88.71 | 30 | 965 | 36 | 28.42
27.10.22 16:02:32 | 5.03 | 110.33 | 106.7 | 102.19 | 93.19 | 102.34 | 91.69 | 103.12 | 97.28 | 97.43 | 106.39 | 96.52 | 96.97 | 96.82 | 102.65 | 90.94 | 88.56 | 94.7 | 89.45 | 92.44 | 88.11 | 98.65 | 83.84 | 102.19 | 88.41 | 30 | 965 | 36 | 28.42
27.10.22 16:02:47 | 5.28 | 110.17 | 106.55 | 101.88 | 92.59 | 102.19 | 91.54 | 102.96 | 96.97 | 97.13 | 106.86 | 96.67 | 96.97 | 96.82 | 102.81 | 90.64 | 88.26 | 94.4 | 89.6 | 92.44 | 87.67 | 98.65 | 83.55 | 102.19 | 87.97 | 30 | 965 | 36 | 28.45
27.10.22 16:03:02 | 5.53 | 110.33 | 106.55 | 102.03 | 92.74 | 102.34 | 91.39 | 103.12 | 97.13 | 97.28 | 107.02 | 96.52 | 96.67 | 96.82 | 102.81 | 90.79 | 88.11 | 94.25 | 89.75 | 92.59 | 87.82 | 98.96 | 83.55 | 102.5 | 88.11 | 30 | 965 | 36 | 28.46
27.10.22 16:03:17 | 5.78 | 110.33 | 106.55 | 102.03 | 92.74 | 102.34 | 91.54 | 103.27 | 97.13 | 97.28 | 107.17 | 96.67 | 96.52 | 96.97 | 102.81 | 90.64 | 87.97 | 94.09 | 89.6 | 92.59 | 87.67 | 98.8 | 83.11 | 102.5 | 88.11 | 30 | 965 | 36 | 28.48
27.10.22 16:03:32 | 6.03 | 110.33 | 106.55 | 101.72 | 92.29 | 102.34 | 91.39 | 103.12 | 96.82 | 97.43 | 106.86 | 96.37 | 95.91 | 96.82 | 102.81 | 90.49 | 87.52 | 93.79 | 89.6 | 92.59 | 87.37 | 98.8 | 82.68 | 102.19 | 87.67 | 30 | 965 | 36 | 28.49
27.10.22 16:03:47 | 6.28 | 110.33 | 106.39 | 101.88 | 92.44 | 102.65 | 91.24 | 103.27 | 96.97 | 97.28 | 107.17 | 96.37 | 96.21 | 97.13 | 102.96 | 90.49 | 87.52 | 93.79 | 89.6 | 92.59 | 87.08 | 98.96 | 82.97 | 102.19 | 87.37 | 30 | 965 | 36 | 28.49
27.10.22 16:04:02 | 6.53 | 110.33 | 106.55 | 101.72 | 91.99 | 102.19 | 91.24 | 103.27 | 96.97 | 97.28 | 107.33 | 96.21 | 95.76 | 96.82 | 102.96 | 90.19 | 87.08 | 93.64 | 89.45 | 92.29 | 87.08 | 98.8 | 82.68 | 102.34 | 87.37 | 30 | 965 | 36 | 28.52
27.10.22 16:04:17 | 6.78 | 110.64 | 106.55 | 101.72 | 91.69 | 102.19 | 91.24 | 102.96 | 97.13 | 97.13 | 107.33 | 96.06 | 95.61 | 96.67 | 103.12 | 90.19 | 86.78 | 93.34 | 89.6 | 92.14 | 86.78 | 98.8 | 82.38 | 102.19 | 87.67 | 30 | 965 | 36 | 28.53
27.10.22 16:04:32 | 7.03 | 110.64 | 106.7 | 101.42 | 91.69 | 102.5 | 91.09 | 102.81 | 96.97 | 96.97 | 107.33 | 96.21 | 95.45 | 96.67 | 103.12 | 90.05 | 86.49 | 93.34 | 89.6 | 91.99 | 87.08 | 98.8 | 82.09 | 102.34 | 87.37 | 30 | 965 | 36 | 28.55
27.10.22 16:04:47 | 7.28 | 110.96 | 106.55 | 101.57 | 91.69 | 102.34 | 91.24 | 102.96 | 97.43 | 96.82 | 107.49 | 96.21 | 95.45 | 96.67 | 103.12 | 89.9 | 86.49 | 92.89 | 89.9 | 91.84 | 86.93 | 98.96 | 82.09 | 102.5 | 87.37 | 30 | 965 | 36 | 28.56
27.10.22 16:05:02 | 7.53 | 110.96 | 106.7 | 101.26 | 91.54 | 102.5 | 91.09 | 103.12 | 97.13 | 96.82 | 107.8 | 96.06 | 94.85 | 96.67 | 102.96 | 89.6 | 86.34 | 92.14 | 89.75 | 91.84 | 86.64 | 98.96 | 81.66 | 102.34 | 87.08 | 30 | 965 | 36 | 28.59
27.10.22 16:05:17 | 7.78 | 110.96 | 106.39 | 101.11 | 91.84 | 102.34 | 90.94 | 103.12 | 97.43 | 96.82 | 107.64 | 96.06 | 94.85 | 96.37 | 102.96 | 89.45 | 86.34 | 91.99 | 89.9 | 91.69 | 86.34 | 98.96 | 81.51 | 102.34 | 87.23 | 30 | 965 | 36 | 28.6
27.10.22 16:05:32 | 8.03 | 110.96 | 106.39 | 101.11 | 91.24 | 102.81 | 90.79 | 102.81 | 97.13 | 96.67 | 107.64 | 95.61 | 94.85 | 96.37 | 103.12 | 89.15 | 85.75 | 91.69 | 89.45 | 91.69 | 86.34 | 98.96 | 81.08 | 102.34 | 87.08 | 30 | 965 | 36 | 28.61
27.10.22 16:05:47 | 8.28 | 110.96 | 106.08 | 101.26 | 91.24 | 102.19 | 90.64 | 102.65 | 96.82 | 96.82 | 107.64 | 95.45 | 94.55 | 96.06 | 102.81 | 89 | 85.46 | 91.84 | 89.45 | 91.54 | 86.05 | 98.8 | 80.5 | 102.19 | 86.93 | 30 | 965 | 36 | 28.63
27.10.22 16:06:02 | 8.53 | 111.12 | 106.23 | 101.11 | 91.09 | 102.19 | 90.64 | 102.65 | 96.82 | 96.52 | 107.96 | 95.76 | 94.25 | 96.06 | 102.96 | 88.86 | 85.46 | 91.54 | 89.6 | 91.54 | 85.75 | 98.65 | 80.35 | 102.19 | 86.93 | 30 | 965 | 36 | 28.63
27.10.22 16:06:17 | 8.78 | 111.12 | 105.92 | 100.65 | 90.94 | 102.19 | 90.79 | 102.5 | 96.52 | 96.21 | 107.8 | 95.61 | 93.94 | 95.91 | 102.81 | 88.71 | 85.16 | 91.54 | 89.3 | 91.54 | 85.6 | 98.5 | 80.06 | 102.03 | 86.78 | 30 | 965 | 36 | 28.66
27.10.22 16:06:32 | 9.03 | 110.96 | 105.61 | 100.65 | 90.64 | 101.88 | 90.49 | 102.34 | 96.21 | 96.21 | 107.64 | 95.3 | 93.49 | 95.45 | 102.81 | 88.26 | 84.87 | 91.09 | 89 | 91.24 | 85.31 | 98.5 | 79.63 | 101.88 | 86.49 | 30 | 965 | 36 | 28.67
27.10.22 16:06:47 | 9.28 | 111.28 | 105.29 | 100.65 | 90.79 | 102.03 | 90.34 | 102.34 | 96.06 | 95.91 | 108.12 | 94.7 | 93.19 | 95.91 | 102.5 | 88.11 | 84.87 | 91.24 | 89.15 | 90.94 | 85.31 | 98.5 | 79.63 | 101.88 | 86.49 | 30 | 965 | 36 | 28.7
27.10.22 16:07:02 | 9.53 | 111.12 | 105.45 | 100.8 | 90.79 | 102.03 | 90.34 | 102.34 | 96.21 | 96.06 | 108.12 | 94.7 | 93.04 | 95.76 | 102.81 | 87.97 | 84.58 | 91.09 | 89.15 | 90.79 | 85.16 | 98.65 | 79.34 | 102.03 | 86.34 | 30 | 965 | 36 | 28.7
27.10.22 16:07:17 | 9.78 | 111.44 | 105.14 | 100.65 | 90.64 | 102.19 | 90.49 | 102.5 | 95.91 | 96.21 | 108.27 | 94.55 | 93.19 | 95.61 | 102.65 | 87.97 | 84.28 | 91.09 | 89.15 | 90.49 | 85.02 | 98.5 | 79.05 | 101.88 | 86.05 | 30 | 965 | 36 | 28.74
27.10.22 16:07:32 | 10.03 | 111.6 | 104.52 | 100.34 | 90.19 | 102.03 | 90.34 | 102.34 | 95.45 | 96.06 | 107.96 | 94.4 | 92.89 | 95.76 | 102.5 | 87.82 | 83.99 | 90.94 | 89.15 | 90.64 | 84.87 | 98.35 | 78.62 | 101.88 | 85.9 | 30 | 965 | 36 | 28.74
27.10.22 16:07:47 | 10.28 | 111.44 | 104.52 | 100.34 | 89.9 | 101.72 | 90.05 | 102.19 | 95.45 | 95.91 | 108.12 | 94.09 | 92.29 | 95.61 | 102.34 | 87.52 | 83.55 | 90.64 | 88.86 | 90.34 | 84.58 | 98.04 | 78.33 | 101.72 | 85.46 | 30 | 965 | 36 | 28.75
27.10.22 16:08:02 | 10.53 | 111.28 | 104.05 | 100.18 | 89.9 | 101.88 | 90.05 | 102.34 | 95.61 | 95.76 | 108.12 | 93.94 | 92.59 | 95.45 | 102.5 | 87.23 | 83.41 | 90.49 | 88.86 | 90.05 | 84.43 | 98.35 | 78.19 | 101.72 | 85.6 | 30 | 965 | 36 | 28.75
27.10.22 16:08:17 | 10.78 | 111.28 | 103.58 | 100.18 | 89.3 | 101.72 | 90.05 | 102.03 | 95.3 | 95.45 | 108.27 | 94.09 | 91.99 | 95.15 | 102.34 | 87.08 | 82.82 | 90.19 | 88.71 | 89.9 | 83.99 | 98.19 | 77.61 | 101.72 | 85.6 | 30 | 965 | 36 | 28.78
27.10.22 16:08:32 | 11.03 | 111.44 | 103.74 | 100.03 | 89.6 | 101.57 | 89.75 | 102.19 | 95.15 | 95.45 | 108.27 | 93.49 | 91.84 | 95.45 | 102.34 | 87.08 | 82.68 | 90.05 | 88.86 | 89.6 | 83.99 | 98.04 | 77.76 | 101.57 | 85.16 | 30 | 965 | 36 | 28.81
27.10.22 16:08:47 | 11.28 | 111.44 | 103.43 | 99.88 | 88.86 | 101.42 | 89.75 | 102.03 | 95.61 | 95.45 | 108.12 | 93.49 | 91.39 | 95.15 | 102.5 | 86.78 | 82.38 | 89.75 | 88.56 | 89.6 | 83.84 | 98.04 | 77.61 | 101.57 | 85.31 | 30 | 965 | 36 | 28.81
27.10.22 16:09:02 | 11.53 | 111.44 | 103.12 | 99.57 | 88.56 | 101.72 | 89.75 | 102.19 | 95.45 | 95.61 | 108.12 | 93.34 | 91.39 | 95.15 | 102.03 | 86.64 | 82.09 | 89.15 | 88.41 | 89.45 | 83.55 | 98.04 | 77.33 | 101.57 | 85.31 | 30 | 965 | 36 | 28.84
27.10.22 16:09:17 | 11.78 | 111.75 | 102.81 | 99.57 | 88.41 | 101.57 | 89.45 | 101.88 | 95.61 | 95.45 | 108.59 | 93.64 | 91.09 | 95.3 | 102.19 | 86.64 | 81.8 | 88.86 | 88.56 | 89.45 | 83.55 | 98.04 | 76.9 | 101.42 | 85.02 | 30 | 965 | 36 | 28.85
27.10.22 16:09:32 | 12.03 | 111.91 | 102.81 | 99.42 | 88.41 | 101.42 | 89.45 | 101.72 | 95.45 | 95.3 | 108.43 | 93.04 | 90.64 | 95 | 102.34 | 86.49 | 81.37 | 88.56 | 88.56 | 89.3 | 83.41 | 97.74 | 76.75 | 101.42 | 84.43 | 30 | 965 | 36 | 28.86
27.10.22 16:09:47 | 12.28 | 111.6 | 102.65 | 99.42 | 88.26 | 101.11 | 89.3 | 102.03 | 95.15 | 95.15 | 108.59 | 93.19 | 90.19 | 95 | 102.34 | 86.34 | 81.08 | 88.56 | 88.56 | 88.86 | 83.11 | 97.28 | 76.32 | 101.26 | 84.28 | 30 | 965 | 36 | 28.85
27.10.22 16:10:02 | 12.53 | 111.91 | 102.34 | 99.42 | 88.26 | 101.26 | 89.3 | 101.72 | 95.3 | 94.85 | 108.59 | 92.74 | 90.05 | 94.7 | 102.19 | 86.05 | 80.64 | 88.41 | 88.41 | 88.71 | 82.97 | 97.13 | 76.47 | 101.26 | 84.28 | 30 | 965 | 36 | 28.89
27.10.22 16:10:17 | 12.78 | 111.91 | 101.72 | 99.57 | 87.52 | 101.26 | 89.3 | 101.72 | 95.15 | 95 | 108.59 | 93.04 | 89.9 | 94.7 | 102.03 | 86.19 | 80.5 | 88.26 | 88.26 | 88.41 | 82.82 | 96.97 | 76.47 | 101.11 | 84.28 | 30 | 965 | 36 | 28.92
27.10.22 16:10:32 | 13.03 | 111.6 | 101.42 | 98.96 | 86.93 | 100.49 | 89 | 101.42 | 95 | 94.55 | 108.43 | 92.59 | 89.3 | 94.55 | 101.72 | 85.6 | 80.06 | 88.11 | 88.11 | 87.82 | 82.38 | 96.82 | 76.32 | 100.65 | 83.7 | 30 | 965 | 36 | 28.92
27.10.22 16:10:47 | 13.28 | 111.91 | 101.72 | 99.11 | 87.23 | 100.8 | 89.3 | 101.42 | 95.3 | 94.85 | 108.59 | 92.89 | 89.3 | 94.25 | 102.03 | 85.75 | 79.92 | 88.41 | 88.11 | 87.97 | 82.24 | 96.82 | 76.61 | 100.8 | 83.55 | 30 | 965 | 36 | 28.94
27.10.22 16:11:02 | 13.53 | 111.91 | 101.42 | 99.11 | 86.64 | 100.65 | 88.71 | 101.57 | 95 | 94.55 | 108.75 | 92.29 | 89.15 | 94.09 | 101.72 | 85.46 | 79.77 | 88.41 | 87.97 | 87.82 | 82.09 | 96.52 | 76.47 | 100.65 | 83.55 | 30 | 965 | 36 | 28.96
27.10.22 16:11:17 | 13.78 | 111.91 | 101.26 | 98.8 | 86.34 | 100.65 | 88.56 | 101.26 | 94.85 | 94.25 | 108.43 | 91.84 | 89 | 94.09 | 101.57 | 85.16 | 79.49 | 88.26 | 87.67 | 87.37 | 81.8 | 96.52 | 76.32 | 100.49 | 83.26 | 30 | 965 | 36 | 28.96
27.10.22 16:11:32 | 14.03 | 112.07 | 101.26 | 98.8 | 86.34 | 100.49 | 88.56 | 101.26 | 94.7 | 94.25 | 108.75 | 91.69 | 88.86 | 94.09 | 101.57 | 85.16 | 79.34 | 88.26 | 87.82 | 87.37 | 81.37 | 96.37 | 76.61 | 100.65 | 82.97 | 30 | 965 | 36 | 28.98
27.10.22 16:11:47 | 14.28 | 112.07 | 100.65 | 98.5 | 86.05 | 100.49 | 88.26 | 101.11 | 94.55 | 94.25 | 108.9 | 91.39 | 88.41 | 93.79 | 101.57 | 84.87 | 79.05 | 87.97 | 87.67 | 87.08 | 81.22 | 96.06 | 76.75 | 100.34 | 83.11 | 30 | 965 | 36 | 28.99
27.10.22 16:12:02 | 14.53 | 112.07 | 100.8 | 98.5 | 85.46 | 100.18 | 88.56 | 101.11 | 94.09 | 93.94 | 108.75 | 91.09 | 88.11 | 93.64 | 101.42 | 84.43 | 78.76 | 87.97 | 87.52 | 86.93 | 81.08 | 95.91 | 76.75 | 100.34 | 82.38 | 30 | 965 | 36 | 29.02
27.10.22 16:12:17 | 14.78 | 111.91 | 100.65 | 98.19 | 85.02 | 99.88 | 87.97 | 100.95 | 93.94 | 93.64 | 108.75 | 91.09 | 87.37 | 93.49 | 101.11 | 84.14 | 77.76 | 87.82 | 87.37 | 86.64 | 80.93 | 95.61 | 76.75 | 100.34 | 82.38 | 30 | 965 | 36 | 29.03
27.10.22 16:12:32 | 15.03 | 112.39 | 100.49 | 98.35 | 85.16 | 100.18 | 88.11 | 101.11 | 93.94 | 93.94 | 108.9 | 91.24 | 87.23 | 93.79 | 101.42 | 84.14 | 77.9 | 88.26 | 87.52 | 86.64 | 80.79 | 95.76 | 77.18 | 100.34 | 82.24 | 30 | 965 | 36 | 29.03
27.10.22 16:12:47 | 15.28 | 112.07 | 100.65 | 98.35 | 84.43 | 99.72 | 87.67 | 100.65 | 93.94 | 93.64 | 108.9 | 90.64 | 86.78 | 93.49 | 100.95 | 83.84 | 77.47 | 87.82 | 87.23 | 86.49 | 80.5 | 95.61 | 76.75 | 99.88 | 81.95 | 30 | 965 | 36 | 29.06
27.10.22 16:13:02 | 15.53 | 112.07 | 100.49 | 98.04 | 83.99 | 99.57 | 87.67 | 100.8 | 94.25 | 93.49 | 109.06 | 90.34 | 86.64 | 93.04 | 100.95 | 83.11 | 77.33 | 87.67 | 87.37 | 86.34 | 80.06 | 95.15 | 76.75 | 99.72 | 81.8 | 30 | 965 | 36 | 29.06
27.10.22 16:13:17 | 15.78 | 112.07 | 100.18 | 97.89 | 83.55 | 99.26 | 87.67 | 100.34 | 93.79 | 93.34 | 109.22 | 89.9 | 86.34 | 92.89 | 100.65 | 82.97 | 77.33 | 87.52 | 87.08 | 86.19 | 79.77 | 95 | 76.75 | 99.72 | 81.37 | 30 | 965 | 36 | 29.09
27.10.22 16:13:32 | 16.03 | 112.39 | 100.18 | 97.58 | 83.41 | 99.42 | 87.52 | 100.49 | 93.64 | 93.34 | 109.06 | 90.05 | 86.05 | 92.89 | 100.65 | 82.82 | 77.18 | 87.37 | 87.23 | 86.19 | 79.92 | 94.85 | 77.04 | 99.57 | 80.93 | 30 | 965 | 36 | 29.1
27.10.22 16:13:47 | 16.28 | 112.39 | 100.18 | 97.58 | 83.55 | 99.72 | 87.82 | 100.49 | 93.64 | 93.34 | 109.69 | 89.9 | 86.05 | 92.74 | 100.8 | 82.82 | 77.18 | 87.82 | 87.23 | 86.05 | 79.77 | 94.85 | 77.18 | 99.57 | 81.08 | 30 | 965 | 36 | 29.13
27.10.22 16:14:02 | 16.53 | 111.91 | 99.26 | 97.28 | 83.26 | 98.96 | 87.08 | 100.49 | 93.19 | 92.89 | 109.06 | 89.3 | 85.31 | 92.29 | 100.34 | 82.24 | 76.75 | 87.52 | 86.78 | 85.31 | 79.2 | 94.25 | 76.75 | 99.26 | 80.64 | 30 | 965 | 36 | 29.13
27.10.22 16:14:17 | 16.78 | 112.23 | 99.57 | 97.58 | 82.97 | 98.96 | 87.23 | 100.34 | 93.19 | 93.19 | 109.53 | 89.3 | 85.31 | 92.29 | 100.49 | 82.09 | 77.04 | 87.67 | 87.08 | 85.31 | 79.05 | 94.4 | 77.33 | 99.42 | 80.79 | 30 | 965 | 36 | 29.14
27.10.22 16:14:32 | 17.03 | 112.07 | 99.42 | 97.43 | 82.82 | 98.5 | 86.93 | 100.49 | 93.19 | 92.89 | 109.53 | 88.86 | 85.02 | 92.14 | 100.34 | 81.95 | 76.9 | 87.37 | 87.08 | 85.16 | 78.76 | 94.09 | 77.33 | 99.26 | 80.5 | 30 | 965 | 36 | 29.16
27.10.22 16:14:47 | 17.28 | 112.23 | 99.42 | 97.13 | 82.68 | 98.35 | 86.78 | 100.34 | 93.19 | 92.59 | 110.01 | 88.71 | 85.02 | 92.14 | 100.03 | 81.8 | 77.04 | 87.23 | 86.93 | 85.02 | 78.76 | 94.25 | 77.33 | 99.26 | 80.35 | 30 | 965 | 36 | 29.17
27.10.22 16:15:02 | 17.53 | 112.23 | 99.57 | 97.13 | 82.38 | 98.04 | 86.78 | 100.03 | 92.74 | 92.59 | 109.85 | 88.41 | 84.43 | 91.84 | 100.18 | 81.37 | 76.9 | 86.93 | 86.93 | 84.87 | 78.48 | 93.94 | 77.47 | 99.11 | 80.35 | 30 | 965 | 36 | 29.17
27.10.22 16:15:17 | 17.78 | 112.23 | 99.11 | 97.13 | 82.38 | 97.89 | 86.64 | 100.03 | 92.74 | 92.29 | 110.17 | 88.11 | 84.58 | 91.54 | 99.88 | 81.37 | 76.9 | 86.78 | 86.93 | 84.58 | 78.62 | 93.94 | 77.61 | 98.65 | 80.21 | 30 | 965 | 36 | 29.21
27.10.22 16:15:32 | 18.03 | 112.23 | 99.11 | 96.82 | 82.38 | 97.43 | 86.34 | 100.03 | 92.59 | 92.14 | 110.17 | 88.11 | 83.84 | 91.39 | 99.72 | 81.08 | 76.61 | 86.34 | 86.78 | 84.43 | 78.33 | 93.64 | 77.61 | 98.65 | 80.06 | 30 | 965 | 36 | 29.21
27.10.22 16:15:47 | 18.28 | 112.23 | 99.11 | 96.82 | 82.24 | 96.82 | 86.19 | 100.03 | 92.44 | 91.99 | 110.17 | 87.97 | 83.26 | 91.24 | 99.72 | 80.64 | 76.32 | 86.05 | 86.64 | 83.84 | 78.04 | 93.79 | 77.47 | 98.35 | 79.92 | 30 | 965 | 36 | 29.24
27.10.22 16:16:02 | 18.53 | 111.91 | 98.96 | 96.52 | 82.38 | 97.13 | 86.05 | 99.88 | 92.44 | 91.84 | 110.33 | 87.37 | 83.26 | 90.94 | 99.72 | 80.64 | 76.18 | 85.75 | 86.78 | 83.84 | 77.9 | 93.49 | 77.61 | 98.5 | 79.92 | 30 | 965 | 36 | 29.24
27.10.22 16:16:17 | 18.78 | 112.07 | 98.8 | 96.37 | 82.09 | 96.37 | 86.05 | 99.88 | 92.14 | 91.84 | 110.48 | 87.52 | 82.97 | 90.79 | 99.57 | 80.5 | 76.04 | 85.6 | 86.64 | 83.84 | 77.9 | 93.49 | 77.61 | 98.5 | 79.49 | 30 | 965 | 36 | 29.25
27.10.22 16:16:32 | 19.03 | 111.75 | 98.96 | 96.37 | 81.95 | 96.37 | 85.9 | 99.42 | 91.99 | 91.39 | 110.64 | 87.08 | 82.38 | 90.49 | 99.42 | 80.21 | 75.75 | 85.02 | 86.19 | 83.41 | 77.76 | 93.34 | 77.47 | 98.04 | 79.2 | 30 | 965 | 36 | 29.25
27.10.22 16:16:47 | 19.28 | 112.07 | 98.8 | 96.06 | 81.95 | 95.91 | 85.75 | 99.57 | 91.24 | 91.24 | 110.64 | 86.49 | 81.95 | 90.34 | 99.42 | 79.63 | 75.61 | 84.87 | 86.34 | 83.41 | 77.61 | 93.19 | 77.47 | 98.04 | 79.2 | 30 | 965 | 36 | 29.28
27.10.22 16:17:02 | 19.53 | 111.91 | 98.5 | 95.91 | 81.66 | 95.91 | 85.31 | 99.57 | 91.39 | 91.09 | 110.8 | 86.64 | 81.66 | 90.05 | 99.42 | 79.63 | 75.18 | 84.28 | 86.34 | 83.41 | 77.61 | 93.19 | 77.04 | 98.04 | 79.05 | 30 | 965 | 36 | 29.28
27.10.22 16:17:17 | 19.78 | 111.75 | 98.5 | 95.76 | 81.37 | 95.15 | 85.31 | 99.42 | 90.94 | 90.79 | 110.8 | 85.75 | 81.08 | 90.05 | 99.11 | 79.2 | 75.04 | 83.84 | 86.34 | 83.11 | 77.47 | 93.19 | 77.33 | 97.74 | 79.05 | 30 | 965 | 36 | 29.3
27.10.22 16:17:32 | 20.03 | 111.91 | 98.19 | 95.91 | 81.51 | 95 | 85.02 | 99.42 | 90.49 | 90.94 | 110.8 | 85.75 | 81.08 | 89.75 | 98.96 | 79.05 | 74.9 | 83.55 | 86.34 | 82.97 | 77.33 | 93.04 | 77.33 | 97.58 | 78.76 | 30 | 965 | 36 | 29.31
27.10.22 16:17:47 | 20.28 | 111.91 | 98.35 | 95.76 | 81.66 | 95 | 85.16 | 99.42 | 90.49 | 90.94 | 110.96 | 85.75 | 80.79 | 89.9 | 99.11 | 78.91 | 74.9 | 83.7 | 86.34 | 82.82 | 77.47 | 93.04 | 77.33 | 97.43 | 78.62 | 30 | 965 | 36 | 29.33
27.10.22 16:18:02 | 20.53 | 112.07 | 98.04 | 95.3 | 80.93 | 94.25 | 84.87 | 98.8 | 90.05 | 90.64 | 110.96 | 85.75 | 80.35 | 89.6 | 98.65 | 78.33 | 74.47 | 83.41 | 86.05 | 82.68 | 77.18 | 93.04 | 77.18 | 97.28 | 78.04 | 30 | 965 | 36 | 29.34
27.10.22 16:18:17 | 20.78 | 111.75 | 97.74 | 95.3 | 80.93 | 94.09 | 84.58 | 98.8 | 90.05 | 90.34 | 110.8 | 85.46 | 80.21 | 89.45 | 98.65 | 78.04 | 74.47 | 83.26 | 86.05 | 82.38 | 77.04 | 92.59 | 76.9 | 96.97 | 77.76 | 30 | 965 | 36 | 29.35
27.10.22 16:18:32 | 21.03 | 111.75 | 97.43 | 95.3 | 80.64 | 93.19 | 84.72 | 98.96 | 89.6 | 90.19 | 110.8 | 85.16 | 79.92 | 89.15 | 98.5 | 77.76 | 74.19 | 83.11 | 86.05 | 82.38 | 76.9 | 92.74 | 76.9 | 97.13 | 77.47 | 30 | 965 | 36 | 29.36
27.10.22 16:18:47 | 21.28 | 111.6 | 97.13 | 94.7 | 80.35 | 93.04 | 84.28 | 98.5 | 89.45 | 90.05 | 110.8 | 84.72 | 79.49 | 89.15 | 98.35 | 77.47 | 74.19 | 82.82 | 85.6 | 82.09 | 76.61 | 92.59 | 76.47 | 96.82 | 77.33 | 30 | 965 | 36 | 29.38
27.10.22 16:19:02 | 21.53 | 111.75 | 97.28 | 95 | 80.21 | 92.74 | 84.28 | 98.8 | 89.6 | 89.9 | 111.12 | 84.43 | 79.34 | 89.15 | 98.5 | 77.18 | 74.19 | 82.97 | 85.6 | 81.95 | 76.61 | 92.44 | 76.61 | 96.97 | 77.18 | 30 | 965 | 36 | 29.39
27.10.22 16:19:17 | 21.78 | 111.44 | 96.97 | 94.55 | 80.06 | 91.99 | 84.28 | 98.65 | 89.6 | 89.75 | 110.8 | 83.84 | 78.76 | 88.86 | 98.35 | 76.75 | 74.05 | 82.82 | 85.75 | 81.66 | 76.61 | 92.29 | 76.32 | 96.52 | 77.04 | 30 | 965 | 36 | 29.41
27.10.22 16:19:32 | 22.03 | 111.44 | 96.82 | 94.85 | 79.63 | 91.84 | 83.99 | 98.5 | 89.3 | 89.6 | 110.96 | 83.99 | 78.62 | 88.71 | 98.35 | 76.47 | 73.76 | 82.82 | 85.31 | 81.37 | 76.18 | 92.44 | 76.18 | 96.37 | 76.9 | 30 | 965 | 36 | 29.42
27.10.22 16:19:47 | 22.28 | 111.44 | 96.37 | 94.4 | 79.63 | 91.39 | 83.99 | 98.35 | 89.3 | 89.6 | 111.28 | 83.55 | 78.33 | 88.56 | 97.89 | 76.32 | 73.76 | 82.38 | 85.31 | 81.08 | 76.32 | 92.29 | 76.18 | 96.52 | 76.75 | 30 | 965 | 36 | 29.42
27.10.22 16:20:02 | 22.53 | 111.44 | 96.52 | 94.25 | 79.63 | 90.94 | 83.84 | 98.19 | 88.86 | 89.3 | 110.96 | 83.11 | 78.04 | 88.56 | 98.04 | 75.75 | 73.62 | 82.09 | 85.16 | 80.79 | 76.18 | 92.14 | 76.18 | 96.37 | 76.75 | 30 | 965 | 36 | 29.45
27.10.22 16:20:17 | 22.78 | 111.12 | 96.21 | 93.79 | 79.05 | 90.34 | 83.41 | 98.04 | 88.56 | 89.3 | 110.8 | 82.82 | 77.76 | 88.11 | 97.89 | 75.61 | 73.34 | 82.09 | 85.16 | 80.21 | 75.9 | 91.69 | 75.9 | 95.91 | 76.32 | 30 | 965 | 36 | 29.44
27.10.22 16:20:32 | 23.03 | 111.6 | 96.67 | 93.79 | 79.63 | 90.34 | 83.7 | 98.5 | 88.41 | 89.3 | 111.44 | 82.68 | 77.76 | 88.26 | 98.04 | 75.61 | 73.76 | 81.95 | 85.02 | 80.21 | 76.04 | 91.54 | 76.32 | 96.21 | 76.18 | 30 | 965 | 36 | 29.46
27.10.22 16:20:47 | 23.28 | 111.28 | 96.21 | 93.94 | 79.2 | 89.15 | 83.26 | 98.04 | 88.11 | 88.71 | 110.8 | 82.24 | 77.47 | 87.97 | 97.74 | 75.18 | 73.34 | 81.66 | 84.87 | 79.49 | 75.9 | 90.94 | 76.18 | 96.06 | 76.32 | 30 | 965 | 36 | 29.46
27.10.22 16:21:02 | 23.53 | 111.44 | 96.52 | 93.49 | 79.2 | 88.41 | 82.82 | 97.74 | 88.11 | 88.41 | 110.96 | 81.8 | 77.33 | 87.82 | 97.58 | 74.9 | 73.34 | 81.37 | 84.58 | 78.62 | 75.61 | 90.49 | 76.04 | 95.91 | 76.18 | 30 | 965 | 36 | 29.49
27.10.22 16:21:17 | 23.78 | 111.28 | 96.21 | 93.34 | 78.91 | 87.82 | 82.82 | 97.58 | 88.11 | 87.97 | 110.96 | 81.8 | 76.61 | 87.52 | 97.28 | 74.33 | 72.91 | 81.37 | 84.43 | 78.04 | 75.33 | 90.19 | 75.9 | 95.61 | 75.61 | 30 | 965 | 36 | 29.5
27.10.22 16:21:32 | 24.03 | 111.44 | 95.91 | 92.89 | 78.76 | 86.78 | 82.68 | 97.43 | 87.67 | 88.11 | 111.12 | 81.51 | 76.61 | 87.23 | 97.13 | 74.33 | 72.91 | 81.37 | 84.43 | 77.18 | 75.04 | 90.19 | 75.9 | 95.76 | 75.47 | 30 | 965 | 36 | 29.49
27.10.22 16:21:47 | 24.28 | 111.12 | 96.06 | 92.74 | 78.33 | 86.19 | 82.38 | 96.97 | 87.37 | 87.97 | 110.96 | 80.79 | 76.32 | 87.37 | 97.28 | 73.9 | 72.49 | 81.37 | 83.99 | 76.61 | 75.04 | 89.9 | 75.75 | 95.3 | 75.04 | 30 | 965 | 36 | 29.52
27.10.22 16:22:02 | 24.53 | 111.6 | 95.91 | 92.89 | 78.19 | 85.31 | 82.24 | 96.97 | 87.52 | 87.82 | 110.96 | 80.79 | 75.75 | 86.93 | 97.13 | 73.62 | 72.35 | 81.22 | 84.14 | 75.61 | 74.9 | 89.6 | 75.9 | 95.45 | 75.04 | 30 | 965 | 36 | 29.53
27.10.22 16:22:17 | 24.78 | 111.44 | 95.76 | 92.59 | 78.04 | 85.02 | 82.24 | 96.82 | 87.08 | 87.97 | 110.64 | 80.35 | 75.33 | 87.08 | 97.13 | 73.48 | 72.06 | 81.08 | 83.84 | 74.47 | 74.61 | 89.3 | 75.75 | 95.15 | 74.61 | 30 | 965 | 36 | 29.55
27.10.22 16:22:32 | 25.03 | 111.28 | 95.15 | 92.14 | 77.76 | 83.99 | 81.8 | 96.82 | 86.78 | 87.52 | 110.8 | 80.21 | 74.9 | 86.64 | 96.67 | 73.05 | 71.92 | 80.79 | 83.84 | 73.34 | 74.19 | 89.3 | 75.47 | 94.85 | 74.47 | 30 | 965 | 36 | 29.56
27.10.22 16:22:47 | 25.28 | 111.75 | 95.3 | 92.44 | 77.47 | 83.26 | 81.66 | 96.37 | 86.64 | 87.67 | 110.64 | 79.92 | 74.61 | 86.34 | 96.82 | 73.05 | 71.78 | 80.64 | 83.7 | 72.2 | 74.19 | 89.3 | 75.47 | 94.7 | 74.47 | 30 | 965 | 36 | 29.56
27.10.22 16:23:02 | 25.53 | 111.6 | 95 | 91.99 | 77.47 | 83.11 | 81.51 | 96.37 | 86.34 | 87.37 | 110.96 | 79.63 | 74.33 | 86.49 | 96.67 | 72.77 | 71.78 | 80.64 | 83.55 | 71.22 | 74.05 | 89 | 75.33 | 94.85 | 74.19 | 30 | 965 | 36 | 29.58
27.10.22 16:23:17 | 25.78 | 111.6 | 95 | 91.99 | 77.18 | 82.24 | 81.51 | 96.21 | 86.34 | 87.23 | 110.8 | 79.34 | 74.05 | 86.19 | 96.67 | 72.2 | 71.64 | 80.35 | 83.7 | 70.37 | 73.9 | 88.86 | 75.04 | 94.55 | 73.9 | 30 | 965 | 36 | 29.6
27.10.22 16:23:32 | 26.03 | 111.12 | 94.7 | 91.84 | 76.75 | 81.66 | 81.22 | 95.91 | 85.9 | 86.93 | 111.12 | 79.05 | 73.48 | 85.75 | 96.52 | 71.92 | 71.64 | 80.06 | 83.41 | 69.53 | 73.48 | 88.41 | 74.9 | 94.25 | 73.34 | 30 | 965 | 36 | 29.6
27.10.22 16:23:47 | 26.28 | 111.6 | 95 | 91.69 | 76.61 | 80.64 | 81.08 | 95.76 | 85.6 | 86.93 | 110.8 | 78.76 | 73.34 | 85.6 | 96.67 | 71.64 | 71.5 | 80.06 | 83.41 | 68.69 | 73.19 | 88.11 | 74.76 | 94.09 | 73.05 | 30 | 965 | 36 | 29.6
27.10.22 16:24:02 | 26.53 | 111.28 | 94.7 | 91.09 | 76.18 | 80.5 | 80.5 | 95.61 | 85.31 | 86.64 | 110.48 | 78.48 | 73.19 | 85.02 | 96.21 | 71.5 | 71.08 | 80.21 | 83.26 | 68 | 72.77 | 88.11 | 74.61 | 93.94 | 72.63 | 30 | 965 | 36 | 29.61
27.10.22 16:24:17 | 26.78 | 111.12 | 94.55 | 90.94 | 75.33 | 79.63 | 80.35 | 95.61 | 84.87 | 86.49 | 110.33 | 78.48 | 72.49 | 84.43 | 95.91 | 71.08 | 70.66 | 79.77 | 82.97 | 66.74 | 72.49 | 87.82 | 74.19 | 93.64 | 72.2 | 30 | 965 | 36 | 29.63
27.10.22 16:24:32 | 27.03 | 111.28 | 94.25 | 90.94 | 75.47 | 79.63 | 80.35 | 95.61 | 85.02 | 86.64 | 110.64 | 78.33 | 72.2 | 84.28 | 95.91 | 70.66 | 70.66 | 79.77 | 82.97 | 66.33 | 72.35 | 87.97 | 74.33 | 93.49 | 71.92 | 30 | 965 | 36 | 29.63
27.10.22 16:24:47 | 27.28 | 111.28 | 93.94 | 90.49 | 74.9 | 78.91 | 79.92 | 95.3 | 84.58 | 86.49 | 110.64 | 77.61 | 72.06 | 83.99 | 95.76 | 70.23 | 70.37 | 78.91 | 82.82 | 65.22 | 71.78 | 87.82 | 74.05 | 93.34 | 71.92 | 30 | 965 | 36 | 29.66
27.10.22 16:25:02 | 27.53 | 111.44 | 93.79 | 90.34 | 74.61 | 78.62 | 80.06 | 95.3 | 83.99 | 86.34 | 110.48 | 77.76 | 71.64 | 84.14 | 95.76 | 70.09 | 70.52 | 78.91 | 83.11 | 64.81 | 71.78 | 87.67 | 73.76 | 93.19 | 71.64 | 30 | 965 | 36 | 29.66
27.10.22 16:25:17 | 27.78 | 111.28 | 93.94 | 90.19 | 74.61 | 78.48 | 79.63 | 95.15 | 83.7 | 85.75 | 110.8 | 77.33 | 71.5 | 83.84 | 95.76 | 69.67 | 70.37 | 78.48 | 82.97 | 64.12 | 71.5 | 87.82 | 73.76 | 93.04 | 71.5 | 30 | 965 | 36 | 29.67
27.10.22 16:25:32 | 28.03 | 111.28 | 93.49 | 89.6 | 74.05 | 78.19 | 79.34 | 95 | 83.41 | 85.75 | 110.48 | 77.18 | 70.94 | 83.41 | 95.45 | 69.53 | 69.95 | 78.04 | 82.53 | 63.57 | 71.22 | 87.52 | 73.62 | 92.89 | 71.08 | 30 | 965 | 36 | 29.67
27.10.22 16:25:47 | 28.28 | 111.12 | 93.34 | 89.75 | 73.62 | 77.76 | 79.34 | 95.15 | 83.11 | 85.75 | 110.64 | 76.75 | 70.66 | 83.11 | 95.61 | 68.97 | 69.81 | 77.9 | 82.38 | 63.15 | 70.94 | 87.52 | 73.48 | 92.74 | 70.66 | 30 | 965 | 36 | 29.7
27.10.22 16:26:02 | 28.53 | 111.12 | 93.04 | 89.6 | 72.77 | 77.76 | 79.05 | 94.85 | 82.82 | 85.46 | 110.48 | 76.18 | 70.52 | 82.53 | 95.3 | 68.69 | 69.53 | 77.76 | 82.38 | 62.61 | 70.52 | 87.52 | 73.19 | 92.74 | 70.09 | 30 | 965 | 36 | 29.71
27.10.22 16:26:17 | 28.78 | 111.12 | 93.04 | 89.3 | 72.2 | 77.04 | 78.91 | 94.7 | 82.82 | 85.46 | 110.8 | 75.9 | 70.23 | 82.09 | 95.3 | 68.42 | 69.67 | 77.61 | 82.24 | 61.92 | 70.37 | 87.37 | 73.19 | 92.74 | 70.09 | 30 | 965 | 36 | 29.71
27.10.22 16:26:32 | 29.03 | 111.12 | 92.74 | 89.3 | 71.78 | 76.47 | 78.76 | 94.85 | 82.82 | 85.31 | 110.64 | 75.33 | 70.09 | 81.66 | 95.15 | 68.14 | 69.39 | 77.18 | 82.24 | 61.78 | 70.23 | 87.23 | 72.91 | 92.59 | 69.67 | 30 | 965 | 36 | 29.71
27.10.22 16:26:47 | 29.28 | 111.12 | 92.59 | 89 | 71.64 | 76.18 | 78.33 | 94.55 | 82.38 | 85.02 | 110.48 | 75.18 | 69.53 | 81.08 | 94.85 | 67.72 | 68.97 | 77.04 | 81.95 | 60.96 | 69.53 | 87.08 | 72.63 | 91.99 | 69.53 | 30 | 965 | 36 | 29.74
27.10.22 16:27:02 | 29.53 | 111.28 | 92.14 | 88.86 | 71.64 | 76.04 | 78.33 | 94.7 | 82.53 | 85.02 | 110.8 | 74.9 | 69.39 | 80.79 | 94.85 | 67.58 | 68.97 | 77.18 | 81.95 | 60.42 | 69.53 | 87.23 | 72.63 | 92.29 | 69.67 | 30 | 965 | 36 | 29.74
27.10.22 16:27:17 | 29.78 | 110.96 | 92.29 | 88.56 | 71.36 | 75.33 | 78.04 | 94.25 | 82.24 | 84.87 | 110.8 | 74.61 | 68.97 | 80.21 | 94.85 | 67.16 | 68.55 | 76.9 | 81.8 | 59.74 | 69.25 | 86.93 | 72.63 | 91.84 | 69.67 | 30 | 965 | 36 | 29.75
27.10.22 16:27:32 | 30.03 | 111.28 | 91.84 | 88.26 | 71.36 | 75.18 | 77.76 | 94.25 | 82.09 | 84.28 | 110.8 | 74.76 | 68.69 | 79.63 | 94.55 | 66.61 | 68.42 | 76.75 | 81.51 | 59.2 | 69.11 | 86.34 | 72.2 | 91.69 | 69.39 | 30 | 965 | 36 | 29.77
27.10.22 16:27:47 | 30.28 | 111.28 | 91.69 | 87.97 | 71.36 | 74.76 | 77.76 | 94.09 | 82.24 | 84.58 | 110.96 | 74.47 | 68.28 | 79.34 | 94.55 | 66.33 | 68.42 | 76.47 | 81.66 | 58.65 | 68.69 | 86.49 | 72.06 | 91.84 | 69.25 | 30 | 965 | 36 | 29.75