## Oxygen OPA
Measurement Name : | 20221028_SDR641_AMB_WT_cohort1021 |  | Generated On : | 28/10/2022, 12:32:15 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 28/10/2022, 12:11:15 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 28/10/2022, 12:32:03 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.54 | 46.38 | 46.47 | 46.61 | 46.52 | 46.5 | 46.58 | 46.38 | 46.67 | 46.64 | 46.63 | 46.49 | 46.69 | 46.58 | 46.58 | 46.58 | 46.54 | 46.68 | 46.52 | 47.02 | 46.76 | 46.68 | 46.61 | 46.69
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
28.10.22 12:11:17 | 0.03 | 93.13 | 88.71 | 84.11 | 92.93 | 88.84 | 91.43 | 94.99 | 88.99 | 100.6 | 97.92 | 87.42 | 89.3 | 90.68 | 90.49 | 96.16 | 93.53 | 98.82 | 89.96 | 101.03 | 87.78 | 101.06 | 84.48 | 83.88 | 87.63 | 27 | 965 | 36 | 27.14
28.10.22 12:11:32 | 0.28 | 93.27 | 88.57 | 83.97 | 92.93 | 88.7 | 91.43 | 95.14 | 88.99 | 101.05 | 98.06 | 87.27 | 89.3 | 90.82 | 90.49 | 96.31 | 93.68 | 98.97 | 90.25 | 101.48 | 87.63 | 101.36 | 84.62 | 83.46 | 87.34 | 27 | 965 | 36 | 27.14
28.10.22 12:11:47 | 0.53 | 93.56 | 88.57 | 84.25 | 93.37 | 88.55 | 91.57 | 95.28 | 89.28 | 101.5 | 98.21 | 87.13 | 89.3 | 90.82 | 90.35 | 96.6 | 93.53 | 99.26 | 90.4 | 101.92 | 87.78 | 101.67 | 84.77 | 83.32 | 87.05 | 27 | 965 | 36 | 27.15
28.10.22 12:12:02 | 0.78 | 93.42 | 88.71 | 83.97 | 93.51 | 88.7 | 91.72 | 95.58 | 89.28 | 101.65 | 98.51 | 87.27 | 88.59 | 90.53 | 90.35 | 96.6 | 93.39 | 99.56 | 90.54 | 102.22 | 87.48 | 101.67 | 84.77 | 83.18 | 86.91 | 27 | 965 | 36 | 27.15
28.10.22 12:12:17 | 1.03 | 93.56 | 88.99 | 84.11 | 93.66 | 88.7 | 92 | 95.72 | 89.28 | 101.95 | 98.66 | 87.13 | 88.87 | 90.82 | 90.49 | 96.75 | 93.68 | 99.56 | 90.69 | 102.37 | 87.78 | 101.82 | 84.77 | 82.47 | 86.62 | 27 | 965 | 36 | 27.18
28.10.22 12:12:32 | 1.28 | 93.27 | 88.71 | 83.83 | 93.66 | 88.41 | 92.15 | 95.72 | 89.42 | 102.1 | 98.66 | 87.27 | 88.59 | 90.82 | 90.21 | 96.75 | 93.39 | 99.7 | 90.69 | 102.67 | 87.33 | 101.82 | 84.62 | 82.19 | 86.19 | 27 | 965 | 36 | 27.19
28.10.22 12:12:47 | 1.53 | 93.27 | 88.57 | 83.83 | 93.51 | 88.55 | 92.15 | 95.87 | 89.42 | 102.41 | 98.81 | 87.13 | 88.73 | 90.97 | 90.35 | 96.6 | 93.39 | 100 | 90.54 | 102.67 | 87.48 | 101.82 | 84.48 | 81.91 | 86.04 | 27 | 965 | 36 | 27.19
28.10.22 12:13:02 | 1.78 | 93.27 | 88.43 | 83.97 | 93.81 | 88.27 | 92 | 95.72 | 89.42 | 102.56 | 99.25 | 86.84 | 88.73 | 90.82 | 89.92 | 96.6 | 93.68 | 100.15 | 90.4 | 103.11 | 87.48 | 102.28 | 84.62 | 81.49 | 85.61 | 27 | 965 | 36 | 27.21
28.10.22 12:13:17 | 2.03 | 93.27 | 88.15 | 83.83 | 93.95 | 88.41 | 92.29 | 95.72 | 89.42 | 102.71 | 99.11 | 86.84 | 88.45 | 90.68 | 89.92 | 96.75 | 93.53 | 100.15 | 90.4 | 103.11 | 87.18 | 102.28 | 84.19 | 81.21 | 85.04 | 27 | 965 | 36 | 27.22
28.10.22 12:13:32 | 2.28 | 93.13 | 88.43 | 83.83 | 93.81 | 88.41 | 92 | 95.87 | 89.42 | 102.71 | 99.11 | 86.84 | 88.45 | 90.24 | 89.77 | 96.31 | 93.39 | 100.3 | 89.96 | 103.26 | 87.18 | 102.43 | 84.05 | 80.64 | 84.61 | 27 | 965 | 36 | 27.22
28.10.22 12:13:47 | 2.53 | 93.13 | 88.15 | 83.7 | 93.66 | 88.27 | 91.86 | 95.72 | 89.28 | 102.71 | 99.11 | 86.56 | 87.74 | 90.24 | 89.49 | 96.02 | 93.1 | 99.85 | 89.52 | 103.41 | 86.88 | 102.43 | 83.62 | 80.36 | 84.18 | 27 | 965 | 36 | 27.24
28.10.22 12:14:02 | 2.78 | 92.98 | 87.87 | 83.56 | 93.81 | 88.27 | 91.57 | 95.72 | 89.14 | 102.86 | 99.25 | 86.27 | 87.31 | 90.24 | 89.06 | 96.16 | 93.39 | 100.15 | 89.38 | 103.26 | 86.73 | 102.28 | 83.48 | 80.08 | 83.61 | 27 | 965 | 36 | 27.26
28.10.22 12:14:17 | 3.03 | 92.98 | 87.73 | 83.42 | 93.51 | 88.27 | 91.57 | 96.02 | 88.99 | 102.86 | 98.96 | 85.99 | 86.89 | 89.95 | 88.63 | 96.02 | 92.95 | 99.85 | 89.09 | 103.41 | 86.43 | 102.28 | 83.05 | 79.52 | 83.04 | 27 | 965 | 36 | 27.26
28.10.22 12:14:32 | 3.28 | 92.98 | 87.45 | 83.42 | 93.22 | 87.84 | 91.29 | 95.58 | 88.99 | 102.86 | 98.81 | 85.84 | 86.33 | 89.8 | 88.34 | 95.87 | 92.37 | 100 | 88.65 | 103.56 | 85.83 | 101.97 | 82.77 | 78.69 | 82.75 | 27 | 965 | 36 | 27.26
28.10.22 12:14:47 | 3.53 | 92.84 | 87.45 | 83 | 93.51 | 87.98 | 91 | 95.58 | 88.71 | 102.71 | 98.81 | 85.84 | 85.76 | 89.51 | 87.91 | 95.58 | 92.23 | 99.85 | 88.22 | 103.71 | 85.69 | 102.12 | 82.49 | 78.13 | 82.18 | 27 | 965 | 36 | 27.28
28.10.22 12:15:02 | 3.78 | 92.69 | 87.17 | 82.86 | 93.22 | 87.56 | 90.71 | 95.72 | 88.57 | 102.86 | 98.96 | 85.7 | 85.62 | 89.37 | 87.63 | 95.43 | 92.23 | 99.85 | 87.93 | 103.71 | 85.54 | 102.12 | 82.2 | 77.71 | 81.76 | 27 | 965 | 36 | 27.28
28.10.22 12:15:17 | 4.03 | 92.55 | 86.76 | 82.58 | 93.22 | 86.99 | 90.14 | 95.28 | 88.15 | 102.41 | 98.81 | 85.42 | 84.78 | 89.08 | 87.2 | 95.43 | 91.79 | 99.7 | 87.78 | 103.71 | 84.94 | 101.82 | 81.63 | 77.44 | 81.05 | 27 | 965 | 36 | 27.29
28.10.22 12:15:32 | 4.28 | 92.4 | 86.34 | 82.58 | 93.22 | 86.85 | 90.14 | 95.43 | 88.15 | 102.56 | 98.96 | 85.42 | 84.64 | 88.93 | 86.77 | 95.14 | 91.79 | 99.7 | 87.5 | 103.56 | 84.49 | 101.82 | 81.07 | 76.74 | 80.76 | 27 | 965 | 36 | 27.29
28.10.22 12:15:47 | 4.53 | 92.4 | 85.92 | 82.3 | 93.22 | 86.57 | 89.86 | 95.14 | 88.01 | 102.56 | 98.81 | 85.13 | 84.08 | 88.64 | 86.34 | 95.14 | 91.65 | 99.7 | 87.21 | 103.71 | 84.2 | 101.52 | 80.64 | 76.33 | 80.2 | 27 | 965 | 36 | 27.3
28.10.22 12:16:02 | 4.78 | 92.26 | 85.64 | 82.17 | 92.93 | 86.29 | 89.57 | 94.99 | 87.73 | 102.71 | 98.96 | 84.7 | 83.66 | 88.5 | 86.06 | 94.85 | 91.07 | 99.7 | 86.78 | 103.86 | 84.35 | 101.67 | 80.36 | 75.91 | 79.63 | 27 | 965 | 36 | 27.32
28.10.22 12:16:17 | 5.03 | 92.55 | 85.5 | 82.03 | 92.93 | 86.43 | 89.57 | 95.14 | 87.59 | 102.56 | 98.96 | 84.42 | 83.38 | 88.64 | 85.77 | 94.99 | 91.07 | 99.56 | 86.92 | 103.86 | 84.49 | 101.97 | 79.94 | 75.78 | 79.21 | 27 | 965 | 36 | 27.33
28.10.22 12:16:32 | 5.28 | 92.12 | 85.36 | 81.75 | 92.64 | 85.86 | 89.15 | 94.7 | 87.45 | 102.41 | 98.51 | 83.99 | 82.55 | 88.21 | 85.35 | 94.7 | 90.49 | 99.11 | 85.91 | 103.71 | 83.9 | 101.21 | 79.09 | 75.09 | 78.65 | 27 | 965 | 36 | 27.33
28.10.22 12:16:47 | 5.53 | 91.97 | 85.64 | 81.75 | 92.49 | 85.86 | 89 | 94.41 | 87.31 | 102.41 | 98.66 | 83.57 | 82.13 | 88.06 | 85.07 | 94.41 | 90.06 | 99.11 | 85.77 | 103.86 | 83.46 | 101.36 | 78.95 | 75.09 | 78.23 | 27 | 965 | 36 | 27.33
28.10.22 12:17:02 | 5.78 | 91.68 | 85.09 | 81.33 | 92.35 | 85.72 | 88.58 | 94.26 | 86.9 | 102.71 | 98.36 | 83.43 | 81.71 | 87.92 | 84.64 | 94.41 | 89.92 | 98.97 | 85.48 | 103.86 | 83.01 | 101.21 | 78.39 | 74.67 | 77.39 | 27 | 965 | 36 | 27.35
28.10.22 12:17:17 | 6.03 | 91.68 | 84.81 | 81.61 | 92.2 | 85.3 | 88.72 | 94.12 | 86.76 | 102.56 | 98.06 | 82.86 | 81.44 | 87.77 | 84.36 | 94.26 | 89.49 | 98.67 | 85.2 | 104.01 | 82.57 | 101.36 | 78.11 | 74.26 | 76.97 | 27 | 965 | 36 | 27.35
28.10.22 12:17:32 | 6.28 | 91.54 | 85.23 | 81.06 | 91.91 | 84.73 | 88.43 | 93.68 | 86.34 | 102.26 | 98.21 | 82.72 | 81.16 | 87.63 | 83.79 | 94.12 | 88.91 | 98.97 | 84.91 | 103.71 | 81.98 | 101.21 | 77.97 | 73.99 | 76.13 | 27 | 965 | 36 | 27.36
28.10.22 12:17:47 | 6.53 | 91.54 | 84.95 | 80.92 | 91.77 | 84.45 | 88.58 | 93.53 | 86.2 | 102.41 | 98.06 | 82.01 | 80.6 | 87.34 | 83.37 | 94.12 | 88.91 | 98.67 | 84.77 | 104.01 | 81.54 | 101.06 | 77.27 | 73.58 | 75.29 | 27 | 965 | 36 | 27.36
28.10.22 12:18:02 | 6.78 | 91.4 | 84.67 | 80.64 | 91.77 | 84.45 | 88.15 | 93.24 | 85.78 | 102.41 | 97.92 | 81.73 | 79.91 | 87.05 | 83.09 | 93.83 | 88.63 | 98.38 | 83.91 | 103.86 | 81.24 | 101.06 | 77.13 | 73.03 | 75.02 | 27 | 965 | 36 | 27.36
28.10.22 12:18:17 | 7.03 | 91.4 | 84.81 | 80.64 | 91.77 | 84.59 | 88.29 | 93.53 | 85.92 | 102.41 | 97.77 | 81.73 | 79.22 | 87.19 | 82.95 | 93.97 | 88.48 | 98.38 | 83.91 | 104.01 | 80.8 | 101.06 | 76.85 | 72.89 | 74.46 | 27 | 965 | 36 | 27.36
28.10.22 12:18:32 | 7.28 | 91.4 | 84.81 | 80.51 | 91.48 | 84.17 | 88.15 | 92.95 | 85.64 | 102.26 | 97.47 | 81.31 | 78.95 | 86.91 | 82.53 | 93.24 | 88.05 | 98.38 | 83.62 | 104.01 | 80.51 | 100.76 | 76.43 | 72.34 | 73.91 | 27 | 965 | 36 | 27.36
28.10.22 12:18:47 | 7.53 | 91.25 | 84.67 | 80.23 | 91.33 | 84.17 | 87.44 | 92.81 | 85.23 | 102.26 | 97.47 | 80.6 | 78.67 | 86.47 | 81.96 | 93.53 | 87.63 | 98.23 | 83.48 | 103.86 | 80.21 | 100.76 | 76.29 | 71.66 | 73.35 | 27 | 965 | 36 | 27.39
28.10.22 12:19:02 | 7.78 | 90.96 | 84.81 | 79.82 | 91.04 | 83.61 | 87.3 | 92.52 | 85.09 | 102.26 | 97.32 | 80.32 | 78.26 | 86.33 | 81.96 | 93.1 | 87.63 | 97.94 | 83.05 | 103.86 | 79.77 | 100.76 | 76.02 | 71.39 | 72.39 | 27 | 965 | 36 | 27.39
28.10.22 12:19:17 | 8.03 | 90.68 | 84.81 | 79.68 | 90.75 | 83.19 | 86.74 | 92.08 | 84.81 | 102.26 | 97.17 | 79.9 | 77.44 | 86.04 | 81.54 | 92.66 | 87.05 | 97.79 | 82.91 | 103.71 | 79.19 | 100.45 | 75.88 | 70.71 | 71.97 | 27 | 965 | 36 | 27.4
28.10.22 12:19:32 | 8.28 | 90.82 | 84.81 | 79.54 | 90.75 | 83.19 | 86.6 | 91.65 | 84.53 | 101.95 | 96.73 | 79.62 | 77.17 | 85.47 | 81.12 | 92.37 | 86.2 | 97.79 | 82.49 | 103.71 | 79.04 | 100.3 | 75.46 | 70.17 | 71.01 | 27 | 965 | 36 | 27.4
28.10.22 12:19:47 | 8.53 | 90.68 | 84.95 | 79.4 | 90.75 | 83.05 | 86.31 | 91.65 | 84.39 | 102.41 | 96.88 | 79.34 | 76.89 | 85.61 | 80.7 | 92.66 | 86.06 | 97.64 | 82.49 | 103.86 | 78.75 | 100.45 | 75.6 | 69.9 | 70.6 | 27 | 965 | 36 | 27.4
28.10.22 12:20:02 | 8.78 | 90.39 | 84.95 | 79.27 | 90.18 | 82.49 | 86.17 | 91.36 | 84.12 | 101.8 | 96.58 | 79.06 | 76.48 | 85.04 | 80.42 | 92.37 | 85.49 | 97.79 | 82.06 | 103.71 | 78.46 | 100.15 | 75.18 | 69.49 | 70.05 | 27 | 965 | 36 | 27.4
28.10.22 12:20:17 | 9.03 | 90.39 | 84.67 | 79.13 | 90.61 | 82.49 | 85.61 | 91.07 | 83.98 | 101.95 | 96.14 | 78.78 | 76.35 | 85.04 | 80.01 | 92.23 | 84.92 | 97.64 | 81.78 | 103.71 | 78.17 | 100 | 74.9 | 69.35 | 69.37 | 27 | 965 | 36 | 27.41
28.10.22 12:20:32 | 9.28 | 90.1 | 85.09 | 78.85 | 90.03 | 82.49 | 85.89 | 91.22 | 83.84 | 102.1 | 96.14 | 78.36 | 75.8 | 84.89 | 79.73 | 92.08 | 84.78 | 97.64 | 81.78 | 103.86 | 78.31 | 100 | 74.9 | 68.81 | 68.82 | 27 | 965 | 36 | 27.41
28.10.22 12:20:47 | 9.53 | 89.96 | 84.81 | 78.85 | 90.03 | 81.94 | 85.61 | 90.93 | 83.43 | 101.95 | 95.99 | 77.81 | 74.99 | 84.46 | 79.03 | 91.65 | 84.5 | 97.5 | 81.07 | 103.56 | 77.87 | 100 | 74.63 | 68.27 | 68.41 | 27 | 965 | 36 | 27.43
28.10.22 12:21:02 | 9.78 | 89.82 | 84.95 | 78.58 | 89.74 | 81.52 | 85.61 | 90.64 | 83.43 | 102.26 | 95.99 | 77.39 | 74.85 | 84.32 | 78.89 | 91.5 | 84.5 | 97.2 | 81.21 | 103.86 | 78.02 | 99.7 | 74.49 | 68.14 | 67.87 | 27 | 965 | 36 | 27.43
28.10.22 12:21:17 | 10.03 | 89.53 | 84.67 | 78.58 | 89.89 | 80.82 | 85.19 | 90.35 | 83.01 | 101.95 | 95.84 | 77.11 | 74.04 | 83.75 | 78.2 | 91.22 | 84.08 | 97.2 | 80.64 | 103.56 | 77.73 | 99.85 | 73.93 | 67.47 | 67.06 | 27 | 965 | 36 | 27.43
28.10.22 12:21:32 | 10.28 | 89.39 | 84.67 | 78.17 | 89.31 | 80.82 | 84.91 | 90.21 | 82.88 | 101.65 | 95.55 | 76.7 | 73.76 | 83.46 | 77.92 | 90.93 | 83.93 | 97.06 | 80.36 | 103.71 | 77.29 | 99.85 | 74.07 | 66.79 | 66.65 | 27 | 965 | 36 | 27.44
28.10.22 12:21:47 | 10.53 | 89.1 | 84.39 | 77.9 | 89.31 | 80.41 | 84.49 | 89.92 | 82.6 | 101.5 | 94.96 | 76.14 | 73.36 | 83.46 | 77.51 | 90.64 | 83.65 | 96.91 | 80.08 | 103.56 | 77 | 99.55 | 73.66 | 65.99 | 65.97 | 27 | 965 | 36 | 27.46
28.10.22 12:22:02 | 10.78 | 88.82 | 84.26 | 77.76 | 89.02 | 80.27 | 84.63 | 89.92 | 82.33 | 101.65 | 95.11 | 75.86 | 72.95 | 83.18 | 77.09 | 90.49 | 83.51 | 96.62 | 79.94 | 103.71 | 76.86 | 99.55 | 73.66 | 65.59 | 65.43 | 27 | 965 | 36 | 27.44
28.10.22 12:22:17 | 11.03 | 88.1 | 83.98 | 77.49 | 88.88 | 80.27 | 84.35 | 89.49 | 82.05 | 101.35 | 94.81 | 75.31 | 72.68 | 82.61 | 76.54 | 90.06 | 83.23 | 96.62 | 79.52 | 103.26 | 76.56 | 99.55 | 73.38 | 65.19 | 64.76 | 27 | 965 | 36 | 27.47
28.10.22 12:22:32 | 11.28 | 88.25 | 83.98 | 77.35 | 88.88 | 80.41 | 84.21 | 89.63 | 82.05 | 101.35 | 94.67 | 75.17 | 72.55 | 82.61 | 76.54 | 89.63 | 83.37 | 96.62 | 79.37 | 103.56 | 76.56 | 99.4 | 73.38 | 64.66 | 64.49 | 27 | 965 | 36 | 27.47
28.10.22 12:22:47 | 11.53 | 87.96 | 83.57 | 76.8 | 88.73 | 80.55 | 83.65 | 89.06 | 81.78 | 101.2 | 94.37 | 74.62 | 72.28 | 82.18 | 75.99 | 89.49 | 82.81 | 96.33 | 79.09 | 103.56 | 76.42 | 99.24 | 72.97 | 63.99 | 63.95 | 27 | 965 | 36 | 27.47
28.10.22 12:23:02 | 11.78 | 87.68 | 83.29 | 76.12 | 88.45 | 80.68 | 83.37 | 88.91 | 81.37 | 101.2 | 94.08 | 74.21 | 71.88 | 81.61 | 75.58 | 89.34 | 82.67 | 96.33 | 78.81 | 103.41 | 76.27 | 99.09 | 72.42 | 63.59 | 62.88 | 27 | 965 | 36 | 27.47
28.10.22 12:23:17 | 12.03 | 87.11 | 83.57 | 75.71 | 87.87 | 80.68 | 82.95 | 88.48 | 81.09 | 101.05 | 93.93 | 73.38 | 71.47 | 81.47 | 75.03 | 88.91 | 82.39 | 95.89 | 78.39 | 103.41 | 76.13 | 98.79 | 72.14 | 62.93 | 62.48 | 27 | 965 | 36 | 27.47
28.10.22 12:23:32 | 12.28 | 87.25 | 83.43 | 75.71 | 88.16 | 80.82 | 82.81 | 88.48 | 80.82 | 101.2 | 93.79 | 73.25 | 71.07 | 81.19 | 75.03 | 88.63 | 82.39 | 96.03 | 78.25 | 103.56 | 76.13 | 98.79 | 72 | 62.53 | 61.95 | 27 | 965 | 36 | 27.47
28.10.22 12:23:47 | 12.53 | 86.97 | 83.15 | 75.58 | 88.02 | 80.96 | 82.53 | 88.34 | 80.96 | 101.05 | 93.79 | 72.83 | 70.94 | 81.05 | 74.48 | 88.48 | 82.1 | 95.6 | 77.83 | 103.56 | 75.98 | 98.79 | 71.87 | 62.53 | 61.41 | 27 | 965 | 36 | 27.5
28.10.22 12:24:02 | 12.78 | 86.4 | 83.15 | 75.31 | 87.87 | 80.82 | 82.53 | 87.91 | 80.68 | 101.05 | 93.79 | 72.29 | 70.67 | 80.62 | 74.2 | 88.34 | 82.1 | 95.45 | 77.69 | 103.41 | 75.7 | 98.79 | 71.73 | 61.87 | 61.01 | 27 | 965 | 36 | 27.5
28.10.22 12:24:17 | 13.03 | 85.97 | 83.15 | 75.17 | 87.73 | 81.1 | 82.11 | 87.91 | 80.41 | 100.9 | 93.49 | 71.88 | 70.27 | 79.78 | 73.93 | 88.05 | 81.82 | 95.3 | 77.55 | 103.56 | 75.55 | 98.94 | 71.45 | 61.08 | 60.35 | 27 | 965 | 36 | 27.51
28.10.22 12:24:32 | 13.28 | 85.55 | 82.88 | 75.31 | 87.44 | 80.96 | 81.83 | 87.34 | 80 | 100.9 | 92.91 | 71.47 | 69.87 | 79.49 | 73.52 | 87.63 | 81.68 | 95.01 | 76.99 | 103.26 | 75.26 | 98.64 | 70.9 | 60.81 | 59.69 | 27 | 965 | 36 | 27.51
28.10.22 12:24:47 | 13.53 | 85.27 | 82.88 | 75.04 | 87.44 | 81.1 | 81.56 | 86.91 | 79.73 | 100.45 | 92.91 | 70.78 | 69.73 | 79.35 | 73.25 | 87.2 | 81.54 | 95.01 | 76.71 | 103.11 | 74.97 | 98.79 | 70.77 | 60.16 | 59.16 | 27 | 965 | 36 | 27.51
28.10.22 12:25:02 | 13.78 | 84.84 | 82.6 | 74.9 | 86.87 | 80.96 | 81.28 | 86.2 | 79.32 | 100.3 | 92.62 | 69.83 | 69.6 | 78.93 | 72.7 | 86.91 | 81.12 | 94.58 | 76.29 | 103.11 | 74.83 | 98.79 | 70.36 | 59.63 | 58.63 | 27 | 965 | 36 | 27.51
28.10.22 12:25:17 | 14.03 | 84.7 | 82.6 | 74.63 | 86.73 | 81.24 | 80.86 | 86.2 | 79.18 | 100.45 | 92.62 | 69.7 | 69.2 | 78.51 | 72.43 | 86.63 | 81.26 | 94.72 | 76.15 | 103.41 | 74.68 | 98.94 | 70.22 | 59.37 | 58.1 | 27 | 965 | 36 | 27.53
28.10.22 12:25:32 | 14.28 | 84 | 82.05 | 74.63 | 86.59 | 80.96 | 80.58 | 85.92 | 78.91 | 100 | 92.18 | 68.88 | 68.67 | 78.23 | 71.75 | 86.06 | 80.7 | 94.43 | 75.74 | 103.11 | 74.54 | 98.94 | 69.54 | 58.71 | 57.57 | 27 | 965 | 36 | 27.53
28.10.22 12:25:47 | 14.53 | 83.86 | 82.05 | 74.49 | 86.3 | 81.24 | 80.45 | 85.92 | 78.37 | 100 | 92.18 | 68.34 | 68.67 | 78.09 | 71.89 | 85.92 | 80.84 | 94.43 | 75.6 | 103.26 | 74.54 | 98.94 | 69.4 | 57.8 | 57.18 | 27 | 965 | 36 | 27.54
28.10.22 12:26:02 | 14.78 | 83.3 | 81.5 | 74.09 | 86.02 | 81.24 | 80.03 | 84.92 | 78.23 | 99.85 | 91.89 | 67.67 | 68.13 | 77.39 | 71.07 | 85.35 | 80.29 | 94.14 | 75.18 | 103.11 | 73.82 | 98.64 | 68.99 | 57.02 | 56.39 | 27 | 965 | 36 | 27.53
28.10.22 12:26:17 | 15.03 | 83.02 | 81.78 | 73.95 | 86.3 | 81.24 | 79.89 | 85.07 | 78.1 | 99.85 | 91.6 | 67.26 | 68.27 | 77.11 | 70.8 | 85.21 | 80.15 | 94.14 | 75.32 | 103.11 | 73.82 | 98.94 | 68.58 | 56.76 | 55.87 | 27 | 965 | 36 | 27.54
28.10.22 12:26:32 | 15.28 | 82.88 | 81.23 | 73.68 | 86.02 | 81.24 | 79.76 | 85.07 | 77.96 | 99.85 | 91.45 | 66.86 | 67.74 | 76.83 | 70.26 | 85.35 | 80.01 | 93.56 | 74.76 | 103.11 | 73.67 | 98.79 | 68.18 | 56.5 | 55.61 | 27 | 965 | 36 | 27.53
28.10.22 12:26:47 | 15.53 | 82.46 | 81.23 | 73.41 | 85.59 | 81.1 | 79.48 | 84.64 | 77.69 | 99.55 | 91.02 | 66.32 | 67.2 | 76.27 | 69.85 | 84.92 | 79.59 | 93.42 | 74.21 | 102.96 | 73.39 | 98.94 | 67.9 | 55.98 | 54.95 | 27 | 965 | 36 | 27.54
28.10.22 12:27:02 | 15.78 | 82.18 | 80.96 | 73.41 | 85.3 | 80.55 | 79.48 | 84.08 | 77.42 | 99.55 | 90.73 | 65.79 | 66.94 | 75.71 | 69.45 | 84.92 | 79.45 | 93.71 | 74.07 | 102.96 | 73.24 | 99.09 | 67.5 | 55.85 | 54.3 | 27 | 965 | 36 | 27.54
28.10.22 12:27:17 | 16.03 | 82.04 | 80.41 | 73.14 | 85.45 | 80.27 | 79.2 | 83.65 | 77.01 | 99.4 | 90.73 | 65.25 | 66.54 | 75.15 | 69.05 | 84.78 | 79.31 | 93.27 | 73.52 | 102.82 | 72.81 | 98.79 | 67.09 | 55.46 | 53.78 | 27 | 965 | 36 | 27.55
28.10.22 12:27:32 | 16.28 | 81.76 | 80 | 72.87 | 85.02 | 79.85 | 78.79 | 83.23 | 76.47 | 99.1 | 90.29 | 64.71 | 66.15 | 74.74 | 68.78 | 84.36 | 79.17 | 93.13 | 73.1 | 102.82 | 72.38 | 98.79 | 66.55 | 55.33 | 53.26 | 27 | 965 | 36 | 27.55
28.10.22 12:27:47 | 16.53 | 81.62 | 79.73 | 72.61 | 85.02 | 79.44 | 78.93 | 83.23 | 76.47 | 99.25 | 90.58 | 64.31 | 66.01 | 74.74 | 68.51 | 84.08 | 79.03 | 93.13 | 72.83 | 102.82 | 72.38 | 98.94 | 66.14 | 54.82 | 52.74 | 27 | 965 | 36 | 27.55
28.10.22 12:28:02 | 16.78 | 81.2 | 78.91 | 71.93 | 84.73 | 78.61 | 78.38 | 82.67 | 75.93 | 98.8 | 89.71 | 63.78 | 65.36 | 73.91 | 67.7 | 83.65 | 78.62 | 92.69 | 72 | 102.67 | 71.95 | 98.64 | 65.34 | 54.17 | 51.97 | 27 | 965 | 36 | 27.58
28.10.22 12:28:17 | 17.03 | 81.06 | 78.64 | 71.93 | 84.45 | 78.61 | 78.24 | 82.39 | 75.93 | 98.8 | 89.57 | 63.25 | 65.36 | 73.63 | 67.3 | 83.65 | 78.62 | 92.55 | 71.73 | 102.67 | 71.95 | 98.94 | 64.8 | 53.78 | 51.71 | 27 | 965 | 36 | 27.55
28.10.22 12:28:32 | 17.28 | 81.2 | 78.23 | 71.93 | 84.31 | 78.75 | 77.69 | 82.24 | 75.8 | 98.65 | 89.57 | 62.85 | 64.96 | 73.35 | 66.9 | 83.51 | 78.48 | 92.4 | 71.32 | 102.67 | 71.67 | 98.94 | 64.53 | 53.4 | 51.45 | 27 | 965 | 36 | 27.55
28.10.22 12:28:47 | 17.53 | 81.06 | 78.5 | 72.07 | 84.03 | 78.61 | 78.1 | 81.96 | 75.53 | 98.65 | 89.57 | 62.32 | 64.96 | 73.08 | 66.76 | 83.79 | 78.34 | 92.4 | 71.18 | 102.67 | 71.67 | 98.79 | 64.13 | 52.88 | 50.93 | 27 | 965 | 36 | 27.58
28.10.22 12:29:02 | 17.78 | 81.2 | 78.23 | 72.07 | 83.74 | 78.33 | 77.69 | 81.82 | 75.67 | 98.8 | 89.42 | 62.05 | 64.57 | 72.66 | 66.36 | 83.23 | 78.34 | 92.26 | 70.9 | 102.67 | 71.52 | 98.94 | 63.86 | 52.76 | 50.55 | 27 | 965 | 36 | 27.58
28.10.22 12:29:17 | 18.03 | 80.78 | 77.96 | 71.4 | 83.88 | 78.2 | 77.42 | 81.54 | 75.26 | 98.51 | 88.99 | 61.79 | 64.3 | 72.39 | 66.23 | 82.81 | 77.92 | 91.97 | 70.49 | 102.52 | 71.09 | 98.94 | 63.32 | 52.12 | 49.9 | 27 | 965 | 36 | 27.58
28.10.22 12:29:32 | 18.28 | 80.78 | 77.82 | 71.13 | 83.46 | 78.2 | 77.42 | 81.26 | 74.86 | 98.06 | 88.7 | 61.52 | 64.3 | 71.84 | 65.83 | 82.39 | 77.78 | 91.97 | 70.08 | 102.37 | 70.67 | 98.79 | 62.79 | 51.22 | 49.52 | 27 | 965 | 36 | 27.57
28.10.22 12:29:47 | 18.53 | 80.64 | 77.69 | 71.26 | 83.46 | 77.78 | 77.14 | 81.12 | 74.73 | 98.36 | 88.27 | 61.39 | 63.65 | 71.7 | 65.43 | 82.24 | 77.37 | 91.83 | 69.67 | 102.37 | 70.67 | 98.79 | 62.39 | 51.09 | 49.13 | 27 | 965 | 36 | 27.58
28.10.22 12:30:02 | 18.78 | 80.64 | 77.15 | 71 | 82.89 | 77.1 | 76.87 | 80.56 | 74.32 | 97.91 | 88.12 | 60.6 | 63.26 | 71.15 | 64.9 | 81.82 | 77.23 | 91.54 | 68.99 | 102.37 | 70.38 | 98.64 | 61.45 | 50.33 | 48.49 | 27 | 965 | 36 | 27.58
28.10.22 12:30:17 | 19.03 | 80.64 | 76.88 | 71.4 | 83.18 | 76.96 | 76.6 | 80.01 | 74.06 | 97.76 | 87.69 | 60.34 | 63.39 | 71.29 | 64.9 | 81.68 | 77.09 | 91.4 | 68.86 | 102.37 | 70.24 | 98.79 | 61.19 | 50.07 | 48.24 | 27 | 965 | 36 | 27.58
28.10.22 12:30:32 | 19.28 | 80.23 | 76.61 | 71 | 82.19 | 76.55 | 76.32 | 79.73 | 73.65 | 97.61 | 87.69 | 59.68 | 62.86 | 70.33 | 64.5 | 81.12 | 76.54 | 91.11 | 68.45 | 102.37 | 69.95 | 98.64 | 60.52 | 49.18 | 47.6 | 27 | 965 | 36 | 27.6
28.10.22 12:30:47 | 19.53 | 80.51 | 76.61 | 70.86 | 82.33 | 76.41 | 76.32 | 79.17 | 73.52 | 97.46 | 87.4 | 59.42 | 62.6 | 70.19 | 64.5 | 81.12 | 76.68 | 90.96 | 68.04 | 102.37 | 69.81 | 98.64 | 59.73 | 48.93 | 47.35 | 27 | 965 | 36 | 27.6
28.10.22 12:31:02 | 19.78 | 80.37 | 76.61 | 70.73 | 82.47 | 76.27 | 76.05 | 79.17 | 73.39 | 97.46 | 87.55 | 59.42 | 62.73 | 70.19 | 64.23 | 81.12 | 76.68 | 90.82 | 67.9 | 102.37 | 69.81 | 98.79 | 59.6 | 48.42 | 46.96 | 27 | 965 | 36 | 27.6
28.10.22 12:31:17 | 20.03 | 80.09 | 76.2 | 70.59 | 82.19 | 76.27 | 75.78 | 78.62 | 73.12 | 97.17 | 87.12 | 58.89 | 62.6 | 69.78 | 64.23 | 80.98 | 76.4 | 90.39 | 67.36 | 102.07 | 69.1 | 98.34 | 59.07 | 48.04 | 46.46 | 27 | 965 | 36 | 27.6
28.10.22 12:31:32 | 20.28 | 79.95 | 75.67 | 70.19 | 81.77 | 76.27 | 75.64 | 78.2 | 72.72 | 97.17 | 86.83 | 58.63 | 62.21 | 69.78 | 63.97 | 80.7 | 75.99 | 90.25 | 66.96 | 102.37 | 68.96 | 98.34 | 58.41 | 47.29 | 45.69 | 27 | 965 | 36 | 27.61
28.10.22 12:31:47 | 20.53 | 79.95 | 75.67 | 69.93 | 81.63 | 76.27 | 75.37 | 77.92 | 72.45 | 97.17 | 86.69 | 58.24 | 61.82 | 69.1 | 63.7 | 80.7 | 75.99 | 90.1 | 66.55 | 102.07 | 68.68 | 98.49 | 58.01 | 47.03 | 45.69 | 27 | 965 | 36 | 27.61

## Oxygen Orginal
Measurement Name : | 20221028_SDR641_AMB_WT_cohort1021 |  | Generated On : | 28/10/2022, 12:32:16 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 28/10/2022, 12:11:15 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 28/10/2022, 12:32:03 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
28.10.22 12:11:17 | 0.03 | 101.11 | 98.61 | 92.27 | 99.86 | 96.74 | 99.86 | 102.53 | 98.92 | 107.13 | 104.74 | 93.65 | 97.67 | 96.28 | 97.67 | 103.79 | 100.95 | 107.29 | 95.66 | 110.02 | 88.62 | 106.17 | 89.83 | 90.14 | 93.04 | 27 | 965 | 36 | 27.14
28.10.22 12:11:32 | 0.28 | 101.27 | 98.45 | 92.12 | 99.86 | 96.59 | 99.86 | 102.69 | 98.92 | 107.61 | 104.9 | 93.5 | 97.67 | 96.43 | 97.67 | 103.95 | 101.11 | 107.45 | 95.97 | 110.51 | 88.47 | 106.49 | 89.98 | 89.68 | 92.73 | 27 | 965 | 36 | 27.14
28.10.22 12:11:47 | 0.53 | 101.58 | 98.45 | 92.42 | 100.33 | 96.43 | 100.01 | 102.84 | 99.23 | 108.09 | 105.06 | 93.35 | 97.67 | 96.43 | 97.52 | 104.27 | 100.95 | 107.77 | 96.12 | 110.99 | 88.62 | 106.81 | 90.14 | 89.53 | 92.42 | 27 | 965 | 36 | 27.15
28.10.22 12:12:02 | 0.78 | 101.43 | 98.61 | 92.12 | 100.48 | 96.59 | 100.17 | 103.16 | 99.23 | 108.25 | 105.38 | 93.5 | 96.9 | 96.12 | 97.52 | 104.27 | 100.8 | 108.09 | 96.28 | 111.31 | 88.31 | 106.81 | 90.14 | 89.38 | 92.27 | 27 | 965 | 36 | 27.15
28.10.22 12:12:17 | 1.03 | 101.58 | 98.92 | 92.27 | 100.64 | 96.59 | 100.48 | 103.32 | 99.23 | 108.57 | 105.54 | 93.35 | 97.21 | 96.43 | 97.67 | 104.43 | 101.11 | 108.09 | 96.43 | 111.47 | 88.62 | 106.97 | 90.14 | 88.62 | 91.97 | 27 | 965 | 36 | 27.18
28.10.22 12:12:32 | 1.28 | 101.27 | 98.61 | 91.97 | 100.64 | 96.28 | 100.64 | 103.32 | 99.39 | 108.73 | 105.54 | 93.5 | 96.9 | 96.43 | 97.36 | 104.43 | 100.8 | 108.25 | 96.43 | 111.8 | 88.16 | 106.97 | 89.98 | 88.31 | 91.51 | 27 | 965 | 36 | 27.19
28.10.22 12:12:47 | 1.53 | 101.27 | 98.45 | 91.97 | 100.48 | 96.43 | 100.64 | 103.48 | 99.39 | 109.06 | 105.7 | 93.35 | 97.05 | 96.59 | 97.52 | 104.27 | 100.8 | 108.57 | 96.28 | 111.8 | 88.31 | 106.97 | 89.83 | 88.01 | 91.35 | 27 | 965 | 36 | 27.19
28.10.22 12:13:02 | 1.78 | 101.27 | 98.29 | 92.12 | 100.8 | 96.12 | 100.48 | 103.32 | 99.39 | 109.22 | 106.17 | 93.04 | 97.05 | 96.43 | 97.05 | 104.27 | 101.11 | 108.73 | 96.12 | 112.29 | 88.31 | 107.45 | 89.98 | 87.56 | 90.9 | 27 | 965 | 36 | 27.21
28.10.22 12:13:17 | 2.03 | 101.27 | 97.98 | 91.97 | 100.95 | 96.28 | 100.8 | 103.32 | 99.39 | 109.38 | 106.02 | 93.04 | 96.74 | 96.28 | 97.05 | 104.43 | 100.95 | 108.73 | 96.12 | 112.29 | 88.01 | 107.45 | 89.53 | 87.26 | 90.29 | 27 | 965 | 36 | 27.22
28.10.22 12:13:32 | 2.28 | 101.11 | 98.29 | 91.97 | 100.8 | 96.28 | 100.48 | 103.48 | 99.39 | 109.38 | 106.02 | 93.04 | 96.74 | 95.81 | 96.9 | 103.95 | 100.8 | 108.89 | 95.66 | 112.45 | 88.01 | 107.61 | 89.38 | 86.65 | 89.83 | 27 | 965 | 36 | 27.22
28.10.22 12:13:47 | 2.53 | 101.11 | 97.98 | 91.81 | 100.64 | 96.12 | 100.33 | 103.32 | 99.23 | 109.38 | 106.02 | 92.73 | 95.97 | 95.81 | 96.59 | 103.63 | 100.48 | 108.41 | 95.19 | 112.61 | 87.71 | 107.61 | 88.92 | 86.35 | 89.38 | 27 | 965 | 36 | 27.24
28.10.22 12:14:02 | 2.78 | 100.95 | 97.67 | 91.66 | 100.8 | 96.12 | 100.01 | 103.32 | 99.07 | 109.54 | 106.17 | 92.42 | 95.5 | 95.81 | 96.12 | 103.79 | 100.8 | 108.73 | 95.04 | 112.45 | 87.56 | 107.45 | 88.77 | 86.05 | 88.77 | 27 | 965 | 36 | 27.26
28.10.22 12:14:17 | 3.03 | 100.95 | 97.52 | 91.51 | 100.48 | 96.12 | 100.01 | 103.63 | 98.92 | 109.54 | 105.86 | 92.12 | 95.04 | 95.5 | 95.66 | 103.63 | 100.33 | 108.41 | 94.73 | 112.61 | 87.26 | 107.45 | 88.31 | 85.45 | 88.16 | 27 | 965 | 36 | 27.26
28.10.22 12:14:32 | 3.28 | 100.95 | 97.21 | 91.51 | 100.17 | 95.66 | 99.7 | 103.16 | 98.92 | 109.54 | 105.7 | 91.97 | 94.42 | 95.35 | 95.35 | 103.48 | 99.7 | 108.57 | 94.27 | 112.77 | 86.65 | 107.13 | 88.01 | 84.55 | 87.86 | 27 | 965 | 36 | 27.26
28.10.22 12:14:47 | 3.53 | 100.8 | 97.21 | 91.05 | 100.48 | 95.81 | 99.39 | 103.16 | 98.61 | 109.38 | 105.7 | 91.97 | 93.81 | 95.04 | 94.88 | 103.16 | 99.54 | 108.41 | 93.81 | 112.93 | 86.5 | 107.29 | 87.71 | 83.95 | 87.26 | 27 | 965 | 36 | 27.28
28.10.22 12:15:02 | 3.78 | 100.64 | 96.9 | 90.9 | 100.17 | 95.35 | 99.07 | 103.32 | 98.45 | 109.54 | 105.86 | 91.81 | 93.65 | 94.88 | 94.58 | 103 | 99.54 | 108.41 | 93.5 | 112.93 | 86.35 | 107.29 | 87.41 | 83.51 | 86.8 | 27 | 965 | 36 | 27.28
28.10.22 12:15:17 | 4.03 | 100.48 | 96.43 | 90.59 | 100.17 | 94.73 | 98.45 | 102.84 | 97.98 | 109.06 | 105.7 | 91.51 | 92.73 | 94.58 | 94.11 | 103 | 99.07 | 108.25 | 93.35 | 112.93 | 85.75 | 106.97 | 86.8 | 83.21 | 86.05 | 27 | 965 | 36 | 27.29
28.10.22 12:15:32 | 4.28 | 100.33 | 95.97 | 90.59 | 100.17 | 94.58 | 98.45 | 103 | 97.98 | 109.22 | 105.86 | 91.51 | 92.58 | 94.42 | 93.65 | 102.69 | 99.07 | 108.25 | 93.04 | 112.77 | 85.3 | 106.97 | 86.2 | 82.46 | 85.75 | 27 | 965 | 36 | 27.29
28.10.22 12:15:47 | 4.53 | 100.33 | 95.5 | 90.29 | 100.17 | 94.27 | 98.14 | 102.69 | 97.83 | 109.22 | 105.7 | 91.2 | 91.97 | 94.11 | 93.19 | 102.69 | 98.92 | 108.25 | 92.73 | 112.93 | 85 | 106.65 | 85.75 | 82.02 | 85.15 | 27 | 965 | 36 | 27.3
28.10.22 12:16:02 | 4.78 | 100.17 | 95.19 | 90.14 | 99.86 | 93.96 | 97.83 | 102.53 | 97.52 | 109.38 | 105.86 | 90.74 | 91.51 | 93.96 | 92.88 | 102.37 | 98.29 | 108.25 | 92.27 | 113.1 | 85.15 | 106.81 | 85.45 | 81.57 | 84.55 | 27 | 965 | 36 | 27.32
28.10.22 12:16:17 | 5.03 | 100.48 | 95.04 | 89.98 | 99.86 | 94.11 | 97.83 | 102.69 | 97.36 | 109.22 | 105.86 | 90.44 | 91.2 | 94.11 | 92.58 | 102.53 | 98.29 | 108.09 | 92.42 | 113.1 | 85.3 | 107.13 | 85 | 81.42 | 84.1 | 27 | 965 | 36 | 27.33
28.10.22 12:16:32 | 5.28 | 100.01 | 94.88 | 89.68 | 99.54 | 93.5 | 97.36 | 102.21 | 97.21 | 109.06 | 105.38 | 89.98 | 90.29 | 93.65 | 92.12 | 102.21 | 97.67 | 107.61 | 91.35 | 112.93 | 84.7 | 106.33 | 84.1 | 80.68 | 83.51 | 27 | 965 | 36 | 27.33
28.10.22 12:16:47 | 5.53 | 99.86 | 95.19 | 89.68 | 99.39 | 93.5 | 97.21 | 101.9 | 97.05 | 109.06 | 105.54 | 89.53 | 89.83 | 93.5 | 91.81 | 101.9 | 97.21 | 107.61 | 91.2 | 113.1 | 84.25 | 106.49 | 83.95 | 80.68 | 83.06 | 27 | 965 | 36 | 27.33
28.10.22 12:17:02 | 5.78 | 99.54 | 94.58 | 89.22 | 99.23 | 93.35 | 96.74 | 101.74 | 96.59 | 109.38 | 105.22 | 89.38 | 89.38 | 93.35 | 91.35 | 101.9 | 97.05 | 107.45 | 90.9 | 113.1 | 83.8 | 106.33 | 83.36 | 80.24 | 82.17 | 27 | 965 | 36 | 27.35
28.10.22 12:17:17 | 6.03 | 99.54 | 94.27 | 89.53 | 99.07 | 92.88 | 96.9 | 101.58 | 96.43 | 109.22 | 104.9 | 88.77 | 89.07 | 93.19 | 91.05 | 101.74 | 96.59 | 107.13 | 90.59 | 113.26 | 83.36 | 106.49 | 83.06 | 79.8 | 81.72 | 27 | 965 | 36 | 27.35
28.10.22 12:17:32 | 6.28 | 99.39 | 94.73 | 88.92 | 98.76 | 92.27 | 96.59 | 101.11 | 95.97 | 108.89 | 105.06 | 88.62 | 88.77 | 93.04 | 90.44 | 101.58 | 95.97 | 107.45 | 90.29 | 112.93 | 82.76 | 106.33 | 82.91 | 79.5 | 80.83 | 27 | 965 | 36 | 27.36
28.10.22 12:17:47 | 6.53 | 99.39 | 94.42 | 88.77 | 98.61 | 91.97 | 96.74 | 100.95 | 95.81 | 109.06 | 104.9 | 87.86 | 88.16 | 92.73 | 89.98 | 101.58 | 95.97 | 107.13 | 90.14 | 113.26 | 82.31 | 106.17 | 82.17 | 79.06 | 79.94 | 27 | 965 | 36 | 27.36
28.10.22 12:18:02 | 6.78 | 99.23 | 94.11 | 88.47 | 98.61 | 91.97 | 96.28 | 100.64 | 95.35 | 109.06 | 104.74 | 87.56 | 87.41 | 92.42 | 89.68 | 101.27 | 95.66 | 106.81 | 89.22 | 113.1 | 82.02 | 106.17 | 82.02 | 78.47 | 79.65 | 27 | 965 | 36 | 27.36
28.10.22 12:18:17 | 7.03 | 99.23 | 94.27 | 88.47 | 98.61 | 92.12 | 96.43 | 100.95 | 95.5 | 109.06 | 104.58 | 87.56 | 86.65 | 92.58 | 89.53 | 101.43 | 95.5 | 106.81 | 89.22 | 113.26 | 81.57 | 106.17 | 81.72 | 78.32 | 79.06 | 27 | 965 | 36 | 27.36
28.10.22 12:18:32 | 7.28 | 99.23 | 94.27 | 88.31 | 98.29 | 91.66 | 96.28 | 100.33 | 95.19 | 108.89 | 104.27 | 87.11 | 86.35 | 92.27 | 89.07 | 100.64 | 95.04 | 106.81 | 88.92 | 113.26 | 81.27 | 105.86 | 81.27 | 77.73 | 78.47 | 27 | 965 | 36 | 27.36
28.10.22 12:18:47 | 7.53 | 99.07 | 94.11 | 88.01 | 98.14 | 91.66 | 95.5 | 100.17 | 94.73 | 108.89 | 104.27 | 86.35 | 86.05 | 91.81 | 88.47 | 100.95 | 94.58 | 106.65 | 88.77 | 113.1 | 80.98 | 105.86 | 81.13 | 77 | 77.88 | 27 | 965 | 36 | 27.39
28.10.22 12:19:02 | 7.78 | 98.76 | 94.27 | 87.56 | 97.83 | 91.05 | 95.35 | 99.86 | 94.58 | 108.89 | 104.11 | 86.05 | 85.6 | 91.66 | 88.47 | 100.48 | 94.58 | 106.33 | 88.31 | 113.1 | 80.53 | 105.86 | 80.83 | 76.71 | 76.86 | 27 | 965 | 36 | 27.39
28.10.22 12:19:17 | 8.03 | 98.45 | 94.27 | 87.41 | 97.52 | 90.59 | 94.73 | 99.39 | 94.27 | 108.89 | 103.95 | 85.6 | 84.7 | 91.35 | 88.01 | 100.01 | 93.96 | 106.17 | 88.16 | 112.93 | 79.94 | 105.54 | 80.68 | 75.98 | 76.42 | 27 | 965 | 36 | 27.4
28.10.22 12:19:32 | 8.28 | 98.61 | 94.27 | 87.26 | 97.52 | 90.59 | 94.58 | 98.92 | 93.96 | 108.57 | 103.48 | 85.3 | 84.4 | 90.74 | 87.56 | 99.7 | 93.04 | 106.17 | 87.71 | 112.93 | 79.8 | 105.38 | 80.24 | 75.4 | 75.4 | 27 | 965 | 36 | 27.4
28.10.22 12:19:47 | 8.53 | 98.45 | 94.42 | 87.11 | 97.52 | 90.44 | 94.27 | 98.92 | 93.81 | 109.06 | 103.63 | 85 | 84.1 | 90.9 | 87.11 | 100.01 | 92.88 | 106.02 | 87.71 | 113.1 | 79.5 | 105.54 | 80.39 | 75.1 | 74.96 | 27 | 965 | 36 | 27.4
28.10.22 12:20:02 | 8.78 | 98.14 | 94.42 | 86.95 | 96.9 | 89.83 | 94.11 | 98.61 | 93.5 | 108.41 | 103.32 | 84.7 | 83.65 | 90.29 | 86.8 | 99.7 | 92.27 | 106.17 | 87.26 | 112.93 | 79.21 | 105.22 | 79.94 | 74.67 | 74.38 | 27 | 965 | 36 | 27.4
28.10.22 12:20:17 | 9.03 | 98.14 | 94.11 | 86.8 | 97.36 | 89.83 | 93.5 | 98.29 | 93.35 | 108.57 | 102.84 | 84.4 | 83.51 | 90.29 | 86.35 | 99.54 | 91.66 | 106.02 | 86.95 | 112.93 | 78.91 | 105.06 | 79.65 | 74.52 | 73.65 | 27 | 965 | 36 | 27.41
28.10.22 12:20:32 | 9.28 | 97.83 | 94.58 | 86.5 | 96.74 | 89.83 | 93.81 | 98.45 | 93.19 | 108.73 | 102.84 | 83.95 | 82.91 | 90.14 | 86.05 | 99.39 | 91.51 | 106.02 | 86.95 | 113.1 | 79.06 | 105.06 | 79.65 | 73.94 | 73.07 | 27 | 965 | 36 | 27.41
28.10.22 12:20:47 | 9.53 | 97.67 | 94.27 | 86.5 | 96.74 | 89.22 | 93.5 | 98.14 | 92.73 | 108.57 | 102.69 | 83.36 | 82.02 | 89.68 | 85.3 | 98.92 | 91.2 | 105.86 | 86.2 | 112.77 | 78.62 | 105.06 | 79.35 | 73.36 | 72.64 | 27 | 965 | 36 | 27.43
28.10.22 12:21:02 | 9.78 | 97.52 | 94.42 | 86.2 | 96.43 | 88.77 | 93.5 | 97.83 | 92.73 | 108.89 | 102.69 | 82.91 | 81.87 | 89.53 | 85.15 | 98.76 | 91.2 | 105.54 | 86.35 | 113.1 | 78.76 | 104.74 | 79.21 | 73.22 | 72.06 | 27 | 965 | 36 | 27.43
28.10.22 12:21:17 | 10.03 | 97.21 | 94.11 | 86.2 | 96.59 | 88.01 | 93.04 | 97.52 | 92.27 | 108.57 | 102.53 | 82.61 | 80.98 | 88.92 | 84.4 | 98.45 | 90.74 | 105.54 | 85.75 | 112.77 | 78.47 | 104.9 | 78.62 | 72.49 | 71.2 | 27 | 965 | 36 | 27.43
28.10.22 12:21:32 | 10.28 | 97.05 | 94.11 | 85.75 | 95.97 | 88.01 | 92.73 | 97.36 | 92.12 | 108.25 | 102.21 | 82.17 | 80.68 | 88.62 | 84.1 | 98.14 | 90.59 | 105.38 | 85.45 | 112.93 | 78.03 | 104.9 | 78.76 | 71.77 | 70.76 | 27 | 965 | 36 | 27.44
28.10.22 12:21:47 | 10.53 | 96.74 | 93.81 | 85.45 | 95.97 | 87.56 | 92.27 | 97.05 | 91.81 | 108.09 | 101.58 | 81.57 | 80.24 | 88.62 | 83.65 | 97.83 | 90.29 | 105.22 | 85.15 | 112.77 | 77.73 | 104.58 | 78.32 | 70.91 | 70.05 | 27 | 965 | 36 | 27.46
28.10.22 12:22:02 | 10.78 | 96.43 | 93.65 | 85.3 | 95.66 | 87.41 | 92.42 | 97.05 | 91.51 | 108.25 | 101.74 | 81.27 | 79.8 | 88.31 | 83.21 | 97.67 | 90.14 | 104.9 | 85 | 112.93 | 77.59 | 104.58 | 78.32 | 70.48 | 69.47 | 27 | 965 | 36 | 27.44
28.10.22 12:22:17 | 11.03 | 95.66 | 93.35 | 85 | 95.5 | 87.41 | 92.12 | 96.59 | 91.2 | 107.93 | 101.43 | 80.68 | 79.5 | 87.71 | 82.61 | 97.21 | 89.83 | 104.9 | 84.55 | 112.45 | 77.3 | 104.58 | 78.03 | 70.05 | 68.76 | 27 | 965 | 36 | 27.47
28.10.22 12:22:32 | 11.28 | 95.81 | 93.35 | 84.85 | 95.5 | 87.56 | 91.97 | 96.74 | 91.2 | 107.93 | 101.27 | 80.53 | 79.35 | 87.71 | 82.61 | 96.74 | 89.98 | 104.9 | 84.4 | 112.77 | 77.3 | 104.43 | 78.03 | 69.47 | 68.47 | 27 | 965 | 36 | 27.47
28.10.22 12:22:47 | 11.53 | 95.5 | 92.88 | 84.25 | 95.35 | 87.71 | 91.35 | 96.12 | 90.9 | 107.77 | 100.95 | 79.94 | 79.06 | 87.26 | 82.02 | 96.59 | 89.38 | 104.58 | 84.1 | 112.77 | 77.15 | 104.27 | 77.59 | 68.76 | 67.9 | 27 | 965 | 36 | 27.47
28.10.22 12:23:02 | 11.78 | 95.19 | 92.58 | 83.51 | 95.04 | 87.86 | 91.05 | 95.97 | 90.44 | 107.77 | 100.64 | 79.5 | 78.62 | 86.65 | 81.57 | 96.43 | 89.22 | 104.58 | 83.8 | 112.61 | 77 | 104.11 | 77 | 68.33 | 66.76 | 27 | 965 | 36 | 27.47
28.10.22 12:23:17 | 12.03 | 94.58 | 92.88 | 83.06 | 94.42 | 87.86 | 90.59 | 95.5 | 90.14 | 107.61 | 100.48 | 78.62 | 78.18 | 86.5 | 80.98 | 95.97 | 88.92 | 104.11 | 83.36 | 112.61 | 76.86 | 103.79 | 76.71 | 67.62 | 66.34 | 27 | 965 | 36 | 27.47
28.10.22 12:23:32 | 12.28 | 94.73 | 92.73 | 83.06 | 94.73 | 88.01 | 90.44 | 95.5 | 89.83 | 107.77 | 100.33 | 78.47 | 77.73 | 86.2 | 80.98 | 95.66 | 88.92 | 104.27 | 83.21 | 112.77 | 76.86 | 103.79 | 76.56 | 67.19 | 65.77 | 27 | 965 | 36 | 27.47
28.10.22 12:23:47 | 12.53 | 94.42 | 92.42 | 82.91 | 94.58 | 88.16 | 90.14 | 95.35 | 89.98 | 107.61 | 100.33 | 78.03 | 77.59 | 86.05 | 80.39 | 95.5 | 88.62 | 103.79 | 82.76 | 112.77 | 76.71 | 103.79 | 76.42 | 67.19 | 65.2 | 27 | 965 | 36 | 27.5
28.10.22 12:24:02 | 12.78 | 93.81 | 92.42 | 82.61 | 94.42 | 88.01 | 90.14 | 94.88 | 89.68 | 107.61 | 100.33 | 77.44 | 77.3 | 85.6 | 80.09 | 95.35 | 88.62 | 103.63 | 82.61 | 112.61 | 76.42 | 103.79 | 76.27 | 66.48 | 64.78 | 27 | 965 | 36 | 27.5
28.10.22 12:24:17 | 13.03 | 93.35 | 92.42 | 82.46 | 94.27 | 88.31 | 89.68 | 94.88 | 89.38 | 107.45 | 100.01 | 77 | 76.86 | 84.7 | 79.8 | 95.04 | 88.31 | 103.48 | 82.46 | 112.77 | 76.27 | 103.95 | 75.98 | 65.63 | 64.08 | 27 | 965 | 36 | 27.51
28.10.22 12:24:32 | 13.28 | 92.88 | 92.12 | 82.61 | 93.96 | 88.16 | 89.38 | 94.27 | 88.92 | 107.45 | 99.39 | 76.56 | 76.42 | 84.4 | 79.35 | 94.58 | 88.16 | 103.16 | 81.87 | 112.45 | 75.98 | 103.63 | 75.4 | 65.35 | 63.37 | 27 | 965 | 36 | 27.51
28.10.22 12:24:47 | 13.53 | 92.58 | 92.12 | 82.31 | 93.96 | 88.31 | 89.07 | 93.81 | 88.62 | 106.97 | 99.39 | 75.83 | 76.27 | 84.25 | 79.06 | 94.11 | 88.01 | 103.16 | 81.57 | 112.29 | 75.69 | 103.79 | 75.25 | 64.64 | 62.81 | 27 | 965 | 36 | 27.51
28.10.22 12:25:02 | 13.78 | 92.12 | 91.81 | 82.17 | 93.35 | 88.16 | 88.77 | 93.04 | 88.16 | 106.81 | 99.07 | 74.81 | 76.12 | 83.8 | 78.47 | 93.81 | 87.56 | 102.69 | 81.13 | 112.29 | 75.54 | 103.79 | 74.81 | 64.08 | 62.25 | 27 | 965 | 36 | 27.51
28.10.22 12:25:17 | 14.03 | 91.97 | 91.81 | 81.87 | 93.19 | 88.47 | 88.31 | 93.04 | 88.01 | 106.97 | 99.07 | 74.67 | 75.69 | 83.36 | 78.18 | 93.5 | 87.71 | 102.84 | 80.98 | 112.61 | 75.4 | 103.95 | 74.67 | 63.79 | 61.69 | 27 | 965 | 36 | 27.53
28.10.22 12:25:32 | 14.28 | 91.2 | 91.2 | 81.87 | 93.04 | 88.16 | 88.01 | 92.73 | 87.71 | 106.49 | 98.61 | 73.8 | 75.1 | 83.06 | 77.44 | 92.88 | 87.11 | 102.53 | 80.53 | 112.29 | 75.25 | 103.95 | 73.94 | 63.09 | 61.13 | 27 | 965 | 36 | 27.53
28.10.22 12:25:47 | 14.53 | 91.05 | 91.2 | 81.72 | 92.73 | 88.47 | 87.86 | 92.73 | 87.11 | 106.49 | 98.61 | 73.22 | 75.1 | 82.91 | 77.59 | 92.73 | 87.26 | 102.53 | 80.39 | 112.45 | 75.25 | 103.95 | 73.8 | 62.11 | 60.71 | 27 | 965 | 36 | 27.54
28.10.22 12:26:02 | 14.78 | 90.44 | 90.59 | 81.27 | 92.42 | 88.47 | 87.41 | 91.66 | 86.95 | 106.33 | 98.29 | 72.49 | 74.52 | 82.17 | 76.71 | 92.12 | 86.65 | 102.21 | 79.94 | 112.29 | 74.52 | 103.63 | 73.36 | 61.27 | 59.87 | 27 | 965 | 36 | 27.53
28.10.22 12:26:17 | 15.03 | 90.14 | 90.9 | 81.13 | 92.73 | 88.47 | 87.26 | 91.81 | 86.8 | 106.33 | 97.98 | 72.06 | 74.67 | 81.87 | 76.42 | 91.97 | 86.5 | 102.21 | 80.09 | 112.29 | 74.52 | 103.95 | 72.93 | 60.99 | 59.32 | 27 | 965 | 36 | 27.54
28.10.22 12:26:32 | 15.28 | 89.98 | 90.29 | 80.83 | 92.42 | 88.47 | 87.11 | 91.81 | 86.65 | 106.33 | 97.83 | 71.63 | 74.09 | 81.57 | 75.83 | 92.12 | 86.35 | 101.58 | 79.5 | 112.29 | 74.38 | 103.79 | 72.49 | 60.71 | 59.04 | 27 | 965 | 36 | 27.53
28.10.22 12:26:47 | 15.53 | 89.53 | 90.29 | 80.53 | 91.97 | 88.31 | 86.8 | 91.35 | 86.35 | 106.02 | 97.36 | 71.05 | 73.51 | 80.98 | 75.4 | 91.66 | 85.9 | 101.43 | 78.91 | 112.12 | 74.09 | 103.95 | 72.2 | 60.15 | 58.35 | 27 | 965 | 36 | 27.54
28.10.22 12:27:02 | 15.78 | 89.22 | 89.98 | 80.53 | 91.66 | 87.71 | 86.8 | 90.74 | 86.05 | 106.02 | 97.05 | 70.48 | 73.22 | 80.39 | 74.96 | 91.66 | 85.75 | 101.74 | 78.76 | 112.12 | 73.94 | 104.11 | 71.77 | 60.01 | 57.65 | 27 | 965 | 36 | 27.54
28.10.22 12:27:17 | 16.03 | 89.07 | 89.38 | 80.24 | 91.81 | 87.41 | 86.5 | 90.29 | 85.6 | 105.86 | 97.05 | 69.9 | 72.78 | 79.8 | 74.52 | 91.51 | 85.6 | 101.27 | 78.18 | 111.96 | 73.51 | 103.79 | 71.34 | 59.6 | 57.1 | 27 | 965 | 36 | 27.55
28.10.22 12:27:32 | 16.28 | 88.77 | 88.92 | 79.94 | 91.35 | 86.95 | 86.05 | 89.83 | 85 | 105.54 | 96.59 | 69.33 | 72.35 | 79.35 | 74.23 | 91.05 | 85.45 | 101.11 | 77.73 | 111.96 | 73.07 | 103.79 | 70.76 | 59.46 | 56.55 | 27 | 965 | 36 | 27.55
28.10.22 12:27:47 | 16.53 | 88.62 | 88.62 | 79.65 | 91.35 | 86.5 | 86.2 | 89.83 | 85 | 105.7 | 96.9 | 68.9 | 72.2 | 79.35 | 73.94 | 90.74 | 85.3 | 101.11 | 77.44 | 111.96 | 73.07 | 103.95 | 70.33 | 58.9 | 56 | 27 | 965 | 36 | 27.55
28.10.22 12:28:02 | 16.78 | 88.16 | 87.71 | 78.91 | 91.05 | 85.6 | 85.6 | 89.22 | 84.4 | 105.22 | 95.97 | 68.33 | 71.48 | 78.47 | 73.07 | 90.29 | 84.85 | 100.64 | 76.56 | 111.8 | 72.64 | 103.63 | 69.47 | 58.21 | 55.17 | 27 | 965 | 36 | 27.58
28.10.22 12:28:17 | 17.03 | 88.01 | 87.41 | 78.91 | 90.74 | 85.6 | 85.45 | 88.92 | 84.4 | 105.22 | 95.81 | 67.76 | 71.48 | 78.18 | 72.64 | 90.29 | 84.85 | 100.48 | 76.27 | 111.8 | 72.64 | 103.95 | 68.9 | 57.79 | 54.9 | 27 | 965 | 36 | 27.55
28.10.22 12:28:32 | 17.28 | 88.16 | 86.95 | 78.91 | 90.59 | 85.75 | 84.85 | 88.77 | 84.25 | 105.06 | 95.81 | 67.33 | 71.05 | 77.88 | 72.2 | 90.14 | 84.7 | 100.33 | 75.83 | 111.8 | 72.35 | 103.95 | 68.62 | 57.38 | 54.63 | 27 | 965 | 36 | 27.55
28.10.22 12:28:47 | 17.53 | 88.01 | 87.26 | 79.06 | 90.29 | 85.6 | 85.3 | 88.47 | 83.95 | 105.06 | 95.81 | 66.76 | 71.05 | 77.59 | 72.06 | 90.44 | 84.55 | 100.33 | 75.69 | 111.8 | 72.35 | 103.79 | 68.19 | 56.83 | 54.08 | 27 | 965 | 36 | 27.58
28.10.22 12:29:02 | 17.78 | 88.16 | 86.95 | 79.06 | 89.98 | 85.3 | 84.85 | 88.31 | 84.1 | 105.22 | 95.66 | 66.48 | 70.62 | 77.15 | 71.63 | 89.83 | 84.55 | 100.17 | 75.4 | 111.8 | 72.2 | 103.95 | 67.9 | 56.69 | 53.67 | 27 | 965 | 36 | 27.58
28.10.22 12:29:17 | 18.03 | 87.71 | 86.65 | 78.32 | 90.14 | 85.15 | 84.55 | 88.01 | 83.65 | 104.9 | 95.19 | 66.2 | 70.33 | 76.86 | 71.48 | 89.38 | 84.1 | 99.86 | 74.96 | 111.64 | 71.77 | 103.95 | 67.33 | 56 | 52.99 | 27 | 965 | 36 | 27.58
28.10.22 12:29:32 | 18.28 | 87.71 | 86.5 | 78.03 | 89.68 | 85.15 | 84.55 | 87.71 | 83.21 | 104.43 | 94.88 | 65.91 | 70.33 | 76.27 | 71.05 | 88.92 | 83.95 | 99.86 | 74.52 | 111.47 | 71.34 | 103.79 | 66.76 | 55.04 | 52.58 | 27 | 965 | 36 | 27.57
28.10.22 12:29:47 | 18.53 | 87.56 | 86.35 | 78.18 | 89.68 | 84.7 | 84.25 | 87.56 | 83.06 | 104.74 | 94.42 | 65.77 | 69.62 | 76.12 | 70.62 | 88.77 | 83.51 | 99.7 | 74.09 | 111.47 | 71.34 | 103.79 | 66.34 | 54.9 | 52.17 | 27 | 965 | 36 | 27.58
28.10.22 12:30:02 | 18.78 | 87.56 | 85.75 | 77.88 | 89.07 | 83.95 | 83.95 | 86.95 | 82.61 | 104.27 | 94.27 | 64.92 | 69.19 | 75.54 | 70.05 | 88.31 | 83.36 | 99.39 | 73.36 | 111.47 | 71.05 | 103.63 | 65.35 | 54.08 | 51.49 | 27 | 965 | 36 | 27.58
28.10.22 12:30:17 | 19.03 | 87.56 | 85.45 | 78.32 | 89.38 | 83.8 | 83.65 | 86.35 | 82.31 | 104.11 | 93.81 | 64.64 | 69.33 | 75.69 | 70.05 | 88.16 | 83.21 | 99.23 | 73.22 | 111.47 | 70.91 | 103.79 | 65.06 | 53.8 | 51.22 | 27 | 965 | 36 | 27.58
28.10.22 12:30:32 | 19.28 | 87.11 | 85.15 | 77.88 | 88.31 | 83.36 | 83.36 | 86.05 | 81.87 | 103.95 | 93.81 | 63.93 | 68.76 | 74.67 | 69.62 | 87.56 | 82.61 | 98.92 | 72.78 | 111.47 | 70.62 | 103.63 | 64.36 | 52.85 | 50.54 | 27 | 965 | 36 | 27.6
28.10.22 12:30:47 | 19.53 | 87.41 | 85.15 | 77.73 | 88.47 | 83.21 | 83.36 | 85.45 | 81.72 | 103.79 | 93.5 | 63.65 | 68.47 | 74.52 | 69.62 | 87.56 | 82.76 | 98.76 | 72.35 | 111.47 | 70.48 | 103.63 | 63.51 | 52.58 | 50.27 | 27 | 965 | 36 | 27.6
28.10.22 12:31:02 | 19.78 | 87.26 | 85.15 | 77.59 | 88.62 | 83.06 | 83.06 | 85.45 | 81.57 | 103.79 | 93.65 | 63.65 | 68.62 | 74.52 | 69.33 | 87.56 | 82.76 | 98.61 | 72.2 | 111.47 | 70.48 | 103.79 | 63.37 | 52.03 | 49.86 | 27 | 965 | 36 | 27.6
28.10.22 12:31:17 | 20.03 | 86.95 | 84.7 | 77.44 | 88.31 | 83.06 | 82.76 | 84.85 | 81.27 | 103.48 | 93.19 | 63.09 | 68.47 | 74.09 | 69.33 | 87.41 | 82.46 | 98.14 | 71.63 | 111.15 | 69.76 | 103.32 | 62.81 | 51.62 | 49.32 | 27 | 965 | 36 | 27.6
28.10.22 12:31:32 | 20.28 | 86.8 | 84.1 | 77 | 87.86 | 83.06 | 82.61 | 84.4 | 80.83 | 103.48 | 92.88 | 62.81 | 68.04 | 74.09 | 69.04 | 87.11 | 82.02 | 97.98 | 71.2 | 111.47 | 69.62 | 103.32 | 62.11 | 50.81 | 48.52 | 27 | 965 | 36 | 27.61
28.10.22 12:31:47 | 20.53 | 86.8 | 84.1 | 76.71 | 87.71 | 83.06 | 82.31 | 84.1 | 80.53 | 103.48 | 92.73 | 62.39 | 67.62 | 73.36 | 68.76 | 87.11 | 82.02 | 97.83 | 70.76 | 111.15 | 69.33 | 103.48 | 61.69 | 50.54 | 48.52 | 27 | 965 | 36 | 27.61