## Oxygen OPA
Measurement Name : | 20221029_SDR641_cohort20221021_HOT_WT |  | Generated On : | 29/10/2022, 15:21:18 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 29/10/2022, 14:52:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 29/10/2022, 15:20:56 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.87 | 46.64 | 46.68 | 47.79 | 46.76 | 46.69 | 46.75 | 46.71 | 46.81 | 46.78 | 46.95 | 46.76 | 46.78 | 46.71 | 46.72 | 46.82 | 46.62 | 46.9 | 46.78 | 47.21 | 46.84 | 46.98 | 46.77 | 46.54
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
29.10.22 14:52:29 | 0.03 | 96.2 | 103.91 | 96.12 | 97.12 | 93.41 | 84.75 | 89.88 | 85.44 | 102.75 | 89.56 | 101.24 | 86.66 | 97.58 | 84.72 | 89.77 | 94.12 | 102.09 | 93.01 | 92.06 | 98.26 | 75.18 | 76.09 | 78.47 | 65.57 | 27 | 965 | 36 | 25.48
29.10.22 14:52:44 | 0.28 | 96.2 | 104.06 | 96.12 | 96.95 | 93.71 | 84.61 | 89.74 | 84.86 | 102.9 | 89.27 | 101.55 | 86.08 | 97.73 | 84.57 | 89.48 | 94.27 | 102.39 | 92.86 | 91.77 | 98.26 | 74.9 | 74.94 | 78.33 | 65.18 | 27 | 965 | 36 | 25.51
29.10.22 14:53:00 | 0.55 | 96.35 | 104.21 | 95.83 | 97.12 | 93.56 | 84.32 | 89.74 | 84.43 | 102.9 | 89.41 | 101.24 | 85.65 | 98.04 | 84.57 | 89.48 | 94.27 | 102.69 | 92.71 | 91.77 | 98.26 | 74.47 | 73.79 | 78.04 | 64.65 | 27 | 965 | 36 | 25.51
29.10.22 14:53:15 | 0.8 | 96.5 | 104.36 | 95.83 | 97.29 | 93.86 | 84.18 | 89.59 | 84 | 103.21 | 89.12 | 101.39 | 85.5 | 97.73 | 84.43 | 89.04 | 94.57 | 102.54 | 92.86 | 91.62 | 98.26 | 74.47 | 73.22 | 77.9 | 64.38 | 27 | 965 | 36 | 25.54
29.10.22 14:53:30 | 1.05 | 96.65 | 104.36 | 95.83 | 97.12 | 94.01 | 84.18 | 89.45 | 83.57 | 103.36 | 89.27 | 101.55 | 85.21 | 97.89 | 84.43 | 88.9 | 94.42 | 102.54 | 92.56 | 91.47 | 98.1 | 74.33 | 72.5 | 77.9 | 63.72 | 27 | 965 | 36 | 25.58
29.10.22 14:53:45 | 1.3 | 96.65 | 104.66 | 95.68 | 96.78 | 93.86 | 84.03 | 89.45 | 83.43 | 103.67 | 88.97 | 101.86 | 85.07 | 98.19 | 84.57 | 89.19 | 94.57 | 102.69 | 92.86 | 91.47 | 98.57 | 74.47 | 72.5 | 78.04 | 63.2 | 27 | 965 | 36 | 25.61
29.10.22 14:54:00 | 1.55 | 96.65 | 104.51 | 95.53 | 96.27 | 93.86 | 84.03 | 89.15 | 82.86 | 103.52 | 88.97 | 101.86 | 84.64 | 98.04 | 84 | 88.9 | 94.57 | 102.84 | 92.86 | 91.33 | 98.41 | 74.19 | 71.79 | 77.62 | 62.93 | 27 | 965 | 36 | 25.61
29.10.22 14:54:15 | 1.8 | 96.65 | 104.81 | 95.38 | 95.93 | 93.86 | 83.61 | 89.15 | 82.71 | 103.67 | 88.68 | 101.86 | 84.06 | 98.04 | 84.29 | 88.6 | 94.72 | 102.84 | 92.26 | 91.33 | 98.41 | 74.19 | 71.36 | 77.34 | 62.67 | 27 | 965 | 36 | 25.64
29.10.22 14:54:30 | 2.05 | 96.5 | 104.81 | 95.24 | 95.43 | 93.56 | 83.46 | 89.15 | 82.71 | 103.98 | 88.83 | 101.7 | 83.77 | 98.19 | 84.14 | 88.75 | 94.87 | 102.99 | 92.11 | 91.33 | 98.1 | 74.33 | 71.08 | 77.19 | 62.28 | 27 | 965 | 36 | 25.65
29.10.22 14:54:45 | 2.3 | 96.65 | 104.97 | 95.09 | 95.43 | 93.56 | 83.32 | 89.01 | 82.57 | 103.82 | 88.68 | 101.7 | 83.2 | 98.04 | 84.14 | 88.75 | 94.87 | 102.84 | 91.96 | 91.33 | 98.41 | 74.33 | 70.65 | 77.19 | 62.28 | 27 | 965 | 36 | 25.68
29.10.22 14:55:00 | 2.55 | 96.65 | 104.97 | 94.65 | 95.09 | 93.12 | 82.89 | 88.71 | 82.71 | 103.67 | 88.53 | 101.86 | 83.05 | 97.89 | 83.71 | 88.17 | 94.72 | 103.15 | 91.66 | 90.88 | 97.94 | 74.61 | 69.95 | 76.91 | 62.15 | 27 | 965 | 36 | 25.69
29.10.22 14:55:15 | 2.8 | 96.5 | 104.97 | 94.65 | 94.59 | 93.26 | 82.61 | 88.86 | 82.57 | 103.98 | 88.09 | 101.55 | 82.62 | 97.73 | 83.43 | 88.17 | 94.87 | 102.99 | 91.36 | 90.88 | 97.78 | 74.19 | 69.24 | 76.49 | 61.62 | 27 | 965 | 36 | 25.72
29.10.22 14:55:30 | 3.05 | 96.65 | 105.27 | 94.79 | 94.42 | 93.12 | 82.75 | 88.86 | 82.57 | 104.13 | 88.24 | 102.01 | 82.91 | 98.19 | 83.29 | 87.88 | 94.72 | 103.15 | 91.36 | 90.88 | 97.78 | 74.33 | 68.96 | 76.35 | 61.75 | 27 | 965 | 36 | 25.72
29.10.22 14:55:45 | 3.3 | 96.2 | 105.27 | 94.5 | 94.25 | 92.82 | 82.47 | 88.42 | 82.57 | 104.13 | 88.09 | 101.86 | 82.62 | 98.04 | 82.86 | 87.73 | 94.72 | 102.84 | 91.36 | 90.88 | 97.94 | 74.33 | 68.25 | 76.07 | 61.23 | 27 | 965 | 36 | 25.74
29.10.22 14:56:00 | 3.55 | 96.2 | 105.12 | 94.06 | 93.92 | 92.52 | 81.9 | 87.99 | 82.57 | 103.98 | 87.8 | 101.86 | 82.19 | 98.04 | 82.71 | 87.73 | 94.57 | 102.84 | 91.21 | 90.74 | 97.47 | 73.91 | 67.55 | 75.64 | 60.71 | 27 | 965 | 36 | 25.76
29.10.22 14:56:15 | 3.8 | 95.89 | 105.27 | 94.2 | 94.09 | 92.97 | 81.76 | 87.84 | 82.57 | 104.28 | 87.66 | 101.86 | 81.76 | 98.19 | 82.14 | 87.59 | 94.42 | 102.99 | 90.91 | 91.03 | 97.31 | 74.05 | 67.27 | 75.5 | 60.71 | 27 | 965 | 36 | 25.78
29.10.22 14:56:30 | 4.05 | 95.44 | 105.12 | 93.76 | 93.92 | 92.38 | 81.19 | 87.55 | 82.29 | 104.13 | 87.51 | 101.86 | 81.19 | 97.73 | 81.86 | 87.3 | 94.12 | 102.69 | 90.76 | 90.59 | 97.47 | 73.91 | 66.42 | 75.36 | 60.19 | 27 | 965 | 36 | 25.79
29.10.22 14:56:45 | 4.3 | 95.44 | 105.27 | 93.61 | 94.25 | 92.38 | 81.05 | 87.55 | 82.14 | 104.44 | 87.36 | 102.01 | 80.91 | 98.04 | 81.72 | 87.15 | 94.12 | 102.84 | 90.91 | 90.59 | 97.31 | 73.91 | 65.72 | 75.22 | 60.19 | 27 | 965 | 36 | 25.79
29.10.22 14:57:00 | 4.55 | 95.44 | 105.27 | 93.17 | 93.92 | 92.38 | 80.91 | 87.26 | 82 | 104.13 | 87.07 | 101.86 | 80.34 | 97.73 | 81.43 | 86.86 | 93.82 | 102.84 | 90.76 | 90.44 | 97.15 | 72.36 | 65.03 | 74.8 | 59.8 | 27 | 965 | 36 | 25.82
29.10.22 14:57:15 | 4.8 | 95.14 | 105.57 | 93.03 | 93.75 | 92.08 | 81.05 | 86.97 | 82 | 104.28 | 86.93 | 101.7 | 80.05 | 97.58 | 81.01 | 86.86 | 93.82 | 102.84 | 90.76 | 90.44 | 96.99 | 71.8 | 64.61 | 74.66 | 59.93 | 27 | 965 | 36 | 25.83
29.10.22 14:57:30 | 5.05 | 95.14 | 105.57 | 92.88 | 93.75 | 91.79 | 81.19 | 86.97 | 81.86 | 104.44 | 87.07 | 101.55 | 79.63 | 97.43 | 80.87 | 86.72 | 93.82 | 102.69 | 90.62 | 90.59 | 96.68 | 71.66 | 63.91 | 74.66 | 59.28 | 27 | 965 | 36 | 25.83
29.10.22 14:57:45 | 5.3 | 94.69 | 105.42 | 92.29 | 93.08 | 91.93 | 81.05 | 86.53 | 81.58 | 104.44 | 86.49 | 101.7 | 79.06 | 97.28 | 80.3 | 86.14 | 93.67 | 102.54 | 90.62 | 90.29 | 96.68 | 71.24 | 63.22 | 74.1 | 58.63 | 27 | 965 | 36 | 25.85
29.10.22 14:58:00 | 5.55 | 94.54 | 105.42 | 91.85 | 93.08 | 91.34 | 80.76 | 86.24 | 81.43 | 104.44 | 86.2 | 101.39 | 78.77 | 97.43 | 80.02 | 86 | 93.37 | 102.24 | 90.47 | 90.15 | 96.84 | 71.1 | 62.25 | 73.96 | 58.11 | 27 | 965 | 36 | 25.86
29.10.22 14:58:15 | 5.8 | 94.24 | 105.73 | 91.85 | 92.58 | 91.34 | 80.62 | 85.95 | 81.43 | 104.59 | 86.34 | 101.55 | 78.35 | 97.28 | 79.73 | 86 | 93.52 | 102.54 | 90.32 | 90 | 96.52 | 70.68 | 61.83 | 73.96 | 57.59 | 27 | 965 | 36 | 25.89
29.10.22 14:58:30 | 6.05 | 94.09 | 105.57 | 91.85 | 92.08 | 90.9 | 80.34 | 85.66 | 81.43 | 104.44 | 86.2 | 101.55 | 77.78 | 96.98 | 79.31 | 85.28 | 93.37 | 102.54 | 90.17 | 90.15 | 96.21 | 70.12 | 61 | 73.54 | 57.33 | 27 | 965 | 36 | 25.9
29.10.22 14:58:45 | 6.3 | 93.93 | 105.57 | 92 | 92.08 | 91.2 | 80.2 | 85.66 | 81.43 | 104.59 | 86.05 | 101.39 | 77.5 | 97.28 | 79.45 | 84.7 | 93.37 | 102.39 | 90.32 | 89.85 | 96.05 | 69.43 | 60.59 | 73.13 | 56.95 | 27 | 965 | 36 | 25.9
29.10.22 14:59:00 | 6.55 | 93.78 | 105.73 | 92 | 91.75 | 90.75 | 79.92 | 85.23 | 81.29 | 104.75 | 85.91 | 101.39 | 77.08 | 97.13 | 79.17 | 83.98 | 93.07 | 102.54 | 90.32 | 89.71 | 95.74 | 68.18 | 58.8 | 73.13 | 56.56 | 27 | 965 | 36 | 25.91
29.10.22 14:59:15 | 6.8 | 93.48 | 105.73 | 91.71 | 91.41 | 90.31 | 79.63 | 84.65 | 81.15 | 104.59 | 85.18 | 101.39 | 76.66 | 96.68 | 78.6 | 83.7 | 92.77 | 102.39 | 90.17 | 89.27 | 95.74 | 67.49 | 57.16 | 72.85 | 56.17 | 27 | 965 | 36 | 25.93
29.10.22 14:59:30 | 7.05 | 93.63 | 105.88 | 91.56 | 91.25 | 90.61 | 79.92 | 84.37 | 81.15 | 104.59 | 85.47 | 101.39 | 76.66 | 96.98 | 78.6 | 83.7 | 92.48 | 102.39 | 90.17 | 89.12 | 95.58 | 67.35 | 56.21 | 72.57 | 56.04 | 27 | 965 | 36 | 25.93
29.10.22 14:59:45 | 7.3 | 93.48 | 105.57 | 91.42 | 90.58 | 90.46 | 79.63 | 84.08 | 80.87 | 104.75 | 85.18 | 101.08 | 76.09 | 96.83 | 78.18 | 83.27 | 92.33 | 101.94 | 90.17 | 88.68 | 95.27 | 66.8 | 55.67 | 72.43 | 55.53 | 27 | 965 | 36 | 25.96
29.10.22 15:00:00 | 7.55 | 93.33 | 105.73 | 91.27 | 90.25 | 90.02 | 79.35 | 83.93 | 80.58 | 104.9 | 85.18 | 101.08 | 75.53 | 96.68 | 78.32 | 83.13 | 92.18 | 102.09 | 89.87 | 88.53 | 95.27 | 66.11 | 55.26 | 71.87 | 55.53 | 27 | 965 | 36 | 25.96
29.10.22 15:00:15 | 7.8 | 93.18 | 105.88 | 91.12 | 89.59 | 89.87 | 78.65 | 83.5 | 80.44 | 104.9 | 84.89 | 101.08 | 75.25 | 96.38 | 77.9 | 82.84 | 92.18 | 101.94 | 90.02 | 88.09 | 94.95 | 65.7 | 54.99 | 71.6 | 55.4 | 27 | 965 | 36 | 25.97
29.10.22 15:00:30 | 8.05 | 93.03 | 105.88 | 91.12 | 89.42 | 89.58 | 78.23 | 83.36 | 80.3 | 104.59 | 84.6 | 100.93 | 74.97 | 96.23 | 77.48 | 82.41 | 92.03 | 101.79 | 89.87 | 87.95 | 94.8 | 65.42 | 54.72 | 71.32 | 55.27 | 27 | 965 | 36 | 25.97
29.10.22 15:00:45 | 8.3 | 93.18 | 105.88 | 90.83 | 88.92 | 89.73 | 78.09 | 83.22 | 80.44 | 104.75 | 83.88 | 100.77 | 74.69 | 96.38 | 77.2 | 82.41 | 91.88 | 102.09 | 89.87 | 88.24 | 94.95 | 65.01 | 54.32 | 71.18 | 55.15 | 27 | 965 | 36 | 26
29.10.22 15:01:00 | 8.55 | 92.88 | 105.73 | 90.98 | 88.43 | 89.29 | 77.67 | 83.22 | 80.02 | 104.75 | 83.74 | 101.08 | 74.27 | 96.38 | 76.92 | 82.13 | 91.73 | 101.94 | 89.87 | 87.95 | 94.48 | 65.01 | 53.77 | 71.04 | 55.02 | 27 | 965 | 36 | 26.01
29.10.22 15:01:15 | 8.8 | 92.59 | 105.73 | 90.83 | 88.1 | 88.7 | 77.25 | 82.93 | 79.73 | 104.75 | 83.31 | 100.46 | 73.85 | 96.08 | 76.5 | 81.7 | 91.44 | 101.64 | 89.72 | 87.51 | 94.48 | 64.46 | 53.1 | 70.49 | 54.63 | 27 | 965 | 36 | 26.01
29.10.22 15:01:30 | 9.05 | 92.44 | 105.88 | 90.83 | 87.27 | 88.41 | 76.83 | 82.64 | 79.59 | 104.59 | 83.16 | 100.46 | 73.71 | 95.93 | 76.36 | 81.7 | 91.14 | 101.64 | 89.57 | 87.51 | 94.17 | 64.32 | 52.56 | 70.35 | 54.38 | 27 | 965 | 36 | 26.03
29.10.22 15:01:45 | 9.3 | 92.29 | 106.03 | 90.98 | 87.11 | 88.26 | 76.69 | 82.36 | 79.31 | 104.9 | 83.02 | 100.62 | 73.43 | 96.08 | 76.36 | 81.56 | 91.14 | 101.79 | 89.57 | 87.51 | 94.33 | 64.05 | 52.43 | 70.07 | 54.25 | 27 | 965 | 36 | 26.04
29.10.22 15:02:00 | 9.55 | 92.44 | 106.03 | 90.54 | 86.45 | 88.12 | 76.27 | 82.07 | 79.31 | 104.9 | 82.44 | 100.46 | 72.88 | 95.78 | 76.08 | 81.13 | 90.7 | 101.49 | 89.72 | 87.36 | 94.01 | 64.05 | 51.76 | 69.8 | 54.12 | 27 | 965 | 36 | 26.04
29.10.22 15:02:15 | 9.8 | 92.14 | 106.03 | 90.4 | 85.79 | 88.12 | 75.71 | 81.78 | 78.89 | 104.9 | 82.16 | 100.62 | 72.46 | 95.78 | 75.8 | 80.85 | 90.4 | 101.49 | 89.42 | 87.07 | 93.86 | 63.37 | 51.49 | 69.66 | 54.12 | 27 | 965 | 36 | 26.07
29.10.22 15:02:30 | 10.05 | 91.99 | 106.03 | 90.4 | 85.3 | 87.83 | 75.71 | 81.5 | 78.6 | 105.06 | 81.87 | 100.46 | 72.04 | 95.33 | 75.24 | 80.28 | 90.1 | 101.19 | 89.13 | 86.64 | 93.39 | 63.23 | 50.95 | 69.24 | 53.74 | 27 | 965 | 36 | 26.08
29.10.22 15:02:45 | 10.3 | 92.14 | 106.18 | 90.4 | 84.97 | 87.83 | 75.57 | 81.21 | 78.46 | 105.21 | 81.58 | 100.31 | 72.18 | 95.48 | 74.96 | 80.28 | 90.25 | 101.64 | 89.27 | 86.78 | 93.86 | 62.82 | 50.55 | 69.24 | 53.36 | 27 | 965 | 36 | 26.08
29.10.22 15:03:00 | 10.55 | 91.99 | 106.33 | 90.4 | 84.97 | 87.97 | 75.43 | 81.07 | 78.32 | 105.06 | 81.44 | 100.46 | 71.76 | 95.63 | 74.96 | 80.28 | 90.25 | 101.49 | 89.13 | 86.64 | 93.23 | 62.69 | 50.02 | 69.24 | 53.36 | 27 | 965 | 36 | 26.1
29.10.22 15:03:15 | 10.8 | 91.99 | 106.18 | 89.81 | 84.16 | 87.83 | 75.15 | 80.5 | 77.9 | 105.06 | 81.15 | 100.15 | 71.63 | 95.19 | 74.13 | 79.71 | 89.96 | 101.05 | 88.83 | 86.2 | 93.23 | 61.87 | 49.62 | 68.69 | 52.97 | 27 | 965 | 36 | 26.11
29.10.22 15:03:30 | 11.05 | 91.99 | 106.33 | 89.81 | 83.67 | 87.39 | 74.6 | 80.07 | 77.76 | 105.21 | 80.87 | 100.15 | 71.21 | 95.33 | 73.71 | 79.85 | 89.96 | 101.19 | 88.38 | 85.91 | 93.23 | 62.01 | 49.89 | 68.83 | 52.59 | 27 | 965 | 36 | 26.11
29.10.22 15:03:45 | 11.3 | 92.14 | 106.33 | 89.67 | 83.34 | 87.39 | 74.46 | 79.65 | 77.34 | 104.9 | 80.87 | 100.15 | 70.79 | 95.04 | 73.43 | 79.43 | 89.81 | 101.19 | 88.53 | 85.76 | 92.77 | 61.6 | 50.15 | 68.56 | 52.34 | 27 | 965 | 36 | 26.11
29.10.22 15:04:00 | 11.55 | 91.84 | 106.33 | 89.67 | 82.85 | 87.25 | 74.18 | 79.22 | 77.06 | 105.06 | 80.72 | 100.15 | 70.24 | 95.04 | 73.02 | 78.86 | 89.22 | 101.05 | 88.38 | 85.47 | 92.77 | 61.19 | 49.89 | 68.14 | 52.21 | 27 | 965 | 36 | 26.13
29.10.22 15:04:15 | 11.8 | 91.69 | 106.18 | 89.23 | 81.87 | 86.81 | 73.77 | 78.8 | 76.64 | 104.9 | 80.15 | 99.85 | 70.1 | 94.89 | 72.74 | 78.58 | 88.78 | 100.9 | 88.09 | 85.47 | 92.46 | 60.38 | 49.49 | 67.87 | 51.83 | 27 | 965 | 36 | 26.14
29.10.22 15:04:30 | 12.05 | 91.84 | 106.33 | 89.38 | 82.04 | 86.81 | 73.77 | 78.8 | 76.78 | 105.21 | 79.72 | 99.85 | 69.83 | 95.04 | 72.47 | 78.3 | 88.92 | 101.05 | 87.94 | 85.18 | 92.46 | 60.38 | 49.49 | 67.73 | 51.58 | 27 | 965 | 36 | 26.15
29.10.22 15:04:45 | 12.3 | 91.84 | 106.18 | 89.38 | 81.23 | 86.66 | 73.63 | 78.09 | 76.22 | 105.21 | 79.72 | 99.85 | 69.28 | 94.59 | 72.05 | 78.16 | 88.48 | 100.9 | 87.5 | 84.89 | 91.99 | 59.57 | 49.09 | 67.6 | 51.07 | 27 | 965 | 36 | 26.15
29.10.22 15:05:00 | 12.55 | 91.54 | 106.49 | 89.09 | 80.9 | 86.66 | 73.21 | 77.67 | 75.94 | 105.06 | 79.16 | 99.85 | 69 | 94.59 | 71.78 | 77.88 | 88.48 | 100.6 | 87.5 | 84.75 | 92.15 | 59.43 | 48.95 | 67.18 | 50.56 | 27 | 965 | 36 | 26.16
29.10.22 15:05:15 | 12.8 | 91.39 | 106.18 | 88.94 | 80.58 | 86.52 | 72.94 | 77.24 | 75.66 | 105.06 | 79.16 | 99.54 | 68.59 | 94.44 | 71.5 | 77.6 | 88.34 | 100.45 | 87.05 | 84.46 | 91.68 | 58.9 | 48.69 | 67.05 | 50.19 | 27 | 965 | 36 | 26.18
29.10.22 15:05:30 | 13.05 | 91.39 | 106.33 | 88.94 | 80.25 | 86.52 | 72.94 | 76.82 | 75.1 | 105.21 | 78.87 | 99.54 | 68.18 | 94.59 | 71.09 | 77.6 | 88.04 | 100.3 | 87.2 | 84.03 | 91.68 | 58.76 | 48.56 | 66.91 | 50.06 | 27 | 965 | 36 | 26.19
29.10.22 15:05:45 | 13.3 | 91.54 | 106.49 | 88.94 | 79.77 | 86.37 | 72.8 | 76.54 | 74.96 | 105.06 | 78.59 | 99.69 | 67.9 | 94.59 | 70.81 | 77.17 | 87.9 | 100.6 | 86.9 | 84.03 | 91.52 | 58.49 | 48.42 | 66.64 | 49.81 | 27 | 965 | 36 | 26.19
29.10.22 15:06:00 | 13.55 | 91.39 | 106.33 | 88.65 | 79.12 | 85.94 | 72.25 | 76.26 | 74.55 | 105.21 | 78.59 | 99.38 | 67.08 | 94.29 | 70.4 | 76.61 | 87.31 | 100.3 | 86.61 | 83.45 | 90.9 | 58.09 | 48.02 | 66.36 | 49.43 | 27 | 965 | 36 | 26.22
29.10.22 15:06:15 | 13.8 | 91.09 | 106.33 | 88.65 | 78.8 | 85.65 | 72.25 | 76.26 | 74.13 | 105.21 | 78.3 | 99.23 | 66.81 | 94.29 | 70.26 | 76.47 | 87.6 | 100.3 | 86.31 | 83.45 | 91.21 | 57.82 | 47.89 | 66.23 | 49.56 | 27 | 965 | 36 | 26.22
29.10.22 15:06:30 | 14.05 | 90.94 | 106.49 | 88.36 | 78.48 | 85.5 | 72.25 | 75.7 | 73.71 | 104.9 | 77.74 | 99.08 | 66.4 | 94.14 | 69.85 | 76.05 | 87.16 | 100 | 86.17 | 83.45 | 90.9 | 57.28 | 47.89 | 65.95 | 49.68 | 27 | 965 | 36 | 26.22
29.10.22 15:06:45 | 14.3 | 90.94 | 106.49 | 88.36 | 78 | 85.5 | 71.42 | 75.7 | 73.3 | 105.21 | 77.74 | 99.08 | 66.26 | 94.29 | 69.58 | 76.05 | 87.31 | 100.15 | 85.87 | 83.02 | 90.75 | 56.75 | 47.89 | 65.82 | 49.93 | 27 | 965 | 36 | 26.24
29.10.22 15:07:00 | 14.55 | 90.94 | 106.49 | 88.36 | 77.19 | 85.36 | 71.01 | 75.42 | 72.6 | 105.21 | 77.45 | 99.08 | 65.72 | 93.99 | 68.89 | 75.49 | 86.58 | 100 | 85.87 | 82.87 | 90.29 | 56.48 | 47.36 | 65.27 | 50.06 | 27 | 965 | 36 | 26.26
29.10.22 15:07:15 | 14.8 | 90.94 | 106.33 | 88.07 | 76.71 | 85.21 | 70.6 | 75.28 | 72.47 | 104.9 | 76.75 | 98.92 | 65.72 | 93.84 | 68.62 | 75.36 | 86.72 | 99.85 | 85.58 | 82.73 | 90.44 | 56.21 | 47.1 | 65 | 50.19 | 27 | 965 | 36 | 26.24
29.10.22 15:07:30 | 15.05 | 90.94 | 106.64 | 88.22 | 76.55 | 85.36 | 70.19 | 75.42 | 72.33 | 105.36 | 76.75 | 99.08 | 65.58 | 93.99 | 68.76 | 75.22 | 86.43 | 100.15 | 85.43 | 82.73 | 90.29 | 55.41 | 46.83 | 64.87 | 50.44 | 27 | 965 | 36 | 26.25
29.10.22 15:07:45 | 15.3 | 90.94 | 106.64 | 87.93 | 76.07 | 84.93 | 70.19 | 75 | 72.05 | 105.36 | 76.46 | 98.92 | 65.31 | 93.99 | 68.35 | 74.52 | 85.99 | 99.85 | 85.14 | 82.44 | 90.29 | 54.35 | 46.17 | 64.46 | 50.44 | 27 | 965 | 36 | 26.28
29.10.22 15:08:00 | 15.55 | 90.79 | 106.64 | 87.78 | 75.43 | 84.64 | 69.92 | 75 | 71.64 | 105.21 | 76.18 | 98.61 | 64.63 | 93.84 | 67.94 | 74.24 | 85.99 | 99.85 | 84.84 | 82.3 | 89.67 | 54.22 | 45.52 | 64.32 | 50.19 | 27 | 965 | 36 | 26.28
29.10.22 15:08:15 | 15.8 | 90.65 | 106.49 | 87.64 | 74.95 | 84.49 | 69.64 | 74.72 | 71.36 | 105.21 | 75.76 | 98.77 | 64.36 | 93.7 | 67.39 | 74.24 | 85.85 | 99.55 | 84.55 | 82.01 | 89.51 | 53.69 | 45.38 | 64.05 | 50.44 | 27 | 965 | 36 | 26.29
29.10.22 15:08:30 | 16.05 | 90.5 | 106.49 | 87.5 | 74.32 | 84.06 | 69.37 | 74.3 | 70.95 | 105.21 | 75.62 | 98.61 | 64.36 | 93.55 | 67.12 | 73.82 | 85.27 | 99.7 | 84.11 | 81.87 | 89.67 | 53.29 | 44.73 | 63.92 | 50.44 | 27 | 965 | 36 | 26.3
29.10.22 15:08:45 | 16.3 | 90.35 | 106.64 | 87.21 | 73.84 | 84.06 | 69.1 | 74.16 | 70.81 | 105.21 | 75.34 | 98.46 | 63.95 | 93.7 | 66.85 | 73.82 | 84.97 | 99.55 | 83.97 | 81.87 | 89.36 | 52.63 | 44.33 | 63.92 | 50.19 | 27 | 965 | 36 | 26.29
29.10.22 15:09:00 | 16.55 | 90.2 | 106.79 | 87.21 | 73.2 | 83.48 | 68.82 | 73.88 | 70.67 | 105.21 | 74.64 | 98.31 | 63.68 | 93.4 | 66.58 | 73.41 | 85.27 | 99.4 | 83.82 | 81.58 | 89.05 | 52.1 | 44.07 | 63.64 | 50.06 | 27 | 965 | 36 | 26.32
29.10.22 15:09:15 | 16.8 | 90.2 | 106.64 | 86.92 | 72.73 | 83.34 | 68.55 | 73.6 | 70.54 | 105.21 | 74.64 | 98.46 | 63.41 | 93.4 | 66.44 | 73.41 | 84.68 | 99.26 | 83.23 | 81.58 | 89.05 | 51.58 | 43.55 | 63.37 | 49.81 | 27 | 965 | 36 | 26.32
29.10.22 15:09:30 | 17.05 | 90.2 | 106.64 | 86.92 | 72.1 | 83.34 | 68.28 | 73.46 | 70.13 | 105.21 | 74.36 | 98.31 | 63.01 | 93.4 | 65.9 | 73.13 | 84.39 | 98.96 | 83.09 | 81.58 | 88.9 | 51.05 | 43.29 | 63.1 | 49.81 | 27 | 965 | 36 | 26.33
29.10.22 15:09:45 | 17.3 | 90.2 | 106.79 | 86.78 | 71.46 | 82.91 | 67.6 | 73.32 | 69.99 | 105.21 | 74.22 | 98.46 | 62.87 | 93.25 | 65.77 | 72.99 | 84.39 | 99.11 | 82.8 | 81.3 | 88.59 | 50.66 | 43.02 | 62.83 | 49.43 | 27 | 965 | 36 | 26.35
29.10.22 15:10:00 | 17.55 | 89.9 | 106.79 | 86.78 | 70.99 | 83.05 | 67.33 | 73.32 | 69.99 | 105.36 | 73.94 | 98.15 | 62.6 | 93.1 | 65.22 | 72.85 | 83.96 | 99.4 | 82.21 | 81.3 | 88.59 | 50 | 42.76 | 62.56 | 48.8 | 27 | 965 | 36 | 26.35
29.10.22 15:10:15 | 17.8 | 89.75 | 106.79 | 86.49 | 70.52 | 82.77 | 67.33 | 73.04 | 69.71 | 105.52 | 73.8 | 98.31 | 62.2 | 93.1 | 64.82 | 72.58 | 83.96 | 98.81 | 82.07 | 81.3 | 88.28 | 49.48 | 42.37 | 62.16 | 48.17 | 27 | 965 | 36 | 26.36
29.10.22 15:10:30 | 18.05 | 89.61 | 106.94 | 86.63 | 70.52 | 82.77 | 67.19 | 73.04 | 69.71 | 105.67 | 73.38 | 98.15 | 62.33 | 93.1 | 64.55 | 72.44 | 83.96 | 98.96 | 81.92 | 81.15 | 88.44 | 48.95 | 42.24 | 62.16 | 47.8 | 27 | 965 | 36 | 26.38
29.10.22 15:10:45 | 18.3 | 89.31 | 107.1 | 86.34 | 70.36 | 82.62 | 67.06 | 73.04 | 69.58 | 105.52 | 73.1 | 98 | 62.2 | 92.95 | 64.01 | 72.16 | 83.52 | 98.96 | 81.49 | 81.01 | 88.44 | 48.3 | 42.11 | 61.89 | 47.42 | 27 | 965 | 36 | 26.38
29.10.22 15:11:00 | 18.55 | 89.01 | 106.79 | 86.06 | 69.73 | 82.48 | 66.78 | 72.35 | 69.03 | 105.21 | 72.68 | 97.85 | 61.66 | 92.51 | 63.47 | 71.88 | 83.23 | 98.66 | 81.2 | 80.58 | 87.82 | 47.52 | 41.46 | 60.95 | 46.67 | 27 | 965 | 36 | 26.38
29.10.22 15:11:15 | 18.8 | 89.01 | 107.1 | 86.2 | 69.1 | 82.19 | 66.65 | 72.63 | 68.76 | 105.36 | 72.26 | 98 | 61.66 | 92.21 | 63.34 | 71.75 | 83.23 | 98.81 | 81.05 | 80.58 | 87.82 | 47.13 | 41.46 | 61.08 | 46.67 | 27 | 965 | 36 | 26.39
29.10.22 15:11:30 | 19.05 | 88.72 | 106.94 | 85.77 | 67.85 | 82.19 | 66.51 | 72.35 | 68.35 | 105.21 | 72.12 | 97.85 | 61.66 | 92.21 | 62.94 | 71.33 | 82.8 | 98.51 | 80.76 | 80.29 | 87.52 | 46.35 | 41.07 | 60.41 | 46.55 | 27 | 965 | 36 | 26.4
29.10.22 15:11:45 | 19.3 | 88.42 | 106.94 | 85.63 | 67.06 | 82.05 | 66.92 | 72.21 | 68.35 | 105.36 | 71.7 | 97.85 | 61.39 | 92.06 | 62.53 | 70.78 | 82.8 | 98.36 | 80.76 | 80.44 | 87.36 | 45.71 | 40.68 | 60.28 | 46.42 | 27 | 965 | 36 | 26.4
29.10.22 15:12:00 | 19.55 | 88.27 | 106.94 | 85.34 | 66.28 | 81.62 | 66.92 | 72.07 | 68.21 | 105.06 | 71.56 | 97.69 | 61.39 | 91.77 | 62.13 | 70.37 | 82.51 | 98.36 | 80.18 | 80.29 | 86.9 | 45.19 | 40.29 | 59.61 | 46.3 | 27 | 965 | 36 | 26.41
29.10.22 15:12:15 | 19.8 | 88.13 | 106.94 | 85.34 | 65.66 | 81.48 | 66.65 | 71.79 | 68.07 | 105.36 | 71.15 | 97.54 | 61.26 | 91.47 | 61.73 | 70.23 | 82.51 | 98.36 | 80.04 | 80.29 | 86.75 | 44.29 | 40.29 | 59.21 | 46.3 | 27 | 965 | 36 | 26.41
29.10.22 15:12:30 | 20.05 | 87.68 | 106.94 | 85.05 | 64.73 | 81.19 | 66.24 | 71.93 | 67.53 | 105.21 | 70.87 | 97.39 | 61.53 | 91.33 | 61.2 | 69.68 | 82.08 | 98.07 | 79.75 | 79.58 | 86.44 | 43.39 | 39.65 | 58.81 | 46.18 | 27 | 965 | 36 | 26.43
29.10.22 15:12:45 | 20.3 | 87.39 | 107.1 | 84.91 | 64.57 | 81.19 | 65.57 | 71.52 | 67.26 | 105.36 | 70.59 | 97.23 | 61.79 | 91.33 | 60.93 | 69.54 | 81.93 | 98.22 | 79.46 | 79.58 | 86.44 | 42.88 | 39.52 | 58.54 | 45.68 | 27 | 965 | 36 | 26.44
29.10.22 15:13:00 | 20.55 | 87.39 | 107.1 | 84.91 | 63.95 | 81.05 | 65.7 | 71.24 | 67.26 | 105.52 | 70.32 | 97.54 | 62.2 | 91.18 | 60.53 | 69.41 | 81.93 | 98.07 | 79.32 | 79.44 | 86.29 | 42.88 | 38.87 | 58.14 | 45.8 | 27 | 965 | 36 | 26.46
29.10.22 15:13:15 | 20.8 | 87.09 | 107.1 | 84.91 | 63.33 | 80.76 | 65.43 | 71.1 | 66.99 | 105.36 | 70.04 | 97.39 | 62.2 | 90.88 | 60.26 | 69.27 | 81.93 | 97.77 | 79.32 | 79.44 | 86.14 | 42.36 | 38.23 | 57.87 | 45.43 | 27 | 965 | 36 | 26.46
29.10.22 15:13:30 | 21.05 | 86.8 | 107.1 | 84.91 | 63.02 | 80.76 | 65.43 | 70.69 | 66.85 | 105.36 | 69.76 | 97.39 | 62.06 | 91.03 | 60 | 69 | 81.79 | 97.92 | 79.17 | 79.44 | 86.14 | 41.85 | 37.33 | 57.34 | 45.3 | 27 | 965 | 36 | 26.47
29.10.22 15:13:45 | 21.3 | 86.51 | 107.1 | 84.62 | 62.25 | 80.62 | 65.16 | 70.69 | 66.31 | 105.52 | 69.07 | 97.23 | 62.2 | 90.59 | 59.47 | 68.72 | 81.5 | 97.77 | 78.88 | 78.87 | 85.83 | 41.47 | 36.56 | 57.08 | 44.68 | 27 | 965 | 36 | 26.47
29.10.22 15:14:00 | 21.55 | 86.21 | 106.94 | 84.34 | 62.1 | 80.34 | 64.76 | 70.41 | 65.9 | 105.21 | 68.8 | 96.93 | 62.2 | 90.29 | 59.07 | 68.31 | 81.22 | 97.48 | 78.45 | 78.59 | 85.68 | 41.34 | 35.66 | 56.68 | 44.44 | 27 | 965 | 36 | 26.49
29.10.22 15:14:15 | 21.8 | 86.07 | 107.1 | 84.19 | 61.64 | 80.05 | 64.49 | 70.14 | 65.9 | 105.52 | 68.25 | 96.93 | 61.93 | 90.29 | 58.67 | 68.18 | 80.93 | 97.48 | 78.31 | 78.59 | 85.53 | 41.09 | 35.15 | 56.55 | 44.31 | 27 | 965 | 36 | 26.49
29.10.22 15:14:30 | 22.05 | 85.77 | 107.1 | 83.77 | 61.48 | 80.05 | 64.22 | 69.86 | 65.77 | 105.36 | 67.83 | 96.77 | 61.79 | 90.15 | 58.41 | 68.04 | 80.5 | 97.33 | 78.31 | 78.59 | 85.53 | 40.71 | 34.52 | 56.02 | 44.19 | 27 | 965 | 36 | 26.5
29.10.22 15:14:45 | 22.3 | 85.63 | 107.1 | 83.91 | 60.71 | 79.77 | 64.09 | 69.72 | 65.63 | 105.36 | 67.42 | 96.77 | 61.79 | 90 | 58.01 | 67.9 | 80.21 | 97.48 | 77.88 | 78.44 | 84.92 | 40.96 | 34.26 | 55.62 | 44.19 | 27 | 965 | 36 | 26.5
29.10.22 15:15:00 | 22.55 | 85.33 | 107.25 | 83.48 | 60.41 | 79.48 | 64.09 | 69.59 | 65.22 | 105.36 | 67.01 | 96.77 | 61.53 | 89.71 | 57.88 | 67.5 | 80.07 | 97.18 | 77.73 | 78.3 | 84.92 | 40.96 | 34.01 | 55.49 | 44.19 | 27 | 965 | 36 | 26.5
29.10.22 15:15:15 | 22.8 | 84.89 | 106.94 | 83.2 | 59.95 | 78.92 | 63.82 | 69.31 | 65.09 | 105.21 | 66.19 | 96.47 | 61.12 | 89.56 | 57.22 | 67.22 | 79.49 | 96.89 | 77.02 | 77.88 | 84.46 | 40.96 | 33.88 | 54.96 | 43.82 | 27 | 965 | 36 | 26.51
29.10.22 15:15:30 | 23.05 | 84.6 | 107.1 | 82.77 | 59.79 | 78.92 | 63.68 | 69.31 | 64.95 | 105.36 | 65.78 | 96.32 | 61.12 | 89.27 | 56.82 | 66.95 | 78.92 | 96.74 | 76.59 | 77.59 | 84.46 | 40.58 | 33.63 | 54.57 | 43.69 | 27 | 965 | 36 | 26.53
29.10.22 15:15:45 | 23.3 | 84.16 | 107.1 | 82.63 | 59.33 | 78.63 | 63.95 | 69.04 | 64.68 | 105.21 | 65.24 | 96.32 | 60.99 | 88.97 | 56.56 | 66.41 | 78.64 | 97.03 | 76.16 | 77.45 | 84.01 | 40.58 | 33.5 | 54.3 | 43.69 | 27 | 965 | 36 | 26.53
29.10.22 15:16:00 | 23.55 | 84.02 | 107.1 | 82.49 | 59.03 | 78.21 | 64.09 | 68.9 | 64.42 | 105.36 | 64.69 | 96.01 | 60.86 | 89.12 | 56.04 | 66.54 | 78.21 | 96.89 | 75.73 | 77.03 | 84.31 | 40.2 | 33.5 | 53.91 | 43.57 | 27 | 965 | 36 | 26.54
29.10.22 15:16:15 | 23.8 | 83.87 | 107.1 | 82.49 | 58.11 | 77.92 | 63.82 | 68.76 | 64.42 | 105.52 | 64.42 | 96.16 | 60.45 | 88.83 | 56.04 | 66.14 | 78.21 | 96.89 | 75.3 | 76.75 | 84.16 | 40.07 | 33.63 | 53.91 | 44.07 | 27 | 965 | 36 | 26.54
29.10.22 15:16:30 | 24.05 | 83.58 | 107.1 | 82.2 | 57.04 | 77.92 | 63.42 | 68.35 | 64.15 | 105.52 | 63.88 | 95.71 | 59.78 | 88.68 | 55.51 | 66 | 77.5 | 96.59 | 74.73 | 76.18 | 83.7 | 39.56 | 33.25 | 53.12 | 43.94 | 27 | 965 | 36 | 26.55
29.10.22 15:16:45 | 24.3 | 83.29 | 107.1 | 81.92 | 56.28 | 77.36 | 63.01 | 68.21 | 63.61 | 105.36 | 63.6 | 95.71 | 59.38 | 88.39 | 54.99 | 65.73 | 77.36 | 96.59 | 74.3 | 76.32 | 83.86 | 39.56 | 32.87 | 52.99 | 43.69 | 27 | 965 | 36 | 26.55
29.10.22 15:17:00 | 24.55 | 82.85 | 107.25 | 81.92 | 55.53 | 77.36 | 62.88 | 67.66 | 63.88 | 105.36 | 63.47 | 95.4 | 59.12 | 88.09 | 55.12 | 65.46 | 77.07 | 96.59 | 74.02 | 75.9 | 83.55 | 39.44 | 32.74 | 52.6 | 43.08 | 27 | 965 | 36 | 26.55
29.10.22 15:17:15 | 24.8 | 82.85 | 107.25 | 81.63 | 54.77 | 77.36 | 62.35 | 67.53 | 63.47 | 105.21 | 62.79 | 95.25 | 58.58 | 87.95 | 54.73 | 65.05 | 76.93 | 96.15 | 73.45 | 75.76 | 83.4 | 39.06 | 32.61 | 52.47 | 42.71 | 27 | 965 | 36 | 26.57
29.10.22 15:17:30 | 25.05 | 82.56 | 107.25 | 81.49 | 54.01 | 76.94 | 62.08 | 66.98 | 63.2 | 105.52 | 62.39 | 95.55 | 58.05 | 87.66 | 54.33 | 64.78 | 76.22 | 96.15 | 72.89 | 75.34 | 83.1 | 39.18 | 32.36 | 52.07 | 42.34 | 27 | 965 | 36 | 26.58
29.10.22 15:17:45 | 25.3 | 82.42 | 107.25 | 81.21 | 53.56 | 77.08 | 61.95 | 66.71 | 63.07 | 105.52 | 61.98 | 95.4 | 57.79 | 87.66 | 54.2 | 64.51 | 76.22 | 96 | 72.46 | 75.34 | 83.1 | 39.06 | 32.11 | 51.81 | 42.09 | 27 | 965 | 36 | 26.58
29.10.22 15:18:00 | 25.55 | 81.98 | 107.1 | 80.93 | 52.96 | 76.51 | 61.41 | 66.16 | 62.8 | 105.36 | 61.58 | 95.1 | 57.26 | 87.36 | 53.42 | 64.11 | 75.8 | 96 | 71.76 | 75.06 | 82.8 | 38.42 | 31.85 | 51.29 | 41.97 | 27 | 965 | 36 | 26.58
29.10.22 15:18:15 | 25.8 | 81.84 | 107.4 | 81.07 | 52.81 | 76.23 | 61.55 | 65.76 | 62.8 | 105.36 | 61.17 | 95.1 | 56.99 | 87.22 | 53.29 | 64.24 | 75.51 | 95.85 | 71.19 | 75.06 | 82.64 | 38.42 | 31.73 | 51.03 | 41.85 | 27 | 965 | 36 | 26.58
29.10.22 15:18:30 | 26.05 | 81.69 | 107.25 | 80.64 | 52.36 | 76.09 | 61.15 | 65.48 | 62.4 | 105.36 | 61.04 | 94.79 | 56.59 | 87.07 | 52.9 | 63.84 | 75.09 | 95.41 | 70.49 | 74.64 | 82.49 | 38.42 | 31.22 | 50.64 | 41.6 | 27 | 965 | 36 | 26.61
29.10.22 15:18:45 | 26.3 | 81.55 | 107.4 | 80.64 | 52.06 | 75.95 | 60.88 | 65.08 | 62.27 | 105.52 | 60.77 | 94.94 | 56.46 | 86.93 | 52.77 | 63.84 | 74.53 | 95.56 | 70.07 | 74.64 | 82.49 | 38.04 | 31.35 | 50.25 | 41.48 | 27 | 965 | 36 | 26.61
29.10.22 15:19:00 | 26.55 | 80.97 | 106.94 | 80.22 | 51.16 | 75.39 | 60.08 | 64.4 | 61.6 | 105.21 | 60.1 | 94.34 | 56.06 | 86.64 | 52.25 | 63.43 | 74.24 | 95.12 | 69.09 | 74.08 | 81.74 | 37.79 | 30.85 | 49.47 | 40.99 | 27 | 965 | 36 | 26.61
29.10.22 15:19:15 | 26.8 | 80.97 | 107.1 | 79.94 | 50.86 | 75.39 | 60.35 | 64.4 | 61.33 | 105.36 | 59.83 | 94.49 | 55.93 | 86.49 | 51.86 | 63.17 | 73.82 | 95.12 | 68.81 | 73.8 | 81.89 | 37.79 | 30.72 | 49.6 | 40.74 | 27 | 965 | 36 | 26.63
29.10.22 15:19:30 | 27.05 | 80.54 | 107.25 | 79.8 | 50.86 | 75.25 | 60.08 | 63.99 | 61.33 | 105.36 | 59.56 | 94.34 | 55.67 | 86.34 | 51.6 | 62.76 | 73.82 | 94.97 | 68.39 | 73.66 | 81.44 | 37.79 | 30.72 | 49.08 | 40.5 | 27 | 965 | 36 | 26.63
29.10.22 15:19:45 | 27.3 | 80.25 | 107.25 | 79.52 | 50.56 | 75.11 | 59.42 | 63.72 | 60.66 | 105.21 | 59.16 | 94.19 | 55.54 | 85.91 | 51.22 | 62.63 | 73.4 | 94.83 | 67.97 | 73.24 | 81.44 | 37.79 | 30.34 | 48.95 | 40.13 | 27 | 965 | 36 | 26.64
29.10.22 15:20:00 | 27.55 | 80.1 | 107.4 | 79.23 | 50.11 | 75.11 | 59.55 | 63.72 | 60.66 | 105.36 | 58.89 | 93.88 | 55.4 | 86.2 | 50.96 | 62.23 | 72.98 | 94.68 | 67.55 | 73.1 | 81.29 | 37.67 | 30.34 | 48.44 | 40.01 | 27 | 965 | 36 | 26.65
29.10.22 15:20:15 | 27.8 | 79.96 | 107.56 | 79.09 | 49.51 | 74.69 | 59.16 | 63.18 | 60.4 | 105.36 | 58.63 | 93.88 | 55.27 | 85.91 | 50.7 | 61.69 | 72.7 | 94.53 | 67 | 72.68 | 80.99 | 37.54 | 30.34 | 48.31 | 39.77 | 27 | 965 | 36 | 26.65
29.10.22 15:20:30 | 28.05 | 79.67 | 107.25 | 78.53 | 49.07 | 74.55 | 58.89 | 63.05 | 60 | 105.36 | 58.09 | 93.88 | 55.27 | 85.47 | 50.31 | 61.29 | 72 | 94.24 | 66.44 | 72.4 | 80.99 | 37.54 | 30.09 | 47.92 | 39.64 | 27 | 965 | 36 | 26.65
29.10.22 15:20:45 | 28.3 | 79.1 | 107.25 | 78.25 | 48.77 | 74.27 | 58.36 | 62.51 | 59.73 | 105.21 | 57.56 | 93.43 | 55.01 | 85.33 | 49.8 | 60.62 | 71.58 | 93.8 | 65.75 | 71.98 | 80.38 | 37.54 | 30.22 | 47.4 | 39.16 | 27 | 965 | 36 | 26.66

## Oxygen Orginal
Measurement Name : | 20221029_SDR641_cohort20221021_HOT_WT |  | Generated On : | 29/10/2022, 15:21:19 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 29/10/2022, 14:52:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 29/10/2022, 15:20:56 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
29.10.22 14:52:29 | 0.03 | 99.39 | 111.15 | 102.21 | 86.5 | 98.14 | 89.98 | 94.58 | 90.44 | 107.13 | 93.81 | 103.32 | 91.05 | 102.21 | 89.68 | 94.88 | 97.98 | 109.54 | 95.66 | 96.43 | 96.28 | 78.03 | 77.3 | 82.31 | 71.2 | 27 | 965 | 36 | 25.48
29.10.22 14:52:44 | 0.28 | 99.39 | 111.31 | 102.21 | 86.35 | 98.45 | 89.83 | 94.42 | 89.83 | 107.29 | 93.5 | 103.63 | 90.44 | 102.37 | 89.53 | 94.58 | 98.14 | 109.86 | 95.5 | 96.12 | 96.28 | 77.73 | 76.12 | 82.17 | 70.76 | 27 | 965 | 36 | 25.51
29.10.22 14:53:00 | 0.55 | 99.54 | 111.47 | 101.9 | 86.5 | 98.29 | 89.53 | 94.42 | 89.38 | 107.29 | 93.65 | 103.32 | 89.98 | 102.69 | 89.53 | 94.58 | 98.14 | 110.18 | 95.35 | 96.12 | 96.28 | 77.3 | 74.96 | 81.87 | 70.19 | 27 | 965 | 36 | 25.51
29.10.22 14:53:15 | 0.8 | 99.7 | 111.64 | 101.9 | 86.65 | 98.61 | 89.38 | 94.27 | 88.92 | 107.61 | 93.35 | 103.48 | 89.83 | 102.37 | 89.38 | 94.11 | 98.45 | 110.02 | 95.5 | 95.97 | 96.28 | 77.3 | 74.38 | 81.72 | 69.9 | 27 | 965 | 36 | 25.54
29.10.22 14:53:30 | 1.05 | 99.86 | 111.64 | 101.9 | 86.5 | 98.76 | 89.38 | 94.11 | 88.47 | 107.77 | 93.5 | 103.63 | 89.53 | 102.53 | 89.38 | 93.96 | 98.29 | 110.02 | 95.19 | 95.81 | 96.12 | 77.15 | 73.65 | 81.72 | 69.19 | 27 | 965 | 36 | 25.58
29.10.22 14:53:45 | 1.3 | 99.86 | 111.96 | 101.74 | 86.2 | 98.61 | 89.22 | 94.11 | 88.31 | 108.09 | 93.19 | 103.95 | 89.38 | 102.84 | 89.53 | 94.27 | 98.45 | 110.18 | 95.5 | 95.81 | 96.59 | 77.3 | 73.65 | 81.87 | 68.62 | 27 | 965 | 36 | 25.61
29.10.22 14:54:00 | 1.55 | 99.86 | 111.8 | 101.58 | 85.75 | 98.61 | 89.22 | 93.81 | 87.71 | 107.93 | 93.19 | 103.95 | 88.92 | 102.69 | 88.92 | 93.96 | 98.45 | 110.34 | 95.5 | 95.66 | 96.43 | 77 | 72.93 | 81.42 | 68.33 | 27 | 965 | 36 | 25.61
29.10.22 14:54:15 | 1.8 | 99.86 | 112.12 | 101.43 | 85.45 | 98.61 | 88.77 | 93.81 | 87.56 | 108.09 | 92.88 | 103.95 | 88.31 | 102.69 | 89.22 | 93.65 | 98.61 | 110.34 | 94.88 | 95.66 | 96.43 | 77 | 72.49 | 81.13 | 68.04 | 27 | 965 | 36 | 25.64
29.10.22 14:54:30 | 2.05 | 99.7 | 112.12 | 101.27 | 85 | 98.29 | 88.62 | 93.81 | 87.56 | 108.41 | 93.04 | 103.79 | 88.01 | 102.84 | 89.07 | 93.81 | 98.76 | 110.51 | 94.73 | 95.66 | 96.12 | 77.15 | 72.2 | 80.98 | 67.62 | 27 | 965 | 36 | 25.65
29.10.22 14:54:45 | 2.3 | 99.86 | 112.29 | 101.11 | 85 | 98.29 | 88.47 | 93.65 | 87.41 | 108.25 | 92.88 | 103.79 | 87.41 | 102.69 | 89.07 | 93.81 | 98.76 | 110.34 | 94.58 | 95.66 | 96.43 | 77.15 | 71.77 | 80.98 | 67.62 | 27 | 965 | 36 | 25.68
29.10.22 14:55:00 | 2.55 | 99.86 | 112.29 | 100.64 | 84.7 | 97.83 | 88.01 | 93.35 | 87.56 | 108.09 | 92.73 | 103.95 | 87.26 | 102.53 | 88.62 | 93.19 | 98.61 | 110.67 | 94.27 | 95.19 | 95.97 | 77.44 | 71.05 | 80.68 | 67.47 | 27 | 965 | 36 | 25.69
29.10.22 14:55:15 | 2.8 | 99.7 | 112.29 | 100.64 | 84.25 | 97.98 | 87.71 | 93.5 | 87.41 | 108.41 | 92.27 | 103.63 | 86.8 | 102.37 | 88.31 | 93.19 | 98.76 | 110.51 | 93.96 | 95.19 | 95.81 | 77 | 70.33 | 80.24 | 66.91 | 27 | 965 | 36 | 25.72
29.10.22 14:55:30 | 3.05 | 99.86 | 112.61 | 100.8 | 84.1 | 97.83 | 87.86 | 93.5 | 87.41 | 108.57 | 92.42 | 104.11 | 87.11 | 102.84 | 88.16 | 92.88 | 98.61 | 110.67 | 93.96 | 95.19 | 95.81 | 77.15 | 70.05 | 80.09 | 67.05 | 27 | 965 | 36 | 25.72
29.10.22 14:55:45 | 3.3 | 99.39 | 112.61 | 100.48 | 83.95 | 97.52 | 87.56 | 93.04 | 87.41 | 108.57 | 92.27 | 103.95 | 86.8 | 102.69 | 87.71 | 92.73 | 98.61 | 110.34 | 93.96 | 95.19 | 95.97 | 77.15 | 69.33 | 79.8 | 66.48 | 27 | 965 | 36 | 25.74
29.10.22 14:56:00 | 3.55 | 99.39 | 112.45 | 100.01 | 83.65 | 97.21 | 86.95 | 92.58 | 87.41 | 108.41 | 91.97 | 103.95 | 86.35 | 102.69 | 87.56 | 92.73 | 98.45 | 110.34 | 93.81 | 95.04 | 95.5 | 76.71 | 68.62 | 79.35 | 65.91 | 27 | 965 | 36 | 25.76
29.10.22 14:56:15 | 3.8 | 99.07 | 112.61 | 100.17 | 83.8 | 97.67 | 86.8 | 92.42 | 87.41 | 108.73 | 91.81 | 103.95 | 85.9 | 102.84 | 86.95 | 92.58 | 98.29 | 110.51 | 93.5 | 95.35 | 95.35 | 76.86 | 68.33 | 79.21 | 65.91 | 27 | 965 | 36 | 25.78
29.10.22 14:56:30 | 4.05 | 98.61 | 112.45 | 99.7 | 83.65 | 97.05 | 86.2 | 92.12 | 87.11 | 108.57 | 91.66 | 103.95 | 85.3 | 102.37 | 86.65 | 92.27 | 97.98 | 110.18 | 93.35 | 94.88 | 95.5 | 76.71 | 67.47 | 79.06 | 65.35 | 27 | 965 | 36 | 25.79
29.10.22 14:56:45 | 4.3 | 98.61 | 112.61 | 99.54 | 83.95 | 97.05 | 86.05 | 92.12 | 86.95 | 108.89 | 91.51 | 104.11 | 85 | 102.69 | 86.5 | 92.12 | 97.98 | 110.34 | 93.5 | 94.88 | 95.35 | 76.71 | 66.76 | 78.91 | 65.35 | 27 | 965 | 36 | 25.79
29.10.22 14:57:00 | 4.55 | 98.61 | 112.61 | 99.07 | 83.65 | 97.05 | 85.9 | 91.81 | 86.8 | 108.57 | 91.2 | 103.95 | 84.4 | 102.37 | 86.2 | 91.81 | 97.67 | 110.34 | 93.35 | 94.73 | 95.19 | 75.1 | 66.05 | 78.47 | 64.92 | 27 | 965 | 36 | 25.82
29.10.22 14:57:15 | 4.8 | 98.29 | 112.93 | 98.92 | 83.51 | 96.74 | 86.05 | 91.51 | 86.8 | 108.73 | 91.05 | 103.79 | 84.1 | 102.21 | 85.75 | 91.81 | 97.67 | 110.34 | 93.35 | 94.73 | 95.04 | 74.52 | 65.63 | 78.32 | 65.06 | 27 | 965 | 36 | 25.83
29.10.22 14:57:30 | 5.05 | 98.29 | 112.93 | 98.76 | 83.51 | 96.43 | 86.2 | 91.51 | 86.65 | 108.89 | 91.2 | 103.63 | 83.65 | 102.05 | 85.6 | 91.66 | 97.67 | 110.18 | 93.19 | 94.88 | 94.73 | 74.38 | 64.92 | 78.32 | 64.36 | 27 | 965 | 36 | 25.83
29.10.22 14:57:45 | 5.3 | 97.83 | 112.77 | 98.14 | 82.91 | 96.59 | 86.05 | 91.05 | 86.35 | 108.89 | 90.59 | 103.79 | 83.06 | 101.9 | 85 | 91.05 | 97.52 | 110.02 | 93.19 | 94.58 | 94.73 | 73.94 | 64.22 | 77.73 | 63.65 | 27 | 965 | 36 | 25.85
29.10.22 14:58:00 | 5.55 | 97.67 | 112.77 | 97.67 | 82.91 | 95.97 | 85.75 | 90.74 | 86.2 | 108.89 | 90.29 | 103.48 | 82.76 | 102.05 | 84.7 | 90.9 | 97.21 | 109.7 | 93.04 | 94.42 | 94.88 | 73.8 | 63.23 | 77.59 | 63.09 | 27 | 965 | 36 | 25.86
29.10.22 14:58:15 | 5.8 | 97.36 | 113.1 | 97.67 | 82.46 | 95.97 | 85.6 | 90.44 | 86.2 | 109.06 | 90.44 | 103.63 | 82.31 | 101.9 | 84.4 | 90.9 | 97.36 | 110.02 | 92.88 | 94.27 | 94.58 | 73.36 | 62.81 | 77.59 | 62.53 | 27 | 965 | 36 | 25.89
29.10.22 14:58:30 | 6.05 | 97.21 | 112.93 | 97.67 | 82.02 | 95.5 | 85.3 | 90.14 | 86.2 | 108.89 | 90.29 | 103.63 | 81.72 | 101.58 | 83.95 | 90.14 | 97.21 | 110.02 | 92.73 | 94.42 | 94.27 | 72.78 | 61.97 | 77.15 | 62.25 | 27 | 965 | 36 | 25.9
29.10.22 14:58:45 | 6.3 | 97.05 | 112.93 | 97.83 | 82.02 | 95.81 | 85.15 | 90.14 | 86.2 | 109.06 | 90.14 | 103.48 | 81.42 | 101.9 | 84.1 | 89.53 | 97.21 | 109.86 | 92.88 | 94.11 | 94.11 | 72.06 | 61.55 | 76.71 | 61.83 | 27 | 965 | 36 | 25.9
29.10.22 14:59:00 | 6.55 | 96.9 | 113.1 | 97.83 | 81.72 | 95.35 | 84.85 | 89.68 | 86.05 | 109.22 | 89.98 | 103.48 | 80.98 | 101.74 | 83.8 | 88.77 | 96.9 | 110.02 | 92.88 | 93.96 | 93.81 | 70.76 | 59.73 | 76.71 | 61.41 | 27 | 965 | 36 | 25.91
29.10.22 14:59:15 | 6.8 | 96.59 | 113.1 | 97.52 | 81.42 | 94.88 | 84.55 | 89.07 | 85.9 | 109.06 | 89.22 | 103.48 | 80.53 | 101.27 | 83.21 | 88.47 | 96.59 | 109.86 | 92.73 | 93.5 | 93.81 | 70.05 | 58.07 | 76.42 | 60.99 | 27 | 965 | 36 | 25.93
29.10.22 14:59:30 | 7.05 | 96.74 | 113.26 | 97.36 | 81.27 | 95.19 | 84.85 | 88.77 | 85.9 | 109.06 | 89.53 | 103.48 | 80.53 | 101.58 | 83.21 | 88.47 | 96.28 | 109.86 | 92.73 | 93.35 | 93.65 | 69.9 | 57.1 | 76.12 | 60.85 | 27 | 965 | 36 | 25.93
29.10.22 14:59:45 | 7.3 | 96.59 | 112.93 | 97.21 | 80.68 | 95.04 | 84.55 | 88.47 | 85.6 | 109.22 | 89.22 | 103.16 | 79.94 | 101.43 | 82.76 | 88.01 | 96.12 | 109.38 | 92.73 | 92.88 | 93.35 | 69.33 | 56.55 | 75.98 | 60.29 | 27 | 965 | 36 | 25.96
29.10.22 15:00:00 | 7.55 | 96.43 | 113.1 | 97.05 | 80.39 | 94.58 | 84.25 | 88.31 | 85.3 | 109.38 | 89.22 | 103.16 | 79.35 | 101.27 | 82.91 | 87.86 | 95.97 | 109.54 | 92.42 | 92.73 | 93.35 | 68.62 | 56.14 | 75.4 | 60.29 | 27 | 965 | 36 | 25.96
29.10.22 15:00:15 | 7.8 | 96.28 | 113.26 | 96.9 | 79.8 | 94.42 | 83.51 | 87.86 | 85.15 | 109.38 | 88.92 | 103.16 | 79.06 | 100.95 | 82.46 | 87.56 | 95.97 | 109.38 | 92.58 | 92.27 | 93.04 | 68.19 | 55.86 | 75.1 | 60.15 | 27 | 965 | 36 | 25.97
29.10.22 15:00:30 | 8.05 | 96.12 | 113.26 | 96.9 | 79.65 | 94.11 | 83.06 | 87.71 | 85 | 109.06 | 88.62 | 103 | 78.76 | 100.8 | 82.02 | 87.11 | 95.81 | 109.22 | 92.42 | 92.12 | 92.88 | 67.9 | 55.59 | 74.81 | 60.01 | 27 | 965 | 36 | 25.97
29.10.22 15:00:45 | 8.3 | 96.28 | 113.26 | 96.59 | 79.21 | 94.27 | 82.91 | 87.56 | 85.15 | 109.22 | 87.86 | 102.84 | 78.47 | 100.95 | 81.72 | 87.11 | 95.66 | 109.54 | 92.42 | 92.42 | 93.04 | 67.47 | 55.17 | 74.67 | 59.87 | 27 | 965 | 36 | 26
29.10.22 15:01:00 | 8.55 | 95.97 | 113.1 | 96.74 | 78.76 | 93.81 | 82.46 | 87.56 | 84.7 | 109.22 | 87.71 | 103.16 | 78.03 | 100.95 | 81.42 | 86.8 | 95.5 | 109.38 | 92.42 | 92.12 | 92.58 | 67.47 | 54.63 | 74.52 | 59.73 | 27 | 965 | 36 | 26.01
29.10.22 15:01:15 | 8.8 | 95.66 | 113.1 | 96.59 | 78.47 | 93.19 | 82.02 | 87.26 | 84.4 | 109.22 | 87.26 | 102.53 | 77.59 | 100.64 | 80.98 | 86.35 | 95.19 | 109.06 | 92.27 | 91.66 | 92.58 | 66.91 | 53.94 | 73.94 | 59.32 | 27 | 965 | 36 | 26.01
29.10.22 15:01:30 | 9.05 | 95.5 | 113.26 | 96.59 | 77.73 | 92.88 | 81.57 | 86.95 | 84.25 | 109.06 | 87.11 | 102.53 | 77.44 | 100.48 | 80.83 | 86.35 | 94.88 | 109.06 | 92.12 | 91.66 | 92.27 | 66.76 | 53.39 | 73.8 | 59.04 | 27 | 965 | 36 | 26.03
29.10.22 15:01:45 | 9.3 | 95.35 | 113.42 | 96.74 | 77.59 | 92.73 | 81.42 | 86.65 | 83.95 | 109.38 | 86.95 | 102.69 | 77.15 | 100.64 | 80.83 | 86.2 | 94.88 | 109.22 | 92.12 | 91.66 | 92.42 | 66.48 | 53.26 | 73.51 | 58.9 | 27 | 965 | 36 | 26.04
29.10.22 15:02:00 | 9.55 | 95.5 | 113.42 | 96.28 | 77 | 92.58 | 80.98 | 86.35 | 83.95 | 109.38 | 86.35 | 102.53 | 76.56 | 100.33 | 80.53 | 85.75 | 94.42 | 108.89 | 92.27 | 91.51 | 92.12 | 66.48 | 52.58 | 73.22 | 58.76 | 27 | 965 | 36 | 26.04
29.10.22 15:02:15 | 9.8 | 95.19 | 113.42 | 96.12 | 76.42 | 92.58 | 80.39 | 86.05 | 83.51 | 109.38 | 86.05 | 102.69 | 76.12 | 100.33 | 80.24 | 85.45 | 94.11 | 108.89 | 91.97 | 91.2 | 91.97 | 65.77 | 52.3 | 73.07 | 58.76 | 27 | 965 | 36 | 26.07
29.10.22 15:02:30 | 10.05 | 95.04 | 113.42 | 96.12 | 75.98 | 92.27 | 80.39 | 85.75 | 83.21 | 109.54 | 85.75 | 102.53 | 75.69 | 99.86 | 79.65 | 84.85 | 93.81 | 108.57 | 91.66 | 90.74 | 91.51 | 65.63 | 51.76 | 72.64 | 58.35 | 27 | 965 | 36 | 26.08
29.10.22 15:02:45 | 10.3 | 95.19 | 113.59 | 96.12 | 75.69 | 92.27 | 80.24 | 85.45 | 83.06 | 109.7 | 85.45 | 102.37 | 75.83 | 100.01 | 79.35 | 84.85 | 93.96 | 109.06 | 91.81 | 90.9 | 91.97 | 65.2 | 51.35 | 72.64 | 57.93 | 27 | 965 | 36 | 26.08
29.10.22 15:03:00 | 10.55 | 95.04 | 113.75 | 96.12 | 75.69 | 92.42 | 80.09 | 85.3 | 82.91 | 109.54 | 85.3 | 102.53 | 75.4 | 100.17 | 79.35 | 84.85 | 93.96 | 108.89 | 91.66 | 90.74 | 91.35 | 65.06 | 50.81 | 72.64 | 57.93 | 27 | 965 | 36 | 26.1
29.10.22 15:03:15 | 10.8 | 95.04 | 113.59 | 95.5 | 74.96 | 92.27 | 79.8 | 84.7 | 82.46 | 109.54 | 85 | 102.21 | 75.25 | 99.7 | 78.47 | 84.25 | 93.65 | 108.41 | 91.35 | 90.29 | 91.35 | 64.22 | 50.4 | 72.06 | 57.52 | 27 | 965 | 36 | 26.11
29.10.22 15:03:30 | 11.05 | 95.04 | 113.75 | 95.5 | 74.52 | 91.81 | 79.21 | 84.25 | 82.31 | 109.7 | 84.7 | 102.21 | 74.81 | 99.86 | 78.03 | 84.4 | 93.65 | 108.57 | 90.9 | 89.98 | 91.35 | 64.36 | 50.68 | 72.2 | 57.1 | 27 | 965 | 36 | 26.11
29.10.22 15:03:45 | 11.3 | 95.19 | 113.75 | 95.35 | 74.23 | 91.81 | 79.06 | 83.8 | 81.87 | 109.38 | 84.7 | 102.21 | 74.38 | 99.54 | 77.73 | 83.95 | 93.5 | 108.57 | 91.05 | 89.83 | 90.9 | 63.93 | 50.95 | 71.92 | 56.83 | 27 | 965 | 36 | 26.11
29.10.22 15:04:00 | 11.55 | 94.88 | 113.75 | 95.35 | 73.8 | 91.66 | 78.76 | 83.36 | 81.57 | 109.54 | 84.55 | 102.21 | 73.8 | 99.54 | 77.3 | 83.36 | 92.88 | 108.41 | 90.9 | 89.53 | 90.9 | 63.51 | 50.68 | 71.48 | 56.69 | 27 | 965 | 36 | 26.13
29.10.22 15:04:15 | 11.8 | 94.73 | 113.59 | 94.88 | 72.93 | 91.2 | 78.32 | 82.91 | 81.13 | 109.38 | 83.95 | 101.9 | 73.65 | 99.39 | 77 | 83.06 | 92.42 | 108.25 | 90.59 | 89.53 | 90.59 | 62.67 | 50.27 | 71.2 | 56.27 | 27 | 965 | 36 | 26.14
29.10.22 15:04:30 | 12.05 | 94.88 | 113.75 | 95.04 | 73.07 | 91.2 | 78.32 | 82.91 | 81.27 | 109.7 | 83.51 | 101.9 | 73.36 | 99.54 | 76.71 | 82.76 | 92.58 | 108.41 | 90.44 | 89.22 | 90.59 | 62.67 | 50.27 | 71.05 | 56 | 27 | 965 | 36 | 26.15
29.10.22 15:04:45 | 12.3 | 94.88 | 113.59 | 95.04 | 72.35 | 91.05 | 78.18 | 82.17 | 80.68 | 109.7 | 83.51 | 101.9 | 72.78 | 99.07 | 76.27 | 82.61 | 92.12 | 108.25 | 89.98 | 88.92 | 90.14 | 61.83 | 49.86 | 70.91 | 55.45 | 27 | 965 | 36 | 26.15
29.10.22 15:05:00 | 12.55 | 94.58 | 113.91 | 94.73 | 72.06 | 91.05 | 77.73 | 81.72 | 80.39 | 109.54 | 82.91 | 101.9 | 72.49 | 99.07 | 75.98 | 82.31 | 92.12 | 107.93 | 89.98 | 88.77 | 90.29 | 61.69 | 49.73 | 70.48 | 54.9 | 27 | 965 | 36 | 26.16
29.10.22 15:05:15 | 12.8 | 94.42 | 113.59 | 94.58 | 71.77 | 90.9 | 77.44 | 81.27 | 80.09 | 109.54 | 82.91 | 101.58 | 72.06 | 98.92 | 75.69 | 82.02 | 91.97 | 107.77 | 89.53 | 88.47 | 89.83 | 61.13 | 49.46 | 70.33 | 54.49 | 27 | 965 | 36 | 26.18
29.10.22 15:05:30 | 13.05 | 94.42 | 113.75 | 94.58 | 71.48 | 90.9 | 77.44 | 80.83 | 79.5 | 109.7 | 82.61 | 101.58 | 71.63 | 99.07 | 75.25 | 82.02 | 91.66 | 107.61 | 89.68 | 88.01 | 89.83 | 60.99 | 49.32 | 70.19 | 54.35 | 27 | 965 | 36 | 26.19
29.10.22 15:05:45 | 13.3 | 94.58 | 113.91 | 94.58 | 71.05 | 90.74 | 77.3 | 80.53 | 79.35 | 109.54 | 82.31 | 101.74 | 71.34 | 99.07 | 74.96 | 81.57 | 91.51 | 107.93 | 89.38 | 88.01 | 89.68 | 60.71 | 49.19 | 69.9 | 54.08 | 27 | 965 | 36 | 26.19
29.10.22 15:06:00 | 13.55 | 94.42 | 113.75 | 94.27 | 70.48 | 90.29 | 76.71 | 80.24 | 78.91 | 109.7 | 82.31 | 101.43 | 70.48 | 98.76 | 74.52 | 80.98 | 90.9 | 107.61 | 89.07 | 87.41 | 89.07 | 60.29 | 48.78 | 69.62 | 53.67 | 27 | 965 | 36 | 26.22
29.10.22 15:06:15 | 13.8 | 94.11 | 113.75 | 94.27 | 70.19 | 89.98 | 76.71 | 80.24 | 78.47 | 109.7 | 82.02 | 101.27 | 70.19 | 98.76 | 74.38 | 80.83 | 91.2 | 107.61 | 88.77 | 87.41 | 89.38 | 60.01 | 48.65 | 69.47 | 53.8 | 27 | 965 | 36 | 26.22
29.10.22 15:06:30 | 14.05 | 93.96 | 113.91 | 93.96 | 69.9 | 89.83 | 76.71 | 79.65 | 78.03 | 109.38 | 81.42 | 101.11 | 69.76 | 98.61 | 73.94 | 80.39 | 90.74 | 107.29 | 88.62 | 87.41 | 89.07 | 59.46 | 48.65 | 69.19 | 53.94 | 27 | 965 | 36 | 26.22
29.10.22 15:06:45 | 14.3 | 93.96 | 113.91 | 93.96 | 69.47 | 89.83 | 75.83 | 79.65 | 77.59 | 109.7 | 81.42 | 101.11 | 69.62 | 98.76 | 73.65 | 80.39 | 90.9 | 107.45 | 88.31 | 86.95 | 88.92 | 58.9 | 48.65 | 69.04 | 54.22 | 27 | 965 | 36 | 26.24
29.10.22 15:07:00 | 14.55 | 93.96 | 113.91 | 93.96 | 68.76 | 89.68 | 75.4 | 79.35 | 76.86 | 109.7 | 81.13 | 101.11 | 69.04 | 98.45 | 72.93 | 79.8 | 90.14 | 107.29 | 88.31 | 86.8 | 88.47 | 58.62 | 48.11 | 68.47 | 54.35 | 27 | 965 | 36 | 26.26
29.10.22 15:07:15 | 14.8 | 93.96 | 113.75 | 93.65 | 68.33 | 89.53 | 74.96 | 79.21 | 76.71 | 109.38 | 80.39 | 100.95 | 69.04 | 98.29 | 72.64 | 79.65 | 90.29 | 107.13 | 88.01 | 86.65 | 88.62 | 58.35 | 47.84 | 68.19 | 54.49 | 27 | 965 | 36 | 26.24
29.10.22 15:07:30 | 15.05 | 93.96 | 114.07 | 93.81 | 68.19 | 89.68 | 74.52 | 79.35 | 76.56 | 109.86 | 80.39 | 101.11 | 68.9 | 98.45 | 72.78 | 79.5 | 89.98 | 107.45 | 87.86 | 86.65 | 88.47 | 57.52 | 47.57 | 68.04 | 54.76 | 27 | 965 | 36 | 26.25
29.10.22 15:07:45 | 15.3 | 93.96 | 114.07 | 93.5 | 67.76 | 89.22 | 74.52 | 78.91 | 76.27 | 109.86 | 80.09 | 100.95 | 68.62 | 98.45 | 72.35 | 78.76 | 89.53 | 107.13 | 87.56 | 86.35 | 88.47 | 56.41 | 46.9 | 67.62 | 54.76 | 27 | 965 | 36 | 26.28
29.10.22 15:08:00 | 15.55 | 93.81 | 114.07 | 93.35 | 67.19 | 88.92 | 74.23 | 78.91 | 75.83 | 109.7 | 79.8 | 100.64 | 67.9 | 98.29 | 71.92 | 78.47 | 89.53 | 107.13 | 87.26 | 86.2 | 87.86 | 56.27 | 46.24 | 67.47 | 54.49 | 27 | 965 | 36 | 26.28
29.10.22 15:08:15 | 15.8 | 93.65 | 113.91 | 93.19 | 66.76 | 88.77 | 73.94 | 78.62 | 75.54 | 109.7 | 79.35 | 100.8 | 67.62 | 98.14 | 71.34 | 78.47 | 89.38 | 106.81 | 86.95 | 85.9 | 87.71 | 55.72 | 46.1 | 67.19 | 54.76 | 27 | 965 | 36 | 26.29
29.10.22 15:08:30 | 16.05 | 93.5 | 113.91 | 93.04 | 66.2 | 88.31 | 73.65 | 78.18 | 75.1 | 109.7 | 79.21 | 100.64 | 67.62 | 97.98 | 71.05 | 78.03 | 88.77 | 106.97 | 86.5 | 85.75 | 87.86 | 55.31 | 45.43 | 67.05 | 54.76 | 27 | 965 | 36 | 26.3
29.10.22 15:08:45 | 16.3 | 93.35 | 114.07 | 92.73 | 65.77 | 88.31 | 73.36 | 78.03 | 74.96 | 109.7 | 78.91 | 100.48 | 67.19 | 98.14 | 70.76 | 78.03 | 88.47 | 106.81 | 86.35 | 85.75 | 87.56 | 54.63 | 45.03 | 67.05 | 54.49 | 27 | 965 | 36 | 26.29
29.10.22 15:09:00 | 16.55 | 93.19 | 114.24 | 92.73 | 65.2 | 87.71 | 73.07 | 77.73 | 74.81 | 109.7 | 78.18 | 100.33 | 66.91 | 97.83 | 70.48 | 77.59 | 88.77 | 106.65 | 86.2 | 85.45 | 87.26 | 54.08 | 44.77 | 66.76 | 54.35 | 27 | 965 | 36 | 26.32
29.10.22 15:09:15 | 16.8 | 93.19 | 114.07 | 92.42 | 64.78 | 87.56 | 72.78 | 77.44 | 74.67 | 109.7 | 78.18 | 100.48 | 66.62 | 97.83 | 70.33 | 77.59 | 88.16 | 106.49 | 85.6 | 85.45 | 87.26 | 53.53 | 44.24 | 66.48 | 54.08 | 27 | 965 | 36 | 26.32
29.10.22 15:09:30 | 17.05 | 93.19 | 114.07 | 92.42 | 64.22 | 87.56 | 72.49 | 77.3 | 74.23 | 109.7 | 77.88 | 100.33 | 66.2 | 97.83 | 69.76 | 77.3 | 87.86 | 106.17 | 85.45 | 85.45 | 87.11 | 52.99 | 43.97 | 66.2 | 54.08 | 27 | 965 | 36 | 26.33
29.10.22 15:09:45 | 17.3 | 93.19 | 114.24 | 92.27 | 63.65 | 87.11 | 71.77 | 77.15 | 74.09 | 109.7 | 77.73 | 100.48 | 66.05 | 97.67 | 69.62 | 77.15 | 87.86 | 106.33 | 85.15 | 85.15 | 86.8 | 52.58 | 43.71 | 65.91 | 53.67 | 27 | 965 | 36 | 26.35
29.10.22 15:10:00 | 17.55 | 92.88 | 114.24 | 92.27 | 63.23 | 87.26 | 71.48 | 77.15 | 74.09 | 109.86 | 77.44 | 100.17 | 65.77 | 97.52 | 69.04 | 77 | 87.41 | 106.65 | 84.55 | 85.15 | 86.8 | 51.9 | 43.44 | 65.63 | 52.99 | 27 | 965 | 36 | 26.35
29.10.22 15:10:15 | 17.8 | 92.73 | 114.24 | 91.97 | 62.81 | 86.95 | 71.48 | 76.86 | 73.8 | 110.02 | 77.3 | 100.33 | 65.35 | 97.52 | 68.62 | 76.71 | 87.41 | 106.02 | 84.4 | 85.15 | 86.5 | 51.35 | 43.04 | 65.2 | 52.3 | 27 | 965 | 36 | 26.36
29.10.22 15:10:30 | 18.05 | 92.58 | 114.4 | 92.12 | 62.81 | 86.95 | 71.34 | 76.86 | 73.8 | 110.18 | 76.86 | 100.17 | 65.49 | 97.52 | 68.33 | 76.56 | 87.41 | 106.17 | 84.25 | 85 | 86.65 | 50.81 | 42.91 | 65.2 | 51.9 | 27 | 965 | 36 | 26.38
29.10.22 15:10:45 | 18.3 | 92.27 | 114.56 | 91.81 | 62.67 | 86.8 | 71.2 | 76.86 | 73.65 | 110.02 | 76.56 | 100.01 | 65.35 | 97.36 | 67.76 | 76.27 | 86.95 | 106.17 | 83.8 | 84.85 | 86.65 | 50.13 | 42.78 | 64.92 | 51.49 | 27 | 965 | 36 | 26.38
29.10.22 15:11:00 | 18.55 | 91.97 | 114.24 | 91.51 | 62.11 | 86.65 | 70.91 | 76.12 | 73.07 | 109.7 | 76.12 | 99.86 | 64.78 | 96.9 | 67.19 | 75.98 | 86.65 | 105.86 | 83.51 | 84.4 | 86.05 | 49.32 | 42.12 | 63.93 | 50.68 | 27 | 965 | 36 | 26.38
29.10.22 15:11:15 | 18.8 | 91.97 | 114.56 | 91.66 | 61.55 | 86.35 | 70.76 | 76.42 | 72.78 | 109.86 | 75.69 | 100.01 | 64.78 | 96.59 | 67.05 | 75.83 | 86.65 | 106.02 | 83.36 | 84.4 | 86.05 | 48.92 | 42.12 | 64.08 | 50.68 | 27 | 965 | 36 | 26.39
29.10.22 15:11:30 | 19.05 | 91.66 | 114.4 | 91.2 | 60.43 | 86.35 | 70.62 | 76.12 | 72.35 | 109.7 | 75.54 | 99.86 | 64.78 | 96.59 | 66.62 | 75.4 | 86.2 | 105.7 | 83.06 | 84.1 | 85.75 | 48.11 | 41.72 | 63.37 | 50.54 | 27 | 965 | 36 | 26.4
29.10.22 15:11:45 | 19.3 | 91.35 | 114.4 | 91.05 | 59.73 | 86.2 | 71.05 | 75.98 | 72.35 | 109.86 | 75.1 | 99.86 | 64.5 | 96.43 | 66.2 | 74.81 | 86.2 | 105.54 | 83.06 | 84.25 | 85.6 | 47.44 | 41.33 | 63.23 | 50.4 | 27 | 965 | 36 | 26.4
29.10.22 15:12:00 | 19.55 | 91.2 | 114.4 | 90.74 | 59.04 | 85.75 | 71.05 | 75.83 | 72.2 | 109.54 | 74.96 | 99.7 | 64.5 | 96.12 | 65.77 | 74.38 | 85.9 | 105.54 | 82.46 | 84.1 | 85.15 | 46.9 | 40.93 | 62.53 | 50.27 | 27 | 965 | 36 | 26.41
29.10.22 15:12:15 | 19.8 | 91.05 | 114.4 | 90.74 | 58.48 | 85.6 | 70.76 | 75.54 | 72.06 | 109.86 | 74.52 | 99.54 | 64.36 | 95.81 | 65.35 | 74.23 | 85.9 | 105.54 | 82.31 | 84.1 | 85 | 45.97 | 40.93 | 62.11 | 50.27 | 27 | 965 | 36 | 26.41
29.10.22 15:12:30 | 20.05 | 90.59 | 114.4 | 90.44 | 57.65 | 85.3 | 70.33 | 75.69 | 71.48 | 109.7 | 74.23 | 99.39 | 64.64 | 95.66 | 64.78 | 73.65 | 85.45 | 105.22 | 82.02 | 83.36 | 84.7 | 45.03 | 40.27 | 61.69 | 50.13 | 27 | 965 | 36 | 26.43
29.10.22 15:12:45 | 20.3 | 90.29 | 114.56 | 90.29 | 57.52 | 85.3 | 69.62 | 75.25 | 71.2 | 109.86 | 73.94 | 99.23 | 64.92 | 95.66 | 64.5 | 73.51 | 85.3 | 105.38 | 81.72 | 83.36 | 84.7 | 44.5 | 40.14 | 61.41 | 49.59 | 27 | 965 | 36 | 26.44
29.10.22 15:13:00 | 20.55 | 90.29 | 114.56 | 90.29 | 56.96 | 85.15 | 69.76 | 74.96 | 71.2 | 110.02 | 73.65 | 99.54 | 65.35 | 95.5 | 64.08 | 73.36 | 85.3 | 105.22 | 81.57 | 83.21 | 84.55 | 44.5 | 39.49 | 60.99 | 49.73 | 27 | 965 | 36 | 26.46
29.10.22 15:13:15 | 20.8 | 89.98 | 114.56 | 90.29 | 56.41 | 84.85 | 69.47 | 74.81 | 70.91 | 109.86 | 73.36 | 99.39 | 65.35 | 95.19 | 63.79 | 73.22 | 85.3 | 104.9 | 81.57 | 83.21 | 84.4 | 43.97 | 38.83 | 60.71 | 49.32 | 27 | 965 | 36 | 26.46
29.10.22 15:13:30 | 21.05 | 89.68 | 114.56 | 90.29 | 56.14 | 84.85 | 69.47 | 74.38 | 70.76 | 109.86 | 73.07 | 99.39 | 65.2 | 95.35 | 63.51 | 72.93 | 85.15 | 105.06 | 81.42 | 83.21 | 84.4 | 43.44 | 37.92 | 60.15 | 49.19 | 27 | 965 | 36 | 26.47
29.10.22 15:13:45 | 21.3 | 89.38 | 114.56 | 89.98 | 55.45 | 84.7 | 69.19 | 74.38 | 70.19 | 110.02 | 72.35 | 99.23 | 65.35 | 94.88 | 62.95 | 72.64 | 84.85 | 104.9 | 81.13 | 82.61 | 84.1 | 43.04 | 37.14 | 59.87 | 48.52 | 27 | 965 | 36 | 26.47
29.10.22 15:14:00 | 21.55 | 89.07 | 114.4 | 89.68 | 55.31 | 84.4 | 68.76 | 74.09 | 69.76 | 109.7 | 72.06 | 98.92 | 65.35 | 94.58 | 62.53 | 72.2 | 84.55 | 104.58 | 80.68 | 82.31 | 83.95 | 42.91 | 36.23 | 59.46 | 48.25 | 27 | 965 | 36 | 26.49
29.10.22 15:14:15 | 21.8 | 88.92 | 114.56 | 89.53 | 54.9 | 84.1 | 68.47 | 73.8 | 69.76 | 110.02 | 71.48 | 98.92 | 65.06 | 94.58 | 62.11 | 72.06 | 84.25 | 104.58 | 80.53 | 82.31 | 83.8 | 42.65 | 35.71 | 59.32 | 48.11 | 27 | 965 | 36 | 26.49
29.10.22 15:14:30 | 22.05 | 88.62 | 114.56 | 89.07 | 54.76 | 84.1 | 68.19 | 73.51 | 69.62 | 109.86 | 71.05 | 98.76 | 64.92 | 94.42 | 61.83 | 71.92 | 83.8 | 104.43 | 80.53 | 82.31 | 83.8 | 42.25 | 35.06 | 58.76 | 47.98 | 27 | 965 | 36 | 26.5
29.10.22 15:14:45 | 22.3 | 88.47 | 114.56 | 89.22 | 54.08 | 83.8 | 68.04 | 73.36 | 69.47 | 109.86 | 70.62 | 98.76 | 64.92 | 94.27 | 61.41 | 71.77 | 83.51 | 104.58 | 80.09 | 82.17 | 83.21 | 42.51 | 34.8 | 58.35 | 47.98 | 27 | 965 | 36 | 26.5
29.10.22 15:15:00 | 22.55 | 88.16 | 114.73 | 88.77 | 53.8 | 83.51 | 68.04 | 73.22 | 69.04 | 109.86 | 70.19 | 98.76 | 64.64 | 93.96 | 61.27 | 71.34 | 83.36 | 104.27 | 79.94 | 82.02 | 83.21 | 42.51 | 34.55 | 58.21 | 47.98 | 27 | 965 | 36 | 26.5
29.10.22 15:15:15 | 22.8 | 87.71 | 114.4 | 88.47 | 53.39 | 82.91 | 67.76 | 72.93 | 68.9 | 109.7 | 69.33 | 98.45 | 64.22 | 93.81 | 60.57 | 71.05 | 82.76 | 103.95 | 79.21 | 81.57 | 82.76 | 42.51 | 34.42 | 57.65 | 47.57 | 27 | 965 | 36 | 26.51
29.10.22 15:15:30 | 23.05 | 87.41 | 114.56 | 88.01 | 53.26 | 82.91 | 67.62 | 72.93 | 68.76 | 109.86 | 68.9 | 98.29 | 64.22 | 93.5 | 60.15 | 70.76 | 82.17 | 103.79 | 78.76 | 81.27 | 82.76 | 42.12 | 34.16 | 57.24 | 47.44 | 27 | 965 | 36 | 26.53
29.10.22 15:15:45 | 23.3 | 86.95 | 114.56 | 87.86 | 52.85 | 82.61 | 67.9 | 72.64 | 68.47 | 109.7 | 68.33 | 98.29 | 64.08 | 93.19 | 59.87 | 70.19 | 81.87 | 104.11 | 78.32 | 81.13 | 82.31 | 42.12 | 34.03 | 56.96 | 47.44 | 27 | 965 | 36 | 26.53
29.10.22 15:16:00 | 23.55 | 86.8 | 114.56 | 87.71 | 52.58 | 82.17 | 68.04 | 72.49 | 68.19 | 109.86 | 67.76 | 97.98 | 63.93 | 93.35 | 59.32 | 70.33 | 81.42 | 103.95 | 77.88 | 80.68 | 82.61 | 41.72 | 34.03 | 56.55 | 47.31 | 27 | 965 | 36 | 26.54
29.10.22 15:16:15 | 23.8 | 86.65 | 114.56 | 87.71 | 51.76 | 81.87 | 67.76 | 72.35 | 68.19 | 110.02 | 67.47 | 98.14 | 63.51 | 93.04 | 59.32 | 69.9 | 81.42 | 103.95 | 77.44 | 80.39 | 82.46 | 41.59 | 34.16 | 56.55 | 47.84 | 27 | 965 | 36 | 26.54
29.10.22 15:16:30 | 24.05 | 86.35 | 114.56 | 87.41 | 50.81 | 81.87 | 67.33 | 71.92 | 67.9 | 110.02 | 66.91 | 97.67 | 62.81 | 92.88 | 58.76 | 69.76 | 80.68 | 103.63 | 76.86 | 79.8 | 82.02 | 41.06 | 33.77 | 55.72 | 47.71 | 27 | 965 | 36 | 26.55
29.10.22 15:16:45 | 24.3 | 86.05 | 114.56 | 87.11 | 50.13 | 81.27 | 66.91 | 71.77 | 67.33 | 109.86 | 66.62 | 97.67 | 62.39 | 92.58 | 58.21 | 69.47 | 80.53 | 103.63 | 76.42 | 79.94 | 82.17 | 41.06 | 33.39 | 55.59 | 47.44 | 27 | 965 | 36 | 26.55
29.10.22 15:17:00 | 24.55 | 85.6 | 114.73 | 87.11 | 49.46 | 81.27 | 66.76 | 71.2 | 67.62 | 109.86 | 66.48 | 97.36 | 62.11 | 92.27 | 58.35 | 69.19 | 80.24 | 103.63 | 76.12 | 79.5 | 81.87 | 40.93 | 33.26 | 55.17 | 46.77 | 27 | 965 | 36 | 26.55
29.10.22 15:17:15 | 24.8 | 85.6 | 114.73 | 86.8 | 48.78 | 81.27 | 66.2 | 71.05 | 67.19 | 109.7 | 65.77 | 97.21 | 61.55 | 92.12 | 57.93 | 68.76 | 80.09 | 103.16 | 75.54 | 79.35 | 81.72 | 40.54 | 33.13 | 55.04 | 46.37 | 27 | 965 | 36 | 26.57
29.10.22 15:17:30 | 25.05 | 85.3 | 114.73 | 86.65 | 48.11 | 80.83 | 65.91 | 70.48 | 66.91 | 110.02 | 65.35 | 97.52 | 60.99 | 91.81 | 57.52 | 68.47 | 79.35 | 103.16 | 74.96 | 78.91 | 81.42 | 40.67 | 32.87 | 54.63 | 45.97 | 27 | 965 | 36 | 26.58
29.10.22 15:17:45 | 25.3 | 85.15 | 114.73 | 86.35 | 47.71 | 80.98 | 65.77 | 70.19 | 66.76 | 110.02 | 64.92 | 97.36 | 60.71 | 91.81 | 57.38 | 68.19 | 79.35 | 103 | 74.52 | 78.91 | 81.42 | 40.54 | 32.62 | 54.35 | 45.7 | 27 | 965 | 36 | 26.58
29.10.22 15:18:00 | 25.55 | 84.7 | 114.56 | 86.05 | 47.17 | 80.39 | 65.2 | 69.62 | 66.48 | 109.86 | 64.5 | 97.05 | 60.15 | 91.51 | 56.55 | 67.76 | 78.91 | 103 | 73.8 | 78.62 | 81.13 | 39.88 | 32.36 | 53.8 | 45.57 | 27 | 965 | 36 | 26.58
29.10.22 15:18:15 | 25.8 | 84.55 | 114.89 | 86.2 | 47.04 | 80.09 | 65.35 | 69.19 | 66.48 | 109.86 | 64.08 | 97.05 | 59.87 | 91.35 | 56.41 | 67.9 | 78.62 | 102.84 | 73.22 | 78.62 | 80.98 | 39.88 | 32.23 | 53.53 | 45.43 | 27 | 965 | 36 | 26.58
29.10.22 15:18:30 | 26.05 | 84.4 | 114.73 | 85.75 | 46.64 | 79.94 | 64.92 | 68.9 | 66.05 | 109.86 | 63.93 | 96.74 | 59.46 | 91.2 | 56 | 67.47 | 78.18 | 102.37 | 72.49 | 78.18 | 80.83 | 39.88 | 31.72 | 53.12 | 45.17 | 27 | 965 | 36 | 26.61
29.10.22 15:18:45 | 26.3 | 84.25 | 114.89 | 85.75 | 46.37 | 79.8 | 64.64 | 68.47 | 65.91 | 110.02 | 63.65 | 96.9 | 59.32 | 91.05 | 55.86 | 67.47 | 77.59 | 102.53 | 72.06 | 78.18 | 80.83 | 39.49 | 31.85 | 52.71 | 45.03 | 27 | 965 | 36 | 26.61
29.10.22 15:19:00 | 26.55 | 83.65 | 114.4 | 85.3 | 45.57 | 79.21 | 63.79 | 67.76 | 65.2 | 109.7 | 62.95 | 96.28 | 58.9 | 90.74 | 55.31 | 67.05 | 77.3 | 102.05 | 71.05 | 77.59 | 80.09 | 39.23 | 31.33 | 51.9 | 44.5 | 27 | 965 | 36 | 26.61
29.10.22 15:19:15 | 26.8 | 83.65 | 114.56 | 85 | 45.3 | 79.21 | 64.08 | 67.76 | 64.92 | 109.86 | 62.67 | 96.43 | 58.76 | 90.59 | 54.9 | 66.76 | 76.86 | 102.05 | 70.76 | 77.3 | 80.24 | 39.23 | 31.21 | 52.03 | 44.24 | 27 | 965 | 36 | 26.63
29.10.22 15:19:30 | 27.05 | 83.21 | 114.73 | 84.85 | 45.3 | 79.06 | 63.79 | 67.33 | 64.92 | 109.86 | 62.39 | 96.28 | 58.48 | 90.44 | 54.63 | 66.34 | 76.86 | 101.9 | 70.33 | 77.15 | 79.8 | 39.23 | 31.21 | 51.49 | 43.97 | 27 | 965 | 36 | 26.63
29.10.22 15:19:45 | 27.3 | 82.91 | 114.73 | 84.55 | 45.03 | 78.91 | 63.09 | 67.05 | 64.22 | 109.7 | 61.97 | 96.12 | 58.35 | 89.98 | 54.22 | 66.2 | 76.42 | 101.74 | 69.9 | 76.71 | 79.8 | 39.23 | 30.82 | 51.35 | 43.57 | 27 | 965 | 36 | 26.64
29.10.22 15:20:00 | 27.55 | 82.76 | 114.89 | 84.25 | 44.64 | 78.91 | 63.23 | 67.05 | 64.22 | 109.86 | 61.69 | 95.81 | 58.21 | 90.29 | 53.94 | 65.77 | 75.98 | 101.58 | 69.47 | 76.56 | 79.65 | 39.09 | 30.82 | 50.81 | 43.44 | 27 | 965 | 36 | 26.65
29.10.22 15:20:15 | 27.8 | 82.61 | 115.05 | 84.1 | 44.1 | 78.47 | 62.81 | 66.48 | 63.93 | 109.86 | 61.41 | 95.81 | 58.07 | 89.98 | 53.67 | 65.2 | 75.69 | 101.43 | 68.9 | 76.12 | 79.35 | 38.96 | 30.82 | 50.68 | 43.18 | 27 | 965 | 36 | 26.65
29.10.22 15:20:30 | 28.05 | 82.31 | 114.73 | 83.51 | 43.71 | 78.32 | 62.53 | 66.34 | 63.51 | 109.86 | 60.85 | 95.81 | 58.07 | 89.53 | 53.26 | 64.78 | 74.96 | 101.11 | 68.33 | 75.83 | 79.35 | 38.96 | 30.57 | 50.27 | 43.04 | 27 | 965 | 36 | 26.65
29.10.22 15:20:45 | 28.3 | 81.72 | 114.73 | 83.21 | 43.44 | 78.03 | 61.97 | 65.77 | 63.23 | 109.7 | 60.29 | 95.35 | 57.79 | 89.38 | 52.71 | 64.08 | 74.52 | 100.64 | 67.62 | 75.4 | 78.76 | 38.96 | 30.7 | 49.73 | 42.51 | 27 | 965 | 36 | 26.66