## Oxygen OPA
Measurement Name : | 20221029_SDR710_cohort20221021_HOT_WT |  | Generated On : | 29/10/2022, 15:21:33 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 29/10/2022, 14:52:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 29/10/2022, 15:20:56 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 30 | °C
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.33 | 46.33 | 46.35 | 46.37 | 46.48 | 46.57 | 46.57 | 46.57 | 46.55 | 46.54 | 46.61 | 46.56 | 46.44 | 46.54 | 46.6 | 46.84 | 46.54 | 47.22 | 46.51 | 46.88 | 46.43 | 47.18 | 46.47 | 46.68
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
29.10.22 14:52:29 | 0.03 | 100.3 | 95.53 | 86.6 | 101.06 | 86.86 | 81.59 | 91.04 | 81.59 | 92.71 | 99.39 | 86.97 | 75.99 | 90.58 | 96.04 | 98.61 | 87.54 | 90.33 | 97.36 | 87.7 | 78.54 | 92.06 | 88.47 | 91.14 | 97.98 | 30 | 965 | 36 | 27.56
29.10.22 14:52:44 | 0.28 | 100.75 | 96.12 | 87.03 | 101.66 | 87.73 | 82.03 | 91.64 | 81.59 | 93.46 | 100 | 86.67 | 76.7 | 91.31 | 96.34 | 99.23 | 87.39 | 90.92 | 97.85 | 87.99 | 78.84 | 92.65 | 89.11 | 91.88 | 98.76 | 30 | 965 | 36 | 27.53
29.10.22 14:53:00 | 0.55 | 101.2 | 96.27 | 86.75 | 101.66 | 87.73 | 82.18 | 91.64 | 81.59 | 93.46 | 100.15 | 86.08 | 77.13 | 91.61 | 96.79 | 99.54 | 87.7 | 91.07 | 98.18 | 87.99 | 78.54 | 92.65 | 89.43 | 92.18 | 98.76 | 30 | 965 | 36 | 27.53
29.10.22 14:53:15 | 0.8 | 101.96 | 96.86 | 86.75 | 102.12 | 88.18 | 82.47 | 92.24 | 81.74 | 93.91 | 100.92 | 86.37 | 77.57 | 91.76 | 97.1 | 99.69 | 87.85 | 91.67 | 98.84 | 88.73 | 78.69 | 93.1 | 89.92 | 92.77 | 99.53 | 30 | 965 | 36 | 27.53
29.10.22 14:53:30 | 1.05 | 101.96 | 97.31 | 86.6 | 102.42 | 88.32 | 82.76 | 92.39 | 82.18 | 94.22 | 101.23 | 86.52 | 77.28 | 92.35 | 97.55 | 100 | 88 | 91.97 | 99.34 | 89.32 | 78.84 | 93.1 | 90.24 | 93.07 | 99.69 | 30 | 965 | 36 | 27.53
29.10.22 14:53:45 | 1.3 | 102.41 | 97.46 | 86.46 | 102.42 | 88.32 | 82.9 | 92.54 | 82.03 | 94.07 | 101.54 | 86.67 | 76.7 | 92.2 | 97.86 | 100.15 | 88.16 | 91.97 | 99.5 | 89.62 | 78.84 | 92.65 | 90.4 | 93.22 | 99.84 | 30 | 965 | 36 | 27.56
29.10.22 14:54:00 | 1.55 | 102.56 | 97.61 | 86.46 | 102.72 | 88.47 | 83.05 | 92.54 | 82.32 | 94.37 | 101.69 | 86.67 | 76.56 | 92.65 | 97.86 | 100.62 | 88.16 | 91.97 | 99.83 | 89.62 | 78.54 | 92.51 | 90.4 | 93.52 | 100 | 30 | 965 | 36 | 27.56
29.10.22 14:54:15 | 1.8 | 102.86 | 97.61 | 86.6 | 102.72 | 88.91 | 82.76 | 93 | 82.18 | 94.22 | 102 | 86.52 | 75.85 | 92.65 | 98.01 | 100.62 | 88.16 | 92.12 | 100.17 | 90.06 | 78.54 | 92.21 | 90.08 | 93.82 | 100.31 | 30 | 965 | 36 | 27.58
29.10.22 14:54:30 | 2.05 | 102.86 | 97.76 | 86.6 | 103.18 | 89.21 | 83.05 | 93.15 | 82.32 | 93.91 | 102.62 | 86.37 | 75.7 | 92.8 | 98.01 | 100.77 | 88.16 | 92.27 | 100.17 | 90.36 | 78.24 | 92.06 | 90.24 | 93.82 | 100.16 | 30 | 965 | 36 | 27.59
29.10.22 14:54:45 | 2.3 | 103.17 | 98.2 | 86.31 | 102.72 | 89.06 | 82.76 | 93.3 | 82.47 | 93.76 | 102.62 | 86.67 | 75.13 | 92.94 | 98.16 | 100.62 | 88.16 | 91.82 | 100.66 | 90.51 | 78.24 | 92.21 | 90.08 | 93.97 | 100.47 | 30 | 965 | 36 | 27.6
29.10.22 14:55:00 | 2.55 | 102.86 | 98.06 | 86.46 | 102.72 | 88.91 | 82.76 | 93.3 | 82.18 | 93.76 | 103.08 | 86.52 | 74.71 | 92.8 | 98.32 | 101.08 | 88.16 | 92.27 | 100.66 | 90.65 | 78.09 | 92.21 | 90.24 | 94.27 | 100.31 | 30 | 965 | 36 | 27.61
29.10.22 14:55:15 | 2.8 | 103.17 | 98.2 | 86.46 | 103.33 | 89.35 | 82.61 | 93.15 | 82.03 | 93.61 | 102.93 | 86.52 | 73.99 | 93.09 | 98.47 | 101.24 | 88 | 92.27 | 101 | 90.8 | 77.94 | 92.36 | 90.08 | 94.27 | 100.47 | 30 | 965 | 36 | 27.61
29.10.22 14:55:30 | 3.05 | 103.32 | 98.5 | 86.46 | 103.33 | 89.5 | 82.32 | 93.3 | 81.59 | 93.76 | 103.24 | 86.82 | 73.71 | 93.09 | 98.16 | 101.39 | 87.85 | 92.12 | 101.16 | 90.65 | 77.64 | 92.36 | 89.75 | 94.27 | 100.62 | 30 | 965 | 36 | 27.63
29.10.22 14:55:45 | 3.3 | 103.47 | 98.65 | 86.46 | 103.33 | 89.35 | 82.32 | 93.15 | 81.59 | 93.46 | 103.55 | 86.67 | 73.28 | 93.09 | 98.32 | 101.39 | 88 | 91.82 | 101.49 | 90.95 | 77.49 | 92.51 | 89.59 | 94.27 | 100.78 | 30 | 965 | 36 | 27.67
29.10.22 14:56:00 | 3.55 | 103.62 | 98.8 | 86.31 | 103.18 | 89.65 | 82.32 | 93 | 81.74 | 93.31 | 103.55 | 86.97 | 72.86 | 92.94 | 98.47 | 101.39 | 87.85 | 91.82 | 101.33 | 90.95 | 77.2 | 92.8 | 89.43 | 94.41 | 100.78 | 30 | 965 | 36 | 27.67
29.10.22 14:56:15 | 3.8 | 103.77 | 99.1 | 86.46 | 103.48 | 89.94 | 82.47 | 93.3 | 81.16 | 93.31 | 104.01 | 86.82 | 72.72 | 93.09 | 98.78 | 101.55 | 87.85 | 91.82 | 101.33 | 91.25 | 77.05 | 92.95 | 89.27 | 94.56 | 100.78 | 30 | 965 | 36 | 27.67
29.10.22 14:56:30 | 4.05 | 103.47 | 98.8 | 86.31 | 102.88 | 89.8 | 82.18 | 93 | 80.72 | 92.71 | 103.86 | 86.52 | 72.15 | 92.65 | 98.32 | 101.24 | 87.39 | 91.37 | 100.83 | 91.1 | 76.75 | 92.95 | 89.11 | 94.27 | 100.62 | 30 | 965 | 36 | 27.7
29.10.22 14:56:45 | 4.3 | 103.47 | 98.8 | 86.31 | 103.18 | 89.35 | 82.03 | 92.85 | 80.72 | 92.71 | 104.01 | 86.52 | 72.01 | 92.5 | 98.47 | 101.39 | 87.39 | 91.52 | 100.83 | 91.1 | 76.45 | 92.51 | 88.79 | 94.27 | 100.62 | 30 | 965 | 36 | 27.71
29.10.22 14:57:00 | 4.55 | 103.77 | 98.8 | 86.17 | 102.88 | 89.35 | 81.74 | 92.39 | 80.43 | 92.26 | 103.86 | 86.37 | 71.45 | 92.05 | 98.32 | 101.24 | 87.09 | 90.92 | 101 | 91.1 | 76.15 | 92.8 | 88.47 | 94.27 | 100.62 | 30 | 965 | 36 | 27.73
29.10.22 14:57:15 | 4.8 | 103.77 | 99.1 | 86.17 | 103.18 | 89.21 | 81.59 | 92.24 | 80.14 | 92.11 | 104.32 | 86.67 | 71.45 | 92.05 | 98.78 | 101.55 | 87.24 | 91.07 | 100.83 | 91.55 | 75.86 | 93.1 | 88.63 | 94.41 | 100.78 | 30 | 965 | 36 | 27.74
29.10.22 14:57:30 | 5.05 | 103.47 | 98.95 | 85.74 | 103.03 | 88.91 | 81.45 | 92.09 | 79.85 | 91.81 | 104.01 | 86.08 | 70.88 | 91.61 | 98.32 | 101.39 | 86.93 | 90.77 | 100.83 | 91.25 | 75.71 | 92.95 | 88.31 | 94.12 | 100.94 | 30 | 965 | 36 | 27.75
29.10.22 14:57:45 | 5.3 | 103.62 | 98.65 | 85.74 | 103.03 | 88.76 | 81.16 | 91.79 | 79.71 | 91.51 | 104.48 | 86.37 | 70.6 | 91.31 | 98.47 | 101.39 | 87.09 | 90.62 | 100.66 | 91.4 | 75.56 | 92.95 | 88.15 | 94.12 | 100.62 | 30 | 965 | 36 | 27.78
29.10.22 14:58:00 | 5.55 | 103.62 | 98.5 | 85.74 | 103.18 | 88.47 | 81.01 | 91.34 | 79.42 | 91.51 | 104.32 | 86.08 | 70.46 | 90.72 | 98.47 | 101.39 | 86.78 | 90.48 | 100.66 | 91.7 | 75.41 | 92.95 | 88.15 | 94.12 | 100.78 | 30 | 965 | 36 | 27.78
29.10.22 14:58:15 | 5.8 | 103.77 | 98.35 | 85.02 | 103.03 | 88.47 | 81.01 | 91.49 | 79.13 | 91.36 | 104.79 | 85.93 | 70.18 | 90.28 | 98.62 | 101.39 | 86.78 | 90.48 | 100.5 | 91.4 | 75.26 | 92.8 | 88 | 94.27 | 101.09 | 30 | 965 | 36 | 27.81
29.10.22 14:58:30 | 6.05 | 103.77 | 97.91 | 84.59 | 102.88 | 88.18 | 80.72 | 91.19 | 78.84 | 91.51 | 104.63 | 85.63 | 69.76 | 89.99 | 98.78 | 101.24 | 86.78 | 90.18 | 100.66 | 91.55 | 74.97 | 92.8 | 88 | 93.97 | 101.4 | 30 | 965 | 36 | 27.81
29.10.22 14:58:45 | 6.3 | 103.62 | 98.06 | 84.02 | 102.88 | 87.88 | 80.28 | 91.04 | 78.4 | 91.36 | 104.48 | 85.48 | 69.48 | 89.84 | 98.47 | 101.39 | 86.63 | 89.88 | 100.66 | 91.4 | 74.82 | 92.65 | 87.84 | 94.12 | 101.25 | 30 | 965 | 36 | 27.84
29.10.22 14:59:00 | 6.55 | 103.77 | 98.06 | 83.73 | 102.72 | 87.59 | 79.71 | 90.59 | 78.4 | 91.21 | 104.63 | 85.19 | 69.2 | 89.4 | 98.32 | 101.39 | 86.17 | 89.58 | 100.17 | 91.55 | 74.52 | 92.51 | 87.68 | 93.97 | 101.56 | 30 | 965 | 36 | 27.85
29.10.22 14:59:15 | 6.8 | 103.92 | 98.06 | 83.16 | 102.57 | 87.59 | 79.27 | 90.59 | 77.97 | 91.21 | 104.94 | 84.74 | 68.36 | 89.4 | 98.16 | 101.08 | 86.17 | 89.58 | 100.33 | 91.25 | 74.37 | 92.21 | 87.36 | 94.12 | 101.72 | 30 | 965 | 36 | 27.85
29.10.22 14:59:30 | 7.05 | 103.77 | 98.2 | 82.73 | 102.72 | 87.59 | 78.69 | 90.15 | 77.54 | 91.06 | 104.79 | 84.6 | 68.36 | 89.25 | 97.86 | 101.24 | 86.17 | 89.43 | 100.33 | 91.25 | 74.23 | 92.06 | 87.2 | 93.97 | 101.87 | 30 | 965 | 36 | 27.88
29.10.22 14:59:45 | 7.3 | 103.92 | 97.91 | 82.3 | 102.42 | 87.59 | 78.4 | 89.85 | 77.54 | 90.91 | 104.79 | 84.45 | 68.22 | 88.96 | 98.16 | 101.24 | 85.71 | 89.43 | 100.17 | 91.25 | 73.93 | 91.91 | 87.04 | 93.97 | 101.87 | 30 | 965 | 36 | 27.88
29.10.22 15:00:00 | 7.55 | 103.47 | 97.61 | 82.16 | 102.57 | 87.44 | 77.83 | 90 | 77.25 | 91.06 | 104.94 | 84.45 | 67.94 | 88.67 | 98.16 | 101.08 | 86.17 | 89.14 | 99.83 | 91.25 | 73.63 | 91.77 | 86.56 | 93.97 | 102.34 | 30 | 965 | 36 | 27.89
29.10.22 15:00:15 | 7.8 | 103.77 | 97.31 | 81.31 | 102.42 | 87.15 | 77.83 | 89.4 | 77.11 | 90.61 | 104.94 | 84.45 | 67.38 | 88.52 | 98.01 | 100.93 | 85.71 | 88.84 | 99.83 | 91.1 | 72.6 | 91.47 | 86.4 | 93.67 | 102.34 | 30 | 965 | 36 | 27.92
29.10.22 15:00:30 | 8.05 | 103.62 | 97.01 | 81.31 | 102.42 | 87.15 | 77.25 | 89.4 | 77.11 | 90.46 | 105.1 | 84.3 | 67.1 | 88.52 | 97.86 | 101.08 | 85.71 | 88.4 | 99.83 | 91.1 | 72.31 | 91.47 | 86.56 | 93.52 | 102.5 | 30 | 965 | 36 | 27.94
29.10.22 15:00:45 | 8.3 | 103.62 | 97.01 | 80.74 | 102.12 | 87.29 | 76.54 | 88.95 | 76.39 | 90.32 | 105.26 | 83.57 | 66.69 | 87.79 | 97.71 | 100.77 | 85.26 | 88.1 | 99.17 | 90.51 | 71.87 | 91.03 | 86.09 | 93.52 | 102.5 | 30 | 965 | 36 | 27.95
29.10.22 15:01:00 | 8.55 | 103.92 | 97.31 | 81.03 | 102.27 | 87.44 | 76.68 | 89.25 | 76.25 | 90.32 | 105.41 | 84.01 | 66.41 | 88.23 | 98.16 | 100.77 | 85.11 | 87.95 | 99.67 | 90.36 | 71.72 | 91.32 | 86.09 | 93.52 | 102.66 | 30 | 965 | 36 | 27.96
29.10.22 15:01:15 | 8.8 | 103.77 | 97.01 | 81.17 | 102.12 | 87.44 | 76.39 | 88.95 | 75.96 | 90.17 | 105.26 | 83.42 | 66.13 | 87.93 | 97.86 | 100.77 | 84.8 | 87.8 | 99.17 | 90.36 | 71.28 | 91.32 | 85.77 | 93.22 | 102.81 | 30 | 965 | 36 | 27.98
29.10.22 15:01:30 | 9.05 | 103.77 | 97.16 | 80.88 | 101.96 | 87.29 | 76.11 | 88.51 | 75.82 | 90.17 | 105.1 | 83.42 | 65.99 | 87.64 | 97.86 | 100.93 | 84.8 | 87.8 | 99.01 | 89.91 | 70.84 | 90.88 | 85.45 | 93.22 | 102.97 | 30 | 965 | 36 | 27.99
29.10.22 15:01:45 | 9.3 | 104.08 | 97.01 | 80.6 | 101.96 | 86.86 | 75.96 | 88.36 | 75.68 | 90.02 | 105.26 | 83.12 | 65.72 | 87.49 | 97.71 | 100.77 | 84.65 | 87.66 | 99.17 | 90.06 | 70.55 | 90.73 | 85.13 | 93.07 | 102.97 | 30 | 965 | 36 | 28.02
29.10.22 15:02:00 | 9.55 | 103.77 | 96.57 | 80.46 | 101.51 | 86.56 | 75.53 | 88.06 | 75.25 | 89.42 | 105.1 | 82.83 | 65.3 | 87.35 | 97.55 | 100.31 | 84.2 | 87.21 | 99.01 | 89.62 | 70.11 | 90.29 | 84.03 | 92.92 | 103.29 | 30 | 965 | 36 | 28.02
29.10.22 15:02:15 | 9.8 | 103.62 | 96.57 | 80.46 | 101.81 | 86.27 | 75.53 | 87.76 | 74.68 | 89.72 | 105.1 | 82.68 | 64.75 | 87.2 | 97.55 | 100.46 | 84.2 | 87.06 | 99.17 | 89.76 | 69.67 | 90.44 | 84.03 | 92.92 | 103.13 | 30 | 965 | 36 | 28.03
29.10.22 15:02:30 | 10.05 | 103.62 | 96.57 | 80.18 | 101.81 | 86.27 | 75.39 | 87.47 | 74.39 | 89.27 | 105.41 | 82.54 | 64.33 | 87.06 | 97.4 | 100.15 | 84.2 | 86.92 | 99.17 | 89.62 | 69.38 | 90.29 | 83.4 | 92.77 | 103.13 | 30 | 965 | 36 | 28.06
29.10.22 15:02:45 | 10.3 | 103.77 | 96.57 | 79.75 | 101.81 | 86.27 | 74.96 | 87.17 | 73.97 | 89.57 | 105.41 | 82.24 | 63.92 | 86.77 | 97.4 | 100.31 | 83.89 | 86.92 | 99.01 | 89.47 | 68.8 | 90.14 | 82.61 | 92.62 | 103.13 | 30 | 965 | 36 | 28.06
29.10.22 15:03:00 | 10.55 | 103.47 | 96.27 | 79.33 | 101.21 | 85.98 | 74.39 | 86.43 | 73.68 | 88.68 | 105.26 | 81.95 | 63.09 | 86.33 | 97.1 | 100 | 83.44 | 86.48 | 98.35 | 88.88 | 68.36 | 89.7 | 81.82 | 92.47 | 103.13 | 30 | 965 | 36 | 28.08
29.10.22 15:03:15 | 10.8 | 103.77 | 96.27 | 79.05 | 101.66 | 85.98 | 74.54 | 86.73 | 73.26 | 89.12 | 105.1 | 81.8 | 62.55 | 86.62 | 96.64 | 100.15 | 83.29 | 86.33 | 98.51 | 88.43 | 68.22 | 90.14 | 81.67 | 92.47 | 103.13 | 30 | 965 | 36 | 28.1
29.10.22 15:03:30 | 11.05 | 103.62 | 96.12 | 78.34 | 101.51 | 85.83 | 74.25 | 86.14 | 73.4 | 88.68 | 105.26 | 81.66 | 62.13 | 86.47 | 96.49 | 100.15 | 83.29 | 86.18 | 98.68 | 87.99 | 67.78 | 89.85 | 81.51 | 92.18 | 103.29 | 30 | 965 | 36 | 28.1
29.10.22 15:03:45 | 11.3 | 103.62 | 96.27 | 77.78 | 101.21 | 85.98 | 73.82 | 86.14 | 73.11 | 88.53 | 105.41 | 81.51 | 61.86 | 86.18 | 96.34 | 100.15 | 83.14 | 86.03 | 98.35 | 87.84 | 67.2 | 89.7 | 81.35 | 92.18 | 103.44 | 30 | 965 | 36 | 28.13
29.10.22 15:04:00 | 11.55 | 103.62 | 95.97 | 77.22 | 101.36 | 85.83 | 73.68 | 85.4 | 72.83 | 88.38 | 105.26 | 81.07 | 61.31 | 85.75 | 96.49 | 99.85 | 82.53 | 85.74 | 97.85 | 87.4 | 66.62 | 89.26 | 80.73 | 91.88 | 103.44 | 30 | 965 | 36 | 28.13
29.10.22 15:04:15 | 11.8 | 103.32 | 95.97 | 76.8 | 101.06 | 85.54 | 73.4 | 85.25 | 72.69 | 88.09 | 105.26 | 80.93 | 61.18 | 85.6 | 96.19 | 99.69 | 82.53 | 85.89 | 97.85 | 87.11 | 66.48 | 89.41 | 80.57 | 91.88 | 103.13 | 30 | 965 | 36 | 28.16
29.10.22 15:04:30 | 12.05 | 103.47 | 95.68 | 76.8 | 101.21 | 85.54 | 73.26 | 84.52 | 72.69 | 87.64 | 105.41 | 80.78 | 60.9 | 85.46 | 96.19 | 99.85 | 82.69 | 85.74 | 97.85 | 86.96 | 66.19 | 89.41 | 80.42 | 91.88 | 103.6 | 30 | 965 | 36 | 28.17
29.10.22 15:04:45 | 12.3 | 103.77 | 95.97 | 76.1 | 101.51 | 85.25 | 73.26 | 84.66 | 72.4 | 87.79 | 105.26 | 80.93 | 60.36 | 85.17 | 96.04 | 99.85 | 82.23 | 85.74 | 98.02 | 87.11 | 65.9 | 89.26 | 80.26 | 91.58 | 103.6 | 30 | 965 | 36 | 28.17
29.10.22 15:05:00 | 12.55 | 103.62 | 95.38 | 75.41 | 100.91 | 84.38 | 72.69 | 84.08 | 72.12 | 87.49 | 105.26 | 80.34 | 59.54 | 84.73 | 96.04 | 99.38 | 81.63 | 85.74 | 97.69 | 87.11 | 65.18 | 88.82 | 79.95 | 91.43 | 103.29 | 30 | 965 | 36 | 28.2
29.10.22 15:05:15 | 12.8 | 103.47 | 95.68 | 75.27 | 100.91 | 83.94 | 72.12 | 84.08 | 72.4 | 87.35 | 105.26 | 80.2 | 59.27 | 84.73 | 95.88 | 99.54 | 81.48 | 85.45 | 97.52 | 86.81 | 64.75 | 88.68 | 79.48 | 91.29 | 103.44 | 30 | 965 | 36 | 28.21
29.10.22 15:05:30 | 13.05 | 103.47 | 95.53 | 74.71 | 100.91 | 83.94 | 71.84 | 84.08 | 72.12 | 87.2 | 105.26 | 79.91 | 58.86 | 84.73 | 95.88 | 99.23 | 81.63 | 85.45 | 97.36 | 87.11 | 64.17 | 88.68 | 79.48 | 91.29 | 103.6 | 30 | 965 | 36 | 28.24
29.10.22 15:05:45 | 13.3 | 103.47 | 95.68 | 74.43 | 100.75 | 83.79 | 70.99 | 83.49 | 71.7 | 86.9 | 105.1 | 79.47 | 58.59 | 84.15 | 95.73 | 99.38 | 81.33 | 84.57 | 97.19 | 86.81 | 63.46 | 88.24 | 79.01 | 90.99 | 103.44 | 30 | 965 | 36 | 28.24
29.10.22 15:06:00 | 13.55 | 103.32 | 95.38 | 73.88 | 100.6 | 83.36 | 70.29 | 83.34 | 71.42 | 86.61 | 105.1 | 79.33 | 58.32 | 84.01 | 95.43 | 99.23 | 81.18 | 84.27 | 97.03 | 86.37 | 62.88 | 88.38 | 78.7 | 90.99 | 103.29 | 30 | 965 | 36 | 28.25
29.10.22 15:06:15 | 13.8 | 103.47 | 95.53 | 73.33 | 100.75 | 83.36 | 70.29 | 83.49 | 71.42 | 86.61 | 105.26 | 78.89 | 58.32 | 83.72 | 95.58 | 99.38 | 81.03 | 84.42 | 97.03 | 86.67 | 62.6 | 88.38 | 78.39 | 90.99 | 103.6 | 30 | 965 | 36 | 28.28
29.10.22 15:06:30 | 14.05 | 103.32 | 95.53 | 73.33 | 100.75 | 83.07 | 70.15 | 83.05 | 70.71 | 86.17 | 105.26 | 78.6 | 57.91 | 83.29 | 95.58 | 98.77 | 80.58 | 84.27 | 96.7 | 86.37 | 62.03 | 88.09 | 77.92 | 90.69 | 103.29 | 30 | 965 | 36 | 28.3
29.10.22 15:06:45 | 14.3 | 103.47 | 95.38 | 73.05 | 100.3 | 82.78 | 69.59 | 82.76 | 70.29 | 86.17 | 105.26 | 78.17 | 57.64 | 82.71 | 95.13 | 98.92 | 80.73 | 84.13 | 96.86 | 86.23 | 61.88 | 87.8 | 77.61 | 90.25 | 103.29 | 30 | 965 | 36 | 28.28
29.10.22 15:07:00 | 14.55 | 103.32 | 95.23 | 72.91 | 100.3 | 82.49 | 69.45 | 82.61 | 70.29 | 85.87 | 105.26 | 77.88 | 57.24 | 82.71 | 95.13 | 98.61 | 80.43 | 83.84 | 96.7 | 85.93 | 61.6 | 87.95 | 77.61 | 90.4 | 103.44 | 30 | 965 | 36 | 28.31
29.10.22 15:07:15 | 14.8 | 103.47 | 95.38 | 72.91 | 100.6 | 82.64 | 69.02 | 82.32 | 70.15 | 85.72 | 105.26 | 77.59 | 56.97 | 82.57 | 95.13 | 98.92 | 80.13 | 83.84 | 96.54 | 85.93 | 61.17 | 87.65 | 77.46 | 90.4 | 103.6 | 30 | 965 | 36 | 28.33
29.10.22 15:07:30 | 15.05 | 103.32 | 95.38 | 72.63 | 100.3 | 82.35 | 68.46 | 82.32 | 69.87 | 85.28 | 105.26 | 76.72 | 56.43 | 82.42 | 95.28 | 98.77 | 79.83 | 83.54 | 96.21 | 85.64 | 61.03 | 87.36 | 77.3 | 90.1 | 103.29 | 30 | 965 | 36 | 28.35
29.10.22 15:07:45 | 15.3 | 103.47 | 94.79 | 72.08 | 100 | 81.77 | 67.91 | 81.74 | 69.3 | 84.84 | 105.26 | 76.15 | 55.62 | 82.28 | 94.83 | 98.46 | 79.53 | 83.25 | 95.88 | 85.35 | 60.46 | 87.07 | 77.3 | 89.66 | 103.13 | 30 | 965 | 36 | 28.35
29.10.22 15:08:00 | 15.55 | 103.17 | 95.38 | 72.22 | 100 | 81.48 | 67.49 | 81.45 | 69.3 | 85.14 | 105.41 | 75.43 | 55.35 | 81.99 | 94.83 | 98.46 | 79.38 | 83.11 | 95.72 | 85.05 | 59.75 | 86.92 | 77.3 | 89.66 | 103.29 | 30 | 965 | 36 | 28.36
29.10.22 15:08:15 | 15.8 | 103.32 | 94.94 | 71.94 | 100.15 | 81.34 | 66.79 | 81.59 | 69.02 | 84.84 | 105.1 | 75 | 54.95 | 81.42 | 94.83 | 98.46 | 79.23 | 82.81 | 95.72 | 84.62 | 59.75 | 86.63 | 76.99 | 89.51 | 103.6 | 30 | 965 | 36 | 28.38
29.10.22 15:08:30 | 16.05 | 103.47 | 95.23 | 71.67 | 100.15 | 80.76 | 66.1 | 81.01 | 68.46 | 84.7 | 105.1 | 74.14 | 54.55 | 81.13 | 94.83 | 98.46 | 79.23 | 82.67 | 95.23 | 84.18 | 59.04 | 86.34 | 77.15 | 89.51 | 103.44 | 30 | 965 | 36 | 28.38
29.10.22 15:08:45 | 16.3 | 103.17 | 95.09 | 71.53 | 99.85 | 80.62 | 65.96 | 80.87 | 68.46 | 84.4 | 105.26 | 73.99 | 54.42 | 80.99 | 94.52 | 98.46 | 78.94 | 82.38 | 95.23 | 83.6 | 58.62 | 86.49 | 76.99 | 89.22 | 103.44 | 30 | 965 | 36 | 28.38
29.10.22 15:09:00 | 16.55 | 103.32 | 95.53 | 71.39 | 99.85 | 80.48 | 65.54 | 81.16 | 68.32 | 84.26 | 105.41 | 73.71 | 53.88 | 80.99 | 94.83 | 98.15 | 78.64 | 82.38 | 95.23 | 83.31 | 58.34 | 86.2 | 76.99 | 89.22 | 103.44 | 30 | 965 | 36 | 28.41
29.10.22 15:09:15 | 16.8 | 103.17 | 94.64 | 71.26 | 99.85 | 80.33 | 64.99 | 80.57 | 68.18 | 83.82 | 105.1 | 73.28 | 53.75 | 80.7 | 94.07 | 98.15 | 78.34 | 82.09 | 94.57 | 82.73 | 57.77 | 85.91 | 76.99 | 88.78 | 103.6 | 30 | 965 | 36 | 28.42
29.10.22 15:09:30 | 17.05 | 102.86 | 94.5 | 70.98 | 99.55 | 79.76 | 64.57 | 80.28 | 67.49 | 83.67 | 104.94 | 72.85 | 53.21 | 80.13 | 94.07 | 97.85 | 77.89 | 81.65 | 94.08 | 82.44 | 57.07 | 85.62 | 76.68 | 88.63 | 103.44 | 30 | 965 | 36 | 28.44
29.10.22 15:09:45 | 17.3 | 103.32 | 94.79 | 70.98 | 99.7 | 80.19 | 64.43 | 80.14 | 67.21 | 83.67 | 105.1 | 72.85 | 53.21 | 79.99 | 94.22 | 98 | 77.75 | 81.94 | 93.92 | 82.29 | 56.65 | 85.47 | 76.84 | 88.78 | 103.29 | 30 | 965 | 36 | 28.46
29.10.22 15:10:00 | 17.55 | 102.86 | 94.64 | 70.71 | 99.4 | 79.76 | 63.88 | 79.99 | 66.51 | 83.38 | 105.26 | 72.57 | 53.08 | 79.99 | 94.22 | 97.85 | 77.6 | 81.65 | 93.76 | 81.86 | 56.23 | 85.33 | 76.99 | 88.33 | 103.44 | 30 | 965 | 36 | 28.46
29.10.22 15:10:15 | 17.8 | 103.17 | 94.64 | 70.71 | 99.4 | 80.04 | 63.47 | 79.56 | 66.1 | 83.23 | 105.41 | 72.43 | 52.95 | 79.7 | 94.07 | 97.54 | 77.3 | 81.22 | 93.43 | 81.86 | 55.66 | 85.04 | 77.15 | 88.33 | 103.44 | 30 | 965 | 36 | 28.46
29.10.22 15:10:30 | 18.05 | 103.01 | 94.64 | 70.3 | 99.4 | 79.62 | 62.92 | 79.56 | 65.96 | 83.09 | 105.41 | 72.14 | 52.68 | 79.7 | 93.77 | 97.54 | 77 | 80.93 | 93.27 | 81.57 | 55.24 | 84.89 | 77.15 | 88.04 | 103.76 | 30 | 965 | 36 | 28.49
29.10.22 15:10:45 | 18.3 | 103.17 | 94.35 | 70.3 | 99.1 | 79.62 | 62.23 | 79.27 | 65.96 | 82.5 | 105.1 | 71.57 | 52.28 | 79.42 | 93.62 | 97.69 | 76.85 | 80.93 | 92.78 | 80.99 | 54.83 | 84.75 | 77.46 | 88.04 | 103.44 | 30 | 965 | 36 | 28.5
29.10.22 15:11:00 | 18.55 | 103.01 | 93.91 | 69.89 | 99.25 | 79.62 | 61.96 | 78.98 | 65.54 | 82.65 | 105.1 | 71.29 | 51.88 | 79.27 | 93.47 | 97.54 | 76.41 | 80.64 | 92.45 | 80.7 | 54.13 | 84.17 | 77.61 | 87.75 | 103.29 | 30 | 965 | 36 | 28.52
29.10.22 15:11:15 | 18.8 | 102.86 | 93.76 | 69.89 | 98.95 | 78.76 | 61.54 | 78.69 | 65.54 | 82.36 | 105.26 | 70.16 | 51.62 | 78.99 | 93.02 | 97.23 | 75.97 | 80.35 | 91.64 | 80.27 | 53.71 | 84.03 | 77.46 | 87.6 | 103.13 | 30 | 965 | 36 | 28.52
29.10.22 15:11:30 | 19.05 | 102.86 | 93.76 | 69.61 | 98.65 | 78.47 | 61 | 78.4 | 65.26 | 82.07 | 105.1 | 70.02 | 51.22 | 78.28 | 93.02 | 96.93 | 75.67 | 80.35 | 91.64 | 80.41 | 53.01 | 83.88 | 77.46 | 87.31 | 103.44 | 30 | 965 | 36 | 28.53
29.10.22 15:11:45 | 19.3 | 103.01 | 93.76 | 69.07 | 98.95 | 78.19 | 60.59 | 78.12 | 65.26 | 81.92 | 105.26 | 69.45 | 50.69 | 78.28 | 93.02 | 97.23 | 75.52 | 79.92 | 91.48 | 80.27 | 52.74 | 84.03 | 77.61 | 87.31 | 103.6 | 30 | 965 | 36 | 28.55
29.10.22 15:12:00 | 19.55 | 103.17 | 93.47 | 69.2 | 98.65 | 77.9 | 60.04 | 77.97 | 64.85 | 81.49 | 105.26 | 69.03 | 50.56 | 77.71 | 92.72 | 97.08 | 74.93 | 79.63 | 91 | 79.98 | 52.18 | 83.45 | 77.61 | 87.02 | 103.44 | 30 | 965 | 36 | 28.58
29.10.22 15:12:15 | 19.8 | 102.56 | 93.17 | 68.93 | 98.5 | 77.62 | 59.63 | 77.68 | 64.57 | 81.05 | 105.41 | 68.61 | 50.03 | 77.43 | 92.57 | 96.77 | 74.49 | 79.34 | 90.03 | 79.84 | 51.77 | 83.02 | 77.3 | 86.87 | 103.13 | 30 | 965 | 36 | 28.58
29.10.22 15:12:30 | 20.05 | 102.86 | 92.88 | 68.93 | 98.8 | 77.33 | 59.63 | 77.68 | 64.57 | 81.05 | 105.26 | 68.47 | 50.03 | 77.43 | 92.42 | 96.62 | 74.34 | 79.48 | 89.87 | 79.84 | 51.49 | 83.02 | 77.3 | 86.72 | 103.44 | 30 | 965 | 36 | 28.59
29.10.22 15:12:45 | 20.3 | 102.71 | 92.88 | 68.66 | 98.65 | 76.62 | 59.5 | 77.4 | 64.16 | 80.76 | 105.1 | 68.33 | 49.5 | 77.43 | 92.42 | 96.62 | 73.9 | 79.19 | 89.54 | 79.84 | 50.66 | 82.73 | 76.99 | 86.72 | 103.13 | 30 | 965 | 36 | 28.6
29.10.22 15:13:00 | 20.55 | 102.71 | 92.58 | 68.93 | 98.5 | 76.48 | 58.95 | 76.82 | 63.6 | 80.76 | 105.57 | 68.04 | 49.37 | 77.15 | 92.57 | 96.93 | 73.9 | 79.05 | 89.54 | 79.98 | 50.66 | 82.58 | 77.46 | 86.58 | 103.44 | 30 | 965 | 36 | 28.61
29.10.22 15:13:15 | 20.8 | 102.86 | 92.73 | 68.52 | 98.5 | 76.76 | 58.95 | 76.68 | 63.33 | 80.47 | 105.57 | 67.76 | 48.97 | 76.72 | 92.57 | 96.77 | 73.61 | 78.48 | 89.22 | 79.84 | 50.11 | 82.3 | 77.61 | 86.43 | 103.44 | 30 | 965 | 36 | 28.61
29.10.22 15:13:30 | 21.05 | 102.56 | 92.15 | 68.11 | 98.35 | 76.34 | 58.41 | 76.54 | 62.78 | 79.89 | 105.41 | 67.48 | 48.71 | 76.44 | 92.12 | 96.32 | 73.17 | 78.33 | 88.58 | 79.41 | 49.83 | 82.01 | 77.61 | 86.14 | 103.13 | 30 | 965 | 36 | 28.63
29.10.22 15:13:45 | 21.3 | 102.86 | 92.29 | 68.38 | 98.65 | 76.48 | 58.54 | 76.25 | 62.78 | 79.89 | 105.72 | 67.2 | 48.32 | 76.3 | 91.97 | 96.32 | 73.17 | 78.33 | 88.74 | 79.55 | 49.42 | 82.01 | 77.77 | 85.85 | 103.44 | 30 | 965 | 36 | 28.63
29.10.22 15:14:00 | 21.55 | 102.71 | 91.71 | 68.25 | 98.35 | 76.62 | 58.14 | 75.96 | 62.23 | 79.75 | 105.57 | 67.06 | 48.32 | 76.02 | 91.97 | 96.47 | 73.32 | 78.33 | 88.58 | 79.12 | 48.87 | 81.58 | 77.77 | 85.85 | 103.76 | 30 | 965 | 36 | 28.67
29.10.22 15:14:15 | 21.8 | 102.56 | 91.85 | 68.11 | 98.35 | 75.91 | 57.73 | 75.53 | 61.96 | 79.17 | 105.88 | 66.22 | 48.32 | 75.59 | 91.52 | 96.47 | 72.88 | 78.04 | 88.26 | 78.69 | 48.46 | 81.29 | 77.77 | 85.56 | 103.6 | 30 | 965 | 36 | 28.67
29.10.22 15:14:30 | 22.05 | 102.56 | 91.71 | 67.43 | 98.05 | 75.77 | 57.46 | 75.39 | 61.68 | 79.03 | 105.26 | 65.67 | 48.32 | 75.45 | 91.52 | 96.01 | 72.73 | 77.76 | 87.94 | 78.4 | 47.91 | 81.01 | 76.99 | 85.12 | 103.29 | 30 | 965 | 36 | 28.69
29.10.22 15:14:45 | 22.3 | 102.41 | 91.56 | 67.43 | 97.9 | 75.91 | 57.33 | 75.25 | 61.54 | 78.88 | 105.41 | 65.39 | 48.32 | 75.17 | 91.37 | 96.01 | 72.44 | 77.61 | 87.62 | 77.83 | 47.36 | 80.44 | 76.99 | 84.97 | 103.29 | 30 | 965 | 36 | 28.69
29.10.22 15:15:00 | 22.55 | 102.41 | 91.71 | 67.16 | 97.9 | 75.77 | 57.06 | 74.54 | 61.27 | 78.45 | 105.72 | 65.11 | 48.05 | 75.17 | 91.07 | 95.86 | 72.29 | 77.33 | 87.14 | 77.54 | 47.23 | 80.29 | 76.53 | 84.83 | 103.29 | 30 | 965 | 36 | 28.7
29.10.22 15:15:15 | 22.8 | 102.41 | 91.56 | 67.02 | 97.9 | 75.49 | 56.79 | 74.25 | 61 | 78.31 | 105.41 | 64.69 | 47.66 | 75.17 | 91.07 | 95.71 | 72 | 77.18 | 86.98 | 77.26 | 46.68 | 80.29 | 76.37 | 84.39 | 103.13 | 30 | 965 | 36 | 28.71
29.10.22 15:15:30 | 23.05 | 102.11 | 91.12 | 66.62 | 97.75 | 75.21 | 56.25 | 73.97 | 60.72 | 78.02 | 105.41 | 64.28 | 47.14 | 75.03 | 90.62 | 95.4 | 71.56 | 77.04 | 86.66 | 76.97 | 46.41 | 80.01 | 76.53 | 83.96 | 103.29 | 30 | 965 | 36 | 28.74
29.10.22 15:15:45 | 23.3 | 102.26 | 90.98 | 66.35 | 98.05 | 75.35 | 56.11 | 73.82 | 60.45 | 77.88 | 105.72 | 64.14 | 47.14 | 74.75 | 90.62 | 95.55 | 71.56 | 77.33 | 86.5 | 76.55 | 46.14 | 79.72 | 76.37 | 83.81 | 103.6 | 30 | 965 | 36 | 28.74
29.10.22 15:16:00 | 23.55 | 102.26 | 90.83 | 66.48 | 97.45 | 75.21 | 55.84 | 72.97 | 59.9 | 77.59 | 105.72 | 63.86 | 47.01 | 74.61 | 90.33 | 95.4 | 71.41 | 77.04 | 86.66 | 75.98 | 45.59 | 79.58 | 76.07 | 83.38 | 103.6 | 30 | 965 | 36 | 28.74
29.10.22 15:16:15 | 23.8 | 102.26 | 90.83 | 66.08 | 97.6 | 74.78 | 55.3 | 73.11 | 59.63 | 77.3 | 105.57 | 63.17 | 46.75 | 73.91 | 90.33 | 95.25 | 71.12 | 76.76 | 86.34 | 75.83 | 45.18 | 79.58 | 75.45 | 83.09 | 103.44 | 30 | 965 | 36 | 28.77
29.10.22 15:16:30 | 24.05 | 102.11 | 90.83 | 65.54 | 97.3 | 74.78 | 55.04 | 72.4 | 58.95 | 76.87 | 105.41 | 62.75 | 46.48 | 73.49 | 90.18 | 94.79 | 70.54 | 76.9 | 86.02 | 75.69 | 44.91 | 79.01 | 75.45 | 82.94 | 103.44 | 30 | 965 | 36 | 28.78
29.10.22 15:16:45 | 24.3 | 101.96 | 90.54 | 65.54 | 97 | 74.78 | 55.04 | 72.69 | 58.68 | 76.87 | 105.57 | 62.75 | 46.35 | 73.49 | 90.33 | 95.1 | 70.54 | 76.9 | 86.02 | 75.41 | 44.5 | 78.73 | 75.14 | 82.94 | 103.44 | 30 | 965 | 36 | 28.78
29.10.22 15:17:00 | 24.55 | 102.11 | 90.39 | 65.13 | 97.3 | 74.64 | 54.63 | 72.26 | 58 | 76.59 | 105.41 | 62.34 | 46.35 | 73.35 | 90.33 | 95.1 | 70.39 | 77.33 | 85.54 | 74.84 | 44.23 | 78.59 | 74.83 | 82.65 | 103.29 | 30 | 965 | 36 | 28.8
29.10.22 15:17:15 | 24.8 | 102.26 | 90.39 | 65.27 | 97.15 | 74.5 | 54.5 | 72.12 | 58 | 76.3 | 105.72 | 62.06 | 46.09 | 73.21 | 90.18 | 94.94 | 69.96 | 77.76 | 85.7 | 74.42 | 43.83 | 78.59 | 74.83 | 82.22 | 103.44 | 30 | 965 | 36 | 28.81
29.10.22 15:17:30 | 25.05 | 101.96 | 90.25 | 65.13 | 96.7 | 74.5 | 54.1 | 71.7 | 57.46 | 76.02 | 105.41 | 61.92 | 45.57 | 72.93 | 89.88 | 94.79 | 69.96 | 77.47 | 85.22 | 74.42 | 43.42 | 78.16 | 74.52 | 82.08 | 103.29 | 30 | 965 | 36 | 28.81
29.10.22 15:17:45 | 25.3 | 101.96 | 89.81 | 64.73 | 96.7 | 74.22 | 53.7 | 71.42 | 57.6 | 75.59 | 105.1 | 61.51 | 44.92 | 72.51 | 89.88 | 94.64 | 69.52 | 77.33 | 85.22 | 74.13 | 42.88 | 77.74 | 74.37 | 81.36 | 103.29 | 30 | 965 | 36 | 28.81
29.10.22 15:18:00 | 25.55 | 102.11 | 89.96 | 64.59 | 96.7 | 73.94 | 53.43 | 70.99 | 57.6 | 75.44 | 105.41 | 61.51 | 44.66 | 72.37 | 89.88 | 94.49 | 69.23 | 77.33 | 84.74 | 74.42 | 42.61 | 77.45 | 74.37 | 80.78 | 103.29 | 30 | 965 | 36 | 28.83
29.10.22 15:18:15 | 25.8 | 101.81 | 89.67 | 63.92 | 96.4 | 73.8 | 53.16 | 70.85 | 57.06 | 75.02 | 105.26 | 61.37 | 44.27 | 71.95 | 89.58 | 94.34 | 68.8 | 77.18 | 84.59 | 74.28 | 41.94 | 77.31 | 74.22 | 79.92 | 103.13 | 30 | 965 | 36 | 28.84
29.10.22 15:18:30 | 26.05 | 101.81 | 89.38 | 63.38 | 96.4 | 73.51 | 52.89 | 70.57 | 56.92 | 74.59 | 105.26 | 61.1 | 43.88 | 71.95 | 89.73 | 94.03 | 68.65 | 76.9 | 84.11 | 74.28 | 41.8 | 77.17 | 74.22 | 79.07 | 103.29 | 30 | 965 | 36 | 28.85
29.10.22 15:18:45 | 26.3 | 101.96 | 89.38 | 63.52 | 96.4 | 73.51 | 52.76 | 70.29 | 56.92 | 74.59 | 105.26 | 60.69 | 43.88 | 71.81 | 89.58 | 93.88 | 68.51 | 76.9 | 83.79 | 74.42 | 41.54 | 77.17 | 74.06 | 78.21 | 103.29 | 30 | 965 | 36 | 28.88
29.10.22 15:19:00 | 26.55 | 101.81 | 88.94 | 62.85 | 96.11 | 73.51 | 52.1 | 69.73 | 56.79 | 74.02 | 105.26 | 60.55 | 43.36 | 71.68 | 89.58 | 94.03 | 68.07 | 76.76 | 83.47 | 73.99 | 41.27 | 76.61 | 74.06 | 77.07 | 103.44 | 30 | 965 | 36 | 28.88
29.10.22 15:19:15 | 26.8 | 101.81 | 89.23 | 63.12 | 96.26 | 73.09 | 51.83 | 70.15 | 56.38 | 74.16 | 105.41 | 60.28 | 43.36 | 71.4 | 89.43 | 93.88 | 67.78 | 76.47 | 83 | 73.99 | 40.73 | 76.32 | 74.06 | 75.8 | 103.44 | 30 | 965 | 36 | 28.88
29.10.22 15:19:30 | 27.05 | 101.65 | 88.94 | 62.98 | 96.11 | 73.09 | 51.3 | 69.45 | 55.57 | 73.88 | 105.41 | 59.86 | 43.11 | 70.98 | 89.14 | 93.73 | 67.78 | 76.04 | 82.84 | 73.85 | 40.33 | 76.18 | 73.76 | 74.39 | 103.29 | 30 | 965 | 36 | 28.89
29.10.22 15:19:45 | 27.3 | 101.65 | 88.94 | 62.45 | 95.96 | 72.95 | 50.77 | 69.3 | 55.04 | 73.46 | 105.26 | 59.73 | 42.72 | 70.98 | 89.28 | 93.58 | 67.64 | 75.76 | 82.37 | 73.71 | 39.93 | 76.04 | 73.91 | 73.4 | 103.44 | 30 | 965 | 36 | 28.91
29.10.22 15:20:00 | 27.55 | 101.65 | 88.8 | 62.45 | 96.11 | 72.67 | 50.64 | 69.3 | 54.77 | 73.17 | 105.41 | 59.45 | 42.85 | 70.98 | 89.28 | 93.58 | 67.5 | 75.9 | 81.89 | 73.85 | 39.66 | 75.48 | 73.45 | 72.28 | 103.29 | 30 | 965 | 36 | 28.92
29.10.22 15:20:15 | 27.8 | 101.65 | 88.65 | 62.31 | 96.11 | 72.81 | 50.64 | 68.88 | 54.63 | 73.03 | 105.41 | 59.04 | 42.59 | 70.98 | 88.84 | 93.43 | 67.5 | 75.76 | 81.42 | 73.71 | 39.39 | 75.34 | 73.45 | 71.17 | 103.44 | 30 | 965 | 36 | 28.92
29.10.22 15:20:30 | 28.05 | 101.5 | 88.51 | 61.91 | 95.51 | 72.39 | 49.97 | 68.74 | 54.77 | 72.89 | 105.1 | 58.77 | 42.46 | 70.56 | 88.69 | 93.43 | 67.35 | 75.61 | 80.95 | 73.43 | 38.86 | 75.2 | 72.68 | 70.19 | 103.44 | 30 | 965 | 36 | 28.95
29.10.22 15:20:45 | 28.3 | 101.35 | 88.07 | 61.78 | 95.51 | 71.97 | 49.84 | 68.32 | 54.1 | 72.18 | 105.26 | 58.23 | 42.2 | 70.43 | 88.54 | 92.97 | 67.35 | 75.33 | 80.32 | 73.01 | 38.33 | 74.78 | 71.92 | 68.94 | 103.44 | 30 | 965 | 36 | 28.94

## Oxygen Orginal
Measurement Name : | 20221029_SDR710_cohort20221021_HOT_WT |  | Generated On : | 29/10/2022, 15:21:33 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 29/10/2022, 14:52:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 29/10/2022, 15:20:56 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
29.10.22 14:52:29 | 0.03 | 103.74 | 98.8 | 89.3 | 103.89 | 87.82 | 81.37 | 90.79 | 81.37 | 92.74 | 99.57 | 86.19 | 75.9 | 92.14 | 96.21 | 97.89 | 83.7 | 90.49 | 87.52 | 88.26 | 74.61 | 93.79 | 80.06 | 92.29 | 96.06 | 30 | 965 | 36 | 27.56
29.10.22 14:52:44 | 0.28 | 104.2 | 99.42 | 89.75 | 104.52 | 88.71 | 81.8 | 91.39 | 81.37 | 93.49 | 100.18 | 85.9 | 76.61 | 92.89 | 96.52 | 98.5 | 83.55 | 91.09 | 87.97 | 88.56 | 74.9 | 94.4 | 80.64 | 93.04 | 96.82 | 30 | 965 | 36 | 27.53
29.10.22 14:53:00 | 0.55 | 104.67 | 99.57 | 89.45 | 104.52 | 88.71 | 81.95 | 91.39 | 81.37 | 93.49 | 100.34 | 85.31 | 77.04 | 93.19 | 96.97 | 98.8 | 83.84 | 91.24 | 88.26 | 88.56 | 74.61 | 94.4 | 80.93 | 93.34 | 96.82 | 30 | 965 | 36 | 27.53
29.10.22 14:53:15 | 0.8 | 105.45 | 100.18 | 89.45 | 104.98 | 89.15 | 82.24 | 91.99 | 81.51 | 93.94 | 101.11 | 85.6 | 77.47 | 93.34 | 97.28 | 98.96 | 83.99 | 91.84 | 88.86 | 89.3 | 74.76 | 94.85 | 81.37 | 93.94 | 97.58 | 30 | 965 | 36 | 27.53
29.10.22 14:53:30 | 1.05 | 105.45 | 100.65 | 89.3 | 105.29 | 89.3 | 82.53 | 92.14 | 81.95 | 94.25 | 101.42 | 85.75 | 77.18 | 93.94 | 97.74 | 99.26 | 84.14 | 92.14 | 89.3 | 89.9 | 74.9 | 94.85 | 81.66 | 94.25 | 97.74 | 30 | 965 | 36 | 27.53
29.10.22 14:53:45 | 1.3 | 105.92 | 100.8 | 89.15 | 105.29 | 89.3 | 82.68 | 92.29 | 81.8 | 94.09 | 101.72 | 85.9 | 76.61 | 93.79 | 98.04 | 99.42 | 84.28 | 92.14 | 89.45 | 90.19 | 74.9 | 94.4 | 81.8 | 94.4 | 97.89 | 30 | 965 | 36 | 27.56
29.10.22 14:54:00 | 1.55 | 106.08 | 100.95 | 89.15 | 105.61 | 89.45 | 82.82 | 92.29 | 82.09 | 94.4 | 101.88 | 85.9 | 76.47 | 94.25 | 98.04 | 99.88 | 84.28 | 92.14 | 89.75 | 90.19 | 74.61 | 94.25 | 81.8 | 94.7 | 98.04 | 30 | 965 | 36 | 27.56
29.10.22 14:54:15 | 1.8 | 106.39 | 100.95 | 89.3 | 105.61 | 89.9 | 82.53 | 92.74 | 81.95 | 94.25 | 102.19 | 85.75 | 75.75 | 94.25 | 98.19 | 99.88 | 84.28 | 92.29 | 90.05 | 90.64 | 74.61 | 93.94 | 81.51 | 95 | 98.35 | 30 | 965 | 36 | 27.58
29.10.22 14:54:30 | 2.05 | 106.39 | 101.11 | 89.3 | 106.08 | 90.19 | 82.82 | 92.89 | 82.09 | 93.94 | 102.81 | 85.6 | 75.61 | 94.4 | 98.19 | 100.03 | 84.28 | 92.44 | 90.05 | 90.94 | 74.33 | 93.79 | 81.66 | 95 | 98.19 | 30 | 965 | 36 | 27.59
29.10.22 14:54:45 | 2.3 | 106.7 | 101.57 | 89 | 105.61 | 90.05 | 82.53 | 93.04 | 82.24 | 93.79 | 102.81 | 85.9 | 75.04 | 94.55 | 98.35 | 99.88 | 84.28 | 91.99 | 90.49 | 91.09 | 74.33 | 93.94 | 81.51 | 95.15 | 98.5 | 30 | 965 | 36 | 27.6
29.10.22 14:55:00 | 2.55 | 106.39 | 101.42 | 89.15 | 105.61 | 89.9 | 82.53 | 93.04 | 81.95 | 93.79 | 103.27 | 85.75 | 74.61 | 94.4 | 98.5 | 100.34 | 84.28 | 92.44 | 90.49 | 91.24 | 74.19 | 93.94 | 81.66 | 95.45 | 98.35 | 30 | 965 | 36 | 27.61
29.10.22 14:55:15 | 2.8 | 106.7 | 101.57 | 89.15 | 106.23 | 90.34 | 82.38 | 92.89 | 81.8 | 93.64 | 103.12 | 85.75 | 73.9 | 94.7 | 98.65 | 100.49 | 84.14 | 92.44 | 90.79 | 91.39 | 74.05 | 94.09 | 81.51 | 95.45 | 98.5 | 30 | 965 | 36 | 27.61
29.10.22 14:55:30 | 3.05 | 106.86 | 101.88 | 89.15 | 106.23 | 90.49 | 82.09 | 93.04 | 81.37 | 93.79 | 103.43 | 86.05 | 73.62 | 94.7 | 98.35 | 100.65 | 83.99 | 92.29 | 90.94 | 91.24 | 73.76 | 94.09 | 81.22 | 95.45 | 98.65 | 30 | 965 | 36 | 27.63
29.10.22 14:55:45 | 3.3 | 107.02 | 102.03 | 89.15 | 106.23 | 90.34 | 82.09 | 92.89 | 81.37 | 93.49 | 103.74 | 85.9 | 73.19 | 94.7 | 98.5 | 100.65 | 84.14 | 91.99 | 91.24 | 91.54 | 73.62 | 94.25 | 81.08 | 95.45 | 98.8 | 30 | 965 | 36 | 27.67
29.10.22 14:56:00 | 3.55 | 107.17 | 102.19 | 89 | 106.08 | 90.64 | 82.09 | 92.74 | 81.51 | 93.34 | 103.74 | 86.19 | 72.77 | 94.55 | 98.65 | 100.65 | 83.99 | 91.99 | 91.09 | 91.54 | 73.34 | 94.55 | 80.93 | 95.61 | 98.8 | 30 | 965 | 36 | 27.67
29.10.22 14:56:15 | 3.8 | 107.33 | 102.5 | 89.15 | 106.39 | 90.94 | 82.24 | 93.04 | 80.93 | 93.34 | 104.2 | 86.05 | 72.63 | 94.7 | 98.96 | 100.8 | 83.99 | 91.99 | 91.09 | 91.84 | 73.19 | 94.7 | 80.79 | 95.76 | 98.8 | 30 | 965 | 36 | 27.67
29.10.22 14:56:30 | 4.05 | 107.02 | 102.19 | 89 | 105.76 | 90.79 | 81.95 | 92.74 | 80.5 | 92.74 | 104.05 | 85.75 | 72.06 | 94.25 | 98.5 | 100.49 | 83.55 | 91.54 | 90.64 | 91.69 | 72.91 | 94.7 | 80.64 | 95.45 | 98.65 | 30 | 965 | 36 | 27.7
29.10.22 14:56:45 | 4.3 | 107.02 | 102.19 | 89 | 106.08 | 90.34 | 81.8 | 92.59 | 80.5 | 92.74 | 104.2 | 85.75 | 71.92 | 94.09 | 98.65 | 100.65 | 83.55 | 91.69 | 90.64 | 91.69 | 72.63 | 94.25 | 80.35 | 95.45 | 98.65 | 30 | 965 | 36 | 27.71
29.10.22 14:57:00 | 4.55 | 107.33 | 102.19 | 88.86 | 105.76 | 90.34 | 81.51 | 92.14 | 80.21 | 92.29 | 104.05 | 85.6 | 71.36 | 93.64 | 98.5 | 100.49 | 83.26 | 91.09 | 90.79 | 91.69 | 72.35 | 94.55 | 80.06 | 95.45 | 98.65 | 30 | 965 | 36 | 27.73
29.10.22 14:57:15 | 4.8 | 107.33 | 102.5 | 88.86 | 106.08 | 90.19 | 81.37 | 91.99 | 79.92 | 92.14 | 104.52 | 85.9 | 71.36 | 93.64 | 98.96 | 100.8 | 83.41 | 91.24 | 90.64 | 92.14 | 72.06 | 94.85 | 80.21 | 95.61 | 98.8 | 30 | 965 | 36 | 27.74
29.10.22 14:57:30 | 5.05 | 107.02 | 102.34 | 88.41 | 105.92 | 89.9 | 81.22 | 91.84 | 79.63 | 91.84 | 104.2 | 85.31 | 70.8 | 93.19 | 98.5 | 100.65 | 83.11 | 90.94 | 90.64 | 91.84 | 71.92 | 94.7 | 79.92 | 95.3 | 98.96 | 30 | 965 | 36 | 27.75
29.10.22 14:57:45 | 5.3 | 107.17 | 102.03 | 88.41 | 105.92 | 89.75 | 80.93 | 91.54 | 79.49 | 91.54 | 104.67 | 85.6 | 70.52 | 92.89 | 98.65 | 100.65 | 83.26 | 90.79 | 90.49 | 91.99 | 71.78 | 94.7 | 79.77 | 95.3 | 98.65 | 30 | 965 | 36 | 27.78
29.10.22 14:58:00 | 5.55 | 107.17 | 101.88 | 88.41 | 106.08 | 89.45 | 80.79 | 91.09 | 79.2 | 91.54 | 104.52 | 85.31 | 70.37 | 92.29 | 98.65 | 100.65 | 82.97 | 90.64 | 90.49 | 92.29 | 71.64 | 94.7 | 79.77 | 95.3 | 98.8 | 30 | 965 | 36 | 27.78
29.10.22 14:58:15 | 5.8 | 107.33 | 101.72 | 87.67 | 105.92 | 89.45 | 80.79 | 91.24 | 78.91 | 91.39 | 104.98 | 85.16 | 70.09 | 91.84 | 98.8 | 100.65 | 82.97 | 90.64 | 90.34 | 91.99 | 71.5 | 94.55 | 79.63 | 95.45 | 99.11 | 30 | 965 | 36 | 27.81
29.10.22 14:58:30 | 6.05 | 107.33 | 101.26 | 87.23 | 105.76 | 89.15 | 80.5 | 90.94 | 78.62 | 91.54 | 104.83 | 84.87 | 69.67 | 91.54 | 98.96 | 100.49 | 82.97 | 90.34 | 90.49 | 92.14 | 71.22 | 94.55 | 79.63 | 95.15 | 99.42 | 30 | 965 | 36 | 27.81
29.10.22 14:58:45 | 6.3 | 107.17 | 101.42 | 86.64 | 105.76 | 88.86 | 80.06 | 90.79 | 78.19 | 91.39 | 104.67 | 84.72 | 69.39 | 91.39 | 98.65 | 100.65 | 82.82 | 90.05 | 90.49 | 91.99 | 71.08 | 94.4 | 79.49 | 95.3 | 99.26 | 30 | 965 | 36 | 27.84
29.10.22 14:59:00 | 6.55 | 107.33 | 101.42 | 86.34 | 105.61 | 88.56 | 79.49 | 90.34 | 78.19 | 91.24 | 104.83 | 84.43 | 69.11 | 90.94 | 98.5 | 100.65 | 82.38 | 89.75 | 90.05 | 92.14 | 70.8 | 94.25 | 79.34 | 95.15 | 99.57 | 30 | 965 | 36 | 27.85
29.10.22 14:59:15 | 6.8 | 107.49 | 101.42 | 85.75 | 105.45 | 88.56 | 79.05 | 90.34 | 77.76 | 91.24 | 105.14 | 83.99 | 68.28 | 90.94 | 98.35 | 100.34 | 82.38 | 89.75 | 90.19 | 91.84 | 70.66 | 93.94 | 79.05 | 95.3 | 99.72 | 30 | 965 | 36 | 27.85
29.10.22 14:59:30 | 7.05 | 107.33 | 101.57 | 85.31 | 105.61 | 88.56 | 78.48 | 89.9 | 77.33 | 91.09 | 104.98 | 83.84 | 68.28 | 90.79 | 98.04 | 100.49 | 82.38 | 89.6 | 90.19 | 91.84 | 70.52 | 93.79 | 78.91 | 95.15 | 99.88 | 30 | 965 | 36 | 27.88
29.10.22 14:59:45 | 7.3 | 107.49 | 101.26 | 84.87 | 105.29 | 88.56 | 78.19 | 89.6 | 77.33 | 90.94 | 104.98 | 83.7 | 68.14 | 90.49 | 98.35 | 100.49 | 81.95 | 89.6 | 90.05 | 91.84 | 70.23 | 93.64 | 78.76 | 95.15 | 99.88 | 30 | 965 | 36 | 27.88
29.10.22 15:00:00 | 7.55 | 107.02 | 100.95 | 84.72 | 105.45 | 88.41 | 77.61 | 89.75 | 77.04 | 91.09 | 105.14 | 83.7 | 67.86 | 90.19 | 98.35 | 100.34 | 82.38 | 89.3 | 89.75 | 91.84 | 69.95 | 93.49 | 78.33 | 95.15 | 100.34 | 30 | 965 | 36 | 27.89
29.10.22 15:00:15 | 7.8 | 107.33 | 100.65 | 83.84 | 105.29 | 88.11 | 77.61 | 89.15 | 76.9 | 90.64 | 105.14 | 83.7 | 67.3 | 90.05 | 98.19 | 100.18 | 81.95 | 89 | 89.75 | 91.69 | 68.97 | 93.19 | 78.19 | 94.85 | 100.34 | 30 | 965 | 36 | 27.92
29.10.22 15:00:30 | 8.05 | 107.17 | 100.34 | 83.84 | 105.29 | 88.11 | 77.04 | 89.15 | 76.9 | 90.49 | 105.29 | 83.55 | 67.02 | 90.05 | 98.04 | 100.34 | 81.95 | 88.56 | 89.75 | 91.69 | 68.69 | 93.19 | 78.33 | 94.7 | 100.49 | 30 | 965 | 36 | 27.94
29.10.22 15:00:45 | 8.3 | 107.17 | 100.34 | 83.26 | 104.98 | 88.26 | 76.32 | 88.71 | 76.18 | 90.34 | 105.45 | 82.82 | 66.61 | 89.3 | 97.89 | 100.03 | 81.51 | 88.26 | 89.15 | 91.09 | 68.28 | 92.74 | 77.9 | 94.7 | 100.49 | 30 | 965 | 36 | 27.95
29.10.22 15:01:00 | 8.55 | 107.49 | 100.65 | 83.55 | 105.14 | 88.41 | 76.47 | 89 | 76.04 | 90.34 | 105.61 | 83.26 | 66.33 | 89.75 | 98.35 | 100.03 | 81.37 | 88.11 | 89.6 | 90.94 | 68.14 | 93.04 | 77.9 | 94.7 | 100.65 | 30 | 965 | 36 | 27.96
29.10.22 15:01:15 | 8.8 | 107.33 | 100.34 | 83.7 | 104.98 | 88.41 | 76.18 | 88.71 | 75.75 | 90.19 | 105.45 | 82.68 | 66.05 | 89.45 | 98.04 | 100.03 | 81.08 | 87.97 | 89.15 | 90.94 | 67.72 | 93.04 | 77.61 | 94.4 | 100.8 | 30 | 965 | 36 | 27.98
29.10.22 15:01:30 | 9.05 | 107.33 | 100.49 | 83.41 | 104.83 | 88.26 | 75.9 | 88.26 | 75.61 | 90.19 | 105.29 | 82.68 | 65.91 | 89.15 | 98.04 | 100.18 | 81.08 | 87.97 | 89 | 90.49 | 67.3 | 92.59 | 77.33 | 94.4 | 100.95 | 30 | 965 | 36 | 27.99
29.10.22 15:01:45 | 9.3 | 107.64 | 100.34 | 83.11 | 104.83 | 87.82 | 75.75 | 88.11 | 75.47 | 90.05 | 105.45 | 82.38 | 65.64 | 89 | 97.89 | 100.03 | 80.93 | 87.82 | 89.15 | 90.64 | 67.02 | 92.44 | 77.04 | 94.25 | 100.95 | 30 | 965 | 36 | 28.02
29.10.22 15:02:00 | 9.55 | 107.33 | 99.88 | 82.97 | 104.36 | 87.52 | 75.33 | 87.82 | 75.04 | 89.45 | 105.29 | 82.09 | 65.22 | 88.86 | 97.74 | 99.57 | 80.5 | 87.37 | 89 | 90.19 | 66.61 | 91.99 | 76.04 | 94.09 | 101.26 | 30 | 965 | 36 | 28.02
29.10.22 15:02:15 | 9.8 | 107.17 | 99.88 | 82.97 | 104.67 | 87.23 | 75.33 | 87.52 | 74.47 | 89.75 | 105.29 | 81.95 | 64.67 | 88.71 | 97.74 | 99.72 | 80.5 | 87.23 | 89.15 | 90.34 | 66.19 | 92.14 | 76.04 | 94.09 | 101.11 | 30 | 965 | 36 | 28.03
29.10.22 15:02:30 | 10.05 | 107.17 | 99.88 | 82.68 | 104.67 | 87.23 | 75.18 | 87.23 | 74.19 | 89.3 | 105.61 | 81.8 | 64.26 | 88.56 | 97.58 | 99.42 | 80.5 | 87.08 | 89.15 | 90.19 | 65.91 | 91.99 | 75.47 | 93.94 | 101.11 | 30 | 965 | 36 | 28.06
29.10.22 15:02:45 | 10.3 | 107.33 | 99.88 | 82.24 | 104.67 | 87.23 | 74.76 | 86.93 | 73.76 | 89.6 | 105.61 | 81.51 | 63.84 | 88.26 | 97.58 | 99.57 | 80.21 | 87.08 | 89 | 90.05 | 65.36 | 91.84 | 74.76 | 93.79 | 101.11 | 30 | 965 | 36 | 28.06
29.10.22 15:03:00 | 10.55 | 107.02 | 99.57 | 81.8 | 104.05 | 86.93 | 74.19 | 86.19 | 73.48 | 88.71 | 105.45 | 81.22 | 63.02 | 87.82 | 97.28 | 99.26 | 79.77 | 86.64 | 88.41 | 89.45 | 64.94 | 91.39 | 74.05 | 93.64 | 101.11 | 30 | 965 | 36 | 28.08
29.10.22 15:03:15 | 10.8 | 107.33 | 99.57 | 81.51 | 104.52 | 86.93 | 74.33 | 86.49 | 73.05 | 89.15 | 105.29 | 81.08 | 62.47 | 88.11 | 96.82 | 99.42 | 79.63 | 86.49 | 88.56 | 89 | 64.81 | 91.84 | 73.9 | 93.64 | 101.11 | 30 | 965 | 36 | 28.1
29.10.22 15:03:30 | 11.05 | 107.17 | 99.42 | 80.79 | 104.36 | 86.78 | 74.05 | 85.9 | 73.19 | 88.71 | 105.45 | 80.93 | 62.06 | 87.97 | 96.67 | 99.42 | 79.63 | 86.34 | 88.71 | 88.56 | 64.39 | 91.54 | 73.76 | 93.34 | 101.26 | 30 | 965 | 36 | 28.1
29.10.22 15:03:45 | 11.3 | 107.17 | 99.57 | 80.21 | 104.05 | 86.93 | 73.62 | 85.9 | 72.91 | 88.56 | 105.61 | 80.79 | 61.78 | 87.67 | 96.52 | 99.42 | 79.49 | 86.19 | 88.41 | 88.41 | 63.84 | 91.39 | 73.62 | 93.34 | 101.42 | 30 | 965 | 36 | 28.13
29.10.22 15:04:00 | 11.55 | 107.17 | 99.26 | 79.63 | 104.2 | 86.78 | 73.48 | 85.16 | 72.63 | 88.41 | 105.45 | 80.35 | 61.24 | 87.23 | 96.67 | 99.11 | 78.91 | 85.9 | 87.97 | 87.97 | 63.29 | 90.94 | 73.05 | 93.04 | 101.42 | 30 | 965 | 36 | 28.13
29.10.22 15:04:15 | 11.8 | 106.86 | 99.26 | 79.2 | 103.89 | 86.49 | 73.19 | 85.02 | 72.49 | 88.11 | 105.45 | 80.21 | 61.1 | 87.08 | 96.37 | 98.96 | 78.91 | 86.05 | 87.97 | 87.67 | 63.15 | 91.09 | 72.91 | 93.04 | 101.11 | 30 | 965 | 36 | 28.16
29.10.22 15:04:30 | 12.05 | 107.02 | 98.96 | 79.2 | 104.05 | 86.49 | 73.05 | 84.28 | 72.49 | 87.67 | 105.61 | 80.06 | 60.83 | 86.93 | 96.37 | 99.11 | 79.05 | 85.9 | 87.97 | 87.52 | 62.88 | 91.09 | 72.77 | 93.04 | 101.57 | 30 | 965 | 36 | 28.17
29.10.22 15:04:45 | 12.3 | 107.33 | 99.26 | 78.48 | 104.36 | 86.19 | 73.05 | 84.43 | 72.2 | 87.82 | 105.45 | 80.21 | 60.28 | 86.64 | 96.21 | 99.11 | 78.62 | 85.9 | 88.11 | 87.67 | 62.61 | 90.94 | 72.63 | 92.74 | 101.57 | 30 | 965 | 36 | 28.17
29.10.22 15:05:00 | 12.55 | 107.17 | 98.65 | 77.76 | 103.74 | 85.31 | 72.49 | 83.84 | 71.92 | 87.52 | 105.45 | 79.63 | 59.47 | 86.19 | 96.21 | 98.65 | 78.04 | 85.9 | 87.82 | 87.67 | 61.92 | 90.49 | 72.35 | 92.59 | 101.26 | 30 | 965 | 36 | 28.2
29.10.22 15:05:15 | 12.8 | 107.02 | 98.96 | 77.61 | 103.74 | 84.87 | 71.92 | 83.84 | 72.2 | 87.37 | 105.45 | 79.49 | 59.2 | 86.19 | 96.06 | 98.8 | 77.9 | 85.6 | 87.67 | 87.37 | 61.51 | 90.34 | 71.92 | 92.44 | 101.42 | 30 | 965 | 36 | 28.21
29.10.22 15:05:30 | 13.05 | 107.02 | 98.8 | 77.04 | 103.74 | 84.87 | 71.64 | 83.84 | 71.92 | 87.23 | 105.45 | 79.2 | 58.79 | 86.19 | 96.06 | 98.5 | 78.04 | 85.6 | 87.52 | 87.67 | 60.96 | 90.34 | 71.92 | 92.44 | 101.57 | 30 | 965 | 36 | 28.24
29.10.22 15:05:45 | 13.3 | 107.02 | 98.96 | 76.75 | 103.58 | 84.72 | 70.8 | 83.26 | 71.5 | 86.93 | 105.29 | 78.76 | 58.52 | 85.6 | 95.91 | 98.65 | 77.76 | 84.72 | 87.37 | 87.37 | 60.28 | 89.9 | 71.5 | 92.14 | 101.42 | 30 | 965 | 36 | 28.24
29.10.22 15:06:00 | 13.55 | 106.86 | 98.65 | 76.18 | 103.43 | 84.28 | 70.09 | 83.11 | 71.22 | 86.64 | 105.29 | 78.62 | 58.25 | 85.46 | 95.61 | 98.5 | 77.61 | 84.43 | 87.23 | 86.93 | 59.74 | 90.05 | 71.22 | 92.14 | 101.26 | 30 | 965 | 36 | 28.25
29.10.22 15:06:15 | 13.8 | 107.02 | 98.8 | 75.61 | 103.58 | 84.28 | 70.09 | 83.26 | 71.22 | 86.64 | 105.45 | 78.19 | 58.25 | 85.16 | 95.76 | 98.65 | 77.47 | 84.58 | 87.23 | 87.23 | 59.47 | 90.05 | 70.94 | 92.14 | 101.57 | 30 | 965 | 36 | 28.28
29.10.22 15:06:30 | 14.05 | 106.86 | 98.8 | 75.61 | 103.58 | 83.99 | 69.95 | 82.82 | 70.52 | 86.19 | 105.45 | 77.9 | 57.84 | 84.72 | 95.76 | 98.04 | 77.04 | 84.43 | 86.93 | 86.93 | 58.93 | 89.75 | 70.52 | 91.84 | 101.26 | 30 | 965 | 36 | 28.3
29.10.22 15:06:45 | 14.3 | 107.02 | 98.65 | 75.33 | 103.12 | 83.7 | 69.39 | 82.53 | 70.09 | 86.19 | 105.45 | 77.47 | 57.57 | 84.14 | 95.3 | 98.19 | 77.18 | 84.28 | 87.08 | 86.78 | 58.79 | 89.45 | 70.23 | 91.39 | 101.26 | 30 | 965 | 36 | 28.28
29.10.22 15:07:00 | 14.55 | 106.86 | 98.5 | 75.18 | 103.12 | 83.41 | 69.25 | 82.38 | 70.09 | 85.9 | 105.45 | 77.18 | 57.17 | 84.14 | 95.3 | 97.89 | 76.9 | 83.99 | 86.93 | 86.49 | 58.52 | 89.6 | 70.23 | 91.54 | 101.42 | 30 | 965 | 36 | 28.31
29.10.22 15:07:15 | 14.8 | 107.02 | 98.65 | 75.18 | 103.43 | 83.55 | 68.83 | 82.09 | 69.95 | 85.75 | 105.45 | 76.9 | 56.9 | 83.99 | 95.3 | 98.19 | 76.61 | 83.99 | 86.78 | 86.49 | 58.11 | 89.3 | 70.09 | 91.54 | 101.57 | 30 | 965 | 36 | 28.33
29.10.22 15:07:30 | 15.05 | 106.86 | 98.65 | 74.9 | 103.12 | 83.26 | 68.28 | 82.09 | 69.67 | 85.31 | 105.45 | 76.04 | 56.36 | 83.84 | 95.45 | 98.04 | 76.32 | 83.7 | 86.49 | 86.19 | 57.98 | 89 | 69.95 | 91.24 | 101.26 | 30 | 965 | 36 | 28.35
29.10.22 15:07:45 | 15.3 | 107.02 | 98.04 | 74.33 | 102.81 | 82.68 | 67.72 | 81.51 | 69.11 | 84.87 | 105.45 | 75.47 | 55.55 | 83.7 | 95 | 97.74 | 76.04 | 83.41 | 86.19 | 85.9 | 57.44 | 88.71 | 69.95 | 90.79 | 101.11 | 30 | 965 | 36 | 28.35
29.10.22 15:08:00 | 15.55 | 106.7 | 98.65 | 74.47 | 102.81 | 82.38 | 67.3 | 81.22 | 69.11 | 85.16 | 105.61 | 74.76 | 55.29 | 83.41 | 95 | 97.74 | 75.9 | 83.26 | 86.05 | 85.6 | 56.76 | 88.56 | 69.95 | 90.79 | 101.26 | 30 | 965 | 36 | 28.36
29.10.22 15:08:15 | 15.8 | 106.86 | 98.19 | 74.19 | 102.96 | 82.24 | 66.61 | 81.37 | 68.83 | 84.87 | 105.29 | 74.33 | 54.88 | 82.82 | 95 | 97.74 | 75.75 | 82.97 | 86.05 | 85.16 | 56.76 | 88.26 | 69.67 | 90.64 | 101.57 | 30 | 965 | 36 | 28.38
29.10.22 15:08:30 | 16.05 | 107.02 | 98.5 | 73.9 | 102.96 | 81.66 | 65.91 | 80.79 | 68.28 | 84.72 | 105.29 | 73.48 | 54.48 | 82.53 | 95 | 97.74 | 75.75 | 82.82 | 85.6 | 84.72 | 56.09 | 87.97 | 69.81 | 90.64 | 101.42 | 30 | 965 | 36 | 28.38
29.10.22 15:08:45 | 16.3 | 106.7 | 98.35 | 73.76 | 102.65 | 81.51 | 65.77 | 80.64 | 68.28 | 84.43 | 105.45 | 73.34 | 54.35 | 82.38 | 94.7 | 97.74 | 75.47 | 82.53 | 85.6 | 84.14 | 55.69 | 88.11 | 69.67 | 90.34 | 101.42 | 30 | 965 | 36 | 28.38
29.10.22 15:09:00 | 16.55 | 106.86 | 98.8 | 73.62 | 102.65 | 81.37 | 65.36 | 80.93 | 68.14 | 84.28 | 105.61 | 73.05 | 53.81 | 82.38 | 95 | 97.43 | 75.18 | 82.53 | 85.6 | 83.84 | 55.42 | 87.82 | 69.67 | 90.34 | 101.42 | 30 | 965 | 36 | 28.41
29.10.22 15:09:15 | 16.8 | 106.7 | 97.89 | 73.48 | 102.65 | 81.22 | 64.81 | 80.35 | 68 | 83.84 | 105.29 | 72.63 | 53.68 | 82.09 | 94.25 | 97.43 | 74.9 | 82.24 | 85.02 | 83.26 | 54.88 | 87.52 | 69.67 | 89.9 | 101.57 | 30 | 965 | 36 | 28.42
29.10.22 15:09:30 | 17.05 | 106.39 | 97.74 | 73.19 | 102.34 | 80.64 | 64.39 | 80.06 | 67.3 | 83.7 | 105.14 | 72.2 | 53.15 | 81.51 | 94.25 | 97.13 | 74.47 | 81.8 | 84.58 | 82.97 | 54.22 | 87.23 | 69.39 | 89.75 | 101.42 | 30 | 965 | 36 | 28.44
29.10.22 15:09:45 | 17.3 | 106.86 | 98.04 | 73.19 | 102.5 | 81.08 | 64.26 | 79.92 | 67.02 | 83.7 | 105.29 | 72.2 | 53.15 | 81.37 | 94.4 | 97.28 | 74.33 | 82.09 | 84.43 | 82.82 | 53.81 | 87.08 | 69.53 | 89.9 | 101.26 | 30 | 965 | 36 | 28.46
29.10.22 15:10:00 | 17.55 | 106.39 | 97.89 | 72.91 | 102.19 | 80.64 | 63.7 | 79.77 | 66.33 | 83.41 | 105.45 | 71.92 | 53.01 | 81.37 | 94.4 | 97.13 | 74.19 | 81.8 | 84.28 | 82.38 | 53.41 | 86.93 | 69.67 | 89.45 | 101.42 | 30 | 965 | 36 | 28.46
29.10.22 15:10:15 | 17.8 | 106.7 | 97.89 | 72.91 | 102.19 | 80.93 | 63.29 | 79.34 | 65.91 | 83.26 | 105.61 | 71.78 | 52.88 | 81.08 | 94.25 | 96.82 | 73.9 | 81.37 | 83.99 | 82.38 | 52.88 | 86.64 | 69.81 | 89.45 | 101.42 | 30 | 965 | 36 | 28.46
29.10.22 15:10:30 | 18.05 | 106.55 | 97.89 | 72.49 | 102.19 | 80.5 | 62.74 | 79.34 | 65.77 | 83.11 | 105.61 | 71.5 | 52.62 | 81.08 | 93.94 | 96.82 | 73.62 | 81.08 | 83.84 | 82.09 | 52.48 | 86.49 | 69.81 | 89.15 | 101.72 | 30 | 965 | 36 | 28.49
29.10.22 15:10:45 | 18.3 | 106.7 | 97.58 | 72.49 | 101.88 | 80.5 | 62.06 | 79.05 | 65.77 | 82.53 | 105.29 | 70.94 | 52.22 | 80.79 | 93.79 | 96.97 | 73.48 | 81.08 | 83.41 | 81.51 | 52.08 | 86.34 | 70.09 | 89.15 | 101.42 | 30 | 965 | 36 | 28.5
29.10.22 15:11:00 | 18.55 | 106.55 | 97.13 | 72.06 | 102.03 | 80.5 | 61.78 | 78.76 | 65.36 | 82.68 | 105.29 | 70.66 | 51.82 | 80.64 | 93.64 | 96.82 | 73.05 | 80.79 | 83.11 | 81.22 | 51.42 | 85.75 | 70.23 | 88.86 | 101.26 | 30 | 965 | 36 | 28.52
29.10.22 15:11:15 | 18.8 | 106.39 | 96.97 | 72.06 | 101.72 | 79.63 | 61.37 | 78.48 | 65.36 | 82.38 | 105.45 | 69.53 | 51.55 | 80.35 | 93.19 | 96.52 | 72.63 | 80.5 | 82.38 | 80.79 | 51.02 | 85.6 | 70.09 | 88.71 | 101.11 | 30 | 965 | 36 | 28.52
29.10.22 15:11:30 | 19.05 | 106.39 | 96.97 | 71.78 | 101.42 | 79.34 | 60.83 | 78.19 | 65.08 | 82.09 | 105.29 | 69.39 | 51.16 | 79.63 | 93.19 | 96.21 | 72.35 | 80.5 | 82.38 | 80.93 | 50.36 | 85.46 | 70.09 | 88.41 | 101.42 | 30 | 965 | 36 | 28.53
29.10.22 15:11:45 | 19.3 | 106.55 | 96.97 | 71.22 | 101.72 | 79.05 | 60.42 | 77.9 | 65.08 | 81.95 | 105.45 | 68.83 | 50.63 | 79.63 | 93.19 | 96.52 | 72.2 | 80.06 | 82.24 | 80.79 | 50.1 | 85.6 | 70.23 | 88.41 | 101.57 | 30 | 965 | 36 | 28.55
29.10.22 15:12:00 | 19.55 | 106.7 | 96.67 | 71.36 | 101.42 | 78.76 | 59.88 | 77.76 | 64.67 | 81.51 | 105.45 | 68.42 | 50.5 | 79.05 | 92.89 | 96.37 | 71.64 | 79.77 | 81.8 | 80.5 | 49.57 | 85.02 | 70.23 | 88.11 | 101.42 | 30 | 965 | 36 | 28.58
29.10.22 15:12:15 | 19.8 | 106.08 | 96.37 | 71.08 | 101.26 | 78.48 | 59.47 | 77.47 | 64.39 | 81.08 | 105.61 | 68 | 49.97 | 78.76 | 92.74 | 96.06 | 71.22 | 79.49 | 80.93 | 80.35 | 49.18 | 84.58 | 69.95 | 87.97 | 101.11 | 30 | 965 | 36 | 28.58
29.10.22 15:12:30 | 20.05 | 106.39 | 96.06 | 71.08 | 101.57 | 78.19 | 59.47 | 77.47 | 64.39 | 81.08 | 105.45 | 67.86 | 49.97 | 78.76 | 92.59 | 95.91 | 71.08 | 79.63 | 80.79 | 80.35 | 48.91 | 84.58 | 69.95 | 87.82 | 101.42 | 30 | 965 | 36 | 28.59
29.10.22 15:12:45 | 20.3 | 106.23 | 96.06 | 70.8 | 101.42 | 77.47 | 59.33 | 77.18 | 63.98 | 80.79 | 105.29 | 67.72 | 49.44 | 78.76 | 92.59 | 95.91 | 70.66 | 79.34 | 80.5 | 80.35 | 48.13 | 84.28 | 69.67 | 87.82 | 101.11 | 30 | 965 | 36 | 28.6
29.10.22 15:13:00 | 20.55 | 106.23 | 95.76 | 71.08 | 101.26 | 77.33 | 58.79 | 76.61 | 63.43 | 80.79 | 105.76 | 67.44 | 49.31 | 78.48 | 92.74 | 96.21 | 70.66 | 79.2 | 80.5 | 80.5 | 48.13 | 84.14 | 70.09 | 87.67 | 101.42 | 30 | 965 | 36 | 28.61
29.10.22 15:13:15 | 20.8 | 106.39 | 95.91 | 70.66 | 101.26 | 77.61 | 58.79 | 76.47 | 63.15 | 80.5 | 105.76 | 67.16 | 48.91 | 78.04 | 92.74 | 96.06 | 70.37 | 78.62 | 80.21 | 80.35 | 47.6 | 83.84 | 70.23 | 87.52 | 101.42 | 30 | 965 | 36 | 28.61
29.10.22 15:13:30 | 21.05 | 106.08 | 95.3 | 70.23 | 101.11 | 77.18 | 58.25 | 76.32 | 62.61 | 79.92 | 105.61 | 66.88 | 48.65 | 77.76 | 92.29 | 95.61 | 69.95 | 78.48 | 79.63 | 79.92 | 47.34 | 83.55 | 70.23 | 87.23 | 101.11 | 30 | 965 | 36 | 28.63
29.10.22 15:13:45 | 21.3 | 106.39 | 95.45 | 70.52 | 101.42 | 77.33 | 58.38 | 76.04 | 62.61 | 79.92 | 105.92 | 66.61 | 48.26 | 77.61 | 92.14 | 95.61 | 69.95 | 78.48 | 79.77 | 80.06 | 46.95 | 83.55 | 70.37 | 86.93 | 101.42 | 30 | 965 | 36 | 28.63
29.10.22 15:14:00 | 21.55 | 106.23 | 94.85 | 70.37 | 101.11 | 77.47 | 57.98 | 75.75 | 62.06 | 79.77 | 105.76 | 66.47 | 48.26 | 77.33 | 92.14 | 95.76 | 70.09 | 78.48 | 79.63 | 79.63 | 46.43 | 83.11 | 70.37 | 86.93 | 101.72 | 30 | 965 | 36 | 28.67
29.10.22 15:14:15 | 21.8 | 106.08 | 95 | 70.23 | 101.11 | 76.75 | 57.57 | 75.33 | 61.78 | 79.2 | 106.08 | 65.64 | 48.26 | 76.9 | 91.69 | 95.76 | 69.67 | 78.19 | 79.34 | 79.2 | 46.04 | 82.82 | 70.37 | 86.64 | 101.57 | 30 | 965 | 36 | 28.67
29.10.22 15:14:30 | 22.05 | 106.08 | 94.85 | 69.53 | 100.8 | 76.61 | 57.3 | 75.18 | 61.51 | 79.05 | 105.45 | 65.08 | 48.26 | 76.75 | 91.69 | 95.3 | 69.53 | 77.9 | 79.05 | 78.91 | 45.52 | 82.53 | 69.67 | 86.19 | 101.26 | 30 | 965 | 36 | 28.69
29.10.22 15:14:45 | 22.3 | 105.92 | 94.7 | 69.53 | 100.65 | 76.75 | 57.17 | 75.04 | 61.37 | 78.91 | 105.61 | 64.81 | 48.26 | 76.47 | 91.54 | 95.3 | 69.25 | 77.76 | 78.76 | 78.33 | 45 | 81.95 | 69.67 | 86.05 | 101.26 | 30 | 965 | 36 | 28.69
29.10.22 15:15:00 | 22.55 | 105.92 | 94.85 | 69.25 | 100.65 | 76.61 | 56.9 | 74.33 | 61.1 | 78.48 | 105.92 | 64.53 | 48 | 76.47 | 91.24 | 95.15 | 69.11 | 77.47 | 78.33 | 78.04 | 44.87 | 81.8 | 69.25 | 85.9 | 101.26 | 30 | 965 | 36 | 28.7
29.10.22 15:15:15 | 22.8 | 105.92 | 94.7 | 69.11 | 100.65 | 76.32 | 56.63 | 74.05 | 60.83 | 78.33 | 105.61 | 64.12 | 47.6 | 76.47 | 91.24 | 95 | 68.83 | 77.33 | 78.19 | 77.76 | 44.35 | 81.8 | 69.11 | 85.46 | 101.11 | 30 | 965 | 36 | 28.71
29.10.22 15:15:30 | 23.05 | 105.61 | 94.25 | 68.69 | 100.49 | 76.04 | 56.09 | 73.76 | 60.56 | 78.04 | 105.61 | 63.7 | 47.08 | 76.32 | 90.79 | 94.7 | 68.42 | 77.18 | 77.9 | 77.47 | 44.09 | 81.51 | 69.25 | 85.02 | 101.26 | 30 | 965 | 36 | 28.74
29.10.22 15:15:45 | 23.3 | 105.76 | 94.09 | 68.42 | 100.8 | 76.18 | 55.96 | 73.62 | 60.28 | 77.9 | 105.92 | 63.57 | 47.08 | 76.04 | 90.79 | 94.85 | 68.42 | 77.47 | 77.76 | 77.04 | 43.83 | 81.22 | 69.11 | 84.87 | 101.57 | 30 | 965 | 36 | 28.74
29.10.22 15:16:00 | 23.55 | 105.76 | 93.94 | 68.55 | 100.18 | 76.04 | 55.69 | 72.77 | 59.74 | 77.61 | 105.92 | 63.29 | 46.95 | 75.9 | 90.49 | 94.7 | 68.28 | 77.18 | 77.9 | 76.47 | 43.31 | 81.08 | 68.83 | 84.43 | 101.57 | 30 | 965 | 36 | 28.74
29.10.22 15:16:15 | 23.8 | 105.76 | 93.94 | 68.14 | 100.34 | 75.61 | 55.15 | 72.91 | 59.47 | 77.33 | 105.76 | 62.61 | 46.69 | 75.18 | 90.49 | 94.55 | 68 | 76.9 | 77.61 | 76.32 | 42.92 | 81.08 | 68.28 | 84.14 | 101.42 | 30 | 965 | 36 | 28.77
29.10.22 15:16:30 | 24.05 | 105.61 | 93.94 | 67.58 | 100.03 | 75.61 | 54.88 | 72.2 | 58.79 | 76.9 | 105.61 | 62.19 | 46.43 | 74.76 | 90.34 | 94.09 | 67.44 | 77.04 | 77.33 | 76.18 | 42.67 | 80.5 | 68.28 | 83.99 | 101.42 | 30 | 965 | 36 | 28.78
29.10.22 15:16:45 | 24.3 | 105.45 | 93.64 | 67.58 | 99.72 | 75.61 | 54.88 | 72.49 | 58.52 | 76.9 | 105.76 | 62.19 | 46.3 | 74.76 | 90.49 | 94.4 | 67.44 | 77.04 | 77.33 | 75.9 | 42.28 | 80.21 | 68 | 83.99 | 101.42 | 30 | 965 | 36 | 28.78
29.10.22 15:17:00 | 24.55 | 105.61 | 93.49 | 67.16 | 100.03 | 75.47 | 54.48 | 72.06 | 57.84 | 76.61 | 105.61 | 61.78 | 46.3 | 74.61 | 90.49 | 94.4 | 67.3 | 77.47 | 76.9 | 75.33 | 42.02 | 80.06 | 67.72 | 83.7 | 101.26 | 30 | 965 | 36 | 28.8
29.10.22 15:17:15 | 24.8 | 105.76 | 93.49 | 67.3 | 99.88 | 75.33 | 54.35 | 71.92 | 57.84 | 76.32 | 105.92 | 61.51 | 46.04 | 74.47 | 90.34 | 94.25 | 66.88 | 77.9 | 77.04 | 74.9 | 41.64 | 80.06 | 67.72 | 83.26 | 101.42 | 30 | 965 | 36 | 28.81
29.10.22 15:17:30 | 25.05 | 105.45 | 93.34 | 67.16 | 99.42 | 75.33 | 53.95 | 71.5 | 57.3 | 76.04 | 105.61 | 61.37 | 45.52 | 74.19 | 90.05 | 94.09 | 66.88 | 77.61 | 76.61 | 74.9 | 41.25 | 79.63 | 67.44 | 83.11 | 101.26 | 30 | 965 | 36 | 28.81
29.10.22 15:17:45 | 25.3 | 105.45 | 92.89 | 66.74 | 99.42 | 75.04 | 53.55 | 71.22 | 57.44 | 75.61 | 105.29 | 60.96 | 44.87 | 73.76 | 90.05 | 93.94 | 66.47 | 77.47 | 76.61 | 74.61 | 40.74 | 79.2 | 67.3 | 82.38 | 101.26 | 30 | 965 | 36 | 28.81
29.10.22 15:18:00 | 25.55 | 105.61 | 93.04 | 66.61 | 99.42 | 74.76 | 53.28 | 70.8 | 57.44 | 75.47 | 105.61 | 60.96 | 44.61 | 73.62 | 90.05 | 93.79 | 66.19 | 77.47 | 76.18 | 74.9 | 40.48 | 78.91 | 67.3 | 81.8 | 101.26 | 30 | 965 | 36 | 28.83
29.10.22 15:18:15 | 25.8 | 105.29 | 92.74 | 65.91 | 99.11 | 74.61 | 53.01 | 70.66 | 56.9 | 75.04 | 105.45 | 60.83 | 44.22 | 73.19 | 89.75 | 93.64 | 65.77 | 77.33 | 76.04 | 74.76 | 39.84 | 78.76 | 67.16 | 80.93 | 101.11 | 30 | 965 | 36 | 28.84
29.10.22 15:18:30 | 26.05 | 105.29 | 92.44 | 65.36 | 99.11 | 74.33 | 52.75 | 70.37 | 56.76 | 74.61 | 105.45 | 60.56 | 43.83 | 73.19 | 89.9 | 93.34 | 65.64 | 77.04 | 75.61 | 74.76 | 39.71 | 78.62 | 67.16 | 80.06 | 101.26 | 30 | 965 | 36 | 28.85
29.10.22 15:18:45 | 26.3 | 105.45 | 92.44 | 65.5 | 99.11 | 74.33 | 52.62 | 70.09 | 56.76 | 74.61 | 105.45 | 60.15 | 43.83 | 73.05 | 89.75 | 93.19 | 65.5 | 77.04 | 75.33 | 74.9 | 39.46 | 78.62 | 67.02 | 79.2 | 101.26 | 30 | 965 | 36 | 28.88
29.10.22 15:19:00 | 26.55 | 105.29 | 91.99 | 64.81 | 98.8 | 74.33 | 51.95 | 69.53 | 56.63 | 74.05 | 105.45 | 60.01 | 43.31 | 72.91 | 89.75 | 93.34 | 65.08 | 76.9 | 75.04 | 74.47 | 39.2 | 78.04 | 67.02 | 78.04 | 101.42 | 30 | 965 | 36 | 28.88
29.10.22 15:19:15 | 26.8 | 105.29 | 92.29 | 65.08 | 98.96 | 73.9 | 51.69 | 69.95 | 56.23 | 74.19 | 105.61 | 59.74 | 43.31 | 72.63 | 89.6 | 93.19 | 64.81 | 76.61 | 74.61 | 74.47 | 38.69 | 77.76 | 67.02 | 76.75 | 101.42 | 30 | 965 | 36 | 28.88
29.10.22 15:19:30 | 27.05 | 105.14 | 91.99 | 64.94 | 98.8 | 73.9 | 51.16 | 69.25 | 55.42 | 73.9 | 105.61 | 59.33 | 43.05 | 72.2 | 89.3 | 93.04 | 64.81 | 76.18 | 74.47 | 74.33 | 38.31 | 77.61 | 66.74 | 75.33 | 101.26 | 30 | 965 | 36 | 28.89
29.10.22 15:19:45 | 27.3 | 105.14 | 91.99 | 64.39 | 98.65 | 73.76 | 50.63 | 69.11 | 54.88 | 73.48 | 105.45 | 59.2 | 42.67 | 72.2 | 89.45 | 92.89 | 64.67 | 75.9 | 74.05 | 74.19 | 37.93 | 77.47 | 66.88 | 74.33 | 101.42 | 30 | 965 | 36 | 28.91
29.10.22 15:20:00 | 27.55 | 105.14 | 91.84 | 64.39 | 98.8 | 73.48 | 50.5 | 69.11 | 54.62 | 73.19 | 105.61 | 58.93 | 42.8 | 72.2 | 89.45 | 92.89 | 64.53 | 76.04 | 73.62 | 74.33 | 37.68 | 76.9 | 66.47 | 73.19 | 101.26 | 30 | 965 | 36 | 28.92
29.10.22 15:20:15 | 27.8 | 105.14 | 91.69 | 64.26 | 98.8 | 73.62 | 50.5 | 68.69 | 54.48 | 73.05 | 105.61 | 58.52 | 42.54 | 72.2 | 89 | 92.74 | 64.53 | 75.9 | 73.19 | 74.19 | 37.42 | 76.75 | 66.47 | 72.06 | 101.42 | 30 | 965 | 36 | 28.92
29.10.22 15:20:30 | 28.05 | 104.98 | 91.54 | 63.84 | 98.19 | 73.19 | 49.84 | 68.55 | 54.62 | 72.91 | 105.29 | 58.25 | 42.41 | 71.78 | 88.86 | 92.74 | 64.39 | 75.75 | 72.77 | 73.9 | 36.92 | 76.61 | 65.77 | 71.08 | 101.42 | 30 | 965 | 36 | 28.95
29.10.22 15:20:45 | 28.3 | 104.83 | 91.09 | 63.7 | 98.19 | 72.77 | 49.7 | 68.14 | 53.95 | 72.2 | 105.45 | 57.71 | 42.15 | 71.64 | 88.71 | 92.29 | 64.39 | 75.47 | 72.2 | 73.48 | 36.41 | 76.18 | 65.08 | 69.81 | 101.42 | 30 | 965 | 36 | 28.94