## Oxygen OPA
Measurement Name : | 20221030_SDR641_AMB_WT_COHORT1023 |  | Generated On : | 30/10/2022, 14:19:50 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 30/10/2022, 13:56:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 30/10/2022, 14:18:53 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.59 | 46.5 | 46.57 | 47.12 | 46.63 | 46.5 | 46.58 | 46.67 | 46.64 | 46.6 | 46.63 | 46.56 | 46.63 | 46.55 | 46.58 | 46.61 | 46.49 | 46.71 | 46.56 | 47.05 | 46.64 | 46.67 | 46.61 | 46.49
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
30.10.22 13:56:29 | 0.03 | 98.07 | 100.15 | 91.22 | 93.15 | 93.21 | 96.78 | 91.22 | 92.01 | 100.3 | 90.19 | 86.56 | 93.55 | 94.97 | 90.81 | 100 | 84.45 | 88.73 | 93.15 | 86.65 | 89.85 | 89.71 | 96.42 | 88.73 | 73.49 | 27 | 965 | 36 | 26.05
30.10.22 13:56:44 | 0.28 | 98.37 | 100.59 | 91.51 | 92.84 | 93.5 | 96.78 | 91.22 | 92.01 | 100.45 | 90.62 | 86.41 | 93.69 | 95.7 | 91.24 | 100 | 84.31 | 89.16 | 92.86 | 86.8 | 90.16 | 89.86 | 96.57 | 88.88 | 73.22 | 27 | 965 | 36 | 26.04
30.10.22 13:56:59 | 0.53 | 98.22 | 100.44 | 91.37 | 92.69 | 93.5 | 96.92 | 91.07 | 91.72 | 100.3 | 90.33 | 86.41 | 93.11 | 95.41 | 90.81 | 99.7 | 83.88 | 88.87 | 92.27 | 86.51 | 89.7 | 89.86 | 96.42 | 88.45 | 72.82 | 27 | 965 | 36 | 26.03
30.10.22 13:57:14 | 0.78 | 98.52 | 100.59 | 91.37 | 92.38 | 93.79 | 97.07 | 91.07 | 91.42 | 100.6 | 90.62 | 86.56 | 92.97 | 95.85 | 90.95 | 100 | 83.6 | 89.01 | 92.27 | 86.65 | 89.4 | 89.86 | 96.57 | 88.45 | 72.95 | 27 | 965 | 36 | 26.04
30.10.22 13:57:29 | 1.03 | 98.81 | 100.59 | 91.51 | 92.38 | 93.94 | 97.07 | 91.22 | 91.42 | 101.05 | 90.91 | 86.7 | 92.97 | 96 | 90.95 | 99.85 | 83.32 | 88.87 | 91.98 | 86.65 | 89.55 | 89.71 | 96.72 | 88.73 | 72.82 | 27 | 965 | 36 | 26.04
30.10.22 13:57:44 | 1.28 | 98.67 | 100.74 | 91.37 | 91.92 | 93.79 | 96.92 | 91.22 | 91.13 | 100.75 | 90.47 | 86.41 | 92.82 | 95.85 | 90.95 | 100.15 | 82.61 | 89.01 | 91.24 | 86.65 | 89.1 | 89.71 | 96.72 | 88.3 | 72.41 | 27 | 965 | 36 | 26.05
30.10.22 13:57:59 | 1.53 | 98.67 | 101.03 | 91.37 | 91.92 | 93.94 | 97.21 | 91.07 | 90.99 | 100.75 | 90.62 | 86.13 | 92.68 | 96 | 90.95 | 99.7 | 81.91 | 88.87 | 90.51 | 86.09 | 88.64 | 89.57 | 96.72 | 88.16 | 72.15 | 27 | 965 | 36 | 26.04
30.10.22 13:58:14 | 1.78 | 98.67 | 100.88 | 91.37 | 91.46 | 93.79 | 96.63 | 90.78 | 90.7 | 101.05 | 90.33 | 86.13 | 92.82 | 95.85 | 90.81 | 99.85 | 81.35 | 88.87 | 90.07 | 86.09 | 88.49 | 89.28 | 96.57 | 87.87 | 71.88 | 27 | 965 | 36 | 26.05
30.10.22 13:58:29 | 2.03 | 98.81 | 101.03 | 91.22 | 91.46 | 93.79 | 96.92 | 90.93 | 90.7 | 101.2 | 90.47 | 85.7 | 92.39 | 95.85 | 90.81 | 100 | 80.92 | 88.87 | 89.78 | 85.8 | 88.49 | 89.28 | 96.87 | 87.44 | 71.61 | 27 | 965 | 36 | 26.07
30.10.22 13:58:44 | 2.28 | 98.67 | 101.03 | 91.22 | 91.15 | 93.79 | 96.78 | 90.78 | 90.55 | 101.2 | 90.47 | 85.56 | 92.1 | 95.85 | 90.67 | 100 | 80.92 | 88.59 | 89.2 | 85.66 | 88.19 | 88.84 | 96.72 | 86.87 | 71.07 | 27 | 965 | 36 | 26.08
30.10.22 13:58:59 | 2.53 | 98.81 | 100.74 | 90.94 | 91 | 93.94 | 96.78 | 90.64 | 90.26 | 101.05 | 90.04 | 85.27 | 92.1 | 95.85 | 90.81 | 99.85 | 80.64 | 88.59 | 89.05 | 85.52 | 87.59 | 88.99 | 96.57 | 87.01 | 70.94 | 27 | 965 | 36 | 26.1
30.10.22 13:59:14 | 2.78 | 98.67 | 100.88 | 90.94 | 90.69 | 93.79 | 96.49 | 90.64 | 89.82 | 101.05 | 90.04 | 85.13 | 91.95 | 95.7 | 90.52 | 100 | 80.22 | 88.45 | 88.76 | 85.24 | 87.29 | 88.56 | 96.57 | 86.44 | 70.53 | 27 | 965 | 36 | 26.1
30.10.22 13:59:29 | 3.03 | 98.96 | 100.88 | 90.79 | 90.54 | 93.79 | 96.63 | 90.49 | 89.97 | 101.5 | 89.9 | 85.13 | 91.81 | 95.85 | 90.52 | 100.15 | 80.08 | 88.16 | 88.33 | 85.38 | 87.14 | 88.27 | 96.72 | 86.44 | 70.27 | 27 | 965 | 36 | 26.11
30.10.22 13:59:44 | 3.28 | 98.67 | 100.74 | 90.65 | 90.23 | 93.21 | 96.34 | 90.49 | 89.68 | 101.35 | 89.75 | 84.7 | 91.67 | 95.85 | 90.24 | 99.85 | 79.66 | 87.88 | 88.18 | 84.95 | 86.84 | 87.84 | 96.28 | 86.02 | 70 | 27 | 965 | 36 | 26.1
30.10.22 13:59:59 | 3.53 | 98.81 | 100.88 | 90.65 | 90.23 | 93.5 | 96.63 | 90.35 | 89.82 | 101.5 | 89.61 | 84.85 | 91.81 | 95.7 | 90.09 | 100.15 | 79.8 | 87.88 | 88.18 | 84.95 | 86.39 | 87.69 | 96.42 | 86.16 | 69.73 | 27 | 965 | 36 | 26.11
30.10.22 14:00:14 | 3.78 | 98.81 | 100.74 | 90.5 | 90.08 | 92.92 | 96.34 | 90.06 | 89.68 | 101.35 | 89.47 | 84.7 | 91.67 | 95.55 | 89.95 | 100 | 79.39 | 87.74 | 87.6 | 84.67 | 86.09 | 87.26 | 96.42 | 85.73 | 69.33 | 27 | 965 | 36 | 26.11
30.10.22 14:00:29 | 4.03 | 98.52 | 100.88 | 90.5 | 89.77 | 92.62 | 96.05 | 90.06 | 89.53 | 101.35 | 89.32 | 84.42 | 91.38 | 95.85 | 90.09 | 100 | 78.97 | 87.6 | 87.17 | 84.53 | 85.64 | 87.12 | 96.28 | 85.45 | 68.8 | 27 | 965 | 36 | 26.13
30.10.22 14:00:44 | 4.28 | 98.52 | 100.74 | 90.36 | 89.62 | 92.77 | 96.05 | 90.06 | 89.24 | 101.5 | 88.89 | 83.99 | 91.38 | 95.55 | 89.95 | 99.85 | 78.55 | 87.46 | 86.88 | 84.11 | 85.19 | 86.83 | 96.28 | 85.16 | 68.53 | 27 | 965 | 36 | 26.14
30.10.22 14:00:59 | 4.53 | 98.52 | 100.88 | 90.07 | 89.47 | 92.77 | 95.9 | 89.77 | 89.53 | 101.65 | 89.18 | 83.99 | 91.23 | 95.7 | 89.95 | 100.15 | 78.27 | 87.46 | 86.45 | 83.83 | 85.19 | 86.83 | 96.28 | 84.73 | 68.13 | 27 | 965 | 36 | 26.14
30.10.22 14:01:14 | 4.78 | 98.37 | 100.59 | 89.93 | 88.86 | 92.77 | 96.05 | 89.77 | 89.24 | 101.5 | 88.89 | 83.14 | 90.95 | 95.26 | 89.66 | 99.85 | 78.13 | 87.03 | 85.87 | 82.98 | 84.89 | 86.54 | 96.13 | 84.31 | 67.74 | 27 | 965 | 36 | 26.15
30.10.22 14:01:29 | 5.03 | 98.37 | 100.88 | 90.07 | 89.01 | 92.77 | 95.9 | 89.63 | 89.39 | 101.65 | 88.75 | 83.14 | 90.66 | 95.7 | 89.52 | 99.7 | 77.85 | 87.17 | 85.44 | 82.84 | 84.44 | 86.4 | 95.98 | 84.17 | 67.47 | 27 | 965 | 36 | 26.15
30.10.22 14:01:44 | 5.28 | 98.22 | 100.59 | 89.78 | 88.71 | 92.77 | 95.61 | 89.34 | 88.95 | 101.35 | 88.32 | 82.72 | 90.51 | 95.41 | 89.38 | 99.85 | 77.99 | 86.89 | 84.57 | 82.56 | 84.29 | 85.97 | 95.98 | 83.6 | 67.07 | 27 | 965 | 36 | 26.15
30.10.22 14:01:59 | 5.53 | 98.22 | 100.74 | 89.64 | 88.4 | 92.48 | 95.18 | 89.06 | 88.81 | 101.05 | 88.03 | 82.29 | 90.08 | 95.11 | 89.38 | 99.7 | 77.85 | 86.75 | 84.14 | 82 | 84.15 | 85.54 | 95.68 | 83.32 | 66.68 | 27 | 965 | 36 | 26.18
30.10.22 14:02:14 | 5.78 | 98.07 | 100.59 | 89.5 | 88.25 | 92.33 | 95.47 | 89.34 | 88.95 | 101.35 | 88.17 | 82.15 | 89.65 | 95.11 | 89.23 | 99.55 | 77.85 | 86.61 | 83.43 | 81.58 | 83.55 | 85.4 | 95.83 | 83.04 | 66.15 | 27 | 965 | 36 | 26.18
30.10.22 14:02:29 | 6.03 | 98.22 | 100.44 | 89.35 | 88.1 | 92.04 | 95.61 | 89.2 | 88.81 | 101.2 | 88.03 | 82.01 | 89.37 | 95.11 | 89.09 | 99.7 | 77.71 | 86.61 | 83 | 81.44 | 83.1 | 85.11 | 95.83 | 82.75 | 66.01 | 27 | 965 | 36 | 26.18
30.10.22 14:02:44 | 6.28 | 97.93 | 100.29 | 89.07 | 87.19 | 92.04 | 95.32 | 88.77 | 88.52 | 101.35 | 88.03 | 81.73 | 89.37 | 95.11 | 88.8 | 99.55 | 77.44 | 86.33 | 82.29 | 81.02 | 82.81 | 84.97 | 95.68 | 82.47 | 65.62 | 27 | 965 | 36 | 26.19
30.10.22 14:02:59 | 6.53 | 97.93 | 100.44 | 89.07 | 87.34 | 91.75 | 95.18 | 88.91 | 88.52 | 101.5 | 87.74 | 81.59 | 89.08 | 94.82 | 88.95 | 99.7 | 77.16 | 86.19 | 81.72 | 80.74 | 82.51 | 84.54 | 95.68 | 82.33 | 65.36 | 27 | 965 | 36 | 26.19
30.10.22 14:03:14 | 6.78 | 98.07 | 100.59 | 89.07 | 87.19 | 91.61 | 95.32 | 88.77 | 88.23 | 101.5 | 87.74 | 81.59 | 88.79 | 94.97 | 88.66 | 99.7 | 77.3 | 85.9 | 81.43 | 80.47 | 82.66 | 84.4 | 95.68 | 82.33 | 64.96 | 27 | 965 | 36 | 26.21
30.10.22 14:03:29 | 7.03 | 97.93 | 100.29 | 88.78 | 86.73 | 91.61 | 94.74 | 88.34 | 88.09 | 101.5 | 87.74 | 81.45 | 88.51 | 94.82 | 88.52 | 99.41 | 77.02 | 85.76 | 80.44 | 80.19 | 82.07 | 84.12 | 95.54 | 82.05 | 64.7 | 27 | 965 | 36 | 26.22
30.10.22 14:03:44 | 7.28 | 97.78 | 100.15 | 88.64 | 86.13 | 91.32 | 94.89 | 88.34 | 87.94 | 101.35 | 87.46 | 81.31 | 88.36 | 94.82 | 88.38 | 99.26 | 77.02 | 85.76 | 79.87 | 80.05 | 81.92 | 83.69 | 95.39 | 81.77 | 64.17 | 27 | 965 | 36 | 26.22
30.10.22 14:03:59 | 7.53 | 97.48 | 100.15 | 88.5 | 85.83 | 91.17 | 94.74 | 87.91 | 87.65 | 101.2 | 87.46 | 81.17 | 88.22 | 94.53 | 88.23 | 99.41 | 76.61 | 85.34 | 78.89 | 79.77 | 81.47 | 83.69 | 95.24 | 81.63 | 63.65 | 27 | 965 | 36 | 26.22
30.10.22 14:04:14 | 7.78 | 97.34 | 100.15 | 88.21 | 85.37 | 91.17 | 94.45 | 87.91 | 87.51 | 101.35 | 87.17 | 80.88 | 88.08 | 94.53 | 87.81 | 99.26 | 76.47 | 85.06 | 78.32 | 79.63 | 81.47 | 83.27 | 95.24 | 81.21 | 63.52 | 27 | 965 | 36 | 26.24
30.10.22 14:04:29 | 8.03 | 97.34 | 100 | 88.21 | 85.37 | 91.02 | 94.45 | 87.48 | 87.51 | 101.35 | 87.03 | 80.74 | 87.79 | 94.53 | 87.66 | 99.41 | 76.47 | 84.92 | 77.76 | 79.35 | 81.03 | 82.84 | 95.24 | 80.78 | 63.12 | 27 | 965 | 36 | 26.25
30.10.22 14:04:44 | 8.28 | 97.19 | 100.15 | 88.07 | 85.07 | 90.73 | 94.16 | 87.63 | 87.22 | 101.05 | 86.89 | 80.6 | 87.37 | 94.53 | 87.52 | 99.41 | 75.78 | 84.64 | 77.34 | 78.94 | 80.74 | 82.7 | 95.24 | 80.5 | 62.73 | 27 | 965 | 36 | 26.26
30.10.22 14:04:59 | 8.53 | 97.19 | 100.15 | 87.92 | 84.62 | 90.3 | 94.02 | 87.48 | 86.65 | 101.5 | 86.46 | 80.46 | 87.22 | 94.38 | 87.52 | 99.41 | 75.09 | 84.08 | 77.06 | 78.8 | 80.44 | 82.28 | 94.95 | 80.22 | 62.73 | 27 | 965 | 36 | 26.26
30.10.22 14:05:14 | 8.78 | 97.04 | 99.71 | 87.64 | 83.87 | 90.16 | 93.88 | 87.05 | 86.65 | 101.05 | 86.03 | 80.18 | 86.94 | 94.09 | 87.09 | 98.81 | 74.26 | 83.94 | 76.36 | 78.24 | 80.15 | 81.99 | 94.95 | 79.8 | 62.08 | 27 | 965 | 36 | 26.26
30.10.22 14:05:29 | 9.03 | 97.19 | 99.85 | 87.5 | 84.17 | 90.01 | 93.88 | 87.05 | 86.65 | 101.35 | 86.17 | 80.18 | 86.65 | 94.23 | 86.95 | 99.26 | 73.99 | 83.94 | 76.5 | 78.24 | 79.85 | 81.85 | 94.95 | 79.8 | 61.95 | 27 | 965 | 36 | 26.26
30.10.22 14:05:44 | 9.28 | 97.48 | 100 | 87.5 | 83.72 | 89.72 | 93.73 | 86.63 | 86.5 | 101.35 | 86.03 | 80.04 | 86.51 | 94.09 | 86.67 | 99.26 | 73.71 | 83.8 | 76.36 | 77.83 | 80 | 81.57 | 95.09 | 79.39 | 61.56 | 27 | 965 | 36 | 26.28
30.10.22 14:05:59 | 9.53 | 97.34 | 99.56 | 87.35 | 83.42 | 89.14 | 93.3 | 86.2 | 86.36 | 101.2 | 85.74 | 79.76 | 86.37 | 93.94 | 86.38 | 98.96 | 73.44 | 83.24 | 76.08 | 77.28 | 79.56 | 81.01 | 94.8 | 78.83 | 61.17 | 27 | 965 | 36 | 26.29
30.10.22 14:06:14 | 9.78 | 97.34 | 99.85 | 87.35 | 83.42 | 89.14 | 93.44 | 86.2 | 86.07 | 101.2 | 85.6 | 79.62 | 86.09 | 94.09 | 86.1 | 99.11 | 73.03 | 82.69 | 75.94 | 77.28 | 79.41 | 81.01 | 94.65 | 78.41 | 61.04 | 27 | 965 | 36 | 26.28
30.10.22 14:06:29 | 10.03 | 97.19 | 99.56 | 87.21 | 82.67 | 88.71 | 93.01 | 85.77 | 86.07 | 101.05 | 85.46 | 79.62 | 85.95 | 93.94 | 85.82 | 98.81 | 72.89 | 82.27 | 75.52 | 77 | 79.41 | 80.58 | 94.65 | 77.85 | 60.52 | 27 | 965 | 36 | 26.29
30.10.22 14:06:44 | 10.28 | 96.89 | 99.41 | 86.78 | 82.22 | 88.71 | 93.01 | 85.49 | 85.78 | 101.05 | 85.18 | 79.06 | 86.09 | 93.65 | 85.68 | 99.11 | 72.62 | 81.57 | 75.38 | 76.59 | 78.97 | 80.16 | 94.65 | 77.58 | 60.13 | 27 | 965 | 36 | 26.29
30.10.22 14:06:59 | 10.53 | 96.89 | 99.26 | 86.78 | 82.07 | 88.28 | 92.87 | 84.78 | 85.5 | 101.05 | 85.18 | 79.06 | 85.52 | 93.5 | 85.25 | 98.52 | 72.34 | 81.16 | 75.1 | 76.31 | 78.68 | 79.74 | 94.36 | 77.16 | 59.74 | 27 | 965 | 36 | 26.29
30.10.22 14:07:14 | 10.78 | 96.89 | 99.26 | 86.64 | 81.63 | 87.99 | 92.58 | 84.5 | 85.5 | 101.05 | 84.75 | 78.78 | 85.24 | 93.5 | 84.97 | 98.67 | 72.07 | 80.6 | 74.68 | 75.76 | 78.38 | 79.32 | 94.36 | 77.02 | 59.23 | 27 | 965 | 36 | 26.3
30.10.22 14:07:29 | 11.03 | 96.89 | 99.41 | 86.64 | 81.18 | 88.14 | 92.43 | 84.22 | 85.21 | 101.05 | 84.47 | 78.78 | 85.24 | 93.5 | 84.41 | 98.52 | 71.93 | 80.05 | 74.55 | 75.63 | 78.09 | 79.04 | 94.21 | 76.74 | 59.23 | 27 | 965 | 36 | 26.3
30.10.22 14:07:44 | 11.28 | 96.75 | 99.26 | 86.5 | 81.03 | 87.42 | 92.29 | 83.93 | 85.21 | 101.05 | 84.89 | 78.64 | 84.95 | 93.35 | 83.7 | 98.52 | 71.93 | 79.22 | 74.55 | 74.94 | 77.65 | 78.62 | 94.06 | 76.33 | 58.97 | 27 | 965 | 36 | 26.32
30.10.22 14:07:59 | 11.53 | 96.6 | 99.26 | 86.21 | 80.29 | 87.27 | 92.43 | 83.37 | 84.93 | 101.05 | 84.47 | 78.09 | 84.67 | 93.06 | 82.86 | 98.37 | 71.66 | 78.4 | 74.27 | 74.26 | 77.36 | 78.48 | 94.21 | 75.5 | 58.45 | 27 | 965 | 36 | 26.32
30.10.22 14:08:14 | 11.78 | 96.6 | 99.26 | 85.93 | 80.14 | 86.84 | 92.15 | 82.95 | 84.78 | 101.05 | 84.47 | 78.09 | 84.53 | 93.06 | 82.3 | 98.67 | 71.53 | 78.26 | 74.27 | 73.71 | 77.07 | 78.06 | 94.06 | 74.95 | 58.2 | 27 | 965 | 36 | 26.33
30.10.22 14:08:29 | 12.03 | 96.6 | 98.97 | 85.65 | 79.84 | 86.84 | 91.72 | 82.67 | 84.64 | 100.9 | 84.18 | 77.67 | 84.25 | 92.92 | 81.6 | 98.37 | 71.39 | 77.99 | 74.13 | 73.44 | 76.49 | 77.51 | 93.62 | 74.54 | 57.94 | 27 | 965 | 36 | 26.33
30.10.22 14:08:44 | 12.28 | 96.75 | 99.26 | 85.36 | 79.25 | 86.7 | 91.29 | 82.53 | 84.5 | 100.9 | 83.9 | 77.39 | 83.97 | 92.77 | 81.18 | 98.52 | 71.25 | 77.58 | 73.85 | 73.03 | 76.2 | 77.23 | 93.77 | 74.4 | 57.55 | 27 | 965 | 36 | 26.35
30.10.22 14:08:59 | 12.53 | 96.6 | 99.12 | 85.51 | 79.1 | 86.56 | 90.86 | 81.96 | 84.35 | 101.05 | 84.18 | 77.39 | 83.97 | 92.77 | 80.62 | 98.52 | 71.39 | 77.44 | 73.02 | 72.76 | 75.76 | 76.81 | 93.62 | 73.85 | 57.04 | 27 | 965 | 36 | 26.35
30.10.22 14:09:14 | 12.78 | 96.6 | 98.82 | 84.94 | 78.51 | 86.13 | 90.14 | 81.26 | 83.78 | 100.6 | 83.48 | 76.7 | 83.54 | 92.33 | 80.07 | 98.08 | 70.85 | 76.89 | 72.05 | 72.35 | 75.03 | 76.39 | 93.33 | 73.16 | 56.53 | 27 | 965 | 36 | 26.36
30.10.22 14:09:29 | 13.03 | 96.45 | 98.68 | 84.94 | 78.07 | 85.99 | 90.29 | 80.98 | 83.64 | 100.6 | 83.34 | 76.7 | 83.26 | 92.19 | 79.79 | 97.93 | 70.85 | 76.48 | 71.64 | 72.22 | 74.6 | 75.7 | 93.18 | 72.75 | 56.14 | 27 | 965 | 36 | 26.36
30.10.22 14:09:44 | 13.28 | 96.75 | 98.68 | 84.8 | 77.62 | 85.99 | 90.14 | 80.56 | 83.64 | 101.05 | 83.76 | 76.7 | 83.26 | 92.33 | 79.65 | 98.37 | 70.57 | 76.35 | 71.5 | 71.94 | 74.31 | 75.84 | 93.18 | 72.48 | 55.89 | 27 | 965 | 36 | 26.36
30.10.22 14:09:59 | 13.53 | 96.6 | 98.68 | 84.23 | 76.89 | 85.99 | 89.86 | 79.87 | 83.5 | 100.9 | 83.34 | 76 | 82.98 | 92.19 | 79.1 | 98.08 | 70.17 | 76.07 | 71.22 | 71.54 | 73.44 | 75.56 | 93.18 | 71.8 | 55.38 | 27 | 965 | 36 | 26.38
30.10.22 14:10:14 | 13.78 | 96.75 | 98.68 | 84.09 | 76.74 | 85.7 | 89.72 | 79.31 | 83.21 | 101.05 | 82.91 | 75.86 | 82.7 | 92.04 | 78.96 | 98.08 | 69.76 | 75.8 | 70.81 | 71.27 | 73.01 | 75.28 | 92.89 | 71.66 | 55 | 27 | 965 | 36 | 26.36
30.10.22 14:10:30 | 14.05 | 96.6 | 98.53 | 83.81 | 76.15 | 85.7 | 89.43 | 78.89 | 82.93 | 100.75 | 83.05 | 75.45 | 82.56 | 92.04 | 78.27 | 97.78 | 69.62 | 75.66 | 70.95 | 71 | 72.29 | 74.87 | 92.45 | 71.12 | 54.61 | 27 | 965 | 36 | 26.38
30.10.22 14:10:45 | 14.3 | 96.31 | 98.53 | 83.67 | 76.01 | 85.7 | 89.43 | 78.48 | 82.65 | 100.9 | 82.77 | 75.31 | 82.42 | 91.9 | 77.85 | 97.93 | 69.22 | 75.26 | 70.81 | 70.86 | 71.86 | 74.59 | 92.74 | 70.57 | 54.36 | 27 | 965 | 36 | 26.39
30.10.22 14:11:00 | 14.55 | 96.01 | 98.38 | 83.53 | 75.57 | 85.42 | 89.15 | 77.92 | 82.22 | 100.75 | 82.77 | 75.03 | 82.42 | 91.75 | 77.44 | 97.78 | 69.22 | 74.99 | 70.4 | 70.46 | 71.57 | 74.46 | 92.3 | 70.44 | 53.98 | 27 | 965 | 36 | 26.4
30.10.22 14:11:15 | 14.8 | 95.87 | 98.38 | 83.39 | 75.57 | 85.42 | 89 | 77.78 | 82.08 | 101.05 | 82.49 | 74.76 | 81.86 | 91.61 | 77.03 | 97.93 | 69.08 | 74.99 | 70.4 | 69.78 | 70.57 | 74.32 | 92.3 | 70.3 | 53.85 | 27 | 965 | 36 | 26.4
30.10.22 14:11:30 | 15.05 | 95.57 | 98.09 | 83.11 | 74.84 | 85.13 | 88.72 | 77.51 | 81.79 | 100.6 | 82.35 | 74.62 | 81.44 | 91.61 | 76.34 | 97.63 | 68.68 | 74.31 | 69.85 | 69.51 | 70 | 73.77 | 92.3 | 69.62 | 53.22 | 27 | 965 | 36 | 26.41
30.10.22 14:11:45 | 15.3 | 95.43 | 98.38 | 82.82 | 74.69 | 84.85 | 88.29 | 77.23 | 81.51 | 100.75 | 82.07 | 74.07 | 81.3 | 91.46 | 75.93 | 97.49 | 68.27 | 74.31 | 69.58 | 69.11 | 69.57 | 73.35 | 91.86 | 69.22 | 52.84 | 27 | 965 | 36 | 26.41
30.10.22 14:12:00 | 15.55 | 95.43 | 98.24 | 82.82 | 74.4 | 84.7 | 88.29 | 76.95 | 81.37 | 100.9 | 82.21 | 74.07 | 81.3 | 91.32 | 75.51 | 97.63 | 68.14 | 74.04 | 69.3 | 68.98 | 69.14 | 73.22 | 91.86 | 68.81 | 52.84 | 27 | 965 | 36 | 26.4
30.10.22 14:12:15 | 15.8 | 95.43 | 98.24 | 82.68 | 73.52 | 84.28 | 88.15 | 76.54 | 81.23 | 100.75 | 81.93 | 73.66 | 80.88 | 91.02 | 75.1 | 97.34 | 68 | 73.36 | 69.03 | 68.57 | 68.57 | 72.81 | 91.57 | 68.27 | 52.21 | 27 | 965 | 36 | 26.43
30.10.22 14:12:30 | 16.05 | 94.84 | 97.95 | 82.4 | 73.23 | 83.99 | 88.15 | 76.26 | 80.66 | 100.75 | 81.93 | 73.52 | 80.6 | 90.73 | 74.56 | 97.34 | 67.74 | 73.09 | 68.62 | 67.9 | 68.14 | 72.39 | 91.28 | 68.14 | 51.83 | 27 | 965 | 36 | 26.43
30.10.22 14:12:45 | 16.3 | 95.13 | 97.95 | 82.4 | 72.5 | 83.43 | 88.01 | 75.99 | 80.38 | 100.9 | 81.93 | 73.52 | 80.33 | 90.73 | 74.01 | 97.19 | 67.47 | 72.68 | 68.48 | 67.5 | 67.86 | 71.98 | 91.28 | 67.47 | 51.58 | 27 | 965 | 36 | 26.43
30.10.22 14:13:00 | 16.55 | 94.99 | 97.95 | 82.26 | 72.21 | 83.14 | 88.01 | 75.58 | 80.1 | 100.75 | 81.36 | 73.25 | 79.91 | 90.59 | 73.74 | 97.19 | 67.33 | 72.55 | 68.35 | 67.37 | 67.58 | 71.98 | 91.13 | 66.53 | 51.2 | 27 | 965 | 36 | 26.44
30.10.22 14:13:15 | 16.8 | 94.99 | 97.8 | 81.98 | 71.78 | 83 | 87.87 | 75.16 | 79.82 | 100.75 | 81.51 | 72.97 | 79.77 | 90.59 | 73.33 | 97.19 | 67.2 | 72.01 | 67.94 | 67.23 | 67.15 | 71.44 | 91.28 | 66.26 | 50.82 | 27 | 965 | 36 | 26.43
30.10.22 14:13:30 | 17.05 | 94.69 | 97.51 | 81.56 | 71.06 | 82.58 | 87.3 | 74.34 | 79.12 | 100.6 | 81.08 | 72.83 | 79.21 | 90.16 | 72.65 | 96.9 | 66.39 | 71.61 | 67.67 | 66.7 | 66.73 | 70.89 | 90.55 | 65.72 | 50.07 | 27 | 965 | 36 | 26.43
30.10.22 14:13:45 | 17.3 | 95.13 | 97.65 | 81.42 | 70.77 | 82.72 | 87.58 | 74.34 | 78.83 | 100.75 | 80.94 | 72.97 | 79.35 | 90.3 | 72.11 | 97.04 | 66.12 | 71.47 | 67.39 | 66.43 | 66.73 | 70.62 | 90.55 | 65.99 | 50.07 | 27 | 965 | 36 | 26.44
30.10.22 14:14:00 | 17.55 | 95.13 | 97.51 | 81.14 | 70.62 | 82.29 | 87.58 | 74.07 | 78.97 | 100.75 | 80.94 | 72.7 | 79.35 | 90.16 | 71.84 | 97.04 | 66.26 | 71.07 | 67.12 | 66.17 | 66.58 | 70.21 | 90.41 | 65.32 | 49.44 | 27 | 965 | 36 | 26.46
30.10.22 14:14:15 | 17.8 | 94.99 | 97.36 | 81 | 70.33 | 81.87 | 87.02 | 73.66 | 78.41 | 100.45 | 80.8 | 72.42 | 78.94 | 89.87 | 71.03 | 97.04 | 65.86 | 70.67 | 66.71 | 65.5 | 65.88 | 69.67 | 90.41 | 65.06 | 49.19 | 27 | 965 | 36 | 26.46
30.10.22 14:14:30 | 18.05 | 95.13 | 97.21 | 80.72 | 70.05 | 81.45 | 87.02 | 73.38 | 78.13 | 100.6 | 80.38 | 72.29 | 78.94 | 89.58 | 70.76 | 96.6 | 65.72 | 70.53 | 66.04 | 65.5 | 65.88 | 69.53 | 90.26 | 64.66 | 48.69 | 27 | 965 | 36 | 26.47
30.10.22 14:14:45 | 18.3 | 95.13 | 97.21 | 80.44 | 69.61 | 81.03 | 86.88 | 73.11 | 77.71 | 100.6 | 80.24 | 72.01 | 78.38 | 89.72 | 70.22 | 96.75 | 65.59 | 70.13 | 65.22 | 64.97 | 65.74 | 69.26 | 89.97 | 64.52 | 48.57 | 27 | 965 | 36 | 26.47
30.10.22 14:15:00 | 18.55 | 95.13 | 97.21 | 80.58 | 69.33 | 80.88 | 86.88 | 72.97 | 77.57 | 100.6 | 80.24 | 71.6 | 78.38 | 89.72 | 69.95 | 96.6 | 65.46 | 69.6 | 64.55 | 64.97 | 65.31 | 68.99 | 89.82 | 64.12 | 48.32 | 27 | 965 | 36 | 26.47
30.10.22 14:15:15 | 18.8 | 94.84 | 97.07 | 80.17 | 69.04 | 80.6 | 86.45 | 72.57 | 77.02 | 100.45 | 79.83 | 71.33 | 78.52 | 89.43 | 69.28 | 96.6 | 64.79 | 69.06 | 64.28 | 64.71 | 64.89 | 68.58 | 89.39 | 64.12 | 47.7 | 27 | 965 | 36 | 26.49
30.10.22 14:15:30 | 19.05 | 94.99 | 97.07 | 80.17 | 68.75 | 80.6 | 86.6 | 72.29 | 77.02 | 100.45 | 79.69 | 71.19 | 78.24 | 89.43 | 69.01 | 96.31 | 64.66 | 68.4 | 64.28 | 64.57 | 64.75 | 68.44 | 89.53 | 63.99 | 47.32 | 27 | 965 | 36 | 26.5
30.10.22 14:15:45 | 19.3 | 94.69 | 96.63 | 79.75 | 68.32 | 80.46 | 86.17 | 71.89 | 76.46 | 100.3 | 79.27 | 71.19 | 77.69 | 89.14 | 68.34 | 96.16 | 64.26 | 68.13 | 63.88 | 64.57 | 64.47 | 68.04 | 89.39 | 63.72 | 47.07 | 27 | 965 | 36 | 26.49
30.10.22 14:16:00 | 19.55 | 94.69 | 96.78 | 80.03 | 67.89 | 80.32 | 86.03 | 71.75 | 76.46 | 100.6 | 79.27 | 71.06 | 77.42 | 89.29 | 68.07 | 96.31 | 64.39 | 68 | 63.61 | 64.57 | 64.05 | 67.9 | 89.24 | 63.59 | 46.45 | 27 | 965 | 36 | 26.5
30.10.22 14:16:15 | 19.8 | 94.69 | 96.78 | 79.75 | 67.6 | 80.18 | 85.47 | 71.48 | 76.18 | 100.45 | 79.13 | 70.78 | 76.73 | 89.14 | 67.8 | 96.31 | 64.26 | 67.74 | 63.07 | 64.71 | 63.77 | 67.63 | 89.24 | 63.19 | 45.96 | 27 | 965 | 36 | 26.5
30.10.22 14:16:30 | 20.05 | 94.55 | 96.78 | 79.47 | 67.18 | 79.48 | 85.19 | 70.94 | 75.62 | 100.45 | 78.57 | 70.38 | 76.59 | 88.71 | 67.27 | 96.02 | 63.86 | 67.2 | 62.4 | 64.57 | 63.21 | 67.36 | 88.95 | 62.66 | 45.47 | 27 | 965 | 36 | 26.51
30.10.22 14:16:45 | 20.3 | 94.69 | 96.49 | 79.47 | 67.03 | 79.34 | 85.05 | 70.67 | 75.62 | 100.45 | 78.57 | 69.97 | 76.18 | 88.42 | 66.73 | 96.02 | 63.33 | 67.2 | 61.73 | 64.44 | 62.79 | 67.09 | 88.52 | 62.53 | 45.34 | 27 | 965 | 36 | 26.51
30.10.22 14:17:00 | 20.55 | 94.69 | 96.34 | 79.05 | 66.89 | 79.06 | 84.77 | 70.8 | 75.48 | 100.45 | 78.01 | 69.7 | 76.04 | 88.28 | 66.2 | 96.02 | 62.93 | 67.07 | 61.6 | 64.31 | 62.23 | 66.82 | 88.81 | 62 | 45.09 | 27 | 965 | 36 | 26.51
30.10.22 14:17:15 | 20.8 | 94.4 | 96.19 | 78.78 | 66.46 | 78.92 | 84.49 | 70.4 | 75.21 | 100.3 | 78.01 | 69.56 | 75.35 | 88.28 | 65.94 | 95.58 | 62.27 | 66.68 | 61.06 | 64.18 | 61.95 | 66.42 | 88.09 | 61.61 | 44.6 | 27 | 965 | 36 | 26.53
30.10.22 14:17:30 | 21.05 | 94.26 | 96.05 | 78.64 | 65.89 | 78.5 | 84.35 | 70.26 | 75.07 | 100.45 | 77.46 | 69.02 | 75.35 | 87.7 | 65.41 | 95.72 | 61.61 | 66.28 | 60.53 | 64.04 | 61.53 | 66.15 | 88.09 | 61.47 | 44.36 | 27 | 965 | 36 | 26.53
30.10.22 14:17:45 | 21.3 | 94.55 | 96.19 | 78.64 | 65.61 | 78.5 | 84.21 | 70.12 | 74.79 | 100.45 | 77.74 | 68.88 | 75.22 | 87.85 | 65.14 | 95.58 | 61.21 | 66.28 | 60.26 | 64.18 | 61.81 | 65.88 | 88.23 | 61.34 | 44.36 | 27 | 965 | 36 | 26.53
30.10.22 14:18:00 | 21.55 | 94.4 | 95.9 | 78.22 | 65.46 | 78.5 | 83.65 | 69.72 | 74.79 | 100.3 | 77.18 | 68.75 | 75.08 | 87.42 | 64.61 | 95.43 | 60.68 | 65.88 | 59.73 | 63.65 | 61.53 | 65.48 | 87.8 | 61.08 | 43.99 | 27 | 965 | 36 | 26.54
30.10.22 14:18:15 | 21.8 | 94.4 | 95.76 | 78.08 | 65.04 | 78.22 | 83.23 | 69.58 | 74.51 | 100.3 | 76.91 | 68.61 | 74.94 | 87.27 | 64.35 | 95.14 | 60.55 | 65.62 | 59.07 | 63.52 | 60.97 | 64.95 | 87.65 | 60.55 | 43.62 | 27 | 965 | 36 | 26.54
30.10.22 14:18:30 | 22.05 | 94.11 | 95.61 | 77.94 | 64.33 | 77.95 | 83.23 | 69.18 | 74.1 | 100.3 | 76.63 | 68.34 | 74.67 | 87.13 | 64.08 | 95.28 | 60.03 | 65.22 | 58.8 | 63.25 | 60.56 | 64.68 | 87.51 | 60.29 | 43.25 | 27 | 965 | 36 | 26.54
30.10.22 14:18:45 | 22.3 | 94.26 | 95.47 | 77.67 | 63.9 | 78.09 | 82.95 | 68.91 | 74.1 | 100.45 | 76.49 | 68.21 | 74.39 | 86.99 | 63.55 | 94.99 | 59.89 | 64.96 | 58.41 | 63.25 | 60.14 | 64.54 | 87.37 | 59.89 | 43.13 | 27 | 965 | 36 | 26.55

## Oxygen Orginal
Measurement Name : | 20221030_SDR641_AMB_WT_COHORT1023 |  | Generated On : | 30/10/2022, 14:19:50 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 30/10/2022, 13:56:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 30/10/2022, 14:18:53 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
30.10.22 13:56:29 | 0.03 | 105.7 | 109.38 | 98.61 | 92.58 | 99.86 | 105.7 | 98.45 | 97.98 | 107.29 | 97.05 | 92.73 | 101.27 | 101.74 | 98.45 | 107.93 | 90.74 | 97.05 | 98.61 | 93.81 | 90.29 | 95.97 | 102.69 | 95.35 | 80.39 | 27 | 965 | 36 | 26.05
30.10.22 13:56:44 | 0.28 | 106.02 | 109.86 | 98.92 | 92.27 | 100.17 | 105.7 | 98.45 | 97.98 | 107.45 | 97.52 | 92.58 | 101.43 | 102.53 | 98.92 | 107.93 | 90.59 | 97.52 | 98.29 | 93.96 | 90.59 | 96.12 | 102.84 | 95.5 | 80.09 | 27 | 965 | 36 | 26.04
30.10.22 13:56:59 | 0.53 | 105.86 | 109.7 | 98.76 | 92.12 | 100.17 | 105.86 | 98.29 | 97.67 | 107.29 | 97.21 | 92.58 | 100.8 | 102.21 | 98.45 | 107.61 | 90.14 | 97.21 | 97.67 | 93.65 | 90.14 | 96.12 | 102.69 | 95.04 | 79.65 | 27 | 965 | 36 | 26.03
30.10.22 13:57:14 | 0.78 | 106.17 | 109.86 | 98.76 | 91.81 | 100.48 | 106.02 | 98.29 | 97.36 | 107.61 | 97.52 | 92.73 | 100.64 | 102.69 | 98.61 | 107.93 | 89.83 | 97.36 | 97.67 | 93.81 | 89.83 | 96.12 | 102.84 | 95.04 | 79.8 | 27 | 965 | 36 | 26.04
30.10.22 13:57:29 | 1.03 | 106.49 | 109.86 | 98.92 | 91.81 | 100.64 | 106.02 | 98.45 | 97.36 | 108.09 | 97.83 | 92.88 | 100.64 | 102.84 | 98.61 | 107.77 | 89.53 | 97.21 | 97.36 | 93.81 | 89.98 | 95.97 | 103 | 95.35 | 79.65 | 27 | 965 | 36 | 26.04
30.10.22 13:57:44 | 1.28 | 106.33 | 110.02 | 98.76 | 91.35 | 100.48 | 105.86 | 98.45 | 97.05 | 107.77 | 97.36 | 92.58 | 100.48 | 102.69 | 98.61 | 108.09 | 88.77 | 97.36 | 96.59 | 93.81 | 89.53 | 95.97 | 103 | 94.88 | 79.21 | 27 | 965 | 36 | 26.05
30.10.22 13:57:59 | 1.53 | 106.33 | 110.34 | 98.76 | 91.35 | 100.64 | 106.17 | 98.29 | 96.9 | 107.77 | 97.52 | 92.27 | 100.33 | 102.84 | 98.61 | 107.61 | 88.01 | 97.21 | 95.81 | 93.19 | 89.07 | 95.81 | 103 | 94.73 | 78.91 | 27 | 965 | 36 | 26.04
30.10.22 13:58:14 | 1.78 | 106.33 | 110.18 | 98.76 | 90.9 | 100.48 | 105.54 | 97.98 | 96.59 | 108.09 | 97.21 | 92.27 | 100.48 | 102.69 | 98.45 | 107.77 | 87.41 | 97.21 | 95.35 | 93.19 | 88.92 | 95.5 | 102.84 | 94.42 | 78.62 | 27 | 965 | 36 | 26.05
30.10.22 13:58:29 | 2.03 | 106.49 | 110.34 | 98.61 | 90.9 | 100.48 | 105.86 | 98.14 | 96.59 | 108.25 | 97.36 | 91.81 | 100.01 | 102.69 | 98.45 | 107.93 | 86.95 | 97.21 | 95.04 | 92.88 | 88.92 | 95.5 | 103.16 | 93.96 | 78.32 | 27 | 965 | 36 | 26.07
30.10.22 13:58:44 | 2.28 | 106.33 | 110.34 | 98.61 | 90.59 | 100.48 | 105.7 | 97.98 | 96.43 | 108.25 | 97.36 | 91.66 | 99.7 | 102.69 | 98.29 | 107.93 | 86.95 | 96.9 | 94.42 | 92.73 | 88.62 | 95.04 | 103 | 93.35 | 77.73 | 27 | 965 | 36 | 26.08
30.10.22 13:58:59 | 2.53 | 106.49 | 110.02 | 98.29 | 90.44 | 100.64 | 105.7 | 97.83 | 96.12 | 108.09 | 96.9 | 91.35 | 99.7 | 102.69 | 98.45 | 107.77 | 86.65 | 96.9 | 94.27 | 92.58 | 88.01 | 95.19 | 102.84 | 93.5 | 77.59 | 27 | 965 | 36 | 26.1
30.10.22 13:59:14 | 2.78 | 106.33 | 110.18 | 98.29 | 90.14 | 100.48 | 105.38 | 97.83 | 95.66 | 108.09 | 96.9 | 91.2 | 99.54 | 102.53 | 98.14 | 107.93 | 86.2 | 96.74 | 93.96 | 92.27 | 87.71 | 94.73 | 102.84 | 92.88 | 77.15 | 27 | 965 | 36 | 26.1
30.10.22 13:59:29 | 3.03 | 106.65 | 110.18 | 98.14 | 89.98 | 100.48 | 105.54 | 97.67 | 95.81 | 108.57 | 96.74 | 91.2 | 99.39 | 102.69 | 98.14 | 108.09 | 86.05 | 96.43 | 93.5 | 92.42 | 87.56 | 94.42 | 103 | 92.88 | 76.86 | 27 | 965 | 36 | 26.11
30.10.22 13:59:44 | 3.28 | 106.33 | 110.02 | 97.98 | 89.68 | 99.86 | 105.22 | 97.67 | 95.5 | 108.41 | 96.59 | 90.74 | 99.23 | 102.69 | 97.83 | 107.77 | 85.6 | 96.12 | 93.35 | 91.97 | 87.26 | 93.96 | 102.53 | 92.42 | 76.56 | 27 | 965 | 36 | 26.1
30.10.22 13:59:59 | 3.53 | 106.49 | 110.18 | 97.98 | 89.68 | 100.17 | 105.54 | 97.52 | 95.66 | 108.57 | 96.43 | 90.9 | 99.39 | 102.53 | 97.67 | 108.09 | 85.75 | 96.12 | 93.35 | 91.97 | 86.8 | 93.81 | 102.69 | 92.58 | 76.27 | 27 | 965 | 36 | 26.11
30.10.22 14:00:14 | 3.78 | 106.49 | 110.02 | 97.83 | 89.53 | 99.54 | 105.22 | 97.21 | 95.5 | 108.41 | 96.28 | 90.74 | 99.23 | 102.37 | 97.52 | 107.93 | 85.3 | 95.97 | 92.73 | 91.66 | 86.5 | 93.35 | 102.69 | 92.12 | 75.83 | 27 | 965 | 36 | 26.11
30.10.22 14:00:29 | 4.03 | 106.17 | 110.18 | 97.83 | 89.22 | 99.23 | 104.9 | 97.21 | 95.35 | 108.41 | 96.12 | 90.44 | 98.92 | 102.69 | 97.67 | 107.93 | 84.85 | 95.81 | 92.27 | 91.51 | 86.05 | 93.19 | 102.53 | 91.81 | 75.25 | 27 | 965 | 36 | 26.13
30.10.22 14:00:44 | 4.28 | 106.17 | 110.02 | 97.67 | 89.07 | 99.39 | 104.9 | 97.21 | 95.04 | 108.57 | 95.66 | 89.98 | 98.92 | 102.37 | 97.52 | 107.77 | 84.4 | 95.66 | 91.97 | 91.05 | 85.6 | 92.88 | 102.53 | 91.51 | 74.96 | 27 | 965 | 36 | 26.14
30.10.22 14:00:59 | 4.53 | 106.17 | 110.18 | 97.36 | 88.92 | 99.39 | 104.74 | 96.9 | 95.35 | 108.73 | 95.97 | 89.98 | 98.76 | 102.53 | 97.52 | 108.09 | 84.1 | 95.66 | 91.51 | 90.74 | 85.6 | 92.88 | 102.53 | 91.05 | 74.52 | 27 | 965 | 36 | 26.14
30.10.22 14:01:14 | 4.78 | 106.02 | 109.86 | 97.21 | 88.31 | 99.39 | 104.9 | 96.9 | 95.04 | 108.57 | 95.66 | 89.07 | 98.45 | 102.05 | 97.21 | 107.77 | 83.95 | 95.19 | 90.9 | 89.83 | 85.3 | 92.58 | 102.37 | 90.59 | 74.09 | 27 | 965 | 36 | 26.15
30.10.22 14:01:29 | 5.03 | 106.02 | 110.18 | 97.36 | 88.47 | 99.39 | 104.74 | 96.74 | 95.19 | 108.73 | 95.5 | 89.07 | 98.14 | 102.53 | 97.05 | 107.61 | 83.65 | 95.35 | 90.44 | 89.68 | 84.85 | 92.42 | 102.21 | 90.44 | 73.8 | 27 | 965 | 36 | 26.15
30.10.22 14:01:44 | 5.28 | 105.86 | 109.86 | 97.05 | 88.16 | 99.39 | 104.43 | 96.43 | 94.73 | 108.41 | 95.04 | 88.62 | 97.98 | 102.21 | 96.9 | 107.77 | 83.8 | 95.04 | 89.53 | 89.38 | 84.7 | 91.97 | 102.21 | 89.83 | 73.36 | 27 | 965 | 36 | 26.15
30.10.22 14:01:59 | 5.53 | 105.86 | 110.02 | 96.9 | 87.86 | 99.07 | 103.95 | 96.12 | 94.58 | 108.09 | 94.73 | 88.16 | 97.52 | 101.9 | 96.9 | 107.61 | 83.65 | 94.88 | 89.07 | 88.77 | 84.55 | 91.51 | 101.9 | 89.53 | 72.93 | 27 | 965 | 36 | 26.18
30.10.22 14:02:14 | 5.78 | 105.7 | 109.86 | 96.74 | 87.71 | 98.92 | 104.27 | 96.43 | 94.73 | 108.41 | 94.88 | 88.01 | 97.05 | 101.9 | 96.74 | 107.45 | 83.65 | 94.73 | 88.31 | 88.31 | 83.95 | 91.35 | 102.05 | 89.22 | 72.35 | 27 | 965 | 36 | 26.18
30.10.22 14:02:29 | 6.03 | 105.86 | 109.7 | 96.59 | 87.56 | 98.61 | 104.43 | 96.28 | 94.58 | 108.25 | 94.73 | 87.86 | 96.74 | 101.9 | 96.59 | 107.61 | 83.51 | 94.73 | 87.86 | 88.16 | 83.51 | 91.05 | 102.05 | 88.92 | 72.2 | 27 | 965 | 36 | 26.18
30.10.22 14:02:44 | 6.28 | 105.54 | 109.54 | 96.28 | 86.65 | 98.61 | 104.11 | 95.81 | 94.27 | 108.41 | 94.73 | 87.56 | 96.74 | 101.9 | 96.28 | 107.45 | 83.21 | 94.42 | 87.11 | 87.71 | 83.21 | 90.9 | 101.9 | 88.62 | 71.77 | 27 | 965 | 36 | 26.19
30.10.22 14:02:59 | 6.53 | 105.54 | 109.7 | 96.28 | 86.8 | 98.29 | 103.95 | 95.97 | 94.27 | 108.57 | 94.42 | 87.41 | 96.43 | 101.58 | 96.43 | 107.61 | 82.91 | 94.27 | 86.5 | 87.41 | 82.91 | 90.44 | 101.9 | 88.47 | 71.48 | 27 | 965 | 36 | 26.19
30.10.22 14:03:14 | 6.78 | 105.7 | 109.86 | 96.28 | 86.65 | 98.14 | 104.11 | 95.81 | 93.96 | 108.57 | 94.42 | 87.41 | 96.12 | 101.74 | 96.12 | 107.61 | 83.06 | 93.96 | 86.2 | 87.11 | 83.06 | 90.29 | 101.9 | 88.47 | 71.05 | 27 | 965 | 36 | 26.21
30.10.22 14:03:29 | 7.03 | 105.54 | 109.54 | 95.97 | 86.2 | 98.14 | 103.48 | 95.35 | 93.81 | 108.57 | 94.42 | 87.26 | 95.81 | 101.58 | 95.97 | 107.29 | 82.76 | 93.81 | 85.15 | 86.8 | 82.46 | 89.98 | 101.74 | 88.16 | 70.76 | 27 | 965 | 36 | 26.22
30.10.22 14:03:44 | 7.28 | 105.38 | 109.38 | 95.81 | 85.6 | 97.83 | 103.63 | 95.35 | 93.65 | 108.41 | 94.11 | 87.11 | 95.66 | 101.58 | 95.81 | 107.13 | 82.76 | 93.81 | 84.55 | 86.65 | 82.31 | 89.53 | 101.58 | 87.86 | 70.19 | 27 | 965 | 36 | 26.22
30.10.22 14:03:59 | 7.53 | 105.06 | 109.38 | 95.66 | 85.3 | 97.67 | 103.48 | 94.88 | 93.35 | 108.25 | 94.11 | 86.95 | 95.5 | 101.27 | 95.66 | 107.29 | 82.31 | 93.35 | 83.51 | 86.35 | 81.87 | 89.53 | 101.43 | 87.71 | 69.62 | 27 | 965 | 36 | 26.22
30.10.22 14:04:14 | 7.78 | 104.9 | 109.38 | 95.35 | 84.85 | 97.67 | 103.16 | 94.88 | 93.19 | 108.41 | 93.81 | 86.65 | 95.35 | 101.27 | 95.19 | 107.13 | 82.17 | 93.04 | 82.91 | 86.2 | 81.87 | 89.07 | 101.43 | 87.26 | 69.47 | 27 | 965 | 36 | 26.24
30.10.22 14:04:29 | 8.03 | 104.9 | 109.22 | 95.35 | 84.85 | 97.52 | 103.16 | 94.42 | 93.19 | 108.41 | 93.65 | 86.5 | 95.04 | 101.27 | 95.04 | 107.29 | 82.17 | 92.88 | 82.31 | 85.9 | 81.42 | 88.62 | 101.43 | 86.8 | 69.04 | 27 | 965 | 36 | 26.25
30.10.22 14:04:44 | 8.28 | 104.74 | 109.38 | 95.19 | 84.55 | 97.21 | 102.84 | 94.58 | 92.88 | 108.09 | 93.5 | 86.35 | 94.58 | 101.27 | 94.88 | 107.29 | 81.42 | 92.58 | 81.87 | 85.45 | 81.13 | 88.47 | 101.43 | 86.5 | 68.62 | 27 | 965 | 36 | 26.26
30.10.22 14:04:59 | 8.53 | 104.74 | 109.38 | 95.04 | 84.1 | 96.74 | 102.69 | 94.42 | 92.27 | 108.57 | 93.04 | 86.2 | 94.42 | 101.11 | 94.88 | 107.29 | 80.68 | 91.97 | 81.57 | 85.3 | 80.83 | 88.01 | 101.11 | 86.2 | 68.62 | 27 | 965 | 36 | 26.26
30.10.22 14:05:14 | 8.78 | 104.58 | 108.89 | 94.73 | 83.36 | 96.59 | 102.53 | 93.96 | 92.27 | 108.09 | 92.58 | 85.9 | 94.11 | 100.8 | 94.42 | 106.65 | 79.8 | 91.81 | 80.83 | 84.7 | 80.53 | 87.71 | 101.11 | 85.75 | 67.9 | 27 | 965 | 36 | 26.26
30.10.22 14:05:29 | 9.03 | 104.74 | 109.06 | 94.58 | 83.65 | 96.43 | 102.53 | 93.96 | 92.27 | 108.41 | 92.73 | 85.9 | 93.81 | 100.95 | 94.27 | 107.13 | 79.5 | 91.81 | 80.98 | 84.7 | 80.24 | 87.56 | 101.11 | 85.75 | 67.76 | 27 | 965 | 36 | 26.26
30.10.22 14:05:44 | 9.28 | 105.06 | 109.22 | 94.58 | 83.21 | 96.12 | 102.37 | 93.5 | 92.12 | 108.41 | 92.58 | 85.75 | 93.65 | 100.8 | 93.96 | 107.13 | 79.21 | 91.66 | 80.83 | 84.25 | 80.39 | 87.26 | 101.27 | 85.3 | 67.33 | 27 | 965 | 36 | 26.28
30.10.22 14:05:59 | 9.53 | 104.9 | 108.73 | 94.42 | 82.91 | 95.5 | 101.9 | 93.04 | 91.97 | 108.25 | 92.27 | 85.45 | 93.5 | 100.64 | 93.65 | 106.81 | 78.91 | 91.05 | 80.53 | 83.65 | 79.94 | 86.65 | 100.95 | 84.7 | 66.91 | 27 | 965 | 36 | 26.29
30.10.22 14:06:14 | 9.78 | 104.9 | 109.06 | 94.42 | 82.91 | 95.5 | 102.05 | 93.04 | 91.66 | 108.25 | 92.12 | 85.3 | 93.19 | 100.8 | 93.35 | 106.97 | 78.47 | 90.44 | 80.39 | 83.65 | 79.8 | 86.65 | 100.8 | 84.25 | 66.76 | 27 | 965 | 36 | 26.28
30.10.22 14:06:29 | 10.03 | 104.74 | 108.73 | 94.27 | 82.17 | 95.04 | 101.58 | 92.58 | 91.66 | 108.09 | 91.97 | 85.3 | 93.04 | 100.64 | 93.04 | 106.65 | 78.32 | 89.98 | 79.94 | 83.36 | 79.8 | 86.2 | 100.8 | 83.65 | 66.2 | 27 | 965 | 36 | 26.29
30.10.22 14:06:44 | 10.28 | 104.43 | 108.57 | 93.81 | 81.72 | 95.04 | 101.58 | 92.27 | 91.35 | 108.09 | 91.66 | 84.7 | 93.19 | 100.33 | 92.88 | 106.97 | 78.03 | 89.22 | 79.8 | 82.91 | 79.35 | 85.75 | 100.8 | 83.36 | 65.77 | 27 | 965 | 36 | 26.29
30.10.22 14:06:59 | 10.53 | 104.43 | 108.41 | 93.81 | 81.57 | 94.58 | 101.43 | 91.51 | 91.05 | 108.09 | 91.66 | 84.7 | 92.58 | 100.17 | 92.42 | 106.33 | 77.73 | 88.77 | 79.5 | 82.61 | 79.06 | 85.3 | 100.48 | 82.91 | 65.35 | 27 | 965 | 36 | 26.29
30.10.22 14:07:14 | 10.78 | 104.43 | 108.41 | 93.65 | 81.13 | 94.27 | 101.11 | 91.2 | 91.05 | 108.09 | 91.2 | 84.4 | 92.27 | 100.17 | 92.12 | 106.49 | 77.44 | 88.16 | 79.06 | 82.02 | 78.76 | 84.85 | 100.48 | 82.76 | 64.78 | 27 | 965 | 36 | 26.3
30.10.22 14:07:29 | 11.03 | 104.43 | 108.57 | 93.65 | 80.68 | 94.42 | 100.95 | 90.9 | 90.74 | 108.09 | 90.9 | 84.4 | 92.27 | 100.17 | 91.51 | 106.33 | 77.3 | 87.56 | 78.91 | 81.87 | 78.47 | 84.55 | 100.33 | 82.46 | 64.78 | 27 | 965 | 36 | 26.3
30.10.22 14:07:44 | 11.28 | 104.27 | 108.41 | 93.5 | 80.53 | 93.65 | 100.8 | 90.59 | 90.74 | 108.09 | 91.35 | 84.25 | 91.97 | 100.01 | 90.74 | 106.33 | 77.3 | 86.65 | 78.91 | 81.13 | 78.03 | 84.1 | 100.17 | 82.02 | 64.5 | 27 | 965 | 36 | 26.32
30.10.22 14:07:59 | 11.53 | 104.11 | 108.41 | 93.19 | 79.8 | 93.5 | 100.95 | 89.98 | 90.44 | 108.09 | 90.9 | 83.65 | 91.66 | 99.7 | 89.83 | 106.17 | 77 | 85.75 | 78.62 | 80.39 | 77.73 | 83.95 | 100.33 | 81.13 | 63.93 | 27 | 965 | 36 | 26.32
30.10.22 14:08:14 | 11.78 | 104.11 | 108.41 | 92.88 | 79.65 | 93.04 | 100.64 | 89.53 | 90.29 | 108.09 | 90.9 | 83.65 | 91.51 | 99.7 | 89.22 | 106.49 | 76.86 | 85.6 | 78.62 | 79.8 | 77.44 | 83.51 | 100.17 | 80.53 | 63.65 | 27 | 965 | 36 | 26.33
30.10.22 14:08:29 | 12.03 | 104.11 | 108.09 | 92.58 | 79.35 | 93.04 | 100.17 | 89.22 | 90.14 | 107.93 | 90.59 | 83.21 | 91.2 | 99.54 | 88.47 | 106.17 | 76.71 | 85.3 | 78.47 | 79.5 | 76.86 | 82.91 | 99.7 | 80.09 | 63.37 | 27 | 965 | 36 | 26.33
30.10.22 14:08:44 | 12.28 | 104.27 | 108.41 | 92.27 | 78.76 | 92.88 | 99.7 | 89.07 | 89.98 | 107.93 | 90.29 | 82.91 | 90.9 | 99.39 | 88.01 | 106.33 | 76.56 | 84.85 | 78.18 | 79.06 | 76.56 | 82.61 | 99.86 | 79.94 | 62.95 | 27 | 965 | 36 | 26.35
30.10.22 14:08:59 | 12.53 | 104.11 | 108.25 | 92.42 | 78.62 | 92.73 | 99.23 | 88.47 | 89.83 | 108.09 | 90.59 | 82.91 | 90.9 | 99.39 | 87.41 | 106.33 | 76.71 | 84.7 | 77.3 | 78.76 | 76.12 | 82.17 | 99.7 | 79.35 | 62.39 | 27 | 965 | 36 | 26.35
30.10.22 14:09:14 | 12.78 | 104.11 | 107.93 | 91.81 | 78.03 | 92.27 | 98.45 | 87.71 | 89.22 | 107.61 | 89.83 | 82.17 | 90.44 | 98.92 | 86.8 | 105.86 | 76.12 | 84.1 | 76.27 | 78.32 | 75.4 | 81.72 | 99.39 | 78.62 | 61.83 | 27 | 965 | 36 | 26.36
30.10.22 14:09:29 | 13.03 | 103.95 | 107.77 | 91.81 | 77.59 | 92.12 | 98.61 | 87.41 | 89.07 | 107.61 | 89.68 | 82.17 | 90.14 | 98.76 | 86.5 | 105.7 | 76.12 | 83.65 | 75.83 | 78.18 | 74.96 | 80.98 | 99.23 | 78.18 | 61.41 | 27 | 965 | 36 | 26.36
30.10.22 14:09:44 | 13.28 | 104.27 | 107.77 | 91.66 | 77.15 | 92.12 | 98.45 | 86.95 | 89.07 | 108.09 | 90.14 | 82.17 | 90.14 | 98.92 | 86.35 | 106.17 | 75.83 | 83.51 | 75.69 | 77.88 | 74.67 | 81.13 | 99.23 | 77.88 | 61.13 | 27 | 965 | 36 | 26.36
30.10.22 14:09:59 | 13.53 | 104.11 | 107.77 | 91.05 | 76.42 | 92.12 | 98.14 | 86.2 | 88.92 | 107.93 | 89.68 | 81.42 | 89.83 | 98.76 | 85.75 | 105.86 | 75.4 | 83.21 | 75.4 | 77.44 | 73.8 | 80.83 | 99.23 | 77.15 | 60.57 | 27 | 965 | 36 | 26.38
30.10.22 14:10:14 | 13.78 | 104.27 | 107.77 | 90.9 | 76.27 | 91.81 | 97.98 | 85.6 | 88.62 | 108.09 | 89.22 | 81.27 | 89.53 | 98.61 | 85.6 | 105.86 | 74.96 | 82.91 | 74.96 | 77.15 | 73.36 | 80.53 | 98.92 | 77 | 60.15 | 27 | 965 | 36 | 26.36
30.10.22 14:10:30 | 14.05 | 104.11 | 107.61 | 90.59 | 75.69 | 91.81 | 97.67 | 85.15 | 88.31 | 107.77 | 89.38 | 80.83 | 89.38 | 98.61 | 84.85 | 105.54 | 74.81 | 82.76 | 75.1 | 76.86 | 72.64 | 80.09 | 98.45 | 76.42 | 59.73 | 27 | 965 | 36 | 26.38
30.10.22 14:10:45 | 14.3 | 103.79 | 107.61 | 90.44 | 75.54 | 91.81 | 97.67 | 84.7 | 88.01 | 107.93 | 89.07 | 80.68 | 89.22 | 98.45 | 84.4 | 105.7 | 74.38 | 82.31 | 74.96 | 76.71 | 72.2 | 79.8 | 98.76 | 75.83 | 59.46 | 27 | 965 | 36 | 26.39
30.10.22 14:11:00 | 14.55 | 103.48 | 107.45 | 90.29 | 75.1 | 91.51 | 97.36 | 84.1 | 87.56 | 107.77 | 89.07 | 80.39 | 89.22 | 98.29 | 83.95 | 105.54 | 74.38 | 82.02 | 74.52 | 76.27 | 71.92 | 79.65 | 98.29 | 75.69 | 59.04 | 27 | 965 | 36 | 26.4
30.10.22 14:11:15 | 14.8 | 103.32 | 107.45 | 90.14 | 75.1 | 91.51 | 97.21 | 83.95 | 87.41 | 108.09 | 88.77 | 80.09 | 88.62 | 98.14 | 83.51 | 105.7 | 74.23 | 82.02 | 74.52 | 75.54 | 70.91 | 79.5 | 98.29 | 75.54 | 58.9 | 27 | 965 | 36 | 26.4
30.10.22 14:11:30 | 15.05 | 103 | 107.13 | 89.83 | 74.38 | 91.2 | 96.9 | 83.65 | 87.11 | 107.61 | 88.62 | 79.94 | 88.16 | 98.14 | 82.76 | 105.38 | 73.8 | 81.27 | 73.94 | 75.25 | 70.33 | 78.91 | 98.29 | 74.81 | 58.21 | 27 | 965 | 36 | 26.41
30.10.22 14:11:45 | 15.3 | 102.84 | 107.45 | 89.53 | 74.23 | 90.9 | 96.43 | 83.36 | 86.8 | 107.77 | 88.31 | 79.35 | 88.01 | 97.98 | 82.31 | 105.22 | 73.36 | 81.27 | 73.65 | 74.81 | 69.9 | 78.47 | 97.83 | 74.38 | 57.79 | 27 | 965 | 36 | 26.41
30.10.22 14:12:00 | 15.55 | 102.84 | 107.29 | 89.53 | 73.94 | 90.74 | 96.43 | 83.06 | 86.65 | 107.93 | 88.47 | 79.35 | 88.01 | 97.83 | 81.87 | 105.38 | 73.22 | 80.98 | 73.36 | 74.67 | 69.47 | 78.32 | 97.83 | 73.94 | 57.79 | 27 | 965 | 36 | 26.4
30.10.22 14:12:15 | 15.8 | 102.84 | 107.29 | 89.38 | 73.07 | 90.29 | 96.28 | 82.61 | 86.5 | 107.77 | 88.16 | 78.91 | 87.56 | 97.52 | 81.42 | 105.06 | 73.07 | 80.24 | 73.07 | 74.23 | 68.9 | 77.88 | 97.52 | 73.36 | 57.1 | 27 | 965 | 36 | 26.43
30.10.22 14:12:30 | 16.05 | 102.21 | 106.97 | 89.07 | 72.78 | 89.98 | 96.28 | 82.31 | 85.9 | 107.77 | 88.16 | 78.76 | 87.26 | 97.21 | 80.83 | 105.06 | 72.78 | 79.94 | 72.64 | 73.51 | 68.47 | 77.44 | 97.21 | 73.22 | 56.69 | 27 | 965 | 36 | 26.43
30.10.22 14:12:45 | 16.3 | 102.53 | 106.97 | 89.07 | 72.06 | 89.38 | 96.12 | 82.02 | 85.6 | 107.93 | 88.16 | 78.76 | 86.95 | 97.21 | 80.24 | 104.9 | 72.49 | 79.5 | 72.49 | 73.07 | 68.19 | 77 | 97.21 | 72.49 | 56.41 | 27 | 965 | 36 | 26.43
30.10.22 14:13:00 | 16.55 | 102.37 | 106.97 | 88.92 | 71.77 | 89.07 | 96.12 | 81.57 | 85.3 | 107.77 | 87.56 | 78.47 | 86.5 | 97.05 | 79.94 | 104.9 | 72.35 | 79.35 | 72.35 | 72.93 | 67.9 | 77 | 97.05 | 71.48 | 56 | 27 | 965 | 36 | 26.44
30.10.22 14:13:15 | 16.8 | 102.37 | 106.81 | 88.62 | 71.34 | 88.92 | 95.97 | 81.13 | 85 | 107.77 | 87.71 | 78.18 | 86.35 | 97.05 | 79.5 | 104.9 | 72.2 | 78.76 | 71.92 | 72.78 | 67.47 | 76.42 | 97.21 | 71.2 | 55.59 | 27 | 965 | 36 | 26.43
30.10.22 14:13:30 | 17.05 | 102.05 | 106.49 | 88.16 | 70.62 | 88.47 | 95.35 | 80.24 | 84.25 | 107.61 | 87.26 | 78.03 | 85.75 | 96.59 | 78.76 | 104.58 | 71.34 | 78.32 | 71.63 | 72.2 | 67.05 | 75.83 | 96.43 | 70.62 | 54.76 | 27 | 965 | 36 | 26.43
30.10.22 14:13:45 | 17.3 | 102.53 | 106.65 | 88.01 | 70.33 | 88.62 | 95.66 | 80.24 | 83.95 | 107.77 | 87.11 | 78.18 | 85.9 | 96.74 | 78.18 | 104.74 | 71.05 | 78.18 | 71.34 | 71.92 | 67.05 | 75.54 | 96.43 | 70.91 | 54.76 | 27 | 965 | 36 | 26.44
30.10.22 14:14:00 | 17.55 | 102.53 | 106.49 | 87.71 | 70.19 | 88.16 | 95.66 | 79.94 | 84.1 | 107.77 | 87.11 | 77.88 | 85.9 | 96.59 | 77.88 | 104.74 | 71.2 | 77.73 | 71.05 | 71.63 | 66.91 | 75.1 | 96.28 | 70.19 | 54.08 | 27 | 965 | 36 | 26.46
30.10.22 14:14:15 | 17.8 | 102.37 | 106.33 | 87.56 | 69.9 | 87.71 | 95.04 | 79.5 | 83.51 | 107.45 | 86.95 | 77.59 | 85.45 | 96.28 | 77 | 104.74 | 70.76 | 77.3 | 70.62 | 70.91 | 66.2 | 74.52 | 96.28 | 69.9 | 53.8 | 27 | 965 | 36 | 26.46
30.10.22 14:14:30 | 18.05 | 102.53 | 106.17 | 87.26 | 69.62 | 87.26 | 95.04 | 79.21 | 83.21 | 107.61 | 86.5 | 77.44 | 85.45 | 95.97 | 76.71 | 104.27 | 70.62 | 77.15 | 69.9 | 70.91 | 66.2 | 74.38 | 96.12 | 69.47 | 53.26 | 27 | 965 | 36 | 26.47
30.10.22 14:14:45 | 18.3 | 102.53 | 106.17 | 86.95 | 69.19 | 86.8 | 94.88 | 78.91 | 82.76 | 107.61 | 86.35 | 77.15 | 84.85 | 96.12 | 76.12 | 104.43 | 70.48 | 76.71 | 69.04 | 70.33 | 66.05 | 74.09 | 95.81 | 69.33 | 53.12 | 27 | 965 | 36 | 26.47
30.10.22 14:15:00 | 18.55 | 102.53 | 106.17 | 87.11 | 68.9 | 86.65 | 94.88 | 78.76 | 82.61 | 107.61 | 86.35 | 76.71 | 84.85 | 96.12 | 75.83 | 104.27 | 70.33 | 76.12 | 68.33 | 70.33 | 65.63 | 73.8 | 95.66 | 68.9 | 52.85 | 27 | 965 | 36 | 26.47
30.10.22 14:15:15 | 18.8 | 102.21 | 106.02 | 86.65 | 68.62 | 86.35 | 94.42 | 78.32 | 82.02 | 107.45 | 85.9 | 76.42 | 85 | 95.81 | 75.1 | 104.27 | 69.62 | 75.54 | 68.04 | 70.05 | 65.2 | 73.36 | 95.19 | 68.9 | 52.17 | 27 | 965 | 36 | 26.49
30.10.22 14:15:30 | 19.05 | 102.37 | 106.02 | 86.65 | 68.33 | 86.35 | 94.58 | 78.03 | 82.02 | 107.45 | 85.75 | 76.27 | 84.7 | 95.81 | 74.81 | 103.95 | 69.47 | 74.81 | 68.04 | 69.9 | 65.06 | 73.22 | 95.35 | 68.76 | 51.76 | 27 | 965 | 36 | 26.5
30.10.22 14:15:45 | 19.3 | 102.05 | 105.54 | 86.2 | 67.9 | 86.2 | 94.11 | 77.59 | 81.42 | 107.29 | 85.3 | 76.27 | 84.1 | 95.5 | 74.09 | 103.79 | 69.04 | 74.52 | 67.62 | 69.9 | 64.78 | 72.78 | 95.19 | 68.47 | 51.49 | 27 | 965 | 36 | 26.49
30.10.22 14:16:00 | 19.55 | 102.05 | 105.7 | 86.5 | 67.47 | 86.05 | 93.96 | 77.44 | 81.42 | 107.61 | 85.3 | 76.12 | 83.8 | 95.66 | 73.8 | 103.95 | 69.19 | 74.38 | 67.33 | 69.9 | 64.36 | 72.64 | 95.04 | 68.33 | 50.81 | 27 | 965 | 36 | 26.5
30.10.22 14:16:15 | 19.8 | 102.05 | 105.7 | 86.2 | 67.19 | 85.9 | 93.35 | 77.15 | 81.13 | 107.45 | 85.15 | 75.83 | 83.06 | 95.5 | 73.51 | 103.95 | 69.04 | 74.09 | 66.76 | 70.05 | 64.08 | 72.35 | 95.04 | 67.9 | 50.27 | 27 | 965 | 36 | 26.5
30.10.22 14:16:30 | 20.05 | 101.9 | 105.7 | 85.9 | 66.76 | 85.15 | 93.04 | 76.56 | 80.53 | 107.45 | 84.55 | 75.4 | 82.91 | 95.04 | 72.93 | 103.63 | 68.62 | 73.51 | 66.05 | 69.9 | 63.51 | 72.06 | 94.73 | 67.33 | 49.73 | 27 | 965 | 36 | 26.51
30.10.22 14:16:45 | 20.3 | 102.05 | 105.38 | 85.9 | 66.62 | 85 | 92.88 | 76.27 | 80.53 | 107.45 | 84.55 | 74.96 | 82.46 | 94.73 | 72.35 | 103.63 | 68.04 | 73.51 | 65.35 | 69.76 | 63.09 | 71.77 | 94.27 | 67.19 | 49.59 | 27 | 965 | 36 | 26.51
30.10.22 14:17:00 | 20.55 | 102.05 | 105.22 | 85.45 | 66.48 | 84.7 | 92.58 | 76.42 | 80.39 | 107.45 | 83.95 | 74.67 | 82.31 | 94.58 | 71.77 | 103.63 | 67.62 | 73.36 | 65.2 | 69.62 | 62.53 | 71.48 | 94.58 | 66.62 | 49.32 | 27 | 965 | 36 | 26.51
30.10.22 14:17:15 | 20.8 | 101.74 | 105.06 | 85.15 | 66.05 | 84.55 | 92.27 | 75.98 | 80.09 | 107.29 | 83.95 | 74.52 | 81.57 | 94.58 | 71.48 | 103.16 | 66.91 | 72.93 | 64.64 | 69.47 | 62.25 | 71.05 | 93.81 | 66.2 | 48.78 | 27 | 965 | 36 | 26.53
30.10.22 14:17:30 | 21.05 | 101.58 | 104.9 | 85 | 65.49 | 84.1 | 92.12 | 75.83 | 79.94 | 107.45 | 83.36 | 73.94 | 81.57 | 93.96 | 70.91 | 103.32 | 66.2 | 72.49 | 64.08 | 69.33 | 61.83 | 70.76 | 93.81 | 66.05 | 48.52 | 27 | 965 | 36 | 26.53
30.10.22 14:17:45 | 21.3 | 101.9 | 105.06 | 85 | 65.2 | 84.1 | 91.97 | 75.69 | 79.65 | 107.45 | 83.65 | 73.8 | 81.42 | 94.11 | 70.62 | 103.16 | 65.77 | 72.49 | 63.79 | 69.47 | 62.11 | 70.48 | 93.96 | 65.91 | 48.52 | 27 | 965 | 36 | 26.53
30.10.22 14:18:00 | 21.55 | 101.74 | 104.74 | 84.55 | 65.06 | 84.1 | 91.35 | 75.25 | 79.65 | 107.29 | 83.06 | 73.65 | 81.27 | 93.65 | 70.05 | 103 | 65.2 | 72.06 | 63.23 | 68.9 | 61.83 | 70.05 | 93.5 | 65.63 | 48.11 | 27 | 965 | 36 | 26.54
30.10.22 14:18:15 | 21.8 | 101.74 | 104.58 | 84.4 | 64.64 | 83.8 | 90.9 | 75.1 | 79.35 | 107.29 | 82.76 | 73.51 | 81.13 | 93.5 | 69.76 | 102.69 | 65.06 | 71.77 | 62.53 | 68.76 | 61.27 | 69.47 | 93.35 | 65.06 | 47.71 | 27 | 965 | 36 | 26.54
30.10.22 14:18:30 | 22.05 | 101.43 | 104.43 | 84.25 | 63.93 | 83.51 | 90.9 | 74.67 | 78.91 | 107.29 | 82.46 | 73.22 | 80.83 | 93.35 | 69.47 | 102.84 | 64.5 | 71.34 | 62.25 | 68.47 | 60.85 | 69.19 | 93.19 | 64.78 | 47.31 | 27 | 965 | 36 | 26.54
30.10.22 14:18:45 | 22.3 | 101.58 | 104.27 | 83.95 | 63.51 | 83.65 | 90.59 | 74.38 | 78.91 | 107.45 | 82.31 | 73.07 | 80.53 | 93.19 | 68.9 | 102.53 | 64.36 | 71.05 | 61.83 | 68.47 | 60.43 | 69.04 | 93.04 | 64.36 | 47.17 | 27 | 965 | 36 | 26.55