## Oxygen OPA
Measurement Name : | 20221030_SDR710_AMB_WT_COHORT1023 |  | Generated On : | 30/10/2022, 14:19:06 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 30/10/2022, 13:56:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 30/10/2022, 14:18:53 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 30 | °C
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.2 | 46.11 | 46.15 | 46.02 | 46.11 | 46.21 | 46.2 | 46.25 | 46.27 | 46.2 | 46.19 | 46.12 | 46.14 | 46.15 | 46.28 | 46.48 | 46.19 | 46.78 | 46.19 | 46.57 | 46.06 | 46.79 | 46.17 | 46.34
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
30.10.22 13:56:29 | 0.03 | 89.95 | 91.6 | 89.57 | 86.63 | 95.2 | 81.86 | 88.52 | 86.03 | 89.3 | 85.67 | 90.39 | 92.74 | 88.44 | 95.47 | 88.57 | 87.59 | 89.38 | 91.91 | 88.1 | 82.47 | 98.98 | 87.01 | 86 | 91.11 | 30 | 965 | 36 | 27.99
30.10.22 13:56:44 | 0.28 | 90.23 | 91.89 | 89.57 | 86.9 | 95.63 | 82.14 | 88.8 | 86.17 | 89.59 | 86.1 | 90.53 | 93.17 | 88.73 | 96.05 | 88.85 | 87.73 | 89.53 | 92.52 | 88.53 | 82.76 | 99.27 | 87.31 | 86.28 | 91.7 | 30 | 965 | 36 | 27.96
30.10.22 13:56:59 | 0.53 | 90.66 | 92.46 | 90 | 87.04 | 96.06 | 82.14 | 88.94 | 86.17 | 90.02 | 86.52 | 90.67 | 93.6 | 88.87 | 96.34 | 89 | 87.88 | 89.81 | 92.83 | 88.67 | 82.9 | 99.71 | 87.61 | 86.42 | 92.14 | 30 | 965 | 36 | 27.94
30.10.22 13:57:14 | 0.78 | 90.81 | 92.61 | 89.85 | 87.18 | 96.21 | 82.14 | 89.23 | 86.17 | 90.02 | 86.67 | 90.24 | 93.46 | 89.01 | 96.48 | 89.29 | 87.88 | 89.96 | 92.99 | 88.81 | 82.76 | 99.71 | 87.77 | 86.56 | 92.14 | 30 | 965 | 36 | 27.95
30.10.22 13:57:29 | 1.03 | 91.24 | 93.04 | 90.14 | 87.46 | 96.79 | 82.42 | 89.37 | 86.45 | 90.6 | 87.23 | 90.67 | 94.04 | 89.58 | 97.07 | 89.43 | 88.32 | 90.1 | 93.29 | 89.24 | 83.05 | 100 | 87.92 | 86.85 | 92.43 | 30 | 965 | 36 | 27.96
30.10.22 13:57:44 | 1.28 | 91.1 | 92.89 | 90 | 87.46 | 96.64 | 82.14 | 89.23 | 86.45 | 90.45 | 87.23 | 90.53 | 94.04 | 89.58 | 97.21 | 89.29 | 88.32 | 89.96 | 93.45 | 88.96 | 83.2 | 100 | 87.92 | 86.85 | 92.58 | 30 | 965 | 36 | 27.96
30.10.22 13:57:59 | 1.53 | 91.38 | 93.18 | 90 | 87.74 | 97.08 | 82 | 89.37 | 86.45 | 90.74 | 87.38 | 90.67 | 94.32 | 89.72 | 97.51 | 89.57 | 88.32 | 89.96 | 93.91 | 89.24 | 83.05 | 100.44 | 88.07 | 86.85 | 92.72 | 30 | 965 | 36 | 27.96
30.10.22 13:58:14 | 1.78 | 91.53 | 93.18 | 90.14 | 87.74 | 97.37 | 82.28 | 89.52 | 86.74 | 90.89 | 87.66 | 90.82 | 94.61 | 89.58 | 97.8 | 89.86 | 88.62 | 90.24 | 94.07 | 89.1 | 82.76 | 100.44 | 87.77 | 86.71 | 92.87 | 30 | 965 | 36 | 27.98
30.10.22 13:58:29 | 2.03 | 91.38 | 93.32 | 89.71 | 87.6 | 97.22 | 82 | 89.23 | 86.31 | 90.89 | 87.8 | 90.53 | 94.61 | 89.44 | 97.94 | 89.43 | 88.18 | 89.81 | 93.91 | 88.96 | 82.61 | 100.44 | 87.61 | 86.56 | 92.72 | 30 | 965 | 36 | 27.99
30.10.22 13:58:44 | 2.28 | 91.1 | 93.47 | 89.43 | 87.18 | 97.37 | 81.86 | 89.37 | 86.17 | 90.89 | 87.66 | 90.53 | 94.47 | 89.44 | 98.24 | 89.43 | 88.18 | 89.67 | 93.91 | 88.53 | 82.47 | 100.44 | 87.46 | 86.42 | 92.87 | 30 | 965 | 36 | 27.99
30.10.22 13:58:59 | 2.53 | 91.38 | 93.32 | 89.43 | 87.32 | 97.52 | 81.72 | 89.23 | 86.17 | 90.89 | 87.95 | 90.39 | 94.61 | 89.44 | 98.38 | 89.57 | 88.03 | 89.81 | 94.22 | 88.81 | 82.32 | 100.29 | 87.46 | 86.28 | 93.16 | 30 | 965 | 36 | 28.02
30.10.22 13:59:14 | 2.78 | 91.24 | 93.18 | 89.43 | 87.18 | 97.52 | 81.58 | 89.37 | 86.03 | 91.03 | 87.52 | 90.39 | 94.61 | 89.01 | 98.53 | 89.72 | 88.18 | 89.53 | 94.22 | 88.67 | 82.32 | 100.58 | 86.86 | 86.28 | 93.16 | 30 | 965 | 36 | 28.03
30.10.22 13:59:29 | 3.03 | 91.24 | 93.47 | 89.29 | 87.18 | 97.81 | 81.58 | 89.37 | 85.88 | 90.89 | 87.52 | 90.24 | 94.9 | 89.01 | 98.82 | 89.72 | 88.03 | 89.96 | 94.38 | 88.39 | 82.32 | 100.73 | 86.7 | 86.14 | 93.02 | 30 | 965 | 36 | 28.03
30.10.22 13:59:44 | 3.28 | 90.95 | 93.47 | 89.14 | 87.04 | 97.81 | 81.3 | 89.23 | 85.88 | 90.89 | 87.52 | 90.24 | 94.9 | 89.01 | 98.82 | 89.86 | 88.32 | 89.67 | 94.53 | 88.24 | 82.18 | 100.88 | 86.4 | 86.14 | 93.16 | 30 | 965 | 36 | 28.05
30.10.22 13:59:59 | 3.53 | 91.1 | 93.32 | 89.14 | 86.9 | 97.95 | 80.88 | 89.37 | 85.74 | 90.74 | 87.09 | 90.1 | 95.05 | 88.87 | 99.12 | 89.72 | 88.18 | 89.67 | 94.53 | 87.82 | 82.03 | 100.88 | 85.95 | 85.86 | 93.16 | 30 | 965 | 36 | 28.06
30.10.22 14:00:14 | 3.78 | 90.81 | 93.04 | 88.86 | 86.63 | 97.66 | 80.6 | 89.09 | 85.32 | 90.74 | 86.95 | 89.81 | 95.05 | 88.3 | 99.12 | 89.57 | 88.03 | 89.67 | 94.38 | 87.53 | 81.74 | 100.88 | 85.34 | 85.72 | 93.16 | 30 | 965 | 36 | 28.06
30.10.22 14:00:29 | 4.03 | 90.66 | 92.75 | 88.57 | 86.35 | 97.66 | 80.18 | 88.94 | 85.17 | 90.31 | 86.81 | 89.38 | 95.05 | 88.02 | 99.26 | 89.43 | 88.03 | 89.24 | 94.38 | 87.1 | 81.45 | 100.58 | 84.74 | 85.44 | 92.87 | 30 | 965 | 36 | 28.08
30.10.22 14:00:44 | 4.28 | 90.38 | 92.46 | 88.29 | 86.07 | 97.66 | 80.05 | 88.52 | 84.75 | 90.31 | 86.67 | 89.38 | 95.05 | 87.88 | 99.26 | 89.29 | 87.88 | 89.53 | 94.22 | 86.96 | 81.45 | 100.88 | 84.29 | 85.15 | 93.02 | 30 | 965 | 36 | 28.1
30.10.22 14:00:59 | 4.53 | 90.23 | 92.46 | 88.29 | 86.07 | 97.81 | 79.77 | 88.52 | 84.61 | 90.31 | 86.52 | 89.24 | 95.19 | 87.74 | 99.26 | 89.14 | 87.88 | 89.53 | 94.22 | 86.82 | 81.01 | 100.88 | 84.29 | 84.87 | 93.02 | 30 | 965 | 36 | 28.11
30.10.22 14:01:14 | 4.78 | 89.95 | 92.03 | 88.01 | 85.93 | 97.95 | 79.35 | 88.23 | 84.18 | 89.87 | 86.24 | 88.81 | 95.48 | 87.31 | 99.41 | 88.85 | 87.73 | 89.38 | 93.76 | 86.4 | 81.01 | 101.02 | 83.83 | 84.17 | 92.87 | 30 | 965 | 36 | 28.13
30.10.22 14:01:29 | 5.03 | 89.52 | 91.46 | 87.72 | 85.65 | 97.66 | 78.93 | 87.8 | 83.9 | 89.73 | 85.96 | 88.96 | 95.34 | 86.89 | 99.41 | 88.71 | 87.73 | 89.1 | 93.6 | 85.83 | 80.72 | 100.88 | 83.53 | 83.89 | 92.87 | 30 | 965 | 36 | 28.13
30.10.22 14:01:44 | 5.28 | 89.37 | 91.32 | 87.3 | 85.38 | 97.37 | 78.52 | 87.38 | 83.47 | 89.44 | 85.67 | 88.53 | 95.34 | 86.61 | 99.41 | 88.57 | 87.59 | 88.81 | 93.45 | 84.84 | 80.28 | 100.73 | 82.78 | 83.19 | 92.58 | 30 | 965 | 36 | 28.16
30.10.22 14:01:59 | 5.53 | 89.09 | 90.89 | 87.3 | 85.38 | 97.52 | 78.1 | 87.23 | 83.05 | 89.3 | 85.11 | 88.39 | 95.48 | 86.32 | 99.56 | 88.42 | 87.73 | 88.96 | 93.45 | 84.7 | 80.14 | 101.17 | 82.33 | 83.19 | 92.43 | 30 | 965 | 36 | 28.16
30.10.22 14:02:14 | 5.78 | 88.66 | 90.61 | 86.87 | 85.1 | 97.37 | 77.69 | 86.67 | 82.77 | 88.72 | 84.97 | 87.96 | 95.48 | 86.04 | 99.56 | 88.13 | 87.44 | 88.67 | 93.29 | 84 | 79.71 | 100.88 | 82.18 | 82.63 | 92.43 | 30 | 965 | 36 | 28.17
30.10.22 14:02:29 | 6.03 | 88.52 | 90.46 | 86.59 | 85.1 | 97.37 | 77.41 | 86.38 | 82.35 | 88.72 | 84.54 | 87.82 | 95.63 | 85.76 | 99.56 | 88.13 | 87.44 | 88.53 | 93.14 | 83.58 | 79.42 | 100.88 | 81.88 | 82.21 | 92.43 | 30 | 965 | 36 | 28.19
30.10.22 14:02:44 | 6.28 | 88.52 | 90.32 | 86.45 | 84.96 | 97.52 | 77.41 | 86.38 | 82.49 | 88.72 | 84.26 | 87.82 | 95.77 | 85.48 | 99.85 | 88.13 | 87.44 | 88.53 | 93.29 | 82.87 | 79.42 | 101.32 | 81.88 | 82.07 | 92.58 | 30 | 965 | 36 | 28.21
30.10.22 14:02:59 | 6.53 | 88.09 | 90.04 | 86.03 | 84.41 | 97.37 | 77 | 86.1 | 82.07 | 88.43 | 83.56 | 87.39 | 95.48 | 85.34 | 99.71 | 87.85 | 87.29 | 88.24 | 92.83 | 82.32 | 78.84 | 101.17 | 81.29 | 81.52 | 92.43 | 30 | 965 | 36 | 28.23
30.10.22 14:03:14 | 6.78 | 87.95 | 89.75 | 85.61 | 84.13 | 97.22 | 76.86 | 85.82 | 81.78 | 88.29 | 83.28 | 87.1 | 95.63 | 84.92 | 99.85 | 87.7 | 87.15 | 88.1 | 92.83 | 81.76 | 78.84 | 101.32 | 81.14 | 80.96 | 92.43 | 30 | 965 | 36 | 28.24
30.10.22 14:03:29 | 7.03 | 87.8 | 89.47 | 85.32 | 84.13 | 97.22 | 76.31 | 85.53 | 81.5 | 88 | 82.58 | 86.82 | 95.63 | 84.64 | 99.85 | 87.56 | 87.15 | 87.96 | 92.52 | 81.06 | 78.55 | 101.32 | 80.69 | 80.82 | 91.99 | 30 | 965 | 36 | 28.24
30.10.22 14:03:44 | 7.28 | 87.66 | 89.33 | 85.04 | 83.58 | 97.37 | 76.04 | 85.39 | 81.36 | 87.86 | 81.88 | 86.54 | 95.77 | 84.22 | 99.71 | 87.27 | 87 | 87.82 | 92.52 | 80.22 | 78.4 | 101.32 | 80.24 | 80.54 | 92.28 | 30 | 965 | 36 | 28.25
30.10.22 14:03:59 | 7.53 | 87.52 | 89.19 | 84.76 | 83.58 | 97.37 | 75.9 | 85.11 | 81.5 | 87.86 | 81.6 | 86.54 | 95.77 | 84.5 | 100.15 | 87.42 | 87 | 87.96 | 92.68 | 79.67 | 78.4 | 101.32 | 80.24 | 80.4 | 92.14 | 30 | 965 | 36 | 28.28
30.10.22 14:04:14 | 7.78 | 87.23 | 89.04 | 84.48 | 83.03 | 97.37 | 75.49 | 84.69 | 81.08 | 87.72 | 81.04 | 86.54 | 95.91 | 84.08 | 100.15 | 87.13 | 86.86 | 87.67 | 92.37 | 79.12 | 78.12 | 101.61 | 79.65 | 80.13 | 92.14 | 30 | 965 | 36 | 28.28
30.10.22 14:04:29 | 8.03 | 87.23 | 88.62 | 84.2 | 82.62 | 97.22 | 75.21 | 84.26 | 80.94 | 87.29 | 80.48 | 86.11 | 95.63 | 83.66 | 100 | 86.84 | 86.86 | 87.53 | 92.06 | 78.42 | 77.54 | 101.46 | 79.5 | 79.57 | 91.99 | 30 | 965 | 36 | 28.31
30.10.22 14:04:44 | 8.28 | 86.95 | 88.2 | 83.78 | 82.2 | 97.08 | 74.8 | 83.84 | 80.52 | 87 | 80.07 | 85.83 | 95.77 | 83.38 | 99.71 | 86.7 | 86.56 | 87.25 | 91.75 | 78.29 | 77.25 | 101.61 | 79.06 | 79.16 | 91.99 | 30 | 965 | 36 | 28.31
30.10.22 14:04:59 | 8.53 | 86.67 | 87.63 | 83.5 | 81.79 | 97.08 | 74.39 | 83.28 | 80.24 | 86.86 | 79.79 | 85.55 | 95.63 | 82.96 | 100 | 86.41 | 86.42 | 86.96 | 91.75 | 77.87 | 76.97 | 101.46 | 78.61 | 78.74 | 91.84 | 30 | 965 | 36 | 28.33
30.10.22 14:05:14 | 8.78 | 86.52 | 87.21 | 83.36 | 81.52 | 97.08 | 74.39 | 83 | 79.96 | 86.57 | 79.65 | 85.12 | 95.63 | 82.68 | 100 | 86.41 | 86.42 | 86.68 | 91.45 | 77.6 | 76.82 | 101.46 | 78.46 | 78.47 | 91.55 | 30 | 965 | 36 | 28.35
30.10.22 14:05:29 | 9.03 | 86.38 | 87.21 | 83.22 | 81.52 | 97.22 | 74.39 | 82.72 | 79.96 | 86.57 | 79.09 | 84.98 | 95.77 | 82.54 | 100.44 | 86.41 | 86.42 | 86.68 | 91.45 | 77.6 | 76.68 | 101.61 | 78.46 | 78.61 | 91.7 | 30 | 965 | 36 | 28.35
30.10.22 14:05:44 | 9.28 | 86.1 | 86.79 | 82.67 | 80.97 | 96.93 | 73.85 | 82.16 | 79.4 | 86.14 | 78.82 | 84.84 | 95.77 | 82.27 | 100.15 | 85.84 | 86.27 | 86.54 | 91.14 | 77.05 | 76.11 | 101.76 | 78.17 | 78.19 | 91.55 | 30 | 965 | 36 | 28.35
30.10.22 14:05:59 | 9.53 | 85.82 | 86.22 | 82.53 | 80.56 | 96.79 | 73.57 | 82.02 | 78.99 | 86 | 78.68 | 84.56 | 95.48 | 81.85 | 100.15 | 85.98 | 86.12 | 86.11 | 90.68 | 76.36 | 75.96 | 101.9 | 77.87 | 77.64 | 91.41 | 30 | 965 | 36 | 28.38
30.10.22 14:06:14 | 9.78 | 85.67 | 85.94 | 82.39 | 80.29 | 97.08 | 73.3 | 81.74 | 78.71 | 85.71 | 78.26 | 84.56 | 95.63 | 81.71 | 100.15 | 85.84 | 86.12 | 86.11 | 90.53 | 75.95 | 75.68 | 101.76 | 77.72 | 77.23 | 91.26 | 30 | 965 | 36 | 28.39
30.10.22 14:06:29 | 10.03 | 85.39 | 85.66 | 82.25 | 80.02 | 97.08 | 72.89 | 81.46 | 78.43 | 85.57 | 77.85 | 84 | 95.63 | 81.57 | 100.15 | 85.84 | 85.98 | 86.11 | 90.53 | 75.54 | 75.68 | 102.05 | 77.43 | 76.82 | 91.26 | 30 | 965 | 36 | 28.41
30.10.22 14:06:44 | 10.28 | 85.25 | 85.1 | 81.83 | 79.74 | 96.79 | 72.35 | 81.18 | 78.29 | 85.29 | 77.57 | 84 | 95.48 | 81.02 | 100.29 | 85.56 | 85.83 | 85.69 | 90.22 | 75.27 | 75.25 | 102.05 | 76.84 | 76.55 | 91.11 | 30 | 965 | 36 | 28.42
30.10.22 14:06:59 | 10.53 | 84.83 | 84.41 | 81.41 | 79.06 | 96.79 | 71.81 | 80.34 | 77.74 | 84.86 | 76.89 | 83.44 | 95.34 | 80.6 | 100.15 | 85.13 | 85.54 | 85.41 | 89.76 | 74.72 | 74.68 | 101.76 | 76.4 | 76.27 | 90.97 | 30 | 965 | 36 | 28.42
30.10.22 14:07:14 | 10.78 | 84.54 | 83.85 | 81.28 | 78.93 | 96.64 | 71.4 | 80.07 | 77.04 | 84.72 | 76.89 | 83.44 | 95.05 | 80.33 | 100 | 84.99 | 85.39 | 85.12 | 89.76 | 74.17 | 74.54 | 101.61 | 75.96 | 75.86 | 90.67 | 30 | 965 | 36 | 28.44
30.10.22 14:07:29 | 11.03 | 84.26 | 83.57 | 81 | 78.79 | 96.79 | 71 | 79.93 | 76.9 | 84.72 | 76.75 | 83.16 | 95.34 | 80.46 | 100.15 | 84.99 | 85.39 | 85.12 | 89.76 | 73.63 | 74.25 | 101.9 | 75.66 | 75.59 | 90.82 | 30 | 965 | 36 | 28.46
30.10.22 14:07:44 | 11.28 | 84.12 | 82.87 | 80.72 | 78.39 | 96.64 | 70.46 | 79.65 | 76.49 | 84.43 | 76.47 | 82.73 | 95.05 | 80.05 | 100 | 84.84 | 85.25 | 84.84 | 89.61 | 73.36 | 73.82 | 102.05 | 75.07 | 75.18 | 90.82 | 30 | 965 | 36 | 28.48
30.10.22 14:07:59 | 11.53 | 83.84 | 82.46 | 80.31 | 78.11 | 96.79 | 69.65 | 79.37 | 76.08 | 84.29 | 75.92 | 82.73 | 95.05 | 79.77 | 100 | 84.56 | 84.81 | 84.42 | 89.46 | 72.95 | 73.54 | 101.76 | 74.49 | 74.63 | 90.38 | 30 | 965 | 36 | 28.49
30.10.22 14:08:14 | 11.78 | 83.7 | 82.32 | 80.31 | 78.11 | 96.93 | 69.51 | 79.09 | 75.94 | 84.29 | 75.79 | 82.73 | 95.19 | 79.64 | 100.15 | 84.42 | 85.1 | 84.56 | 89.3 | 72.81 | 73.54 | 102.05 | 74.05 | 74.63 | 90.67 | 30 | 965 | 36 | 28.49
30.10.22 14:08:29 | 12.03 | 83.14 | 81.63 | 79.75 | 77.71 | 96.64 | 69.11 | 78.68 | 75.66 | 83.87 | 75.38 | 82.45 | 95.05 | 79.22 | 99.85 | 84.27 | 84.81 | 84.28 | 88.85 | 72.41 | 72.69 | 102.05 | 73.9 | 74.36 | 90.38 | 30 | 965 | 36 | 28.52
30.10.22 14:08:44 | 12.28 | 83.14 | 81.49 | 79.75 | 77.57 | 97.08 | 68.98 | 78.4 | 75.66 | 83.87 | 75.38 | 82.32 | 95.05 | 78.95 | 100.15 | 84.27 | 84.67 | 84.14 | 88.85 | 72.14 | 72.55 | 102.05 | 73.61 | 74.36 | 90.24 | 30 | 965 | 36 | 28.52
30.10.22 14:08:59 | 12.53 | 82.72 | 81.21 | 79.34 | 77.3 | 96.93 | 68.44 | 77.99 | 75.25 | 83.44 | 75.1 | 82.04 | 94.9 | 78.81 | 100 | 83.99 | 84.52 | 84 | 88.54 | 71.6 | 72.26 | 102.05 | 73.32 | 74.09 | 89.95 | 30 | 965 | 36 | 28.53
30.10.22 14:09:14 | 12.78 | 82.44 | 80.94 | 79.06 | 76.9 | 97.08 | 68.04 | 77.71 | 75.11 | 83.02 | 74.83 | 81.76 | 94.61 | 78.26 | 100 | 83.71 | 84.08 | 83.86 | 88.39 | 71.19 | 71.98 | 101.9 | 73.17 | 73.68 | 89.66 | 30 | 965 | 36 | 28.55
30.10.22 14:09:29 | 13.03 | 82.3 | 81.07 | 79.06 | 76.76 | 97.08 | 67.9 | 77.44 | 75.11 | 83.3 | 74.83 | 81.76 | 94.76 | 78.26 | 100.29 | 83.71 | 84.08 | 83.86 | 88.08 | 70.92 | 71.84 | 102.05 | 73.17 | 73.55 | 89.66 | 30 | 965 | 36 | 28.56
30.10.22 14:09:44 | 13.28 | 82.02 | 80.94 | 78.51 | 76.49 | 97.08 | 67.37 | 77.02 | 74.84 | 83.02 | 74.56 | 81.62 | 94.47 | 77.85 | 100.29 | 83.42 | 83.79 | 83.86 | 87.63 | 70.38 | 71.56 | 101.9 | 72.59 | 73.28 | 89.36 | 30 | 965 | 36 | 28.56
30.10.22 14:09:59 | 13.53 | 81.88 | 80.8 | 78.51 | 76.36 | 97.37 | 67.1 | 77.02 | 74.7 | 83.02 | 74.42 | 81.62 | 94.9 | 77.99 | 100.44 | 83.42 | 83.79 | 83.44 | 87.63 | 70.11 | 71.42 | 102.2 | 72.3 | 73.41 | 89.36 | 30 | 965 | 36 | 28.58
30.10.22 14:10:14 | 13.78 | 81.46 | 80.39 | 78.1 | 75.82 | 97.37 | 66.7 | 76.75 | 74.15 | 82.45 | 74.01 | 81.2 | 94.47 | 77.44 | 100.29 | 83 | 83.36 | 82.73 | 87.02 | 69.44 | 70.71 | 101.9 | 71.58 | 72.6 | 88.78 | 30 | 965 | 36 | 28.6
30.10.22 14:10:30 | 14.05 | 81.18 | 79.97 | 77.96 | 75.15 | 97.37 | 66.44 | 76.2 | 73.74 | 82.45 | 73.74 | 81.06 | 94.47 | 77.3 | 100.15 | 82.86 | 83.07 | 82.32 | 87.17 | 69.17 | 70.71 | 101.9 | 71.14 | 72.73 | 88.35 | 30 | 965 | 36 | 28.6
30.10.22 14:10:45 | 14.3 | 81.04 | 79.83 | 77.41 | 74.75 | 97.37 | 65.9 | 75.92 | 73.74 | 82.17 | 73.33 | 80.92 | 94.32 | 77.03 | 100.15 | 82.57 | 82.64 | 82.18 | 86.72 | 69.04 | 70.43 | 102.05 | 70.27 | 72.19 | 87.77 | 30 | 965 | 36 | 28.6
30.10.22 14:11:00 | 14.55 | 80.76 | 79.56 | 77.41 | 74.21 | 97.37 | 65.51 | 75.65 | 73.74 | 82.17 | 73.19 | 80.78 | 94.32 | 76.89 | 100 | 82.43 | 82.64 | 81.9 | 86.72 | 68.51 | 70.15 | 102.34 | 70.27 | 71.92 | 87.19 | 30 | 965 | 36 | 28.63
30.10.22 14:11:15 | 14.8 | 80.48 | 79.42 | 77 | 73.95 | 97.52 | 65.24 | 75.1 | 73.06 | 82.03 | 72.92 | 80.36 | 94.32 | 76.34 | 100.15 | 82.15 | 82.49 | 81.62 | 86.57 | 68.1 | 69.73 | 102.05 | 69.55 | 71.79 | 86.62 | 30 | 965 | 36 | 28.63
30.10.22 14:11:30 | 15.05 | 80.48 | 79.15 | 76.73 | 73.55 | 97.81 | 65.11 | 74.69 | 73.06 | 81.75 | 72.65 | 80.09 | 94.18 | 76.21 | 100.29 | 82.15 | 82.2 | 81.62 | 86.42 | 67.97 | 69.59 | 102.34 | 68.97 | 71.65 | 85.9 | 30 | 965 | 36 | 28.66
30.10.22 14:11:45 | 15.3 | 79.93 | 79.01 | 76.32 | 73.01 | 97.52 | 64.71 | 74.01 | 72.65 | 81.46 | 72.11 | 79.67 | 94.18 | 75.8 | 100.15 | 81.87 | 82.06 | 81.34 | 86.11 | 67.7 | 69.45 | 102.34 | 68.26 | 71.39 | 85.18 | 30 | 965 | 36 | 28.66
30.10.22 14:12:00 | 15.55 | 80.07 | 78.6 | 76.18 | 72.88 | 97.52 | 64.45 | 73.47 | 72.51 | 81.46 | 71.84 | 79.67 | 94.04 | 75.8 | 100.15 | 81.87 | 81.77 | 81.06 | 86.11 | 67.17 | 69.16 | 102.2 | 68.11 | 71.39 | 84.18 | 30 | 965 | 36 | 28.67
30.10.22 14:12:15 | 15.8 | 79.79 | 78.74 | 75.91 | 72.61 | 97.81 | 64.05 | 72.92 | 72.37 | 81.18 | 71.43 | 79.39 | 94.18 | 75.53 | 100.29 | 81.59 | 81.63 | 81.06 | 85.81 | 67.04 | 68.88 | 102.34 | 67.82 | 71.12 | 83.18 | 30 | 965 | 36 | 28.69
30.10.22 14:12:30 | 16.05 | 79.51 | 78.33 | 75.5 | 72.21 | 97.66 | 63.78 | 72.52 | 71.83 | 80.9 | 71.16 | 79.12 | 93.89 | 75.26 | 100.44 | 81.3 | 81.34 | 80.64 | 85.66 | 66.51 | 68.32 | 102.34 | 67.39 | 70.85 | 82.46 | 30 | 965 | 36 | 28.7
30.10.22 14:12:45 | 16.3 | 79.23 | 78.19 | 75.09 | 71.95 | 97.66 | 63.39 | 71.84 | 71.83 | 80.62 | 70.89 | 78.7 | 93.6 | 75.39 | 100.29 | 81.02 | 80.91 | 80.5 | 85.36 | 65.97 | 68.18 | 102.49 | 67.11 | 70.71 | 81.33 | 30 | 965 | 36 | 28.7
30.10.22 14:13:00 | 16.55 | 79.09 | 77.78 | 74.69 | 71.55 | 97.52 | 62.99 | 71.3 | 71.56 | 80.34 | 70.62 | 78.56 | 93.75 | 74.98 | 100.15 | 80.74 | 80.62 | 80.36 | 84.91 | 65.58 | 67.63 | 102.49 | 66.54 | 70.44 | 80.34 | 30 | 965 | 36 | 28.71
30.10.22 14:13:15 | 16.8 | 78.96 | 77.51 | 74.69 | 71.42 | 97.66 | 62.73 | 71.03 | 71.42 | 80.34 | 70.49 | 78.29 | 93.89 | 74.85 | 100.29 | 80.74 | 80.76 | 80.36 | 84.91 | 65.44 | 67.49 | 102.64 | 66.54 | 70.04 | 79.49 | 30 | 965 | 36 | 28.73
30.10.22 14:13:30 | 17.05 | 78.68 | 77.51 | 74.14 | 71.02 | 97.52 | 62.6 | 70.62 | 71.28 | 80.2 | 70.22 | 78.42 | 93.75 | 74.31 | 100.44 | 80.6 | 80.33 | 80.09 | 84.6 | 64.91 | 67.21 | 102.49 | 66.11 | 70.04 | 78.51 | 30 | 965 | 36 | 28.73
30.10.22 14:13:45 | 17.3 | 78.54 | 77.1 | 73.74 | 70.89 | 97.66 | 61.94 | 70.08 | 70.88 | 79.92 | 69.95 | 77.87 | 93.6 | 73.9 | 100.44 | 80.18 | 80.04 | 79.95 | 84.45 | 64.12 | 66.37 | 102.64 | 65.96 | 69.77 | 77.53 | 30 | 965 | 36 | 28.74
30.10.22 14:14:00 | 17.55 | 78.4 | 76.82 | 73.6 | 70.63 | 97.81 | 61.81 | 69.28 | 70.88 | 79.78 | 69.55 | 77.87 | 93.46 | 73.76 | 100.44 | 80.04 | 79.9 | 79.53 | 84.15 | 63.99 | 66.1 | 102.64 | 65.82 | 69.24 | 76.55 | 30 | 965 | 36 | 28.77
30.10.22 14:14:15 | 17.8 | 77.99 | 76.42 | 73.33 | 70.23 | 97.37 | 61.02 | 68.74 | 70.47 | 79.22 | 69.01 | 77.32 | 93.32 | 73.36 | 100 | 79.62 | 79.62 | 78.98 | 83.85 | 63.6 | 65.68 | 102.34 | 65.11 | 68.97 | 75.29 | 30 | 965 | 36 | 28.78
30.10.22 14:14:30 | 18.05 | 77.99 | 76.28 | 73.06 | 70.1 | 97.52 | 60.76 | 68.07 | 70.33 | 78.8 | 68.34 | 77.05 | 93.17 | 73.22 | 100.29 | 79.48 | 79.19 | 78.7 | 83.85 | 63.46 | 65.26 | 102.79 | 65.25 | 68.84 | 74.88 | 30 | 965 | 36 | 28.8
30.10.22 14:14:45 | 18.3 | 77.57 | 76.01 | 72.66 | 69.83 | 97.37 | 60.24 | 67.8 | 69.93 | 78.52 | 67.4 | 76.77 | 93.17 | 72.55 | 100.15 | 79.06 | 79.04 | 78.7 | 83.7 | 63.2 | 64.85 | 102.64 | 64.68 | 68.44 | 73.77 | 30 | 965 | 36 | 28.8
30.10.22 14:15:00 | 18.55 | 77.44 | 75.87 | 72.52 | 69.44 | 97.37 | 60.11 | 67.27 | 69.79 | 78.11 | 66.47 | 76.36 | 93.17 | 72.41 | 100.15 | 78.78 | 78.76 | 78.56 | 83.55 | 62.94 | 64.29 | 102.64 | 64.83 | 68.04 | 73.08 | 30 | 965 | 36 | 28.8
30.10.22 14:15:15 | 18.8 | 77.16 | 75.6 | 72.25 | 69.31 | 97.37 | 59.46 | 66.87 | 69.39 | 77.83 | 65.81 | 76.09 | 92.89 | 71.88 | 100 | 78.78 | 78.33 | 78.15 | 83.4 | 62.68 | 63.74 | 102.93 | 64.4 | 67.64 | 72.11 | 30 | 965 | 36 | 28.81
30.10.22 14:15:30 | 19.05 | 76.89 | 75.06 | 71.98 | 69.18 | 97.52 | 59.07 | 66.34 | 69.39 | 77.55 | 65.67 | 75.95 | 93.03 | 71.47 | 100.15 | 78.36 | 78.04 | 77.6 | 83.25 | 62.54 | 63.33 | 102.79 | 64.54 | 67.24 | 71.56 | 30 | 965 | 36 | 28.83
30.10.22 14:15:45 | 19.3 | 76.61 | 74.92 | 71.85 | 68.65 | 97.37 | 58.68 | 66.2 | 69.12 | 77.41 | 65.54 | 75.54 | 93.03 | 71.2 | 100.29 | 78.22 | 77.62 | 77.46 | 83.25 | 62.54 | 62.92 | 102.49 | 64.11 | 66.97 | 71.01 | 30 | 965 | 36 | 28.84
30.10.22 14:16:00 | 19.55 | 76.47 | 74.79 | 71.58 | 68.52 | 97.52 | 58.29 | 65.94 | 68.98 | 76.86 | 65.67 | 75.4 | 92.74 | 70.8 | 100.29 | 77.94 | 77.19 | 77.18 | 83.1 | 62.41 | 62.64 | 102.93 | 63.97 | 66.31 | 70.33 | 30 | 965 | 36 | 28.85
30.10.22 14:16:15 | 19.8 | 75.92 | 74.25 | 71.04 | 68.26 | 97.37 | 57.77 | 65.67 | 68.17 | 76.44 | 65.41 | 74.72 | 92.89 | 70.4 | 100.29 | 77.39 | 76.76 | 76.63 | 82.8 | 62.02 | 61.96 | 102.64 | 63.55 | 66.04 | 69.78 | 30 | 965 | 36 | 28.85
30.10.22 14:16:30 | 20.05 | 75.79 | 74.11 | 70.91 | 67.86 | 97.22 | 57.51 | 65.28 | 68.04 | 76.16 | 65.67 | 74.58 | 92.6 | 70 | 100.29 | 77.25 | 76.48 | 76.63 | 82.65 | 61.76 | 61.68 | 102.93 | 63.55 | 65.52 | 69.37 | 30 | 965 | 36 | 28.86
30.10.22 14:16:45 | 20.3 | 75.51 | 73.71 | 70.64 | 67.73 | 97.08 | 56.86 | 65.14 | 67.64 | 75.75 | 65.54 | 74.45 | 92.6 | 69.47 | 100.29 | 76.83 | 75.91 | 76.22 | 82.35 | 61.37 | 61.13 | 102.79 | 62.84 | 65.12 | 69.23 | 30 | 965 | 36 | 28.88
30.10.22 14:17:00 | 20.55 | 75.38 | 73.44 | 70.5 | 67.6 | 97.22 | 56.48 | 65.01 | 67.5 | 75.2 | 65.81 | 74.17 | 92.6 | 68.93 | 100.44 | 76.83 | 75.63 | 76.22 | 82.35 | 61.1 | 60.59 | 102.93 | 62.7 | 64.72 | 68.69 | 30 | 965 | 36 | 28.88
30.10.22 14:17:15 | 20.8 | 75.24 | 73.04 | 70.24 | 67.47 | 97.08 | 56.22 | 64.75 | 67.23 | 75.06 | 65.94 | 74.04 | 92.74 | 68.8 | 100.29 | 76.28 | 75.35 | 76.09 | 82.2 | 61.24 | 59.9 | 102.79 | 62.7 | 64.46 | 68.69 | 30 | 965 | 36 | 28.88
30.10.22 14:17:30 | 21.05 | 74.83 | 72.77 | 69.7 | 66.95 | 97.22 | 55.83 | 64.35 | 67.1 | 74.37 | 65.94 | 73.36 | 92.31 | 68.4 | 100.29 | 75.86 | 74.64 | 75.54 | 81.91 | 60.97 | 59.36 | 102.93 | 62.27 | 63.8 | 68.42 | 30 | 965 | 36 | 28.91
30.10.22 14:17:45 | 21.3 | 74.83 | 72.5 | 69.7 | 66.95 | 97.08 | 55.7 | 63.82 | 66.83 | 73.96 | 65.94 | 72.95 | 92.31 | 68.13 | 100.15 | 75.72 | 74.22 | 75.13 | 81.76 | 60.84 | 58.95 | 102.79 | 62.13 | 63.93 | 68.14 | 30 | 965 | 36 | 28.91
30.10.22 14:18:00 | 21.55 | 74.42 | 72.36 | 69.3 | 66.56 | 96.79 | 55.58 | 63.69 | 66.7 | 73.68 | 65.67 | 72.54 | 92.17 | 67.74 | 100.29 | 75.31 | 73.8 | 75.13 | 81.31 | 60.58 | 58.54 | 102.64 | 61.99 | 63.67 | 67.74 | 30 | 965 | 36 | 28.92
30.10.22 14:18:15 | 21.8 | 74.28 | 71.69 | 69.17 | 66.43 | 96.93 | 55.45 | 63.43 | 66.43 | 73.27 | 65.67 | 72.41 | 92.17 | 67.47 | 100.29 | 75.03 | 73.51 | 74.72 | 81.46 | 60.06 | 58.14 | 102.93 | 61.71 | 63.15 | 67.74 | 30 | 965 | 36 | 28.94
30.10.22 14:18:30 | 22.05 | 74.01 | 71.43 | 68.77 | 66.04 | 96.64 | 54.93 | 62.9 | 66.16 | 72.73 | 65.14 | 71.73 | 91.88 | 67.07 | 100.29 | 74.76 | 73.09 | 74.58 | 81.01 | 59.67 | 57.87 | 102.93 | 61.29 | 62.75 | 67.47 | 30 | 965 | 36 | 28.94
30.10.22 14:18:45 | 22.3 | 73.74 | 71.02 | 68.5 | 65.91 | 96.79 | 54.55 | 62.51 | 65.9 | 72.59 | 65.28 | 71.33 | 91.74 | 66.68 | 100.29 | 74.34 | 72.53 | 74.45 | 80.86 | 59.54 | 57.87 | 102.79 | 61.01 | 62.62 | 67.19 | 30 | 965 | 36 | 28.95

## Oxygen Orginal
Measurement Name : | 20221030_SDR710_AMB_WT_COHORT1023 |  | Generated On : | 30/10/2022, 14:19:07 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 30/10/2022, 13:56:27 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 30/10/2022, 14:18:53 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
30.10.22 13:56:29 | 0.03 | 94.85 | 97.89 | 95.15 | 93.79 | 101.72 | 86.19 | 93.34 | 90.05 | 93.19 | 90.34 | 95.45 | 98.96 | 94.09 | 101.42 | 92.29 | 88.56 | 94.4 | 88.71 | 93.04 | 82.24 | 106.55 | 83.84 | 91.09 | 94.09 | 30 | 965 | 36 | 27.99
30.10.22 13:56:44 | 0.28 | 95.15 | 98.19 | 95.15 | 94.09 | 102.19 | 86.49 | 93.64 | 90.19 | 93.49 | 90.79 | 95.61 | 99.42 | 94.4 | 102.03 | 92.59 | 88.71 | 94.55 | 89.3 | 93.49 | 82.53 | 106.86 | 84.14 | 91.39 | 94.7 | 30 | 965 | 36 | 27.96
30.10.22 13:56:59 | 0.53 | 95.61 | 98.8 | 95.61 | 94.25 | 102.65 | 86.49 | 93.79 | 90.19 | 93.94 | 91.24 | 95.76 | 99.88 | 94.55 | 102.34 | 92.74 | 88.86 | 94.85 | 89.6 | 93.64 | 82.68 | 107.33 | 84.43 | 91.54 | 95.15 | 30 | 965 | 36 | 27.94
30.10.22 13:57:14 | 0.78 | 95.76 | 98.96 | 95.45 | 94.4 | 102.81 | 86.49 | 94.09 | 90.19 | 93.94 | 91.39 | 95.3 | 99.72 | 94.7 | 102.5 | 93.04 | 88.86 | 95 | 89.75 | 93.79 | 82.53 | 107.33 | 84.58 | 91.69 | 95.15 | 30 | 965 | 36 | 27.95
30.10.22 13:57:29 | 1.03 | 96.21 | 99.42 | 95.76 | 94.7 | 103.43 | 86.78 | 94.25 | 90.49 | 94.55 | 91.99 | 95.76 | 100.34 | 95.3 | 103.12 | 93.19 | 89.3 | 95.15 | 90.05 | 94.25 | 82.82 | 107.64 | 84.72 | 91.99 | 95.45 | 30 | 965 | 36 | 27.96
30.10.22 13:57:44 | 1.28 | 96.06 | 99.26 | 95.61 | 94.7 | 103.27 | 86.49 | 94.09 | 90.49 | 94.4 | 91.99 | 95.61 | 100.34 | 95.3 | 103.27 | 93.04 | 89.3 | 95 | 90.19 | 93.94 | 82.97 | 107.64 | 84.72 | 91.99 | 95.61 | 30 | 965 | 36 | 27.96
30.10.22 13:57:59 | 1.53 | 96.37 | 99.57 | 95.61 | 95 | 103.74 | 86.34 | 94.25 | 90.49 | 94.7 | 92.14 | 95.76 | 100.65 | 95.45 | 103.58 | 93.34 | 89.3 | 95 | 90.64 | 94.25 | 82.82 | 108.12 | 84.87 | 91.99 | 95.76 | 30 | 965 | 36 | 27.96
30.10.22 13:58:14 | 1.78 | 96.52 | 99.57 | 95.76 | 95 | 104.05 | 86.64 | 94.4 | 90.79 | 94.85 | 92.44 | 95.91 | 100.95 | 95.3 | 103.89 | 93.64 | 89.6 | 95.3 | 90.79 | 94.09 | 82.53 | 108.12 | 84.58 | 91.84 | 95.91 | 30 | 965 | 36 | 27.98
30.10.22 13:58:29 | 2.03 | 96.37 | 99.72 | 95.3 | 94.85 | 103.89 | 86.34 | 94.09 | 90.34 | 94.85 | 92.59 | 95.61 | 100.95 | 95.15 | 104.05 | 93.19 | 89.15 | 94.85 | 90.64 | 93.94 | 82.38 | 108.12 | 84.43 | 91.69 | 95.76 | 30 | 965 | 36 | 27.99
30.10.22 13:58:44 | 2.28 | 96.06 | 99.88 | 95 | 94.4 | 104.05 | 86.19 | 94.25 | 90.19 | 94.85 | 92.44 | 95.61 | 100.8 | 95.15 | 104.36 | 93.19 | 89.15 | 94.7 | 90.64 | 93.49 | 82.24 | 108.12 | 84.28 | 91.54 | 95.91 | 30 | 965 | 36 | 27.99
30.10.22 13:58:59 | 2.53 | 96.37 | 99.72 | 95 | 94.55 | 104.2 | 86.05 | 94.09 | 90.19 | 94.85 | 92.74 | 95.45 | 100.95 | 95.15 | 104.52 | 93.34 | 89 | 94.85 | 90.94 | 93.79 | 82.09 | 107.96 | 84.28 | 91.39 | 96.21 | 30 | 965 | 36 | 28.02
30.10.22 13:59:14 | 2.78 | 96.21 | 99.57 | 95 | 94.4 | 104.2 | 85.9 | 94.25 | 90.05 | 95 | 92.29 | 95.45 | 100.95 | 94.7 | 104.67 | 93.49 | 89.15 | 94.55 | 90.94 | 93.64 | 82.09 | 108.27 | 83.7 | 91.39 | 96.21 | 30 | 965 | 36 | 28.03
30.10.22 13:59:29 | 3.03 | 96.21 | 99.88 | 94.85 | 94.4 | 104.52 | 85.9 | 94.25 | 89.9 | 94.85 | 92.29 | 95.3 | 101.26 | 94.7 | 104.98 | 93.49 | 89 | 95 | 91.09 | 93.34 | 82.09 | 108.43 | 83.55 | 91.24 | 96.06 | 30 | 965 | 36 | 28.03
30.10.22 13:59:44 | 3.28 | 95.91 | 99.88 | 94.7 | 94.25 | 104.52 | 85.6 | 94.09 | 89.9 | 94.85 | 92.29 | 95.3 | 101.26 | 94.7 | 104.98 | 93.64 | 89.3 | 94.7 | 91.24 | 93.19 | 81.95 | 108.59 | 83.26 | 91.24 | 96.21 | 30 | 965 | 36 | 28.05
30.10.22 13:59:59 | 3.53 | 96.06 | 99.72 | 94.7 | 94.09 | 104.67 | 85.16 | 94.25 | 89.75 | 94.7 | 91.84 | 95.15 | 101.42 | 94.55 | 105.29 | 93.49 | 89.15 | 94.7 | 91.24 | 92.74 | 81.8 | 108.59 | 82.82 | 90.94 | 96.21 | 30 | 965 | 36 | 28.06
30.10.22 14:00:14 | 3.78 | 95.76 | 99.42 | 94.4 | 93.79 | 104.36 | 84.87 | 93.94 | 89.3 | 94.7 | 91.69 | 94.85 | 101.42 | 93.94 | 105.29 | 93.34 | 89 | 94.7 | 91.09 | 92.44 | 81.51 | 108.59 | 82.24 | 90.79 | 96.21 | 30 | 965 | 36 | 28.06
30.10.22 14:00:29 | 4.03 | 95.61 | 99.11 | 94.09 | 93.49 | 104.36 | 84.43 | 93.79 | 89.15 | 94.25 | 91.54 | 94.4 | 101.42 | 93.64 | 105.45 | 93.19 | 89 | 94.25 | 91.09 | 91.99 | 81.22 | 108.27 | 81.66 | 90.49 | 95.91 | 30 | 965 | 36 | 28.08
30.10.22 14:00:44 | 4.28 | 95.3 | 98.8 | 93.79 | 93.19 | 104.36 | 84.28 | 93.34 | 88.71 | 94.25 | 91.39 | 94.4 | 101.42 | 93.49 | 105.45 | 93.04 | 88.86 | 94.55 | 90.94 | 91.84 | 81.22 | 108.59 | 81.22 | 90.19 | 96.06 | 30 | 965 | 36 | 28.1
30.10.22 14:00:59 | 4.53 | 95.15 | 98.8 | 93.79 | 93.19 | 104.52 | 83.99 | 93.34 | 88.56 | 94.25 | 91.24 | 94.25 | 101.57 | 93.34 | 105.45 | 92.89 | 88.86 | 94.55 | 90.94 | 91.69 | 80.79 | 108.59 | 81.22 | 89.9 | 96.06 | 30 | 965 | 36 | 28.11
30.10.22 14:01:14 | 4.78 | 94.85 | 98.35 | 93.49 | 93.04 | 104.67 | 83.55 | 93.04 | 88.11 | 93.79 | 90.94 | 93.79 | 101.88 | 92.89 | 105.61 | 92.59 | 88.71 | 94.4 | 90.49 | 91.24 | 80.79 | 108.75 | 80.79 | 89.15 | 95.91 | 30 | 965 | 36 | 28.13
30.10.22 14:01:29 | 5.03 | 94.4 | 97.74 | 93.19 | 92.74 | 104.36 | 83.11 | 92.59 | 87.82 | 93.64 | 90.64 | 93.94 | 101.72 | 92.44 | 105.61 | 92.44 | 88.71 | 94.09 | 90.34 | 90.64 | 80.5 | 108.59 | 80.5 | 88.86 | 95.91 | 30 | 965 | 36 | 28.13
30.10.22 14:01:44 | 5.28 | 94.25 | 97.58 | 92.74 | 92.44 | 104.05 | 82.68 | 92.14 | 87.37 | 93.34 | 90.34 | 93.49 | 101.72 | 92.14 | 105.61 | 92.29 | 88.56 | 93.79 | 90.19 | 89.6 | 80.06 | 108.43 | 79.77 | 88.11 | 95.61 | 30 | 965 | 36 | 28.16
30.10.22 14:01:59 | 5.53 | 93.94 | 97.13 | 92.74 | 92.44 | 104.2 | 82.24 | 91.99 | 86.93 | 93.19 | 89.75 | 93.34 | 101.88 | 91.84 | 105.76 | 92.14 | 88.71 | 93.94 | 90.19 | 89.45 | 79.92 | 108.9 | 79.34 | 88.11 | 95.45 | 30 | 965 | 36 | 28.16
30.10.22 14:02:14 | 5.78 | 93.49 | 96.82 | 92.29 | 92.14 | 104.05 | 81.8 | 91.39 | 86.64 | 92.59 | 89.6 | 92.89 | 101.88 | 91.54 | 105.76 | 91.84 | 88.41 | 93.64 | 90.05 | 88.71 | 79.49 | 108.59 | 79.2 | 87.52 | 95.45 | 30 | 965 | 36 | 28.17
30.10.22 14:02:29 | 6.03 | 93.34 | 96.67 | 91.99 | 92.14 | 104.05 | 81.51 | 91.09 | 86.19 | 92.59 | 89.15 | 92.74 | 102.03 | 91.24 | 105.76 | 91.84 | 88.41 | 93.49 | 89.9 | 88.26 | 79.2 | 108.59 | 78.91 | 87.08 | 95.45 | 30 | 965 | 36 | 28.19
30.10.22 14:02:44 | 6.28 | 93.34 | 96.52 | 91.84 | 91.99 | 104.2 | 81.51 | 91.09 | 86.34 | 92.59 | 88.86 | 92.74 | 102.19 | 90.94 | 106.08 | 91.84 | 88.41 | 93.49 | 90.05 | 87.52 | 79.2 | 109.06 | 78.91 | 86.93 | 95.61 | 30 | 965 | 36 | 28.21
30.10.22 14:02:59 | 6.53 | 92.89 | 96.21 | 91.39 | 91.39 | 104.05 | 81.08 | 90.79 | 85.9 | 92.29 | 88.11 | 92.29 | 101.88 | 90.79 | 105.92 | 91.54 | 88.26 | 93.19 | 89.6 | 86.93 | 78.62 | 108.9 | 78.33 | 86.34 | 95.45 | 30 | 965 | 36 | 28.23
30.10.22 14:03:14 | 6.78 | 92.74 | 95.91 | 90.94 | 91.09 | 103.89 | 80.93 | 90.49 | 85.6 | 92.14 | 87.82 | 91.99 | 102.03 | 90.34 | 106.08 | 91.39 | 88.11 | 93.04 | 89.6 | 86.34 | 78.62 | 109.06 | 78.19 | 85.75 | 95.45 | 30 | 965 | 36 | 28.24
30.10.22 14:03:29 | 7.03 | 92.59 | 95.61 | 90.64 | 91.09 | 103.89 | 80.35 | 90.19 | 85.31 | 91.84 | 87.08 | 91.69 | 102.03 | 90.05 | 106.08 | 91.24 | 88.11 | 92.89 | 89.3 | 85.6 | 78.33 | 109.06 | 77.76 | 85.6 | 95 | 30 | 965 | 36 | 28.24
30.10.22 14:03:44 | 7.28 | 92.44 | 95.45 | 90.34 | 90.49 | 104.05 | 80.06 | 90.05 | 85.16 | 91.69 | 86.34 | 91.39 | 102.19 | 89.6 | 105.92 | 90.94 | 87.97 | 92.74 | 89.3 | 84.72 | 78.19 | 109.06 | 77.33 | 85.31 | 95.3 | 30 | 965 | 36 | 28.25
30.10.22 14:03:59 | 7.53 | 92.29 | 95.3 | 90.05 | 90.49 | 104.05 | 79.92 | 89.75 | 85.31 | 91.69 | 86.05 | 91.39 | 102.19 | 89.9 | 106.39 | 91.09 | 87.97 | 92.89 | 89.45 | 84.14 | 78.19 | 109.06 | 77.33 | 85.16 | 95.15 | 30 | 965 | 36 | 28.28
30.10.22 14:04:14 | 7.78 | 91.99 | 95.15 | 89.75 | 89.9 | 104.05 | 79.49 | 89.3 | 84.87 | 91.54 | 85.46 | 91.39 | 102.34 | 89.45 | 106.39 | 90.79 | 87.82 | 92.59 | 89.15 | 83.55 | 77.9 | 109.38 | 76.75 | 84.87 | 95.15 | 30 | 965 | 36 | 28.28
30.10.22 14:04:29 | 8.03 | 91.99 | 94.7 | 89.45 | 89.45 | 103.89 | 79.2 | 88.86 | 84.72 | 91.09 | 84.87 | 90.94 | 102.03 | 89 | 106.23 | 90.49 | 87.82 | 92.44 | 88.86 | 82.82 | 77.33 | 109.22 | 76.61 | 84.28 | 95 | 30 | 965 | 36 | 28.31
30.10.22 14:04:44 | 8.28 | 91.69 | 94.25 | 89 | 89 | 103.74 | 78.76 | 88.41 | 84.28 | 90.79 | 84.43 | 90.64 | 102.19 | 88.71 | 105.92 | 90.34 | 87.52 | 92.14 | 88.56 | 82.68 | 77.04 | 109.38 | 76.18 | 83.84 | 95 | 30 | 965 | 36 | 28.31
30.10.22 14:04:59 | 8.53 | 91.39 | 93.64 | 88.71 | 88.56 | 103.74 | 78.33 | 87.82 | 83.99 | 90.64 | 84.14 | 90.34 | 102.03 | 88.26 | 106.23 | 90.05 | 87.37 | 91.84 | 88.56 | 82.24 | 76.75 | 109.22 | 75.75 | 83.41 | 94.85 | 30 | 965 | 36 | 28.33
30.10.22 14:05:14 | 8.78 | 91.24 | 93.19 | 88.56 | 88.26 | 103.74 | 78.33 | 87.52 | 83.7 | 90.34 | 83.99 | 89.9 | 102.03 | 87.97 | 106.23 | 90.05 | 87.37 | 91.54 | 88.26 | 81.95 | 76.61 | 109.22 | 75.61 | 83.11 | 94.55 | 30 | 965 | 36 | 28.35
30.10.22 14:05:29 | 9.03 | 91.09 | 93.19 | 88.41 | 88.26 | 103.89 | 78.33 | 87.23 | 83.7 | 90.34 | 83.41 | 89.75 | 102.19 | 87.82 | 106.7 | 90.05 | 87.37 | 91.54 | 88.26 | 81.95 | 76.47 | 109.38 | 75.61 | 83.26 | 94.7 | 30 | 965 | 36 | 28.35
30.10.22 14:05:44 | 9.28 | 90.79 | 92.74 | 87.82 | 87.67 | 103.58 | 77.76 | 86.64 | 83.11 | 89.9 | 83.11 | 89.6 | 102.19 | 87.52 | 106.39 | 89.45 | 87.23 | 91.39 | 87.97 | 81.37 | 75.9 | 109.53 | 75.33 | 82.82 | 94.55 | 30 | 965 | 36 | 28.35
30.10.22 14:05:59 | 9.53 | 90.49 | 92.14 | 87.67 | 87.23 | 103.43 | 77.47 | 86.49 | 82.68 | 89.75 | 82.97 | 89.3 | 101.88 | 87.08 | 106.39 | 89.6 | 87.08 | 90.94 | 87.52 | 80.64 | 75.75 | 109.69 | 75.04 | 82.24 | 94.4 | 30 | 965 | 36 | 28.38
30.10.22 14:06:14 | 9.78 | 90.34 | 91.84 | 87.52 | 86.93 | 103.74 | 77.18 | 86.19 | 82.38 | 89.45 | 82.53 | 89.3 | 102.03 | 86.93 | 106.39 | 89.45 | 87.08 | 90.94 | 87.37 | 80.21 | 75.47 | 109.53 | 74.9 | 81.8 | 94.25 | 30 | 965 | 36 | 28.39
30.10.22 14:06:29 | 10.03 | 90.05 | 91.54 | 87.37 | 86.64 | 103.74 | 76.75 | 85.9 | 82.09 | 89.3 | 82.09 | 88.71 | 102.03 | 86.78 | 106.39 | 89.45 | 86.93 | 90.94 | 87.37 | 79.77 | 75.47 | 109.85 | 74.61 | 81.37 | 94.25 | 30 | 965 | 36 | 28.41
30.10.22 14:06:44 | 10.28 | 89.9 | 90.94 | 86.93 | 86.34 | 103.43 | 76.18 | 85.6 | 81.95 | 89 | 81.8 | 88.71 | 101.88 | 86.19 | 106.55 | 89.15 | 86.78 | 90.49 | 87.08 | 79.49 | 75.04 | 109.85 | 74.05 | 81.08 | 94.09 | 30 | 965 | 36 | 28.42
30.10.22 14:06:59 | 10.53 | 89.45 | 90.19 | 86.49 | 85.6 | 103.43 | 75.61 | 84.72 | 81.37 | 88.56 | 81.08 | 88.11 | 101.72 | 85.75 | 106.39 | 88.71 | 86.49 | 90.19 | 86.64 | 78.91 | 74.47 | 109.53 | 73.62 | 80.79 | 93.94 | 30 | 965 | 36 | 28.42
30.10.22 14:07:14 | 10.78 | 89.15 | 89.6 | 86.34 | 85.46 | 103.27 | 75.18 | 84.43 | 80.64 | 88.41 | 81.08 | 88.11 | 101.42 | 85.46 | 106.23 | 88.56 | 86.34 | 89.9 | 86.64 | 78.33 | 74.33 | 109.38 | 73.19 | 80.35 | 93.64 | 30 | 965 | 36 | 28.44
30.10.22 14:07:29 | 11.03 | 88.86 | 89.3 | 86.05 | 85.31 | 103.43 | 74.76 | 84.28 | 80.5 | 88.41 | 80.93 | 87.82 | 101.72 | 85.6 | 106.39 | 88.56 | 86.34 | 89.9 | 86.64 | 77.76 | 74.05 | 109.69 | 72.91 | 80.06 | 93.79 | 30 | 965 | 36 | 28.46
30.10.22 14:07:44 | 11.28 | 88.71 | 88.56 | 85.75 | 84.87 | 103.27 | 74.19 | 83.99 | 80.06 | 88.11 | 80.64 | 87.37 | 101.42 | 85.16 | 106.23 | 88.41 | 86.19 | 89.6 | 86.49 | 77.47 | 73.62 | 109.85 | 72.35 | 79.63 | 93.79 | 30 | 965 | 36 | 28.48
30.10.22 14:07:59 | 11.53 | 88.41 | 88.11 | 85.31 | 84.58 | 103.43 | 73.34 | 83.7 | 79.63 | 87.97 | 80.06 | 87.37 | 101.42 | 84.87 | 106.23 | 88.11 | 85.75 | 89.15 | 86.34 | 77.04 | 73.34 | 109.53 | 71.78 | 79.05 | 93.34 | 30 | 965 | 36 | 28.49
30.10.22 14:08:14 | 11.78 | 88.26 | 87.97 | 85.31 | 84.58 | 103.58 | 73.19 | 83.41 | 79.49 | 87.97 | 79.92 | 87.37 | 101.57 | 84.72 | 106.39 | 87.97 | 86.05 | 89.3 | 86.19 | 76.9 | 73.34 | 109.85 | 71.36 | 79.05 | 93.64 | 30 | 965 | 36 | 28.49
30.10.22 14:08:29 | 12.03 | 87.67 | 87.23 | 84.72 | 84.14 | 103.27 | 72.77 | 82.97 | 79.2 | 87.52 | 79.49 | 87.08 | 101.42 | 84.28 | 106.08 | 87.82 | 85.75 | 89 | 85.75 | 76.47 | 72.49 | 109.85 | 71.22 | 78.76 | 93.34 | 30 | 965 | 36 | 28.52
30.10.22 14:08:44 | 12.28 | 87.67 | 87.08 | 84.72 | 83.99 | 103.74 | 72.63 | 82.68 | 79.2 | 87.52 | 79.49 | 86.93 | 101.42 | 83.99 | 106.39 | 87.82 | 85.6 | 88.86 | 85.75 | 76.18 | 72.35 | 109.85 | 70.94 | 78.76 | 93.19 | 30 | 965 | 36 | 28.52
30.10.22 14:08:59 | 12.53 | 87.23 | 86.78 | 84.28 | 83.7 | 103.58 | 72.06 | 82.24 | 78.76 | 87.08 | 79.2 | 86.64 | 101.26 | 83.84 | 106.23 | 87.52 | 85.46 | 88.71 | 85.46 | 75.61 | 72.06 | 109.85 | 70.66 | 78.48 | 92.89 | 30 | 965 | 36 | 28.53
30.10.22 14:09:14 | 12.78 | 86.93 | 86.49 | 83.99 | 83.26 | 103.74 | 71.64 | 81.95 | 78.62 | 86.64 | 78.91 | 86.34 | 100.95 | 83.26 | 106.23 | 87.23 | 85.02 | 88.56 | 85.31 | 75.18 | 71.78 | 109.69 | 70.52 | 78.04 | 92.59 | 30 | 965 | 36 | 28.55
30.10.22 14:09:29 | 13.03 | 86.78 | 86.64 | 83.99 | 83.11 | 103.74 | 71.5 | 81.66 | 78.62 | 86.93 | 78.91 | 86.34 | 101.11 | 83.26 | 106.55 | 87.23 | 85.02 | 88.56 | 85.02 | 74.9 | 71.64 | 109.85 | 70.52 | 77.9 | 92.59 | 30 | 965 | 36 | 28.56
30.10.22 14:09:44 | 13.28 | 86.49 | 86.49 | 83.41 | 82.82 | 103.74 | 70.94 | 81.22 | 78.33 | 86.64 | 78.62 | 86.19 | 100.8 | 82.82 | 106.55 | 86.93 | 84.72 | 88.56 | 84.58 | 74.33 | 71.36 | 109.69 | 69.95 | 77.61 | 92.29 | 30 | 965 | 36 | 28.56
30.10.22 14:09:59 | 13.53 | 86.34 | 86.34 | 83.41 | 82.68 | 104.05 | 70.66 | 81.22 | 78.19 | 86.64 | 78.48 | 86.19 | 101.26 | 82.97 | 106.7 | 86.93 | 84.72 | 88.11 | 84.58 | 74.05 | 71.22 | 110.01 | 69.67 | 77.76 | 92.29 | 30 | 965 | 36 | 28.58
30.10.22 14:10:14 | 13.78 | 85.9 | 85.9 | 82.97 | 82.09 | 104.05 | 70.23 | 80.93 | 77.61 | 86.05 | 78.04 | 85.75 | 100.8 | 82.38 | 106.55 | 86.49 | 84.28 | 87.37 | 83.99 | 73.34 | 70.52 | 109.69 | 68.97 | 76.9 | 91.69 | 30 | 965 | 36 | 28.6
30.10.22 14:10:30 | 14.05 | 85.6 | 85.46 | 82.82 | 81.37 | 104.05 | 69.95 | 80.35 | 77.18 | 86.05 | 77.76 | 85.6 | 100.8 | 82.24 | 106.39 | 86.34 | 83.99 | 86.93 | 84.14 | 73.05 | 70.52 | 109.69 | 68.55 | 77.04 | 91.24 | 30 | 965 | 36 | 28.6
30.10.22 14:10:45 | 14.3 | 85.46 | 85.31 | 82.24 | 80.93 | 104.05 | 69.39 | 80.06 | 77.18 | 85.75 | 77.33 | 85.46 | 100.65 | 81.95 | 106.39 | 86.05 | 83.55 | 86.78 | 83.7 | 72.91 | 70.23 | 109.85 | 67.72 | 76.47 | 90.64 | 30 | 965 | 36 | 28.6
30.10.22 14:11:00 | 14.55 | 85.16 | 85.02 | 82.24 | 80.35 | 104.05 | 68.97 | 79.77 | 77.18 | 85.75 | 77.18 | 85.31 | 100.65 | 81.8 | 106.23 | 85.9 | 83.55 | 86.49 | 83.7 | 72.35 | 69.95 | 110.17 | 67.72 | 76.18 | 90.05 | 30 | 965 | 36 | 28.63
30.10.22 14:11:15 | 14.8 | 84.87 | 84.87 | 81.8 | 80.06 | 104.2 | 68.69 | 79.2 | 76.47 | 85.6 | 76.9 | 84.87 | 100.65 | 81.22 | 106.39 | 85.6 | 83.41 | 86.19 | 83.55 | 71.92 | 69.53 | 109.85 | 67.02 | 76.04 | 89.45 | 30 | 965 | 36 | 28.63
30.10.22 14:11:30 | 15.05 | 84.87 | 84.58 | 81.51 | 79.63 | 104.52 | 68.55 | 78.76 | 76.47 | 85.31 | 76.61 | 84.58 | 100.49 | 81.08 | 106.55 | 85.6 | 83.11 | 86.19 | 83.41 | 71.78 | 69.39 | 110.17 | 66.47 | 75.9 | 88.71 | 30 | 965 | 36 | 28.66
30.10.22 14:11:45 | 15.3 | 84.28 | 84.43 | 81.08 | 79.05 | 104.2 | 68.14 | 78.04 | 76.04 | 85.02 | 76.04 | 84.14 | 100.49 | 80.64 | 106.39 | 85.31 | 82.97 | 85.9 | 83.11 | 71.5 | 69.25 | 110.17 | 65.77 | 75.61 | 87.97 | 30 | 965 | 36 | 28.66
30.10.22 14:12:00 | 15.55 | 84.43 | 83.99 | 80.93 | 78.91 | 104.2 | 67.86 | 77.47 | 75.9 | 85.02 | 75.75 | 84.14 | 100.34 | 80.64 | 106.39 | 85.31 | 82.68 | 85.6 | 83.11 | 70.94 | 68.97 | 110.01 | 65.64 | 75.61 | 86.93 | 30 | 965 | 36 | 28.67
30.10.22 14:12:15 | 15.8 | 84.14 | 84.14 | 80.64 | 78.62 | 104.52 | 67.44 | 76.9 | 75.75 | 84.72 | 75.33 | 83.84 | 100.49 | 80.35 | 106.55 | 85.02 | 82.53 | 85.6 | 82.82 | 70.8 | 68.69 | 110.17 | 65.36 | 75.33 | 85.9 | 30 | 965 | 36 | 28.69
30.10.22 14:12:30 | 16.05 | 83.84 | 83.7 | 80.21 | 78.19 | 104.36 | 67.16 | 76.47 | 75.18 | 84.43 | 75.04 | 83.55 | 100.18 | 80.06 | 106.7 | 84.72 | 82.24 | 85.16 | 82.68 | 70.23 | 68.14 | 110.17 | 64.94 | 75.04 | 85.16 | 30 | 965 | 36 | 28.7
30.10.22 14:12:45 | 16.3 | 83.55 | 83.55 | 79.77 | 77.9 | 104.36 | 66.74 | 75.75 | 75.18 | 84.14 | 74.76 | 83.11 | 99.88 | 80.21 | 106.55 | 84.43 | 81.8 | 85.02 | 82.38 | 69.67 | 68 | 110.33 | 64.67 | 74.9 | 83.99 | 30 | 965 | 36 | 28.7
30.10.22 14:13:00 | 16.55 | 83.41 | 83.11 | 79.34 | 77.47 | 104.2 | 66.33 | 75.18 | 74.9 | 83.84 | 74.47 | 82.97 | 100.03 | 79.77 | 106.39 | 84.14 | 81.51 | 84.87 | 81.95 | 69.25 | 67.44 | 110.33 | 64.12 | 74.61 | 82.97 | 30 | 965 | 36 | 28.71
30.10.22 14:13:15 | 16.8 | 83.26 | 82.82 | 79.34 | 77.33 | 104.36 | 66.05 | 74.9 | 74.76 | 83.84 | 74.33 | 82.68 | 100.18 | 79.63 | 106.55 | 84.14 | 81.66 | 84.87 | 81.95 | 69.11 | 67.3 | 110.48 | 64.12 | 74.19 | 82.09 | 30 | 965 | 36 | 28.73
30.10.22 14:13:30 | 17.05 | 82.97 | 82.82 | 78.76 | 76.9 | 104.2 | 65.91 | 74.47 | 74.61 | 83.7 | 74.05 | 82.82 | 100.03 | 79.05 | 106.7 | 83.99 | 81.22 | 84.58 | 81.66 | 68.55 | 67.02 | 110.33 | 63.7 | 74.19 | 81.08 | 30 | 965 | 36 | 28.73
30.10.22 14:13:45 | 17.3 | 82.82 | 82.38 | 78.33 | 76.75 | 104.36 | 65.22 | 73.9 | 74.19 | 83.41 | 73.76 | 82.24 | 99.88 | 78.62 | 106.7 | 83.55 | 80.93 | 84.43 | 81.51 | 67.72 | 66.19 | 110.48 | 63.57 | 73.9 | 80.06 | 30 | 965 | 36 | 28.74
30.10.22 14:14:00 | 17.55 | 82.68 | 82.09 | 78.19 | 76.47 | 104.52 | 65.08 | 73.05 | 74.19 | 83.26 | 73.34 | 82.24 | 99.72 | 78.48 | 106.7 | 83.41 | 80.79 | 83.99 | 81.22 | 67.58 | 65.91 | 110.48 | 63.43 | 73.34 | 79.05 | 30 | 965 | 36 | 28.77
30.10.22 14:14:15 | 17.8 | 82.24 | 81.66 | 77.9 | 76.04 | 104.05 | 64.26 | 72.49 | 73.76 | 82.68 | 72.77 | 81.66 | 99.57 | 78.04 | 106.23 | 82.97 | 80.5 | 83.41 | 80.93 | 67.16 | 65.5 | 110.17 | 62.74 | 73.05 | 77.76 | 30 | 965 | 36 | 28.78
30.10.22 14:14:30 | 18.05 | 82.24 | 81.51 | 77.61 | 75.9 | 104.2 | 63.98 | 71.78 | 73.62 | 82.24 | 72.06 | 81.37 | 99.42 | 77.9 | 106.55 | 82.82 | 80.06 | 83.11 | 80.93 | 67.02 | 65.08 | 110.64 | 62.88 | 72.91 | 77.33 | 30 | 965 | 36 | 28.8
30.10.22 14:14:45 | 18.3 | 81.8 | 81.22 | 77.18 | 75.61 | 104.05 | 63.43 | 71.5 | 73.19 | 81.95 | 71.08 | 81.08 | 99.42 | 77.18 | 106.39 | 82.38 | 79.92 | 83.11 | 80.79 | 66.74 | 64.67 | 110.48 | 62.33 | 72.49 | 76.18 | 30 | 965 | 36 | 28.8
30.10.22 14:15:00 | 18.55 | 81.66 | 81.08 | 77.04 | 75.18 | 104.05 | 63.29 | 70.94 | 73.05 | 81.51 | 70.09 | 80.64 | 99.42 | 77.04 | 106.39 | 82.09 | 79.63 | 82.97 | 80.64 | 66.47 | 64.12 | 110.48 | 62.47 | 72.06 | 75.47 | 30 | 965 | 36 | 28.8
30.10.22 14:15:15 | 18.8 | 81.37 | 80.79 | 76.75 | 75.04 | 104.05 | 62.61 | 70.52 | 72.63 | 81.22 | 69.39 | 80.35 | 99.11 | 76.47 | 106.23 | 82.09 | 79.2 | 82.53 | 80.5 | 66.19 | 63.57 | 110.8 | 62.06 | 71.64 | 74.47 | 30 | 965 | 36 | 28.81
30.10.22 14:15:30 | 19.05 | 81.08 | 80.21 | 76.47 | 74.9 | 104.2 | 62.19 | 69.95 | 72.63 | 80.93 | 69.25 | 80.21 | 99.26 | 76.04 | 106.39 | 81.66 | 78.91 | 81.95 | 80.35 | 66.05 | 63.15 | 110.64 | 62.19 | 71.22 | 73.9 | 30 | 965 | 36 | 28.83
30.10.22 14:15:45 | 19.3 | 80.79 | 80.06 | 76.32 | 74.33 | 104.05 | 61.78 | 69.81 | 72.35 | 80.79 | 69.11 | 79.77 | 99.26 | 75.75 | 106.55 | 81.51 | 78.48 | 81.8 | 80.35 | 66.05 | 62.74 | 110.33 | 61.78 | 70.94 | 73.34 | 30 | 965 | 36 | 28.84
30.10.22 14:16:00 | 19.55 | 80.64 | 79.92 | 76.04 | 74.19 | 104.2 | 61.37 | 69.53 | 72.2 | 80.21 | 69.25 | 79.63 | 98.96 | 75.33 | 106.55 | 81.22 | 78.04 | 81.51 | 80.21 | 65.91 | 62.47 | 110.8 | 61.65 | 70.23 | 72.63 | 30 | 965 | 36 | 28.85
30.10.22 14:16:15 | 19.8 | 80.06 | 79.34 | 75.47 | 73.9 | 104.05 | 60.83 | 69.25 | 71.36 | 79.77 | 68.97 | 78.91 | 99.11 | 74.9 | 106.55 | 80.64 | 77.61 | 80.93 | 79.92 | 65.5 | 61.78 | 110.48 | 61.24 | 69.95 | 72.06 | 30 | 965 | 36 | 28.85
30.10.22 14:16:30 | 20.05 | 79.92 | 79.2 | 75.33 | 73.48 | 103.89 | 60.56 | 68.83 | 71.22 | 79.49 | 69.25 | 78.76 | 98.8 | 74.47 | 106.55 | 80.5 | 77.33 | 80.93 | 79.77 | 65.22 | 61.51 | 110.8 | 61.24 | 69.39 | 71.64 | 30 | 965 | 36 | 28.86
30.10.22 14:16:45 | 20.3 | 79.63 | 78.76 | 75.04 | 73.34 | 103.74 | 59.88 | 68.69 | 70.8 | 79.05 | 69.11 | 78.62 | 98.8 | 73.9 | 106.55 | 80.06 | 76.75 | 80.5 | 79.49 | 64.81 | 60.96 | 110.64 | 60.56 | 68.97 | 71.5 | 30 | 965 | 36 | 28.88
30.10.22 14:17:00 | 20.55 | 79.49 | 78.48 | 74.9 | 73.19 | 103.89 | 59.47 | 68.55 | 70.66 | 78.48 | 69.39 | 78.33 | 98.8 | 73.34 | 106.7 | 80.06 | 76.47 | 80.5 | 79.49 | 64.53 | 60.42 | 110.8 | 60.42 | 68.55 | 70.94 | 30 | 965 | 36 | 28.88
30.10.22 14:17:15 | 20.8 | 79.34 | 78.04 | 74.61 | 73.05 | 103.74 | 59.2 | 68.28 | 70.37 | 78.33 | 69.53 | 78.19 | 98.96 | 73.19 | 106.55 | 79.49 | 76.18 | 80.35 | 79.34 | 64.67 | 59.74 | 110.64 | 60.42 | 68.28 | 70.94 | 30 | 965 | 36 | 28.88
30.10.22 14:17:30 | 21.05 | 78.91 | 77.76 | 74.05 | 72.49 | 103.89 | 58.79 | 67.86 | 70.23 | 77.61 | 69.53 | 77.47 | 98.5 | 72.77 | 106.55 | 79.05 | 75.47 | 79.77 | 79.05 | 64.39 | 59.2 | 110.8 | 60.01 | 67.58 | 70.66 | 30 | 965 | 36 | 28.91
30.10.22 14:17:45 | 21.3 | 78.91 | 77.47 | 74.05 | 72.49 | 103.74 | 58.65 | 67.3 | 69.95 | 77.18 | 69.53 | 77.04 | 98.5 | 72.49 | 106.39 | 78.91 | 75.04 | 79.34 | 78.91 | 64.26 | 58.79 | 110.64 | 59.88 | 67.72 | 70.37 | 30 | 965 | 36 | 28.91
30.10.22 14:18:00 | 21.55 | 78.48 | 77.33 | 73.62 | 72.06 | 103.43 | 58.52 | 67.16 | 69.81 | 76.9 | 69.25 | 76.61 | 98.35 | 72.06 | 106.55 | 78.48 | 74.61 | 79.34 | 78.48 | 63.98 | 58.38 | 110.48 | 59.74 | 67.44 | 69.95 | 30 | 965 | 36 | 28.92
30.10.22 14:18:15 | 21.8 | 78.33 | 76.61 | 73.48 | 71.92 | 103.58 | 58.38 | 66.88 | 69.53 | 76.47 | 69.25 | 76.47 | 98.35 | 71.78 | 106.55 | 78.19 | 74.33 | 78.91 | 78.62 | 63.43 | 57.98 | 110.8 | 59.47 | 66.88 | 69.95 | 30 | 965 | 36 | 28.94
30.10.22 14:18:30 | 22.05 | 78.04 | 76.32 | 73.05 | 71.5 | 103.27 | 57.84 | 66.33 | 69.25 | 75.9 | 68.69 | 75.75 | 98.04 | 71.36 | 106.55 | 77.9 | 73.9 | 78.76 | 78.19 | 63.02 | 57.71 | 110.8 | 59.06 | 66.47 | 69.67 | 30 | 965 | 36 | 28.94
30.10.22 14:18:45 | 22.3 | 77.76 | 75.9 | 72.77 | 71.36 | 103.43 | 57.44 | 65.91 | 68.97 | 75.75 | 68.83 | 75.33 | 97.89 | 70.94 | 106.55 | 77.47 | 73.34 | 78.62 | 78.04 | 62.88 | 57.71 | 110.64 | 58.79 | 66.33 | 69.39 | 30 | 965 | 36 | 28.95