## Oxygen OPA
Measurement Name : | 20221031_SDR710_AMB |  | Generated On : | 31/10/2022, 14:49:10 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 31/10/2022, 14:27:40 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 31/10/2022, 14:48:38 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 30 | °C
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 45.98 | 45.92 | 45.93 | 45.85 | 46.01 | 46.07 | 46.1 | 46.08 | 46.16 | 46.02 | 46.18 | 46.05 | 46.08 | 46.08 | 46.21 | 46.47 | 46.23 | 46.92 | 46.19 | 46.55 | 46.09 | 47.59 | 46.2 | 46.28
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
31.10.22 14:27:42 | 0.03 | 93.69 | 96.56 | 59.58 | 82.9 | 75.58 | 84.89 | 83.59 | 98.25 | 95.9 | 96.24 | 99.56 | 99.13 | 97.96 | 88.94 | 90.8 | 90.69 | 81.82 | 111.55 | 84 | 106.2 | 88.36 | 109.49 | 101.34 | 90.59 | 30 | 965 | 36 | 27.75
31.10.22 14:27:57 | 0.28 | 93.83 | 96.85 | 59.46 | 83.17 | 75.44 | 85.02 | 83.72 | 98.54 | 95.75 | 96.53 | 99.7 | 99.42 | 98.1 | 89.08 | 91.23 | 90.69 | 81.82 | 111.88 | 84 | 106.2 | 88.5 | 109.66 | 101.48 | 90.88 | 30 | 965 | 36 | 27.78
31.10.22 14:28:12 | 0.53 | 93.55 | 96.71 | 59.08 | 82.9 | 75.31 | 85.02 | 83.59 | 98.25 | 95.75 | 96.24 | 99.7 | 99.42 | 97.96 | 88.94 | 91.09 | 90.25 | 81.82 | 111.71 | 83.72 | 106.04 | 88.36 | 109.49 | 101.34 | 90.88 | 30 | 965 | 36 | 27.83
31.10.22 14:28:27 | 0.78 | 93.83 | 96.99 | 58.95 | 83.04 | 75.58 | 85.02 | 83.72 | 98.4 | 96.04 | 96.53 | 100 | 99.56 | 98.25 | 89.22 | 91.38 | 90.4 | 81.82 | 112.21 | 84 | 106.36 | 88.5 | 109.66 | 101.63 | 91.02 | 30 | 965 | 36 | 27.85
31.10.22 14:28:42 | 1.03 | 93.83 | 96.99 | 58.83 | 83.04 | 75.58 | 85.16 | 84 | 98.54 | 96.19 | 96.67 | 100.15 | 99.71 | 98.4 | 89.22 | 91.38 | 90.25 | 81.68 | 112.21 | 84 | 106.36 | 88.5 | 109.84 | 101.63 | 90.88 | 30 | 965 | 36 | 27.86
31.10.22 14:28:57 | 1.28 | 93.98 | 97.13 | 58.83 | 82.9 | 75.44 | 84.89 | 83.86 | 98.69 | 96.19 | 96.67 | 100.15 | 99.56 | 98.25 | 89.22 | 91.38 | 90.1 | 81.54 | 112.21 | 84 | 106.67 | 88.36 | 109.66 | 101.63 | 90.88 | 30 | 965 | 36 | 27.88
31.10.22 14:29:12 | 1.53 | 94.12 | 97.28 | 58.95 | 82.9 | 75.44 | 85.02 | 83.86 | 98.98 | 96.48 | 96.96 | 100.44 | 99.85 | 98.54 | 89.5 | 91.81 | 89.96 | 81.4 | 112.54 | 84.14 | 106.83 | 88.64 | 109.84 | 101.93 | 91.17 | 30 | 965 | 36 | 27.92
31.10.22 14:29:27 | 1.78 | 94.12 | 97.13 | 58.95 | 82.63 | 75.31 | 84.89 | 83.59 | 98.98 | 96.48 | 96.82 | 100.44 | 100 | 98.4 | 89.36 | 91.81 | 89.66 | 81.26 | 112.54 | 84 | 106.83 | 88.36 | 109.84 | 102.08 | 90.88 | 30 | 965 | 36 | 27.94
31.10.22 14:29:43 | 2.05 | 94.12 | 97.28 | 59.08 | 82.63 | 75.31 | 84.89 | 83.17 | 99.12 | 96.63 | 97.11 | 100.59 | 100 | 98.54 | 89.36 | 91.95 | 89.66 | 80.98 | 112.7 | 84.14 | 106.98 | 88.36 | 109.66 | 102.23 | 91.17 | 30 | 965 | 36 | 27.96
31.10.22 14:29:58 | 2.3 | 94.12 | 97.56 | 59.08 | 82.5 | 75.17 | 85.02 | 83.17 | 99.12 | 96.48 | 97.39 | 100.74 | 100 | 98.54 | 89.22 | 92.1 | 89.37 | 80.84 | 112.87 | 83.86 | 106.98 | 88.5 | 109.66 | 102.08 | 91.02 | 30 | 965 | 36 | 27.96
31.10.22 14:30:13 | 2.55 | 94.26 | 97.56 | 59.08 | 82.36 | 75.04 | 84.89 | 83.03 | 99.12 | 96.63 | 97.25 | 100.59 | 100.29 | 98.69 | 89.22 | 91.95 | 89.22 | 80.42 | 113.04 | 84 | 107.14 | 88.36 | 109.66 | 102.38 | 91.02 | 30 | 965 | 36 | 27.99
31.10.22 14:30:28 | 2.8 | 94.4 | 97.56 | 59.21 | 82.36 | 75.04 | 84.75 | 82.89 | 99.27 | 96.77 | 97.39 | 100.89 | 100.15 | 98.69 | 89.08 | 91.95 | 89.07 | 80.42 | 113.04 | 83.86 | 107.14 | 88.36 | 109.66 | 102.38 | 90.88 | 30 | 965 | 36 | 28.03
31.10.22 14:30:43 | 3.05 | 94.26 | 97.56 | 59.21 | 82.09 | 74.64 | 84.75 | 83.03 | 99.27 | 96.63 | 97.54 | 100.74 | 100.15 | 98.83 | 88.94 | 91.95 | 88.78 | 80.14 | 113.04 | 84 | 107.14 | 88.22 | 109.31 | 102.23 | 91.02 | 30 | 965 | 36 | 28.03
31.10.22 14:30:58 | 3.3 | 94.26 | 97.56 | 59.21 | 81.96 | 74.64 | 84.33 | 82.89 | 99.27 | 96.63 | 97.54 | 101.04 | 100.15 | 98.69 | 88.8 | 91.66 | 88.63 | 79.73 | 113.2 | 83.72 | 107.3 | 88.22 | 109.13 | 102.38 | 90.88 | 30 | 965 | 36 | 28.06
31.10.22 14:31:13 | 3.55 | 94.4 | 97.85 | 59.21 | 81.96 | 74.51 | 84.61 | 82.75 | 99.42 | 97.06 | 97.83 | 101.04 | 100.58 | 98.98 | 88.65 | 91.95 | 88.78 | 79.45 | 113.37 | 84 | 107.45 | 88.22 | 109.31 | 102.68 | 90.88 | 30 | 965 | 36 | 28.08
31.10.22 14:31:28 | 3.8 | 94.4 | 97.7 | 59.21 | 81.96 | 74.64 | 84.33 | 82.48 | 99.56 | 96.92 | 97.83 | 101.18 | 100.58 | 99.12 | 88.8 | 91.81 | 88.33 | 78.89 | 113.53 | 83.86 | 107.61 | 88.22 | 109.13 | 102.68 | 90.73 | 30 | 965 | 36 | 28.11
31.10.22 14:31:43 | 4.05 | 94.55 | 97.99 | 59.08 | 81.82 | 74.37 | 84.33 | 82.34 | 99.42 | 96.92 | 97.83 | 101.18 | 100.44 | 99.27 | 88.65 | 91.95 | 88.19 | 78.61 | 113.53 | 83.72 | 107.61 | 88.22 | 108.95 | 102.53 | 90.73 | 30 | 965 | 36 | 28.11
31.10.22 14:31:58 | 4.3 | 94.55 | 97.85 | 58.95 | 81.69 | 73.97 | 84.05 | 82.2 | 99.56 | 97.06 | 97.83 | 101.18 | 100.58 | 99.12 | 88.37 | 91.66 | 87.89 | 78.06 | 113.53 | 83.44 | 107.45 | 88.08 | 108.78 | 102.68 | 90.73 | 30 | 965 | 36 | 28.13
31.10.22 14:32:13 | 4.55 | 94.69 | 97.99 | 58.7 | 81.42 | 74.11 | 83.91 | 81.92 | 99.71 | 97.06 | 97.97 | 101.63 | 100.73 | 99.27 | 88.51 | 91.81 | 87.75 | 77.64 | 113.53 | 83.72 | 107.61 | 87.94 | 108.95 | 102.83 | 90.73 | 30 | 965 | 36 | 28.14
31.10.22 14:32:28 | 4.8 | 94.55 | 97.99 | 58.58 | 81.29 | 73.71 | 83.5 | 82.06 | 99.71 | 97.21 | 97.97 | 101.48 | 100.58 | 99.27 | 88.37 | 91.52 | 87.6 | 76.95 | 113.7 | 83.44 | 107.77 | 87.94 | 108.42 | 102.83 | 90.44 | 30 | 965 | 36 | 28.17
31.10.22 14:32:43 | 5.05 | 94.55 | 97.85 | 58.33 | 81.02 | 73.57 | 83.22 | 82.06 | 99.71 | 97.21 | 98.12 | 101.48 | 100.58 | 99.42 | 88.37 | 91.38 | 87.16 | 76.68 | 113.7 | 83.44 | 107.77 | 88.22 | 108.24 | 102.97 | 90.44 | 30 | 965 | 36 | 28.2
31.10.22 14:32:58 | 5.3 | 94.69 | 98.13 | 58.2 | 80.88 | 73.44 | 82.94 | 82.06 | 99.71 | 97.36 | 98.26 | 101.63 | 100.88 | 99.42 | 88.23 | 91.23 | 87.02 | 76.26 | 113.87 | 83.44 | 107.77 | 87.94 | 108.07 | 102.97 | 90.44 | 30 | 965 | 36 | 28.21
31.10.22 14:33:13 | 5.55 | 94.83 | 98.28 | 58.08 | 80.61 | 73.44 | 82.94 | 82.06 | 100 | 97.5 | 98.4 | 101.78 | 100.88 | 99.56 | 88.23 | 91.23 | 87.02 | 76.13 | 114.03 | 83.44 | 108.08 | 87.94 | 108.07 | 103.12 | 90.59 | 30 | 965 | 36 | 28.23
31.10.22 14:33:28 | 5.8 | 94.55 | 97.99 | 57.7 | 80.35 | 72.91 | 82.53 | 81.78 | 99.85 | 97.36 | 98.26 | 101.63 | 100.73 | 99.27 | 88.09 | 90.8 | 86.43 | 75.58 | 113.87 | 83.3 | 107.92 | 87.66 | 107.71 | 102.97 | 90.3 | 30 | 965 | 36 | 28.24
31.10.22 14:33:43 | 6.05 | 94.83 | 98.28 | 57.57 | 80.08 | 72.77 | 82.25 | 81.92 | 100 | 97.36 | 98.26 | 101.93 | 101.02 | 99.42 | 87.95 | 90.66 | 86.43 | 75.3 | 114.2 | 83.16 | 108.24 | 87.66 | 107.53 | 103.27 | 90.01 | 30 | 965 | 36 | 28.27
31.10.22 14:33:58 | 6.3 | 94.83 | 98.42 | 57.32 | 79.95 | 72.51 | 82.11 | 81.78 | 100 | 97.5 | 98.55 | 101.93 | 101.02 | 99.71 | 88.09 | 90.66 | 86.14 | 74.75 | 114.2 | 83.16 | 108.08 | 87.8 | 107.36 | 103.27 | 90.01 | 30 | 965 | 36 | 28.28
31.10.22 14:34:13 | 6.55 | 94.69 | 98.13 | 56.82 | 79.68 | 72.24 | 81.7 | 81.65 | 99.85 | 97.65 | 98.26 | 101.63 | 101.02 | 99.42 | 87.53 | 89.94 | 85.7 | 74.34 | 114.03 | 83.01 | 108.08 | 87.66 | 107 | 102.97 | 89.72 | 30 | 965 | 36 | 28.3
31.10.22 14:34:28 | 6.8 | 94.83 | 98.42 | 56.7 | 79.28 | 72.11 | 81.56 | 81.65 | 100 | 97.65 | 98.26 | 102.08 | 101.17 | 99.56 | 87.39 | 89.79 | 85.56 | 73.93 | 114.2 | 83.01 | 108.24 | 87.38 | 106.65 | 103.27 | 89.86 | 30 | 965 | 36 | 28.31
31.10.22 14:34:43 | 7.05 | 94.83 | 98.42 | 56.32 | 78.88 | 71.71 | 81.15 | 81.51 | 100 | 97.65 | 98.4 | 102.08 | 101.32 | 99.71 | 87.25 | 89.51 | 85.41 | 73.38 | 114.37 | 82.87 | 108.4 | 87.52 | 106.65 | 103.27 | 89.43 | 30 | 965 | 36 | 28.34
31.10.22 14:34:58 | 7.3 | 94.83 | 98.42 | 56.2 | 78.61 | 71.58 | 80.88 | 81.37 | 100.15 | 97.8 | 98.55 | 102.08 | 101.32 | 99.71 | 87.11 | 89.08 | 85.26 | 73.25 | 114.37 | 82.73 | 108.4 | 87.66 | 106.3 | 103.12 | 89.29 | 30 | 965 | 36 | 28.34
31.10.22 14:35:13 | 7.55 | 94.97 | 98.42 | 56.08 | 78.48 | 71.58 | 80.74 | 81.65 | 100.29 | 97.94 | 98.69 | 102.08 | 101.32 | 99.71 | 87.11 | 89.22 | 84.97 | 72.84 | 114.53 | 82.87 | 108.55 | 87.66 | 106.47 | 103.42 | 89.43 | 30 | 965 | 36 | 28.36
31.10.22 14:35:28 | 7.8 | 94.97 | 98.56 | 55.83 | 78.34 | 71.05 | 80.74 | 81.51 | 100.44 | 97.8 | 98.84 | 102.22 | 101.32 | 99.85 | 86.83 | 89.08 | 84.68 | 72.57 | 114.53 | 82.73 | 108.55 | 87.38 | 106.12 | 103.57 | 89 | 30 | 965 | 36 | 28.38
31.10.22 14:35:43 | 8.05 | 94.97 | 98.71 | 55.58 | 78.08 | 71.05 | 80.46 | 81.51 | 100.29 | 97.94 | 98.84 | 102.22 | 101.46 | 100 | 86.55 | 88.93 | 84.39 | 72.16 | 114.7 | 82.87 | 108.71 | 87.38 | 105.77 | 103.57 | 89 | 30 | 965 | 36 | 28.41
31.10.22 14:35:58 | 8.3 | 94.97 | 98.85 | 55.33 | 77.81 | 70.65 | 80.05 | 81.23 | 100.44 | 97.8 | 98.84 | 102.37 | 101.46 | 100.15 | 86.69 | 88.65 | 84.1 | 71.75 | 114.7 | 82.59 | 108.71 | 87.38 | 105.24 | 103.57 | 88.85 | 30 | 965 | 36 | 28.42
31.10.22 14:36:13 | 8.55 | 95.11 | 98.71 | 54.96 | 77.55 | 70.52 | 79.64 | 81.23 | 100.59 | 98.09 | 98.98 | 102.37 | 101.61 | 100.15 | 86.55 | 88.36 | 83.67 | 71.34 | 114.7 | 82.59 | 108.87 | 87.38 | 105.07 | 103.72 | 88.71 | 30 | 965 | 36 | 28.42
31.10.22 14:36:28 | 8.8 | 94.97 | 98.71 | 54.71 | 77.28 | 70.26 | 79.37 | 81.09 | 100.29 | 97.94 | 98.84 | 102.37 | 101.46 | 99.85 | 86.13 | 87.93 | 83.23 | 70.94 | 114.53 | 82.45 | 108.71 | 87.09 | 104.54 | 103.72 | 87.85 | 30 | 965 | 36 | 28.45
31.10.22 14:36:43 | 9.05 | 94.97 | 98.56 | 54.46 | 77.02 | 69.86 | 78.96 | 80.96 | 100.44 | 97.94 | 98.84 | 102.08 | 101.46 | 100 | 85.71 | 87.36 | 83.09 | 70.8 | 114.7 | 82.45 | 108.71 | 86.95 | 104.36 | 103.72 | 87.7 | 30 | 965 | 36 | 28.48
31.10.22 14:36:58 | 9.3 | 94.97 | 98.85 | 54.09 | 76.62 | 69.6 | 78.96 | 80.54 | 100.44 | 97.94 | 98.98 | 102.52 | 101.32 | 100.15 | 85.71 | 87.22 | 82.65 | 70.4 | 114.87 | 82.32 | 108.71 | 86.95 | 104.01 | 103.57 | 87.27 | 30 | 965 | 36 | 28.49
31.10.22 14:37:13 | 9.55 | 95.11 | 98.85 | 54.09 | 76.49 | 69.6 | 78.82 | 80.54 | 100.73 | 98.09 | 98.98 | 102.52 | 101.61 | 100.29 | 85.71 | 86.94 | 82.22 | 70.13 | 114.7 | 82.32 | 109.03 | 86.95 | 104.01 | 103.87 | 87.27 | 30 | 965 | 36 | 28.49
31.10.22 14:37:28 | 9.8 | 95.11 | 98.99 | 53.72 | 76.35 | 69.21 | 78.69 | 80.54 | 100.73 | 98.24 | 99.13 | 102.52 | 101.61 | 100.29 | 85.15 | 86.65 | 81.65 | 69.86 | 114.87 | 82.18 | 109.03 | 86.95 | 103.66 | 103.72 | 86.84 | 30 | 965 | 36 | 28.52
31.10.22 14:37:43 | 10.05 | 95.26 | 98.99 | 53.47 | 76.35 | 69.21 | 78.69 | 80.54 | 100.88 | 98.24 | 99.27 | 102.67 | 101.9 | 100.59 | 85.43 | 86.65 | 81.5 | 69.72 | 115.2 | 82.32 | 109.18 | 86.95 | 103.66 | 104.17 | 86.56 | 30 | 965 | 36 | 28.53
31.10.22 14:37:58 | 10.3 | 95.26 | 99.14 | 53.1 | 76.09 | 68.81 | 78.14 | 80.27 | 100.73 | 98.24 | 99.27 | 102.67 | 101.9 | 100.44 | 84.87 | 86.23 | 81.07 | 69.32 | 115.2 | 82.18 | 109.18 | 86.81 | 102.96 | 103.87 | 86.27 | 30 | 965 | 36 | 28.55
31.10.22 14:38:13 | 10.55 | 95.26 | 98.99 | 52.85 | 75.96 | 68.29 | 78 | 79.99 | 100.88 | 98.38 | 99.13 | 102.82 | 101.9 | 100.44 | 84.87 | 86.08 | 80.78 | 68.78 | 115.2 | 82.04 | 109.18 | 86.81 | 103.14 | 104.02 | 85.98 | 30 | 965 | 36 | 28.56
31.10.22 14:38:28 | 10.8 | 95.26 | 99.14 | 52.61 | 75.83 | 68.55 | 77.87 | 79.85 | 101.03 | 98.38 | 99.42 | 102.97 | 101.9 | 100.59 | 84.59 | 85.94 | 80.35 | 68.64 | 115.2 | 82.18 | 109.34 | 86.95 | 102.96 | 104.32 | 85.41 | 30 | 965 | 36 | 28.59
31.10.22 14:38:43 | 11.05 | 95.26 | 98.99 | 52.36 | 75.43 | 67.9 | 77.6 | 79.31 | 100.88 | 98.53 | 99.13 | 102.97 | 102.05 | 100.44 | 84.17 | 85.66 | 79.64 | 68.37 | 115.37 | 81.9 | 109.18 | 86.67 | 102.44 | 104.02 | 84.56 | 30 | 965 | 36 | 28.6
31.10.22 14:38:58 | 11.3 | 95.26 | 99.14 | 52.12 | 75.56 | 67.77 | 77.32 | 79.17 | 101.03 | 98.38 | 99.42 | 102.97 | 101.9 | 100.59 | 83.76 | 85.38 | 79.21 | 68.24 | 115.2 | 82.18 | 109.34 | 86.67 | 102.26 | 104.17 | 84.42 | 30 | 965 | 36 | 28.6
31.10.22 14:39:13 | 11.55 | 95.4 | 99.14 | 51.75 | 75.17 | 67.5 | 77.05 | 78.9 | 100.73 | 98.38 | 99.42 | 102.82 | 101.9 | 100.59 | 83.34 | 84.95 | 78.78 | 67.84 | 115.37 | 81.9 | 109.18 | 86.67 | 101.91 | 104.17 | 83.99 | 30 | 965 | 36 | 28.63
31.10.22 14:39:28 | 11.8 | 95.54 | 99.42 | 51.63 | 75.04 | 67.37 | 76.78 | 78.76 | 101.32 | 98.68 | 99.42 | 103.12 | 102.34 | 100.88 | 83.34 | 84.67 | 78.64 | 67.84 | 115.7 | 82.18 | 109.5 | 86.67 | 101.74 | 104.47 | 83.85 | 30 | 965 | 36 | 28.63
31.10.22 14:39:43 | 12.05 | 95.26 | 99.28 | 51.13 | 74.64 | 66.98 | 76.51 | 78.35 | 101.17 | 98.53 | 99.56 | 102.97 | 102.2 | 100.59 | 82.79 | 84.11 | 77.92 | 67.44 | 115.37 | 81.9 | 109.34 | 86.53 | 101.22 | 104.32 | 83.42 | 30 | 965 | 36 | 28.66
31.10.22 14:39:58 | 12.3 | 95.4 | 99.57 | 51.01 | 74.51 | 66.85 | 76.38 | 78.21 | 101.32 | 98.82 | 99.71 | 103.12 | 102.34 | 101.03 | 82.51 | 83.96 | 77.64 | 67.3 | 115.87 | 82.18 | 109.82 | 86.67 | 100.87 | 104.47 | 83 | 30 | 965 | 36 | 28.67
31.10.22 14:40:13 | 12.55 | 95.4 | 99.28 | 50.52 | 74.12 | 66.33 | 76.11 | 77.8 | 101.17 | 98.68 | 99.71 | 103.12 | 102.2 | 100.59 | 82.23 | 83.54 | 77.21 | 66.77 | 115.37 | 81.9 | 109.5 | 86.39 | 100 | 104.17 | 82.57 | 30 | 965 | 36 | 28.7
31.10.22 14:40:28 | 12.8 | 95.4 | 99.14 | 50.03 | 73.85 | 66.07 | 75.56 | 77.67 | 101.17 | 98.53 | 99.56 | 103.27 | 102.34 | 100.73 | 81.82 | 83.4 | 76.65 | 66.37 | 115.54 | 82.18 | 109.66 | 86.25 | 99.31 | 104.47 | 82.01 | 30 | 965 | 36 | 28.7
31.10.22 14:40:43 | 13.05 | 95.4 | 99.42 | 50.03 | 73.72 | 65.94 | 75.43 | 77.53 | 101.32 | 98.97 | 100 | 103.27 | 102.34 | 100.88 | 81.41 | 83.26 | 76.5 | 66.23 | 115.87 | 82.04 | 109.66 | 86.39 | 99.13 | 104.62 | 81.45 | 30 | 965 | 36 | 28.73
31.10.22 14:40:58 | 13.3 | 95.4 | 99.57 | 49.79 | 73.33 | 65.55 | 75.16 | 77.26 | 101.32 | 98.97 | 99.85 | 103.27 | 102.49 | 100.88 | 81.13 | 82.98 | 76.08 | 66.1 | 115.7 | 82.04 | 109.82 | 86.25 | 98.61 | 104.47 | 81.02 | 30 | 965 | 36 | 28.73
31.10.22 14:41:13 | 13.55 | 95.4 | 99.71 | 49.3 | 72.94 | 65.16 | 74.76 | 76.98 | 101.17 | 98.82 | 99.71 | 103.27 | 102.49 | 100.88 | 80.72 | 82.42 | 75.66 | 65.57 | 115.7 | 82.04 | 109.66 | 85.97 | 98.1 | 104.62 | 80.32 | 30 | 965 | 36 | 28.74
31.10.22 14:41:28 | 13.8 | 95.4 | 99.57 | 48.94 | 72.42 | 65.03 | 74.22 | 76.98 | 101.47 | 98.82 | 99.85 | 103.27 | 102.34 | 101.03 | 80.31 | 82.14 | 75.37 | 65.17 | 115.87 | 82.04 | 109.97 | 85.97 | 97.41 | 104.62 | 79.48 | 30 | 965 | 36 | 28.75
31.10.22 14:41:43 | 14.05 | 95.26 | 99.57 | 48.57 | 72.16 | 64.77 | 73.95 | 76.85 | 101.32 | 98.82 | 99.71 | 103.42 | 102.49 | 101.03 | 79.9 | 81.86 | 74.81 | 64.64 | 115.7 | 82.18 | 109.97 | 86.11 | 96.89 | 104.47 | 79.34 | 30 | 965 | 36 | 28.77
31.10.22 14:41:58 | 14.3 | 95.26 | 99.57 | 48.21 | 72.02 | 64.39 | 73.68 | 76.58 | 101.32 | 98.97 | 99.85 | 103.42 | 102.64 | 101.03 | 79.62 | 81.44 | 74.39 | 64.24 | 115.87 | 82.04 | 109.66 | 85.55 | 96.37 | 104.62 | 78.64 | 30 | 965 | 36 | 28.81
31.10.22 14:42:13 | 14.55 | 95.4 | 99.71 | 47.85 | 71.89 | 64.13 | 73.68 | 76.44 | 101.61 | 99.12 | 99.85 | 103.57 | 102.64 | 101.17 | 79.48 | 81.3 | 74.25 | 63.84 | 116.04 | 82.18 | 109.97 | 85.83 | 96.2 | 104.62 | 78.64 | 30 | 965 | 36 | 28.8
31.10.22 14:42:28 | 14.8 | 95.4 | 99.86 | 47.72 | 71.63 | 63.87 | 73.55 | 76.17 | 101.47 | 98.97 | 100 | 103.57 | 102.64 | 101.32 | 79.07 | 81.3 | 73.96 | 63.58 | 115.87 | 82.04 | 110.13 | 85.97 | 95.86 | 104.92 | 78.36 | 30 | 965 | 36 | 28.81
31.10.22 14:42:43 | 15.05 | 95.54 | 99.86 | 47.48 | 71.63 | 63.87 | 73.28 | 76.17 | 101.91 | 99.41 | 100.44 | 103.72 | 102.93 | 101.47 | 79.07 | 81.02 | 73.68 | 63.44 | 116.2 | 82.18 | 110.13 | 85.97 | 95.51 | 105.07 | 78.08 | 30 | 965 | 36 | 28.83
31.10.22 14:42:58 | 15.3 | 95.4 | 99.86 | 47 | 71.37 | 63.48 | 72.88 | 76.03 | 101.61 | 98.82 | 100 | 103.72 | 102.78 | 101.32 | 78.66 | 80.88 | 73.54 | 63.05 | 116.2 | 82.04 | 110.13 | 85.69 | 95 | 105.07 | 77.53 | 30 | 965 | 36 | 28.85
31.10.22 14:43:13 | 15.55 | 95.54 | 99.86 | 46.76 | 71.11 | 63.22 | 72.61 | 75.76 | 101.76 | 99.12 | 100 | 103.72 | 102.78 | 101.32 | 78.53 | 80.6 | 73.26 | 62.65 | 116.37 | 82.04 | 110.29 | 85.55 | 94.66 | 104.92 | 77.25 | 30 | 965 | 36 | 28.86
31.10.22 14:43:28 | 15.8 | 95.4 | 99.86 | 46.27 | 70.73 | 62.97 | 72.07 | 75.49 | 101.61 | 99.26 | 100.15 | 103.72 | 102.64 | 101.32 | 78.39 | 80.32 | 72.7 | 62.39 | 116.2 | 81.9 | 110.29 | 85.27 | 94.14 | 104.92 | 76.56 | 30 | 965 | 36 | 28.88
31.10.22 14:43:43 | 16.05 | 95.54 | 99.71 | 45.91 | 70.6 | 62.71 | 71.94 | 75.36 | 101.91 | 99.26 | 100.29 | 103.72 | 102.93 | 101.47 | 78.26 | 79.91 | 72.56 | 62.26 | 116.37 | 81.9 | 110.29 | 85.41 | 93.97 | 104.92 | 76.14 | 30 | 965 | 36 | 28.88
31.10.22 14:43:58 | 16.3 | 95.54 | 100 | 45.67 | 70.47 | 62.32 | 71.67 | 75.22 | 101.91 | 99.41 | 100.44 | 103.72 | 102.93 | 101.61 | 78.12 | 79.63 | 72.14 | 62.13 | 116.37 | 81.76 | 110.29 | 85.27 | 93.63 | 105.07 | 75.59 | 30 | 965 | 36 | 28.91
31.10.22 14:44:13 | 16.55 | 95.4 | 100 | 45.31 | 70.08 | 61.94 | 71.27 | 74.81 | 101.76 | 99.12 | 100.29 | 103.72 | 102.93 | 101.32 | 77.71 | 79.35 | 71.58 | 61.6 | 116.2 | 81.48 | 110.29 | 84.99 | 92.78 | 104.92 | 74.9 | 30 | 965 | 36 | 28.92
31.10.22 14:44:28 | 16.8 | 95.54 | 100 | 45.19 | 69.82 | 61.43 | 70.88 | 74.81 | 102.05 | 99.26 | 100.29 | 104.16 | 102.93 | 101.61 | 77.71 | 79.07 | 71.3 | 61.34 | 116.37 | 81.62 | 110.29 | 84.85 | 92.44 | 105.07 | 74.62 | 30 | 965 | 36 | 28.92
31.10.22 14:44:43 | 17.05 | 95.4 | 100 | 44.59 | 69.56 | 61.3 | 70.21 | 74.68 | 101.76 | 99.26 | 100.29 | 103.86 | 102.93 | 101.47 | 77.17 | 78.8 | 70.75 | 60.55 | 116.37 | 81.48 | 110.45 | 84.99 | 91.76 | 105.22 | 74.07 | 30 | 965 | 36 | 28.94
31.10.22 14:44:58 | 17.3 | 95.4 | 100 | 44.35 | 69.04 | 60.92 | 69.68 | 74.41 | 101.91 | 99.41 | 100.44 | 104.16 | 102.93 | 101.47 | 77.03 | 78.52 | 70.33 | 59.5 | 116.37 | 81.34 | 110.45 | 84.72 | 91.25 | 105.22 | 73.38 | 30 | 965 | 36 | 28.96
31.10.22 14:45:13 | 17.55 | 95.69 | 100.14 | 43.99 | 68.79 | 60.92 | 69.68 | 74 | 101.91 | 99.56 | 100.58 | 104.16 | 103.23 | 101.76 | 76.89 | 78.38 | 70.19 | 58.85 | 116.71 | 81.34 | 110.45 | 84.72 | 90.91 | 105.37 | 72.56 | 30 | 965 | 36 | 28.98
31.10.22 14:45:28 | 17.8 | 95.69 | 100.29 | 43.52 | 68.66 | 60.79 | 69.42 | 74 | 102.35 | 99.71 | 100.73 | 104.16 | 103.23 | 101.91 | 76.62 | 78.24 | 69.91 | 58.2 | 116.71 | 81.34 | 110.77 | 84.85 | 90.4 | 105.53 | 71.6 | 30 | 965 | 36 | 28.99
31.10.22 14:45:43 | 18.05 | 95.4 | 100.29 | 43.28 | 68.14 | 60.28 | 68.89 | 73.87 | 102.2 | 99.56 | 100.58 | 104.01 | 103.23 | 101.61 | 76.08 | 77.55 | 69.5 | 57.68 | 116.71 | 80.92 | 110.77 | 84.44 | 89.89 | 105.22 | 70.92 | 30 | 965 | 36 | 28.99
31.10.22 14:45:58 | 18.3 | 95.4 | 100.29 | 42.68 | 67.89 | 60.15 | 68.89 | 73.6 | 102.2 | 99.56 | 100.73 | 104.16 | 103.23 | 101.91 | 75.95 | 77.41 | 69.08 | 57.29 | 116.87 | 81.06 | 110.61 | 84.3 | 89.55 | 105.37 | 70.51 | 30 | 965 | 36 | 29.02
31.10.22 14:46:13 | 18.55 | 95.4 | 100.14 | 42.44 | 67.76 | 59.77 | 68.36 | 73.33 | 102.2 | 99.56 | 100.58 | 104.01 | 103.08 | 101.61 | 75.54 | 77.14 | 68.67 | 56.77 | 116.71 | 80.92 | 110.61 | 84.02 | 88.88 | 105.37 | 69.97 | 30 | 965 | 36 | 29.03
31.10.22 14:46:28 | 18.8 | 95.4 | 100.14 | 42.09 | 67.37 | 59.51 | 68.1 | 73.06 | 102.35 | 99.71 | 100.58 | 104.16 | 103.08 | 101.61 | 75.27 | 76.72 | 68.25 | 56.52 | 116.54 | 80.78 | 110.61 | 84.02 | 88.54 | 105.22 | 69.7 | 30 | 965 | 36 | 29.03
31.10.22 14:46:43 | 19.05 | 95.54 | 100.29 | 41.85 | 66.99 | 59.13 | 67.83 | 72.93 | 102.35 | 99.85 | 100.58 | 104.16 | 103.37 | 101.76 | 74.87 | 76.59 | 68.11 | 56.39 | 116.71 | 80.64 | 110.77 | 84.02 | 88.37 | 105.37 | 69.56 | 30 | 965 | 36 | 29.03
31.10.22 14:46:58 | 19.3 | 95.4 | 100.29 | 41.49 | 66.6 | 59.01 | 67.7 | 72.66 | 102.2 | 99.71 | 100.58 | 104.31 | 103.23 | 101.76 | 74.33 | 76.31 | 67.98 | 56.13 | 116.71 | 80.5 | 110.77 | 83.88 | 88.04 | 105.53 | 69.16 | 30 | 965 | 36 | 29.06
31.10.22 14:47:13 | 19.55 | 95.26 | 100.29 | 41.02 | 66.22 | 58.5 | 67.31 | 72.53 | 102.2 | 99.71 | 100.73 | 104.01 | 103.23 | 101.61 | 74.06 | 76.04 | 67.56 | 55.74 | 116.71 | 80.36 | 110.77 | 83.6 | 87.2 | 105.37 | 69.16 | 30 | 965 | 36 | 29.06
31.10.22 14:47:28 | 19.8 | 95.4 | 100.58 | 40.78 | 66.22 | 58.37 | 66.91 | 72.12 | 102.35 | 99.71 | 100.87 | 104.16 | 103.23 | 102.05 | 73.65 | 75.9 | 67.42 | 55.74 | 117.04 | 80.22 | 110.93 | 83.6 | 87.03 | 105.53 | 68.75 | 30 | 965 | 36 | 29.09
31.10.22 14:47:43 | 20.05 | 95.26 | 100.43 | 40.43 | 65.71 | 57.99 | 66.65 | 71.99 | 102.2 | 99.85 | 101.02 | 104.31 | 103.37 | 101.91 | 73.12 | 75.9 | 67.29 | 55.48 | 116.87 | 80.22 | 110.77 | 83.32 | 86.53 | 105.68 | 68.48 | 30 | 965 | 36 | 29.1
31.10.22 14:47:58 | 20.3 | 95.4 | 100.43 | 40.07 | 65.71 | 57.86 | 66.39 | 71.59 | 102.35 | 100 | 100.87 | 104.31 | 103.37 | 101.76 | 72.98 | 75.49 | 66.87 | 55.1 | 116.87 | 80.22 | 110.93 | 83.46 | 86.36 | 105.68 | 68.34 | 30 | 965 | 36 | 29.1
31.10.22 14:48:13 | 20.55 | 95.26 | 100.58 | 39.6 | 65.58 | 57.61 | 66 | 71.45 | 102.2 | 99.85 | 100.87 | 104.46 | 103.52 | 102.05 | 72.58 | 75.08 | 66.6 | 54.84 | 117.21 | 79.95 | 110.77 | 83.05 | 85.86 | 105.53 | 67.8 | 30 | 965 | 36 | 29.11
31.10.22 14:48:29 | 20.82 | 95.26 | 100.58 | 39.37 | 65.33 | 57.36 | 65.6 | 71.19 | 102.5 | 100 | 101.02 | 104.46 | 103.52 | 102.05 | 72.58 | 74.67 | 66.19 | 54.45 | 117.04 | 79.95 | 110.93 | 83.05 | 85.02 | 105.68 | 67.27 | 30 | 965 | 36 | 29.13

## Oxygen Orginal
Measurement Name : | 20221031_SDR710_AMB |  | Generated On : | 31/10/2022, 14:49:10 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 31/10/2022, 14:27:40 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 31/10/2022, 14:48:38 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
31.10.22 14:27:42 | 0.03 | 102.03 | 106.08 | 65.36 | 91.99 | 81.95 | 91.24 | 89.45 | 105.45 | 101.72 | 104.2 | 105.29 | 106.86 | 105.14 | 95.45 | 95.61 | 91.84 | 85.9 | 105.29 | 88.71 | 106.23 | 94.7 | 92.44 | 106.86 | 94.4 | 30 | 965 | 36 | 27.75
31.10.22 14:27:57 | 0.28 | 102.19 | 106.39 | 65.22 | 92.29 | 81.8 | 91.39 | 89.6 | 105.76 | 101.57 | 104.52 | 105.45 | 107.17 | 105.29 | 95.61 | 96.06 | 91.84 | 85.9 | 105.61 | 88.71 | 106.23 | 94.85 | 92.59 | 107.02 | 94.7 | 30 | 965 | 36 | 27.78
31.10.22 14:28:12 | 0.53 | 101.88 | 106.23 | 64.81 | 91.99 | 81.66 | 91.39 | 89.45 | 105.45 | 101.57 | 104.2 | 105.45 | 107.17 | 105.14 | 95.45 | 95.91 | 91.39 | 85.9 | 105.45 | 88.41 | 106.08 | 94.7 | 92.44 | 106.86 | 94.7 | 30 | 965 | 36 | 27.83
31.10.22 14:28:27 | 0.78 | 102.19 | 106.55 | 64.67 | 92.14 | 81.95 | 91.39 | 89.6 | 105.61 | 101.88 | 104.52 | 105.76 | 107.33 | 105.45 | 95.76 | 96.21 | 91.54 | 85.9 | 105.92 | 88.71 | 106.39 | 94.85 | 92.59 | 107.17 | 94.85 | 30 | 965 | 36 | 27.85
31.10.22 14:28:42 | 1.03 | 102.19 | 106.55 | 64.53 | 92.14 | 81.95 | 91.54 | 89.9 | 105.76 | 102.03 | 104.67 | 105.92 | 107.49 | 105.61 | 95.76 | 96.21 | 91.39 | 85.75 | 105.92 | 88.71 | 106.39 | 94.85 | 92.74 | 107.17 | 94.7 | 30 | 965 | 36 | 27.86
31.10.22 14:28:57 | 1.28 | 102.34 | 106.7 | 64.53 | 91.99 | 81.8 | 91.24 | 89.75 | 105.92 | 102.03 | 104.67 | 105.92 | 107.33 | 105.45 | 95.76 | 96.21 | 91.24 | 85.6 | 105.92 | 88.71 | 106.7 | 94.7 | 92.59 | 107.17 | 94.7 | 30 | 965 | 36 | 27.88
31.10.22 14:29:12 | 1.53 | 102.5 | 106.86 | 64.67 | 91.99 | 81.8 | 91.39 | 89.75 | 106.23 | 102.34 | 104.98 | 106.23 | 107.64 | 105.76 | 96.06 | 96.67 | 91.09 | 85.46 | 106.23 | 88.86 | 106.86 | 95 | 92.74 | 107.49 | 95 | 30 | 965 | 36 | 27.92
31.10.22 14:29:27 | 1.78 | 102.5 | 106.7 | 64.67 | 91.69 | 81.66 | 91.24 | 89.45 | 106.23 | 102.34 | 104.83 | 106.23 | 107.8 | 105.61 | 95.91 | 96.67 | 90.79 | 85.31 | 106.23 | 88.71 | 106.86 | 94.7 | 92.74 | 107.64 | 94.7 | 30 | 965 | 36 | 27.94
31.10.22 14:29:43 | 2.05 | 102.5 | 106.86 | 64.81 | 91.69 | 81.66 | 91.24 | 89 | 106.39 | 102.5 | 105.14 | 106.39 | 107.8 | 105.76 | 95.91 | 96.82 | 90.79 | 85.02 | 106.39 | 88.86 | 107.02 | 94.7 | 92.59 | 107.8 | 95 | 30 | 965 | 36 | 27.96
31.10.22 14:29:58 | 2.3 | 102.5 | 107.17 | 64.81 | 91.54 | 81.51 | 91.39 | 89 | 106.39 | 102.34 | 105.45 | 106.55 | 107.8 | 105.76 | 95.76 | 96.97 | 90.49 | 84.87 | 106.55 | 88.56 | 107.02 | 94.85 | 92.59 | 107.64 | 94.85 | 30 | 965 | 36 | 27.96
31.10.22 14:30:13 | 2.55 | 102.65 | 107.17 | 64.81 | 91.39 | 81.37 | 91.24 | 88.86 | 106.39 | 102.5 | 105.29 | 106.39 | 108.12 | 105.92 | 95.76 | 96.82 | 90.34 | 84.43 | 106.7 | 88.71 | 107.17 | 94.7 | 92.59 | 107.96 | 94.85 | 30 | 965 | 36 | 27.99
31.10.22 14:30:28 | 2.8 | 102.81 | 107.17 | 64.94 | 91.39 | 81.37 | 91.09 | 88.71 | 106.55 | 102.65 | 105.45 | 106.7 | 107.96 | 105.92 | 95.61 | 96.82 | 90.19 | 84.43 | 106.7 | 88.56 | 107.17 | 94.7 | 92.59 | 107.96 | 94.7 | 30 | 965 | 36 | 28.03
31.10.22 14:30:43 | 3.05 | 102.65 | 107.17 | 64.94 | 91.09 | 80.93 | 91.09 | 88.86 | 106.55 | 102.5 | 105.61 | 106.55 | 107.96 | 106.08 | 95.45 | 96.82 | 89.9 | 84.14 | 106.7 | 88.71 | 107.17 | 94.55 | 92.29 | 107.8 | 94.85 | 30 | 965 | 36 | 28.03
31.10.22 14:30:58 | 3.3 | 102.65 | 107.17 | 64.94 | 90.94 | 80.93 | 90.64 | 88.71 | 106.55 | 102.5 | 105.61 | 106.86 | 107.96 | 105.92 | 95.3 | 96.52 | 89.75 | 83.7 | 106.86 | 88.41 | 107.33 | 94.55 | 92.14 | 107.96 | 94.7 | 30 | 965 | 36 | 28.06
31.10.22 14:31:13 | 3.55 | 102.81 | 107.49 | 64.94 | 90.94 | 80.79 | 90.94 | 88.56 | 106.7 | 102.96 | 105.92 | 106.86 | 108.43 | 106.23 | 95.15 | 96.82 | 89.9 | 83.41 | 107.02 | 88.71 | 107.49 | 94.55 | 92.29 | 108.27 | 94.7 | 30 | 965 | 36 | 28.08
31.10.22 14:31:28 | 3.8 | 102.81 | 107.33 | 64.94 | 90.94 | 80.93 | 90.64 | 88.26 | 106.86 | 102.81 | 105.92 | 107.02 | 108.43 | 106.39 | 95.3 | 96.67 | 89.45 | 82.82 | 107.17 | 88.56 | 107.64 | 94.55 | 92.14 | 108.27 | 94.55 | 30 | 965 | 36 | 28.11
31.10.22 14:31:43 | 4.05 | 102.96 | 107.64 | 64.81 | 90.79 | 80.64 | 90.64 | 88.11 | 106.7 | 102.81 | 105.92 | 107.02 | 108.27 | 106.55 | 95.15 | 96.82 | 89.3 | 82.53 | 107.17 | 88.41 | 107.64 | 94.55 | 91.99 | 108.12 | 94.55 | 30 | 965 | 36 | 28.11
31.10.22 14:31:58 | 4.3 | 102.96 | 107.49 | 64.67 | 90.64 | 80.21 | 90.34 | 87.97 | 106.86 | 102.96 | 105.92 | 107.02 | 108.43 | 106.39 | 94.85 | 96.52 | 89 | 81.95 | 107.17 | 88.11 | 107.49 | 94.4 | 91.84 | 108.27 | 94.55 | 30 | 965 | 36 | 28.13
31.10.22 14:32:13 | 4.55 | 103.12 | 107.64 | 64.39 | 90.34 | 80.35 | 90.19 | 87.67 | 107.02 | 102.96 | 106.08 | 107.49 | 108.59 | 106.55 | 95 | 96.67 | 88.86 | 81.51 | 107.17 | 88.41 | 107.64 | 94.25 | 91.99 | 108.43 | 94.55 | 30 | 965 | 36 | 28.14
31.10.22 14:32:28 | 4.8 | 102.96 | 107.64 | 64.26 | 90.19 | 79.92 | 89.75 | 87.82 | 107.02 | 103.12 | 106.08 | 107.33 | 108.43 | 106.55 | 94.85 | 96.37 | 88.71 | 80.79 | 107.33 | 88.11 | 107.8 | 94.25 | 91.54 | 108.43 | 94.25 | 30 | 965 | 36 | 28.17
31.10.22 14:32:43 | 5.05 | 102.96 | 107.49 | 63.98 | 89.9 | 79.77 | 89.45 | 87.82 | 107.02 | 103.12 | 106.23 | 107.33 | 108.43 | 106.7 | 94.85 | 96.21 | 88.26 | 80.5 | 107.33 | 88.11 | 107.8 | 94.55 | 91.39 | 108.59 | 94.25 | 30 | 965 | 36 | 28.2
31.10.22 14:32:58 | 5.3 | 103.12 | 107.8 | 63.84 | 89.75 | 79.63 | 89.15 | 87.82 | 107.02 | 103.27 | 106.39 | 107.49 | 108.75 | 106.7 | 94.7 | 96.06 | 88.11 | 80.06 | 107.49 | 88.11 | 107.8 | 94.25 | 91.24 | 108.59 | 94.25 | 30 | 965 | 36 | 28.21
31.10.22 14:33:13 | 5.55 | 103.27 | 107.96 | 63.7 | 89.45 | 79.63 | 89.15 | 87.82 | 107.33 | 103.43 | 106.55 | 107.64 | 108.75 | 106.86 | 94.7 | 96.06 | 88.11 | 79.92 | 107.64 | 88.11 | 108.12 | 94.25 | 91.24 | 108.75 | 94.4 | 30 | 965 | 36 | 28.23
31.10.22 14:33:28 | 5.8 | 102.96 | 107.64 | 63.29 | 89.15 | 79.05 | 88.71 | 87.52 | 107.17 | 103.27 | 106.39 | 107.49 | 108.59 | 106.55 | 94.55 | 95.61 | 87.52 | 79.34 | 107.49 | 87.97 | 107.96 | 93.94 | 90.94 | 108.59 | 94.09 | 30 | 965 | 36 | 28.24
31.10.22 14:33:43 | 6.05 | 103.27 | 107.96 | 63.15 | 88.86 | 78.91 | 88.41 | 87.67 | 107.33 | 103.27 | 106.39 | 107.8 | 108.9 | 106.7 | 94.4 | 95.45 | 87.52 | 79.05 | 107.8 | 87.82 | 108.27 | 93.94 | 90.79 | 108.9 | 93.79 | 30 | 965 | 36 | 28.27
31.10.22 14:33:58 | 6.3 | 103.27 | 108.12 | 62.88 | 88.71 | 78.62 | 88.26 | 87.52 | 107.33 | 103.43 | 106.7 | 107.8 | 108.9 | 107.02 | 94.55 | 95.45 | 87.23 | 78.48 | 107.8 | 87.82 | 108.12 | 94.09 | 90.64 | 108.9 | 93.79 | 30 | 965 | 36 | 28.28
31.10.22 14:34:13 | 6.55 | 103.12 | 107.8 | 62.33 | 88.41 | 78.33 | 87.82 | 87.37 | 107.17 | 103.58 | 106.39 | 107.49 | 108.9 | 106.7 | 93.94 | 94.7 | 86.78 | 78.04 | 107.64 | 87.67 | 108.12 | 93.94 | 90.34 | 108.59 | 93.49 | 30 | 965 | 36 | 28.3
31.10.22 14:34:28 | 6.8 | 103.27 | 108.12 | 62.19 | 87.97 | 78.19 | 87.67 | 87.37 | 107.33 | 103.58 | 106.39 | 107.96 | 109.06 | 106.86 | 93.79 | 94.55 | 86.64 | 77.61 | 107.8 | 87.67 | 108.27 | 93.64 | 90.05 | 108.9 | 93.64 | 30 | 965 | 36 | 28.31
31.10.22 14:34:43 | 7.05 | 103.27 | 108.12 | 61.78 | 87.52 | 77.76 | 87.23 | 87.23 | 107.33 | 103.58 | 106.55 | 107.96 | 109.22 | 107.02 | 93.64 | 94.25 | 86.49 | 77.04 | 107.96 | 87.52 | 108.43 | 93.79 | 90.05 | 108.9 | 93.19 | 30 | 965 | 36 | 28.34
31.10.22 14:34:58 | 7.3 | 103.27 | 108.12 | 61.65 | 87.23 | 77.61 | 86.93 | 87.08 | 107.49 | 103.74 | 106.7 | 107.96 | 109.22 | 107.02 | 93.49 | 93.79 | 86.34 | 76.9 | 107.96 | 87.37 | 108.43 | 93.94 | 89.75 | 108.75 | 93.04 | 30 | 965 | 36 | 28.34
31.10.22 14:35:13 | 7.55 | 103.43 | 108.12 | 61.51 | 87.08 | 77.61 | 86.78 | 87.37 | 107.64 | 103.89 | 106.86 | 107.96 | 109.22 | 107.02 | 93.49 | 93.94 | 86.05 | 76.47 | 108.12 | 87.52 | 108.59 | 93.94 | 89.9 | 109.06 | 93.19 | 30 | 965 | 36 | 28.36
31.10.22 14:35:28 | 7.8 | 103.43 | 108.27 | 61.24 | 86.93 | 77.04 | 86.78 | 87.23 | 107.8 | 103.74 | 107.02 | 108.12 | 109.22 | 107.17 | 93.19 | 93.79 | 85.75 | 76.18 | 108.12 | 87.37 | 108.59 | 93.64 | 89.6 | 109.22 | 92.74 | 30 | 965 | 36 | 28.38
31.10.22 14:35:43 | 8.05 | 103.43 | 108.43 | 60.96 | 86.64 | 77.04 | 86.49 | 87.23 | 107.64 | 103.89 | 107.02 | 108.12 | 109.38 | 107.33 | 92.89 | 93.64 | 85.46 | 75.75 | 108.27 | 87.52 | 108.75 | 93.64 | 89.3 | 109.22 | 92.74 | 30 | 965 | 36 | 28.41
31.10.22 14:35:58 | 8.3 | 103.43 | 108.59 | 60.69 | 86.34 | 76.61 | 86.05 | 86.93 | 107.8 | 103.74 | 107.02 | 108.27 | 109.38 | 107.49 | 93.04 | 93.34 | 85.16 | 75.33 | 108.27 | 87.23 | 108.75 | 93.64 | 88.86 | 109.22 | 92.59 | 30 | 965 | 36 | 28.42
31.10.22 14:36:13 | 8.55 | 103.58 | 108.43 | 60.28 | 86.05 | 76.47 | 85.6 | 86.93 | 107.96 | 104.05 | 107.17 | 108.27 | 109.53 | 107.49 | 92.89 | 93.04 | 84.72 | 74.9 | 108.27 | 87.23 | 108.9 | 93.64 | 88.71 | 109.38 | 92.44 | 30 | 965 | 36 | 28.42
31.10.22 14:36:28 | 8.8 | 103.43 | 108.43 | 60.01 | 85.75 | 76.18 | 85.31 | 86.78 | 107.64 | 103.89 | 107.02 | 108.27 | 109.38 | 107.17 | 92.44 | 92.59 | 84.28 | 74.47 | 108.12 | 87.08 | 108.75 | 93.34 | 88.26 | 109.38 | 91.54 | 30 | 965 | 36 | 28.45
31.10.22 14:36:43 | 9.05 | 103.43 | 108.27 | 59.74 | 85.46 | 75.75 | 84.87 | 86.64 | 107.8 | 103.89 | 107.02 | 107.96 | 109.38 | 107.33 | 91.99 | 91.99 | 84.14 | 74.33 | 108.27 | 87.08 | 108.75 | 93.19 | 88.11 | 109.38 | 91.39 | 30 | 965 | 36 | 28.48
31.10.22 14:36:58 | 9.3 | 103.43 | 108.59 | 59.33 | 85.02 | 75.47 | 84.87 | 86.19 | 107.8 | 103.89 | 107.17 | 108.43 | 109.22 | 107.49 | 91.99 | 91.84 | 83.7 | 73.9 | 108.43 | 86.93 | 108.75 | 93.19 | 87.82 | 109.22 | 90.94 | 30 | 965 | 36 | 28.49
31.10.22 14:37:13 | 9.55 | 103.58 | 108.59 | 59.33 | 84.87 | 75.47 | 84.72 | 86.19 | 108.12 | 104.05 | 107.17 | 108.43 | 109.53 | 107.64 | 91.99 | 91.54 | 83.26 | 73.62 | 108.27 | 86.93 | 109.06 | 93.19 | 87.82 | 109.53 | 90.94 | 30 | 965 | 36 | 28.49
31.10.22 14:37:28 | 9.8 | 103.58 | 108.75 | 58.93 | 84.72 | 75.04 | 84.58 | 86.19 | 108.12 | 104.2 | 107.33 | 108.43 | 109.53 | 107.64 | 91.39 | 91.24 | 82.68 | 73.34 | 108.43 | 86.78 | 109.06 | 93.19 | 87.52 | 109.38 | 90.49 | 30 | 965 | 36 | 28.52
31.10.22 14:37:43 | 10.05 | 103.74 | 108.75 | 58.65 | 84.72 | 75.04 | 84.58 | 86.19 | 108.27 | 104.2 | 107.49 | 108.59 | 109.85 | 107.96 | 91.69 | 91.24 | 82.53 | 73.19 | 108.75 | 86.93 | 109.22 | 93.19 | 87.52 | 109.85 | 90.19 | 30 | 965 | 36 | 28.53
31.10.22 14:37:58 | 10.3 | 103.74 | 108.9 | 58.25 | 84.43 | 74.61 | 83.99 | 85.9 | 108.12 | 104.2 | 107.49 | 108.59 | 109.85 | 107.8 | 91.09 | 90.79 | 82.09 | 72.77 | 108.75 | 86.78 | 109.22 | 93.04 | 86.93 | 109.53 | 89.9 | 30 | 965 | 36 | 28.55
31.10.22 14:38:13 | 10.55 | 103.74 | 108.75 | 57.98 | 84.28 | 74.05 | 83.84 | 85.6 | 108.27 | 104.36 | 107.33 | 108.75 | 109.85 | 107.8 | 91.09 | 90.64 | 81.8 | 72.2 | 108.75 | 86.64 | 109.22 | 93.04 | 87.08 | 109.69 | 89.6 | 30 | 965 | 36 | 28.56
31.10.22 14:38:28 | 10.8 | 103.74 | 108.9 | 57.71 | 84.14 | 74.33 | 83.7 | 85.46 | 108.43 | 104.36 | 107.64 | 108.9 | 109.85 | 107.96 | 90.79 | 90.49 | 81.37 | 72.06 | 108.75 | 86.78 | 109.38 | 93.19 | 86.93 | 110.01 | 89 | 30 | 965 | 36 | 28.59
31.10.22 14:38:43 | 11.05 | 103.74 | 108.75 | 57.44 | 83.7 | 73.62 | 83.41 | 84.87 | 108.27 | 104.52 | 107.33 | 108.9 | 110.01 | 107.8 | 90.34 | 90.19 | 80.64 | 71.78 | 108.9 | 86.49 | 109.22 | 92.89 | 86.49 | 109.69 | 88.11 | 30 | 965 | 36 | 28.6
31.10.22 14:38:58 | 11.3 | 103.74 | 108.9 | 57.17 | 83.84 | 73.48 | 83.11 | 84.72 | 108.43 | 104.36 | 107.64 | 108.9 | 109.85 | 107.96 | 89.9 | 89.9 | 80.21 | 71.64 | 108.75 | 86.78 | 109.38 | 92.89 | 86.34 | 109.85 | 87.97 | 30 | 965 | 36 | 28.6
31.10.22 14:39:13 | 11.55 | 103.89 | 108.9 | 56.76 | 83.41 | 73.19 | 82.82 | 84.43 | 108.12 | 104.36 | 107.64 | 108.75 | 109.85 | 107.96 | 89.45 | 89.45 | 79.77 | 71.22 | 108.9 | 86.49 | 109.22 | 92.89 | 86.05 | 109.85 | 87.52 | 30 | 965 | 36 | 28.63
31.10.22 14:39:28 | 11.8 | 104.05 | 109.22 | 56.63 | 83.26 | 73.05 | 82.53 | 84.28 | 108.75 | 104.67 | 107.64 | 109.06 | 110.33 | 108.27 | 89.45 | 89.15 | 79.63 | 71.22 | 109.22 | 86.78 | 109.53 | 92.89 | 85.9 | 110.17 | 87.37 | 30 | 965 | 36 | 28.63
31.10.22 14:39:43 | 12.05 | 103.74 | 109.06 | 56.09 | 82.82 | 72.63 | 82.24 | 83.84 | 108.59 | 104.52 | 107.8 | 108.9 | 110.17 | 107.96 | 88.86 | 88.56 | 78.91 | 70.8 | 108.9 | 86.49 | 109.38 | 92.74 | 85.46 | 110.01 | 86.93 | 30 | 965 | 36 | 28.66
31.10.22 14:39:58 | 12.3 | 103.89 | 109.38 | 55.96 | 82.68 | 72.49 | 82.09 | 83.7 | 108.75 | 104.83 | 107.96 | 109.06 | 110.33 | 108.43 | 88.56 | 88.41 | 78.62 | 70.66 | 109.38 | 86.78 | 109.85 | 92.89 | 85.16 | 110.17 | 86.49 | 30 | 965 | 36 | 28.67
31.10.22 14:40:13 | 12.55 | 103.89 | 109.06 | 55.42 | 82.24 | 71.92 | 81.8 | 83.26 | 108.59 | 104.67 | 107.96 | 109.06 | 110.17 | 107.96 | 88.26 | 87.97 | 78.19 | 70.09 | 108.9 | 86.49 | 109.53 | 92.59 | 84.43 | 109.85 | 86.05 | 30 | 965 | 36 | 28.7
31.10.22 14:40:28 | 12.8 | 103.89 | 108.9 | 54.88 | 81.95 | 71.64 | 81.22 | 83.11 | 108.59 | 104.52 | 107.8 | 109.22 | 110.33 | 108.12 | 87.82 | 87.82 | 77.61 | 69.67 | 109.06 | 86.78 | 109.69 | 92.44 | 83.84 | 110.17 | 85.46 | 30 | 965 | 36 | 28.7
31.10.22 14:40:43 | 13.05 | 103.89 | 109.22 | 54.88 | 81.8 | 71.5 | 81.08 | 82.97 | 108.75 | 104.98 | 108.27 | 109.22 | 110.33 | 108.27 | 87.37 | 87.67 | 77.47 | 69.53 | 109.38 | 86.64 | 109.69 | 92.59 | 83.7 | 110.33 | 84.87 | 30 | 965 | 36 | 28.73
31.10.22 14:40:58 | 13.3 | 103.89 | 109.38 | 54.62 | 81.37 | 71.08 | 80.79 | 82.68 | 108.75 | 104.98 | 108.12 | 109.22 | 110.48 | 108.27 | 87.08 | 87.37 | 77.04 | 69.39 | 109.22 | 86.64 | 109.85 | 92.44 | 83.26 | 110.17 | 84.43 | 30 | 965 | 36 | 28.73
31.10.22 14:41:13 | 13.55 | 103.89 | 109.53 | 54.08 | 80.93 | 70.66 | 80.35 | 82.38 | 108.59 | 104.83 | 107.96 | 109.22 | 110.48 | 108.27 | 86.64 | 86.78 | 76.61 | 68.83 | 109.22 | 86.64 | 109.69 | 92.14 | 82.82 | 110.33 | 83.7 | 30 | 965 | 36 | 28.74
31.10.22 14:41:28 | 13.8 | 103.89 | 109.38 | 53.68 | 80.35 | 70.52 | 79.77 | 82.38 | 108.9 | 104.83 | 108.12 | 109.22 | 110.33 | 108.43 | 86.19 | 86.49 | 76.32 | 68.42 | 109.38 | 86.64 | 110.01 | 92.14 | 82.24 | 110.33 | 82.82 | 30 | 965 | 36 | 28.75
31.10.22 14:41:43 | 14.05 | 103.74 | 109.38 | 53.28 | 80.06 | 70.23 | 79.49 | 82.24 | 108.75 | 104.83 | 107.96 | 109.38 | 110.48 | 108.43 | 85.75 | 86.19 | 75.75 | 67.86 | 109.22 | 86.78 | 110.01 | 92.29 | 81.8 | 110.17 | 82.68 | 30 | 965 | 36 | 28.77
31.10.22 14:41:58 | 14.3 | 103.74 | 109.38 | 52.88 | 79.92 | 69.81 | 79.2 | 81.95 | 108.75 | 104.98 | 108.12 | 109.38 | 110.64 | 108.43 | 85.46 | 85.75 | 75.33 | 67.44 | 109.38 | 86.64 | 109.69 | 91.69 | 81.37 | 110.33 | 81.95 | 30 | 965 | 36 | 28.81
31.10.22 14:42:13 | 14.55 | 103.89 | 109.53 | 52.48 | 79.77 | 69.53 | 79.2 | 81.8 | 109.06 | 105.14 | 108.12 | 109.53 | 110.64 | 108.59 | 85.31 | 85.6 | 75.18 | 67.02 | 109.53 | 86.78 | 110.01 | 91.99 | 81.22 | 110.33 | 81.95 | 30 | 965 | 36 | 28.8
31.10.22 14:42:28 | 14.8 | 103.89 | 109.69 | 52.35 | 79.49 | 69.25 | 79.05 | 81.51 | 108.9 | 104.98 | 108.27 | 109.53 | 110.64 | 108.75 | 84.87 | 85.6 | 74.9 | 66.74 | 109.38 | 86.64 | 110.17 | 92.14 | 80.93 | 110.64 | 81.66 | 30 | 965 | 36 | 28.81
31.10.22 14:42:43 | 15.05 | 104.05 | 109.69 | 52.08 | 79.49 | 69.25 | 78.76 | 81.51 | 109.38 | 105.45 | 108.75 | 109.69 | 110.96 | 108.9 | 84.87 | 85.31 | 74.61 | 66.61 | 109.69 | 86.78 | 110.17 | 92.14 | 80.64 | 110.8 | 81.37 | 30 | 965 | 36 | 28.83
31.10.22 14:42:58 | 15.3 | 103.89 | 109.69 | 51.55 | 79.2 | 68.83 | 78.33 | 81.37 | 109.06 | 104.83 | 108.27 | 109.69 | 110.8 | 108.75 | 84.43 | 85.16 | 74.47 | 66.19 | 109.69 | 86.64 | 110.17 | 91.84 | 80.21 | 110.8 | 80.79 | 30 | 965 | 36 | 28.85
31.10.22 14:43:13 | 15.55 | 104.05 | 109.69 | 51.29 | 78.91 | 68.55 | 78.04 | 81.08 | 109.22 | 105.14 | 108.27 | 109.69 | 110.8 | 108.75 | 84.28 | 84.87 | 74.19 | 65.77 | 109.85 | 86.64 | 110.33 | 91.69 | 79.92 | 110.64 | 80.5 | 30 | 965 | 36 | 28.86
31.10.22 14:43:28 | 15.8 | 103.89 | 109.69 | 50.76 | 78.48 | 68.28 | 77.47 | 80.79 | 109.06 | 105.29 | 108.43 | 109.69 | 110.64 | 108.75 | 84.14 | 84.58 | 73.62 | 65.5 | 109.69 | 86.49 | 110.33 | 91.39 | 79.49 | 110.64 | 79.77 | 30 | 965 | 36 | 28.88
31.10.22 14:43:43 | 16.05 | 104.05 | 109.53 | 50.36 | 78.33 | 68 | 77.33 | 80.64 | 109.38 | 105.29 | 108.59 | 109.69 | 110.96 | 108.9 | 83.99 | 84.14 | 73.48 | 65.36 | 109.85 | 86.49 | 110.33 | 91.54 | 79.34 | 110.64 | 79.34 | 30 | 965 | 36 | 28.88
31.10.22 14:43:58 | 16.3 | 104.05 | 109.85 | 50.1 | 78.19 | 67.58 | 77.04 | 80.5 | 109.38 | 105.45 | 108.75 | 109.69 | 110.96 | 109.06 | 83.84 | 83.84 | 73.05 | 65.22 | 109.85 | 86.34 | 110.33 | 91.39 | 79.05 | 110.8 | 78.76 | 30 | 965 | 36 | 28.91
31.10.22 14:44:13 | 16.55 | 103.89 | 109.85 | 49.7 | 77.76 | 67.16 | 76.61 | 80.06 | 109.22 | 105.14 | 108.59 | 109.69 | 110.96 | 108.75 | 83.41 | 83.55 | 72.49 | 64.67 | 109.69 | 86.05 | 110.33 | 91.09 | 78.33 | 110.64 | 78.04 | 30 | 965 | 36 | 28.92
31.10.22 14:44:28 | 16.8 | 104.05 | 109.85 | 49.57 | 77.47 | 66.61 | 76.18 | 80.06 | 109.53 | 105.29 | 108.59 | 110.17 | 110.96 | 109.06 | 83.41 | 83.26 | 72.2 | 64.39 | 109.85 | 86.19 | 110.33 | 90.94 | 78.04 | 110.8 | 77.76 | 30 | 965 | 36 | 28.92
31.10.22 14:44:43 | 17.05 | 103.89 | 109.85 | 48.91 | 77.18 | 66.47 | 75.47 | 79.92 | 109.22 | 105.29 | 108.59 | 109.85 | 110.96 | 108.9 | 82.82 | 82.97 | 71.64 | 63.57 | 109.85 | 86.05 | 110.48 | 91.09 | 77.47 | 110.96 | 77.18 | 30 | 965 | 36 | 28.94
31.10.22 14:44:58 | 17.3 | 103.89 | 109.85 | 48.65 | 76.61 | 66.05 | 74.9 | 79.63 | 109.38 | 105.45 | 108.75 | 110.17 | 110.96 | 108.9 | 82.68 | 82.68 | 71.22 | 62.47 | 109.85 | 85.9 | 110.48 | 90.79 | 77.04 | 110.96 | 76.47 | 30 | 965 | 36 | 28.96
31.10.22 14:45:13 | 17.55 | 104.2 | 110.01 | 48.26 | 76.32 | 66.05 | 74.9 | 79.2 | 109.38 | 105.61 | 108.9 | 110.17 | 111.28 | 109.22 | 82.53 | 82.53 | 71.08 | 61.78 | 110.17 | 85.9 | 110.48 | 90.79 | 76.75 | 111.12 | 75.61 | 30 | 965 | 36 | 28.98
31.10.22 14:45:28 | 17.8 | 104.2 | 110.17 | 47.73 | 76.18 | 65.91 | 74.61 | 79.2 | 109.85 | 105.76 | 109.06 | 110.17 | 111.28 | 109.38 | 82.24 | 82.38 | 70.8 | 61.1 | 110.17 | 85.9 | 110.8 | 90.94 | 76.32 | 111.28 | 74.61 | 30 | 965 | 36 | 28.99
31.10.22 14:45:43 | 18.05 | 103.89 | 110.17 | 47.47 | 75.61 | 65.36 | 74.05 | 79.05 | 109.69 | 105.61 | 108.9 | 110.01 | 111.28 | 109.06 | 81.66 | 81.66 | 70.37 | 60.56 | 110.17 | 85.46 | 110.8 | 90.49 | 75.9 | 110.96 | 73.9 | 30 | 965 | 36 | 28.99
31.10.22 14:45:58 | 18.3 | 103.89 | 110.17 | 46.82 | 75.33 | 65.22 | 74.05 | 78.76 | 109.69 | 105.61 | 109.06 | 110.17 | 111.28 | 109.38 | 81.51 | 81.51 | 69.95 | 60.15 | 110.33 | 85.6 | 110.64 | 90.34 | 75.61 | 111.12 | 73.48 | 30 | 965 | 36 | 29.02
31.10.22 14:46:13 | 18.55 | 103.89 | 110.01 | 46.56 | 75.18 | 64.81 | 73.48 | 78.48 | 109.69 | 105.61 | 108.9 | 110.01 | 111.12 | 109.06 | 81.08 | 81.22 | 69.53 | 59.6 | 110.17 | 85.46 | 110.64 | 90.05 | 75.04 | 111.12 | 72.91 | 30 | 965 | 36 | 29.03
31.10.22 14:46:28 | 18.8 | 103.89 | 110.01 | 46.17 | 74.76 | 64.53 | 73.19 | 78.19 | 109.85 | 105.76 | 108.9 | 110.17 | 111.12 | 109.06 | 80.79 | 80.79 | 69.11 | 59.33 | 110.01 | 85.31 | 110.64 | 90.05 | 74.76 | 110.96 | 72.63 | 30 | 965 | 36 | 29.03
31.10.22 14:46:43 | 19.05 | 104.05 | 110.17 | 45.91 | 74.33 | 64.12 | 72.91 | 78.04 | 109.85 | 105.92 | 108.9 | 110.17 | 111.44 | 109.22 | 80.35 | 80.64 | 68.97 | 59.2 | 110.17 | 85.16 | 110.8 | 90.05 | 74.61 | 111.12 | 72.49 | 30 | 965 | 36 | 29.03
31.10.22 14:46:58 | 19.3 | 103.89 | 110.17 | 45.52 | 73.9 | 63.98 | 72.77 | 77.76 | 109.69 | 105.76 | 108.9 | 110.33 | 111.28 | 109.22 | 79.77 | 80.35 | 68.83 | 58.93 | 110.17 | 85.02 | 110.8 | 89.9 | 74.33 | 111.28 | 72.06 | 30 | 965 | 36 | 29.06
31.10.22 14:47:13 | 19.55 | 103.74 | 110.17 | 45 | 73.48 | 63.43 | 72.35 | 77.61 | 109.69 | 105.76 | 109.06 | 110.01 | 111.28 | 109.06 | 79.49 | 80.06 | 68.42 | 58.52 | 110.17 | 84.87 | 110.8 | 89.6 | 73.62 | 111.12 | 72.06 | 30 | 965 | 36 | 29.06
31.10.22 14:47:28 | 19.8 | 103.89 | 110.48 | 44.74 | 73.48 | 63.29 | 71.92 | 77.18 | 109.85 | 105.76 | 109.22 | 110.17 | 111.28 | 109.53 | 79.05 | 79.92 | 68.28 | 58.52 | 110.48 | 84.72 | 110.96 | 89.6 | 73.48 | 111.28 | 71.64 | 30 | 965 | 36 | 29.09
31.10.22 14:47:43 | 20.05 | 103.74 | 110.33 | 44.35 | 72.91 | 62.88 | 71.64 | 77.04 | 109.69 | 105.92 | 109.38 | 110.33 | 111.44 | 109.38 | 78.48 | 79.92 | 68.14 | 58.25 | 110.33 | 84.72 | 110.8 | 89.3 | 73.05 | 111.44 | 71.36 | 30 | 965 | 36 | 29.1
31.10.22 14:47:58 | 20.3 | 103.89 | 110.33 | 43.96 | 72.91 | 62.74 | 71.36 | 76.61 | 109.85 | 106.08 | 109.22 | 110.33 | 111.44 | 109.22 | 78.33 | 79.49 | 67.72 | 57.84 | 110.33 | 84.72 | 110.96 | 89.45 | 72.91 | 111.44 | 71.22 | 30 | 965 | 36 | 29.1
31.10.22 14:48:13 | 20.55 | 103.74 | 110.48 | 43.44 | 72.77 | 62.47 | 70.94 | 76.47 | 109.69 | 105.92 | 109.22 | 110.48 | 111.6 | 109.53 | 77.9 | 79.05 | 67.44 | 57.57 | 110.64 | 84.43 | 110.8 | 89 | 72.49 | 111.28 | 70.66 | 30 | 965 | 36 | 29.11
31.10.22 14:48:29 | 20.82 | 103.74 | 110.48 | 43.18 | 72.49 | 62.19 | 70.52 | 76.18 | 110.01 | 106.08 | 109.38 | 110.48 | 111.6 | 109.53 | 77.9 | 78.62 | 67.02 | 57.17 | 110.48 | 84.43 | 110.96 | 89 | 71.78 | 111.44 | 70.09 | 30 | 965 | 36 | 29.13